## Heat Input Curve
Sloped | Output Range 1 (Base MW) | 0 | Output Range 2 | Output Range 3 | Output Range 4 | Output Range 5 | Output Range 6
| X0 = | 306.744 | X0 = | X0 = | X0 = | X0 = | X0 =
| X1 = | 9.6894 | X1 = | X1 = | X1 = | X1 = | X1 =
| X2 = | 0.0015639 | X2 = | X2 = | X2 = | X2 = | X2 =
| X3 = |  | X3 = | X3 = | X3 = | X3 = | X3 =
Stepped | Output Range 1 (Base MW) | 0 | Output Range 2 | Output Range 3 | Output Range 4 | Output Range 5 | Output Range 6
| X0 = | 306.744 | X0 = | X0 = | X0 = | X0 = | X0 =
| X1 = | 9.6894 | X1 = | X1 = | X1 = | X1 = | X1 =
| X2 = | 0.0015639 | X2 = | X2 = | X2 = | X2 = | X2 =
| X3 = |  | X3 = | X3 = | X3 = | X3 = | X3 =
Block | Output Range 1 (Base MW) | 550
| X0 = | 306.744
| X1 = | 9.6894
| X2 = | 0.0015639
X3 =

## Sloped Offer
Unit Name | Example 1 - Steam
Performance Factor (PF) = | 1.02
Fuel Cost = | 14 | $/mmBTU
VOM Adders
Base VOM Rate |  |  |  | Peak Incremental VOM Rate
Maintenance Adder = |  | $/MWh |  | From MW | To MW | Cyclic Peaking Factor | Segment Maintenance Adder ($/MWh) | Segment Operating Cost ($/MWh)
|  | $/Hour |  |  |  |  | #DIV/0!
|  | $/Start |  |  |  |  | #DIV/0!
| 0.15 | $/mmBTU |  |  |  |  | #DIV/0!
$/ESH
Operating Costs = |  | $/MWh
$/mmBTU
Emissions Adders
SO2 Emissions Rate |  | (lbs/MMBtu) |  | Allowance Cost |  | $/ton
NOx Emissions Rate |  | (lbs/MMBtu) |  | Allowance Cost |  | $/ton
CO2 Emissions Rate |  | (lbs/MMBtu) |  | Allowance Cost |  | $/ton
Opportunity Cost Adder = |  | $/MWh (Base) |  | Peak MW Step |  | MW
$/MWh (Peak)
Total Emission Adder = | 0 | $/mmBTU
Total Fuel Related Cost = | 14.15 | $/mmBTU
No Load Fuel = | 306.744 | mmBTU
No Load Cost = | 4427.2362 | $/Hr
Net Gen (MW) | Heat Input (mmBTU/Hr) | Sloped Incremental Heat Rate (mmBTU/MWh) | Total Fuel Related Cost ($/mmBTU) | Maintenance Adder Cost ($/MWh) | Operating Cost ($/MWh) | Opportunity Cost Adder ($/MWh) | Incremental Offer ($/MWh)
0 | 306.744 | 9.8832 | 14.15 | 0 | 0 | 0 | 139.8471
50 | 795.1238 | 10.0427 | 14.15 | 0 | 0 | 0 | 142.1043
160 | 1897.0841 | 10.3936 | 14.15 | 0 | 0 | 0 | 147.0701
310 | 3460.7498 | 10.8722 | 14.15 | 0 | 0 | 0 | 153.8417
410 | 4542.2913 | 11.1912 | 14.15 | 0 | 0 | 0 | 158.3561
525 | 5824.7317 | 11.5581 | 14.15 | 0 | 0 | 0 | 163.5476
550 | 6108.9968 | 11.6379 | 14.15 | 0 | 0 | 0 | 164.6762
| 306.744 | 9.8832 | 14.15 | 0 | 0 | 0 | 139.8471
| 306.744 | 9.8832 | 14.15 | 0 | 0 | 0 | 139.8471
| 306.744 | 9.8832 | 14.15 | 0 | 0 | 0 | 139.8471
| 306.744 | 9.8832 | 14.15 | 0 | 0 | 0 | 139.8471
| 306.744 | 9.8832 | 14.15 | 0 | 0 | 0 | 139.8471
| 306.744 | 9.8832 | 14.15 | 0 | 0 | 0 | 139.8471
| 306.744 | 9.8832 | 14.15 | 0 | 0 | 0 | 139.8471
| 306.744 | 9.8832 | 14.15 | 0 | 0 | 0 | 139.8471
| 306.744 | 9.8832 | 14.15 | 0 | 0 | 0 | 139.8471
| 306.744 | 9.8832 | 14.15 | 0 | 0 | 0 | 139.8471
| 306.744 | 9.8832 | 14.15 | 0 | 0 | 0 | 139.8471
| 306.744 | 9.8832 | 14.15 | 0 | 0 | 0 | 139.8471
| 306.744 | 9.8832 | 14.15 | 0 | 0 | 0 | 139.8471
Error Check: | No issues found

## Stepped Offer
Unit Name | Example 1 - Steam
Performance Factor (PF) = | 1.02
Fuel Cost = | 14 | $/mmBTU
VOM Adders
Base VOM Rate |  |  |  | Peak Incremental VOM Rate
Maintenance Adder = |  | $/MWh |  | From MW | To MW | Cyclic Peaking Factor | Segment Maintenance Adder ($/MWh) | Segment Operating Cost ($/MWh)
|  | $/Hour |  |  |  |  | #DIV/0!
|  | $/Start |  |  |  |  | #DIV/0!
| 0.15 | $/mmBTU |  |  |  |  | #DIV/0!
$/ESH
Operating Costs = |  | $/MWh
$/mmBTU
Emissions Adders
SO2 Emissions Rate |  | (lbs/MMBtu) |  | Allowance Cost |  | $/ton
NOx Emissions Rate |  | (lbs/MMBtu) |  | Allowance Cost |  | $/ton
CO2 Emissions Rate |  | (lbs/MMBtu) |  | Allowance Cost |  | $/ton
Opportunity Cost Adder = |  | $/MWh (Base) |  | Peak MW Step |  | MW
$/MWh (Peak)
Total Emission Adder = | 0 | $/mmBTU
Total Fuel Related Cost = | 14.15 | $/mmBTU
No Load Fuel = | 306.744 | mmBTU
No Load Cost = | 4427.2362 | $/Hr
Net Gen (MW) | Heat Input (mmBTU/Hr) | Stepped Incremental Heat Rate (mmBTU/MWh) | Total Fuel Related Cost ($/mmBTU) | Maintenance Adder Cost ($/MWh) | Operating Cost ($/MWh) | Opportunity Cost Adder ($/MWh) | Incremental Offer ($/MWh)
50 | 795.1238 | 9.9629 | 14.15 | 0 | 0 | 0 | 140.9757
160 | 1897.0841 | 10.2182 | 14.15 | 0 | 0 | 0 | 144.5872
310 | 3460.7498 | 10.6329 | 14.15 | 0 | 0 | 0 | 150.4559
410 | 4542.2913 | 11.0317 | 14.15 | 0 | 0 | 0 | 156.0989
525 | 5824.7317 | 11.3747 | 14.15 | 0 | 0 | 0 | 160.9518
550 | 6108.9968 | 11.598 | 14.15 | 0 | 0 | 0 | 164.1119
| 306.744 | 0 | 14.15 | 0 | 0 | 0 | 0
| 306.744 | 0 | 14.15 | 0 | 0 | 0 | 0
| 306.744 | 0 | 14.15 | 0 | 0 | 0 | 0
| 306.744 | 0 | 14.15 | 0 | 0 | 0 | 0
| 306.744 | 0 | 14.15 | 0 | 0 | 0 | 0
| 306.744 | 0 | 14.15 | 0 | 0 | 0 | 0
| 306.744 | 0 | 14.15 | 0 | 0 | 0 | 0
| 306.744 | 0 | 14.15 | 0 | 0 | 0 | 0
| 306.744 | 0 | 14.15 | 0 | 0 | 0 | 0
| 306.744 | 0 | 14.15 | 0 | 0 | 0 | 0
| 306.744 | 0 | 14.15 | 0 | 0 | 0 | 0
| 306.744 | 0 | 14.15 | 0 | 0 | 0 | 0
| 306.744 | 0 | 14.15 | 0 | 0 | 0 | 0
Error Check: | No issues found

## Block Offer
Unit Name | Example 1 - Steam
Performance Factor (PF) = | 1.02
Fuel Cost = | 14 | $/mmBTU
VOM Adders
Base VOM Rate |  |  |  | Peak Incremental VOM Rate
Maintenance Adder = |  | $/MWh |  | From MW | To MW | Cyclic Peaking Factor | Segment Maintenance Adder ($/MWh) | Segment Operating Cost ($/MWh)
|  | $/Hour |  |  |  |  | #DIV/0!
|  | $/Start |  |  |  |  | #DIV/0!
| 0.15 | $/mmBTU |  |  |  |  | #DIV/0!
$/ESH
Operating Costs = |  | $/MWh
$/mmBTU
Emissions Adders
SO2 Emissions Rate |  | (lbs/MMBtu) |  | Allowance Cost |  | $/ton
NOx Emissions Rate |  | (lbs/MMBtu) |  | Allowance Cost |  | $/ton
CO2 Emissions Rate |  | (lbs/MMBtu) |  | Allowance Cost |  | $/ton
Opportunity Cost Adder = |  | $/MWh (Base) |  | Peak MW Step |  | MW
$/MWh (Peak)
Total Emission Adder = | 0 | $/mmBTU
Total Fuel Related Cost = | 14.15 | $/mmBTU
No Load Fuel = | 306.744 | mmBTU
No Load Cost = | 4427.2362 | $/Hr
Net Gen (MW) | Heat Input (mmBTU/Hr) | Block Loaded Average Heat Rate (mmBTU/MWh) | Total Fuel Related Cost ($/mmBTU) | Maintenance Adder Cost ($/MWh) | Operating Cost ($/MWh) | Opportunity Cost Adder ($/MWh) | Incremental Offer ($/MWh)
550 | 6108.9968 | 11.3294 | 14.15 | 0 | 0 | 0 | 160.3112
Error Check: | No issues found

## For Graphing Purposes
Stepped Offer |  |  |  | Block Offer
Used For Graphing Purposes |  | Incremental Offer ($/MWh) | Corrected Incremental Offer ($/MWh) | X-Axis | Y-Axis
50 | 140.9757 | 140.9757 | 140.9757 | 0 | 160.3112
50 | 144.5872 | 144.5872 | 144.5872 | 50 | 160.3112
160 | 144.5872 | 150.4559 | 150.4559 | 160 | 160.3112
160 | 150.4559 | 156.0989 | 156.0989 | 310 | 160.3112
310 | 150.4559 | 160.9518 | 160.9518 | 410 | 160.3112
310 | 156.0989 | 164.1119 | 164.1119 | 525 | 160.3112
410 | 156.0989 | 0 | 0 | 550 | 160.3112
410 | 160.9518 | 0 | 0 | #N/A | 160.3112
525 | 160.9518 | 0 | 0 | #N/A | 160.3112
525 | 164.1119 | 0 | 0 | #N/A | 160.3112
550 | 164.1119 | 0 | 0 | #N/A | 160.3112
550 | #N/A | 0 | 0 | #N/A | 160.3112
#N/A | #N/A | 0 | 0 | #N/A | 160.3112
#N/A | #N/A | 0 | 0 | #N/A | 160.3112
#N/A | #N/A | 0 | 0 | #N/A | 160.3112
#N/A | #N/A | 0 | 0 | #N/A | 160.3112
#N/A | #N/A | 0 | 0 | #N/A | 160.3112
#N/A | #N/A | 0 | 0 | #N/A | 160.3112
#N/A | #N/A | 0 | 0 | #N/A | 160.3112
#N/A | #N/A |  |  | #N/A | 160.3112
#N/A | #N/A
#N/A | #N/A
#N/A | #N/A
#N/A | #N/A
#N/A | #N/A
#N/A | #N/A
#N/A | #N/A
#N/A | #N/A
#N/A | #N/A
#N/A | #N/A
#N/A | #N/A
#N/A | #N/A
#N/A | #N/A
#N/A | #N/A
#N/A | #N/A
#N/A | #N/A
#N/A | #N/A
#N/A | #N/A