## Example
Line | Input | Base Case | Adding 24h Forced Outage | Impact
ICAP | Installed Capacity | 100 | 100
PH | Period Hours | 8760 | 8760
RSH | Reserve Shutdown Hours | 1000 | 1000
FOH | Forced Outage Hours | 500 | 524
NFO | Number of forced outages | 1 | 1
NAS | Number of attempted starts | 10 | 10
NSS | Number of succesful starts | 10 | 10
EFDH | Equivalent Forced Derate Hours | 0 | 0
SH = (PH - RSH - FOH) | Service Hours | 7260 | 7236
AH = (RSH + SH) | Available Hours | 8260 | 8236
Factors
r = FOH / NFO | Average Forced Outage Duration | 500 | 524
T = RSH / NAS | Average Time Between Calls | 100 | 100
D = SH / NSS | Average Run Time | 726 | 723.6
Ff = (1/r + 1/T) / (1/r + 1/T + 1/D) | Ff | 0.89703 | 0.89602
Fp = SH / AH | Fp | 0.87893 | 0.87858
Forced Outage Rate
EFORd = (Ff x FOH + Fp x EFDH) / (SH + Ff x FOH) | EFORd | 5.818% | 6.093% | 0.2747%
UCAP = ICAP x (1 - EFORd) | Unforced Capacity | 94.1815 | 93.9068 | -0.27474
| Check Hours | 0 | 0
| UCAP Impact |  |  | New Approach
| UCAP Reduction (MW) | 0.27474 |  | ICAP (MW) | 100
| MCP ($/MW-day) | 50 |  | Days Unavailable | 1
| Days | 365 |  | MCP ($/MW-day) | 50
| Penalty ($) | 5014.0233 |  | Penalty ($) | 5000