## 1. Interest Identification
Phase 1 Interest Identification
Instructions: List interests of all parties on this page.
General:
1 | Ensure process leads to identifying ME projects that relieve congestion where approriate
2 | Windows should be clear in system needs that will be addressed
3 | Major changes to topology, needs, or regulatory framework that dramatically affect system needs should drive a new window
4 | Timely release of data during ME process
5 | More transparent process for cost & constructability review
Regional Targeted Market Efficiency Process:
1 | Address persistant historical congestion challenges
2 | Expedited process to develop high-value, easily constructable in the near term
3 | The Interregional Targeted Market Efficiency Process has worked well; and should be evaluated for regional needs
FSAs:
1 | Reduce modeling uncertainties due to inclusion of FSA units
Reevaluation:
1 | Reevaluation process recognizes practical limitations
2 | Improve the efficiency and effectiveness of the Reevaluation process
3 | Reevaluation timelines should be well defined and align with 24-month RTEP cycle
Benefits:
1 | Benefit calculation does not over estimate or under estimate benefits
2 | Minimize reliance on extrapolated/speculative benefits
3 | Benefits should be calculated based on PJM system models
Interregional Market Efficiency Selection Process:
1 | Interregional Market Efficiency selection process consistent with regional selection process
Phase 2 Interest Identification
Reevaluation:
1 | Reevaluation process recognizes practical limitations
2 | Improve the efficiency and effectiveness of the Reevaluation process
3 | Reevaluation timelines should be well defined and align with 24-month RTEP cycle
4 | Gives states confidence in PJM modeling process
5 | Identify and report significant changes to project B/C ratios when impacted by supplemental projects
Regional Targeted Market Efficiency Process:
1 | Address persistant historical congestion challenges
2 | Expedited process to develop high-value, easily constructable in the near term
3 | The Interregional Targeted Market Efficiency Process has worked well; and should be evaluated for regional needs
4 | Any reforms must comply with FERC Order 1000
5 | Consideration for alignment with existing processes
6 | Consider evaluating non-transmission alternatives (e.g. storage, behind-the-meter generation, demand response)
Market Efficiency Window
1 | Timely review/analysis of capacity congestion drivers and potential solutions
2 | Timely review/analysis of Stage 1A 10-year violations and potential solutions
3 | Coordination/alignment with reliability studies/windows
4 | Clarity in system needs
5 | Ensure selection process rules are clear at prior to the window
6 | Use ratings that accurately reflect market operations
7 | Identify/reduce/address impacts supplemental projects have on the Market Efficiency process
Market Efficiency Mid-Cycle Update
1 | Transparent and robust methodology for updating the Market Efficiency base case
2 | Clarity in system needs
3 | Reducing variability/unforeseen changes to topology for congestion drivers
4 | Identify/reduce/address impacts supplemental projects have on the Market Efficiency process
Capacity Benefits
1 | Transparent and robust methodology for calculating capacity benefits
2 | Timely review/analysis of capacity congestion drivers and potential solutions
3

## Benefits
OPTIONS MATRIX FOR BENEFITS
Solution Options2
# | Design Components1 | Priority | Status Quo | A | B | C | D | E
1 | Regional Benefit Calculation |  | 50% Net Load Payment + 50% Adjusted Production Cost | Status Quo
2 | Lower Voltage Benefit Calculation |  | 100% Net Load Payment | Status Quo
3 | B/C Ratio Passing Threshold |  | 1.25 | 1.25 for base case, and 1.00 for mandatory sensitivities.
Energy
4.a | Benefit Calculation Simulation Years |  | RTEP-4, RTEP, RTEP+3 and RTEP+6 | RTEP | RTEP-2, RTEP, RTEP+2 and RTEP+4
4.b | Trend Simulation Years |  | RTEP-4, RTEP, RTEP+3, RTEP+6 and RTEP+10 (as needed) | Benefits are flat-lined beyond the last simulated year | RTEP-2, RTEP, RTEP+2 and RTEP+4
4.c | Regional Benefit Calculation Period |  | 15 years from in-service year | 10 years from in-service year, capped at RTEP+10
4.d | Lower Voltage Benefit Calculation Period |  | 15 years from in-service year | 10 years from in-service year, capped at RTEP+10
4.e | Benefit Adjustment for In-Service Date |  | N/A | Energy benefits of projects that are proposed to be in service later than the RTEP year will be adjusted to account for any savings forgone due to later in-service date
4.f | Sensitivities |  | For informational purposes only. | Mandatory sensitivities will be used in the decision making process. Optional sensitivities will be used for informational purposes only. Their results may be used in the selection process, but will not be used to pass or fail a project.
4.g | Sensitivity Parameters |  | N/A | Mandatory sensitivity parameters will be decided by PJM prior to the beginning of the window. Optional sensitivity parameters will be defined on a project-by-project or a global basis during the proposal evaluation period.
4.h | Generator Retirement Plan |  | Aligned with simulation year | N/A | Generator retirement in RTEP year should be used for all simulation years, particularly if there is still to be any extrapolation. Otherwise, without extrapolation, we it has little advantage, except that it may simplify modeling a little. (If generator retirements are aligned with simulation year, then associated, required system upgrades must be similarly aligned.)
4.i | Hourly Monte Carlo |  | Single draw | Status Quo | Conduct multiple draws (>= 6) during base case development to ensure single draw is not an outlier
Capacity
5.a | Benefit Calculation Simulation Years |  | RTEP, RTEP+3 and RTEP+6 | RPM and RTEP years
5.b | Regional Benefit Calculation Period |  | 15 yrs | 2 years | 6 years
5.c | Lower Voltage Benefit Calculation Period |  | 15 yrs | 2 years | 6 years
5.d | In-Service for RPM Market |  | No restrictions | To be in service prior to establishing planning parameters for the next BRA planning period. In the event a transmission expansion cannot be attained by the RPM year, PJM will consider capacity market solutions beyond RPM year, and before RTEP year.
5.e | Benefit Adjustment for In-Service Date |  | N/A | Capacity benefits of projects that are proposed to be in service later than the RPM year will be adjusted to account for any savings forgone due to later in-service date
6 | CETL Calculation |  | CETL calculation follows the same procedure used for the RPM process |  | Make Transparent to stakeholders
7 | Benefits Calculation |  | Capacity benefits are determined using the most recent BRA model *BRA models contains market sensitive information |  | Make Transparent to stakeholders
8
9
10
11
Note on B6: Components or features of a solution. - Identify key design components—the key elements, features or ingredients that together will comprise a full proposal to address the issue at hand. - Seek agreement on the design components and incorporate in the left hand column of the matrix. - Discuss and seek agreement on each design component’s relative importance (e.g.,high, medium, or low) and note in 2nd column of the matrix relative importance and where there is agreement or a range of opinion (e.g., medium to high for a particular component). Note this step is at the facilitator’s or group’s option, and may also be done after the option matrix is filled out.
Note on E6: Develop options for each design component: - Brainstorm options for each design components and fill out each row - The options are not bundled into packages at this point - Some component rows may have very few options while others may have numerous options - Collectively evaluate the options for each component, and narrow to the extent possible. The facilitator may employ polling techniques to assist in narrowing the options on each row in the matrix. - Consider linkages across components and options that either can’t mix or have to go together, and note accordingly

## Facility Study Agreement Units
OPTIONS MATRIX FOR FACILITY STUDY AGREEMENT (FSA) UNITS
Solution Options2
# | Design Components1 | Priority | Status Quo | A | B | C | D | E
1 | FSA Modeling |  | Consider all FSA and Suspended ISA resources at time of case build. | By default, exclude from the base case the FSA and Suspended ISA resources, and their associated network upgrades at time of case build. | Include FSA and Suspended ISA resources based on commercial probability | Include FSA, suspended ISAs and ISAs not yet in-service based on commercial probability | Include FSA and Suspended ISA resources with their capacities scaled based on their commercial probability
2 | FSA Exception |  | If FSA or Suspended ISA resources are excluded from the base case at time of case build, TEAC should be notified. | If FSA or Suspended ISA resources are included in the base case at time of case build or mid-cycle update, TEAC will be notified and the assumptions will be reviewed at TEAC on an as needed basis.
3 | Criteria to Include FSAs |  | Not defined. PJM practice includes all. | In case of a reserve deficiency, include FSA and Suspended ISA resources (as well as the expected network upgrades) ranked by their commercial probability, until the reserve requirement is met. |  |  |  |  | Low
4 | [8 empty] | Low - Medium
5 | [8 empty] | Low - High
6 | [8 empty] | Medium
7 | [8 empty] | Medium - High
8
9 | [8 empty] | High
10
11
12
13
14
15
Note on B6: Components or features of a solution. - Identify key design components—the key elements, features or ingredients that together will comprise a full proposal to address the issue at hand. - Seek agreement on the design components and incorporate in the left hand column of the matrix. - Discuss and seek agreement on each design component’s relative importance (e.g.,high, medium, or low) and note in 2nd column of the matrix relative importance and where there is agreement or a range of opinion (e.g., medium to high for a particular component). Note this step is at the facilitator’s or group’s option, and may also be done after the option matrix is filled out.
Note on E6: Develop options for each design component: - Brainstorm options for each design components and fill out each row - The options are not bundled into packages at this point - Some component rows may have very few options while others may have numerous options - Collectively evaluate the options for each component, and narrow to the extent possible. The facilitator may employ polling techniques to assist in narrowing the options on each row in the matrix. - Consider linkages across components and options that either can’t mix or have to go together, and note accordingly

## Regional Targeted ME Projects
OPTIONS MATRIX FOR REGIONAL TARGETED MARKET EFFICIENCY PROJECTS (TMEP)
** The TMEP Status Quo refers to the interregional process currently in place between PJM and MISO for Market-to-Market flowgates. No parallel process currently exists in the PJM regional process
Solution Options2
# | Design Components1 | Priority | Status Quo/TMEP Parallel ** Interregional PJM/MISO Only | A | B | C | D | E
1 | Qualifed Projects |  | Upgrades which resolve congestion on one or more Qualified Congestion Driver(s), with a capital cost under $20 million, to be in service by third summer season | Status Quo | Same process as Interregional PJM-MISO TMEP
2 | Qualified Congestion Drivers |  | PJM/MISO Identify coordinated flowgate with significant historical congestion (based on previous 2 years) that are not due to planned outages, and that are not addressed by any system changes | PJM Identified facilities with significant and persistent historical congestion (based on previous 2 years) that are not due to planned outages, that are not addressed by any planned system changes | Same process as Interregional PJM-MISO TMEP
3 | Benefits |  | Average of past 2 years of historical congestion (Day Ahead + Balancing), adjusted for M2M settlements and decremented for outage impacts | Average of past 2 years of historical congestion (Day Ahead + Balancing), adjusted for outage impacts | Use same benefit calculation used in Regional MEP. PROMOD analysis must be conducted to calculate benefits consistent with Market Efficiency process. | Use same benefit calculation used in Regional MEP. Day-Ahead Software (Probe) analysis must be conducted to calculate benefits consistent with Market Efficiency process. | Same process as Interregional PJM-MISO TMEP |  | Low - Medium
4 | Cost |  | Targeted Market Efficiency project costs are split between PJM and MISO based on each region’s historical congestion expected to be reived by the upgrade, ajusted for M2M settlements. | Project capital cost (no discount or inflation rate) | PV of full 30-year life based on annual carrying charges | Four times annual carrying charge | Same process as Interregional PJM-MISO TMEP |  | Low - High
5 | Passing Threshold |  | Four years of Benefits must exceed the projects total capital cost (No discount or inflation rate) | Four years worth of Benefits (no discount/inflation rate) must completely cover project’s capital cost | Four years worth of Benefits (no discount/inflation rate) must exceed 1.25 times project’s capital cost | Four years worth of Benefits (no discount/inflation rate), capped at four years from ProMod/Probe current year model | Same process as Interregional PJM-MISO TMEP |  | Medium - High
6 | Timing and Coordination between TMEP and ME Processes |  | N/A | TMEPs will be identified, reviewed by TEAC, and approved by Board before Market Efficiency long term window opens. TMEPs will also be considered for the mid-cycle update. | Same process as Interregional PJM-MISO TMEP
7 | Unit Retirements in Area of Congestion |  | Announced generator deativations at time of project recommendation are considered. | Status Quo | Same process as Interregional PJM-MISO TMEP |  |  |  | High
8
9
10
11
12
13
14
15
Note on B6: Components or features of a solution. - Identify key design components—the key elements, features or ingredients that together will comprise a full proposal to address the issue at hand. - Seek agreement on the design components and incorporate in the left hand column of the matrix. - Discuss and seek agreement on each design component’s relative importance (e.g.,high, medium, or low) and note in 2nd column of the matrix relative importance and where there is agreement or a range of opinion (e.g., medium to high for a particular component). Note this step is at the facilitator’s or group’s option, and may also be done after the option matrix is filled out.
Note on E6: Develop options for each design component: - Brainstorm options for each design components and fill out each row - The options are not bundled into packages at this point - Some component rows may have very few options while others may have numerous options - Collectively evaluate the options for each component, and narrow to the extent possible. The facilitator may employ polling techniques to assist in narrowing the options on each row in the matrix. - Consider linkages across components and options that either can’t mix or have to go together, and note accordingly

## Reevaluation
OPTIONS MATRIX FOR REEVALUATION
Solution Options2
# | Design Components1 | Priority | Status Quo | A | B | C | D | E | F | G | H
1 | Reevaluation Criteria |  | Costs and benefits of new economic-based enhancements or expansions to be evaluated annually to ensure these projects continue to be economical | PJM will only reevaluate projects with a capital cost of $50M or higher. For projects with a cost less than $50M, if project cost increases such that the B/C ratio (given the original benefits) falls below 1.25, then PJM will study the impacts of cancelling the project. | PJM will only reevaluate projects with a capital cost of $20M or higher. For projects with a cost less than $20M, if project cost increases such that the B/C ratio (given the original benefits) falls below 1.25, then PJM will study the impacts of cancelling the project. PJM will stop reevaluating projects with cost greater than $20M once the project has completed 20% of its construction within the Engineering and Procuremnet status as described on PJM transmission construcrtion status page or once the CPCN certificate is recieved (approved), as applicable. | PJM will only reevaluate projects with a capital cost of $10M or higher. For projects with a cost less than $10M, if project cost increases such that the B/C ratio (given the original benefits) falls below 1.25, then PJM will study the impacts of cancelling the project. PJM will stop reevaluating projects with cost greater than $10M once the project has completed 20% of its construction. | PJM will reevaluate approved projects with a capital cost of $20M or higher only once following approval. That reevaluation will be conducted in the subsequent modeling cycle that immediately follows the modeling cycle when the project was approved. No reevaluation for approved projects with a capital cost of below $20M. | PJM will only reevaluate projects with a capital cost of $10M or higher. For projects with a cost less than $10M, if project cost increases such that the B/C ratio (given the original benefits) falls below 1.25, then PJM will study the impacts of cancelling the project. PJM will stop reevaluating projects with cost greater than $10M once the project has completed 20% of its construction. | PJM will only reevaluate projects with a capital cost of $50M or higher. For projects with a cost less than $50M, if project cost increases such that the B/C ratio (given the original benefits) falls below 1.25, then PJM will study the impacts of cancelling the project. PJM will stop reevaluating projects with cost greater than $50M once the project has completed 20% of its construction within the Engineering and Procuremnet status as described on PJM transmission construcrtion status page or once the CPCN certificate is recieved (approved), as applicable.
2
3
4
5
6
7
8
9
10
11
12
13
14
15
Note on B6: Components or features of a solution. - Identify key design components—the key elements, features or ingredients that together will comprise a full proposal to address the issue at hand. - Seek agreement on the design components and incorporate in the left hand column of the matrix. - Discuss and seek agreement on each design component’s relative importance (e.g.,high, medium, or low) and note in 2nd column of the matrix relative importance and where there is agreement or a range of opinion (e.g., medium to high for a particular component). Note this step is at the facilitator’s or group’s option, and may also be done after the option matrix is filled out.
Note on E6: Develop options for each design component: - Brainstorm options for each design components and fill out each row - The options are not bundled into packages at this point - Some component rows may have very few options while others may have numerous options - Collectively evaluate the options for each component, and narrow to the extent possible. The facilitator may employ polling techniques to assist in narrowing the options on each row in the matrix. - Consider linkages across components and options that either can’t mix or have to go together, and note accordingly

## Window
OPTIONS MATRIX FOR MARKET EFFICIENCY WINDOW
Solution Options2
# | Design Components1 | Priority | Status Quo | A | B | C | D | E
1
2
3
4
5
6
7
8
9
10 | [8 empty] | High
11
12
13
14
15
Note on B6: Components or features of a solution. - Identify key design components—the key elements, features or ingredients that together will comprise a full proposal to address the issue at hand. - Seek agreement on the design components and incorporate in the left hand column of the matrix. - Discuss and seek agreement on each design component’s relative importance (e.g.,high, medium, or low) and note in 2nd column of the matrix relative importance and where there is agreement or a range of opinion (e.g., medium to high for a particular component). Note this step is at the facilitator’s or group’s option, and may also be done after the option matrix is filled out.
Note on E6: Develop options for each design component: - Brainstorm options for each design components and fill out each row - The options are not bundled into packages at this point - Some component rows may have very few options while others may have numerous options - Collectively evaluate the options for each component, and narrow to the extent possible. The facilitator may employ polling techniques to assist in narrowing the options on each row in the matrix. - Consider linkages across components and options that either can’t mix or have to go together, and note accordingly

## Midcycle Update
OPTIONS MATRIX FOR MIDCYCLE UPDATE
Solution Options2
# | Design Components1 | Priority | Status Quo | A | B | C | D | E
1
2
3
4
5
6
7
8
9
10 | [8 empty] | High
11
12
13
14
15
Note on B6: Components or features of a solution. - Identify key design components—the key elements, features or ingredients that together will comprise a full proposal to address the issue at hand. - Seek agreement on the design components and incorporate in the left hand column of the matrix. - Discuss and seek agreement on each design component’s relative importance (e.g.,high, medium, or low) and note in 2nd column of the matrix relative importance and where there is agreement or a range of opinion (e.g., medium to high for a particular component). Note this step is at the facilitator’s or group’s option, and may also be done after the option matrix is filled out.
Note on E6: Develop options for each design component: - Brainstorm options for each design components and fill out each row - The options are not bundled into packages at this point - Some component rows may have very few options while others may have numerous options - Collectively evaluate the options for each component, and narrow to the extent possible. The facilitator may employ polling techniques to assist in narrowing the options on each row in the matrix. - Consider linkages across components and options that either can’t mix or have to go together, and note accordingly

## Design Component Details
Market Efficiency Process Enhancement Task Force
[IssueTitle]
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component | Detailed Description
1 | <enter detailed description of this component>
2 | <enter detailed description of this component>
3 | <enter detailed description of this component>
4 | <enter detailed description of this component>
5 | <enter detailed description of this component>

## Option Details
Market Efficiency Process Enhancement Task Force
[IssueTitle]
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## Package Matrix
Market Efficiency Process Enhancement Task Force (MEPETF)
PACKAGE/ PROPOSAL MATRIX
** The RTMEP Status Quo refers to the interregional process currently in place between PJM and MISO for Market-to-Market flowgates. No parallel process currently exists in the PJM regional process
Packages
Row | Category | Design Components | Priority | Status Quo | A | A' | B | C | D | E | F
1 | Reevaluation | Reevaluation Criteria |  | Costs and benefits of new economic-based enhancements or expansions to be evaluated annually to ensure these projects continue to be economical | PJM will only reevaluate projects with a capital cost of $50M or higher. For projects with a cost less than $50M, if project cost increases such that the B/C ratio (given the original benefits) falls below 1.25, then PJM will study the impacts of cancelling the project. | PJM will only reevaluate projects with a capital cost of $20M or higher. For projects with a cost less than $20M, if project cost increases such that the B/C ratio (given the original benefits) falls below 1.25, then PJM will study the impacts of cancelling the project. PJM will stop reevaluating projects with cost greater than $20M once the project has completed 20% of its construction within the Engineering and Procuremnet status as described on PJM transmission construcrtion status page or once the CPCN certificate is recieved (approved), as applicable. | PJM will only reevaluate projects with a capital cost of $10M or higher. For projects with a cost less than $10M, if project cost increases such that the B/C ratio (given the original benefits) falls below 1.25, then PJM will study the impacts of cancelling the project. PJM will stop reevaluating projects with cost greater than $10M once the project has completed 20% of its construction. | PJM will reevaluate approved projects with a capital cost of $20M or higher only once following approval. That reevaluation will be conducted in the subsequent modeling cycle that immediately follows the modeling cycle when the project was approved. No reevaluation for approved projects with a capital cost of below $20M. | PJM will only reevaluate projects with a capital cost of $10M or higher. For projects with a cost less than $10M, if project cost increases such that the B/C ratio (given the original benefits) falls below 1.25, then PJM will study the impacts of cancelling the project. PJM will stop reevaluating projects with cost greater than $10M once the project has completed 20% of its construction. | PJM will only reevaluate projects with a capital cost of $20M or higher. For projects with a cost less than $20M, if project cost increases such that the B/C ratio (given the original benefits) falls below 1.25, then PJM will study the impacts of cancelling the project. PJM will stop reevaluating projects with cost greater than $20M once the project has completed 20% of its construction within the Engineering and Procuremnet status as described on PJM transmission construcrtion status page or once the CPCN certificate is recieved, as applicable. | PJM will only reevaluate projects with a capital cost of $50M or higher. For projects with a cost less than $50M, if project cost increases such that the B/C ratio (given the original benefits) falls below 1.25, then PJM will study the impacts of cancelling the project. PJM will stop reevaluating projects with cost greater than $50M once the project has completed 20% of its construction within the Engineering and Procuremnet status as described on PJM transmission construcrtion status page or once the CPCN certificate is recieved (approved), as applicable.
2 | FSA Units | FSA Modeling |  | Consider all FSA and Suspended ISA resources at time of case build. | By default, exclude from the base case the FSA and Suspended ISA resources, and their associated network upgrades at time of case build. | By default, exclude from the base case the FSA and Suspended ISA resources, and their associated network upgrades at time of case build. Conduct required FSA sensitivity studies to be used for proposal evaluations, but not for B/C ratio test. | By default, exclude from the base case the FSA and Suspended ISA resources, and their associated network upgrades at time of case build. Conduct required FSA sensitivity studies to be used for proposal evaluations, but not for B/C ratio test. | Suspended ISAs are included in the model at full capability. All FSAs are included in the model with their capabilities scaled to 40% of their proposed MW Energy. Scaled units should maintain similar economic performance as if they were modeled at full capability (their proposed MW Energy). | Include all FSA and suspended ISA resources, but derated/reduced in size based upon commercial probability. | By default, exclude from the base case the FSA and Suspended ISA resources, and their associated network upgrades at time of case build. Conduct required FSA sensitivity studies to be used for proposal evaluations, but not for B/C ratio test. | By default, exclude from the base case the FSA and Suspended ISA resources, and their associated network upgrades at time of case build. Conduct required FSA sensitivity studies to be used for proposal evaluations, but not for B/C ratio test.
3 | FSA Units | FSA Exception |  | If FSA or Suspended ISA resources are excluded from the base case at time of case build, TEAC should be notified. | If FSA or Suspended ISA resources are included in the base case at time of case build or mid-cycle update, TEAC will be notified and the assumptions will be reviewed at TEAC on an as needed basis. | If FSA or Suspended ISA resources are included in the base case at time of case build or mid-cycle update, TEAC will be notified and the assumptions will be reviewed at TEAC on an as needed basis. | If FSA or Suspended ISA resources are included in the base case at time of case build or mid-cycle update, TEAC will be notified and the assumptions will be reviewed at TEAC on an as needed basis. | Status Quo | Status Quo | If FSA or Suspended ISA resources are included in the base case at time of case build or mid-cycle update, TEAC will be notified and the assumptions will be reviewed at TEAC on an as needed basis. | If FSA or Suspended ISA resources are included in the base case at time of case build or mid-cycle update, TEAC will be notified and the assumptions will be reviewed at TEAC on an as needed basis.
4 | FSA Units | Criteria to Include FSAs |  | Not defined. PJM practice includes all. | In case of a reserve deficiency, include FSA and Suspended ISA resources (as well as the expected network upgrades) ranked by their commercial probability, until the reserve requirement is met. | In case of a reserve deficiency, include FSA and Suspended ISA resources (as well as the expected network upgrades) ranked by their commercial probability, until the reserve requirement is met. | In case of a reserve deficiency, include FSA and Suspended ISA resources (as well as the expected network upgrades) ranked by their commercial probability, until the reserve requirement is met. | In case of a reserve deficiency, FSA units can be scaled higher than 40%. | Status Quo | In case of a reserve deficiency, include FSA and Suspended ISA resources (as well as the expected network upgrades) ranked by their commercial probability, until the reserve requirement is met. | In case of a reserve deficiency, include FSA and Suspended ISA resources (as well as the expected network upgrades) ranked by their commercial probability, until the reserve requirement is met.
5 | RTMEP | Qualifed Projects |  | Upgrades which resolve congestion on one or more Qualified Congestion Driver(s), with a capital cost under $20 million, to be in service by third summer season | Upgrades which resolve congestion on one or more Qualified Congestion Driver(s), with a capital cost under $20 million, to be in service by third summer season | N/A | N/A | Upgrades which resolve congestion on one or more Qualified Congestion Driver(s), with a capital cost under $20 million, to be in service by third summer season | No RTMEP category | N/A | N/A
6 | RTMEP | Qualified Congestion Drivers |  | PJM/MISO Identify coordinated flowgate with significant historical congestion (based on previous 2 years) that are not due to planned outages, and that are not addressed by any planned system changes | PJM Identified facilities with significant and persistent historical congestion (based on previous 2 years) that are not due to planned outages, that are not addressed by any planned system changes | N/A | N/A | PJM Identified facilities with significant and persistent historical congestion (based on previous 2 years) that are not due to planned outages, that are not addressed by any planned system changes | No RTMEP category | N/A | N/A
7 | RTMEP | Benefits |  | Average of past 2 years of historical congestion (Day Ahead + Balancing), adjusted for M2M settlements and decremented for outage impacts | Average of past 2 years of historical congestion (Day Ahead + Balancing), adjusted for outage impacts | N/A | N/A | Average of past 2 years of historical congestion (Day Ahead + Balancing), adjusted for outage impacts | No RTMEP category | N/A | N/A
8 | RTMEP | Cost |  | Targeted Market Efficiency project costs are split between PJM and MISO based on each region’s historical congestion expected to be reived by the upgrade, ajusted for M2M settlements. | Project capital cost (no discount or inflation rate) | N/A | N/A | Project capital cost (no discount or inflation rate) | No RTMEP category | N/A | N/A
9 | RTMEP | Passing Threshold |  | Four years of Benefits must exceed the projects total capital cost (No discount or inflation rate) | Four years worth of Benefits (no discount/inflation rate) must completely cover project’s capital cost | N/A | N/A | Four years worth of Benefits (no discount/inflation rate) must completely cover project’s capital cost | No RTMEP category | N/A | N/A
10 | RTMEP | Timing and Coordination between TMEP and ME Processes |  | N/A | TMEPs will be identified, reviewed by TEAC, and approved by Board before Market Efficiency long term window opens. TMEPs will also be considered for the mid-cycle update. | N/A | N/A | TMEPs will be identified, reviewed by TEAC, and approved by Board before Market Efficiency long term window opens. TMEPs will also be considered for the mid-cycle update. | No RTMEP category | N/A | N/A
11 | RTMEP | Unit Retirements in Area of Congestion |  | Announced generator deativations at time of project recommendation are considered. | Status Quo | N/A | N/A | Status Quo | No RTMEP category | N/A | N/A
12 | Benefits | Regional Benefit Calculation |  | 50% Net Load Payment + 50% Adjusted Production Cost | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo
13 | Benefits | Lower Voltage Benefit Calculation |  | 100% Net Load Payment | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo
14 | Benefits | B/C Ratio Passing Threshold |  | 1.25 | 1.25 for base case, and 1.00 for mandatory sensitivities. | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo
15 | Benefits | Energy
16 | Benefits | Benefit Calculation Simulation Years |  | RTEP-4, RTEP, RTEP+3 and RTEP+6 | RTEP | RTEP-2, RTEP, RTEP+2, RTEP+4. In all simulated years, generation and transmission topology are set at RTEP year level. | RTEP -2, RTEP, RTEP +2, RTEP +4, RTEP +6 (Topology is representative of the year under RTEP year under study, not the RTEP year level) | RTEP-2, RTEP, RTEP+2, RTEP+4. In all simulated years, generation and transmission topology are set at RTEP year level. | RTEP-2, RTEP, RTEP+2, RTEP+4. In all simulated years, generation and transmission topology are set at RTEP year level. | RTEP-2, RTEP, RTEP+2, RTEP+4. In all simulated years, generation and transmission topology are set at RTEP year level. | RTEP-2, RTEP, RTEP+2, RTEP+4. In all simulated years, generation and transmission topology are set at RTEP year level.
17 | Benefits | Trend Simulation Years |  | RTEP-4, RTEP, RTEP+3, RTEP+6 and RTEP+10 (as needed) | Benefits are flat-lined beyond the last simulated year | RTEP-2, RTEP, RTEP+2, RTEP+4. | RTEP -2, RTEP, RTEP +2, RTEP +4, RTEP +6 (optional RTEP +10), (Trend using third order polynomial), Use polynomial trend values to replace interpolated years. | RTEP-2, RTEP, RTEP+2, RTEP+4. Linear trend replaces interpolated values as shown on slides 2 and 3 of item 03g. 10-year B/C ratio (calculated based on 10 years of annual benefit and 10 years of annual revenue requirement) should exceed 1.00 threshold | RTEP-2, RTEP, RTEP+2, RTEP+4. 10-year B/C ratio (calculated based on 10 years of annual benefit and 10 years of annual revenue requirement) should exceed 1.00 threshold | RTEP-2, RTEP, RTEP+2, RTEP+4. Interpolated between simulation years. Maximum annual benefit applied beyond the last simulation year, with annual escalation based on load projection. | RTEP-2, RTEP, RTEP+2, RTEP+4. 10-year B/C ratio (calculated based on 10 years of annual benefit and 10 years of annual revenue requirement) should exceed 1.25 threshold
18 | Benefits | Regional Benefit Calculation Period |  | 15 years from in-service year | 10 years from in-service year, capped at RTEP+10 | 15 years from in-service year, capped at RTEP+15 | 15 years from in-service year, capped at RTEP+15 | Status Quo | 15 years from in-service year, capped at RTEP+15 | 10 years from in-service year | 15 years from in-service year, capped at RTEP+15
19 | Benefits | Lower Voltage Benefit Calculation Period |  | 15 years from in-service year | 10 years from in-service year, capped at RTEP+10 | 15 years from in-service year, capped at RTEP+15 | 15 years from in-service year, capped at RTEP+15 | Status Quo | 15 years from in-service year, capped at RTEP+15 | 10 years from in-service year | 15 years from in-service year, capped at RTEP+15
20 | Benefits | Benefit Adjustment for In-Service Date |  | N/A | Energy benefits of projects that are proposed to be in service later than the RTEP year will be adjusted to account for any savings forgone due to later in-service date | Energy benefits of projects that are proposed to be in service later than the RTEP year will be adjusted to account for any savings forgone due to later in-service date | Energy benefits of projects that are proposed to be in service later than the RTEP year will be adjusted to account for any savings forgone due to later in-service date | As a means of comparing between alternatives with different in-service dates, benefits can be adjusted for that difference as proposed by PJM (slides 9-10, item 3g from 6.15.2018 (http://www.pjm.com/-/media/committees-groups/task-forces/mepetf/20180615/20180615-item-03g-energy-benefits-presentation.ashx)). Ideally, this adjustment would be done following the Independent Cost and Schedule Review. This adjustment would be done for projects with in-service dates both before and after the RTEP year. B/C Ratio for approval would remain unadjusted. | None | Energy benefits of projects that are proposed to be in service later than the RTEP year will be adjusted to account for any savings forgone due to later in-service date | Energy benefits of projects that are proposed to be in service later than the RTEP year will be adjusted to account for any savings forgone due to later in-service date
21 | Benefits | Sensitivities |  | For informational purposes only. | Mandatory sensitivities will be used in the decision making process. Optional sensitivities will be used for informational purposes only. Their results may be used in the selection process, but will not be used to pass or fail a project. | Status Quo | Mandatory sensitives are conducted yearly with the inclusion of FSA units, only if FSA units are excluded from base case analysis. Sensitivities are not used to B/C ratio test but are considered when reviewing a proposals robustness and sizing. | Status Quo | Status Quo | Status Quo | Status Quo
22 | Benefits | Sensitivity Parameters |  | N/A | Mandatory sensitivity parameters will be decided by PJM prior to the beginning of the window. Optional sensitivity parameters will be defined on a project-by-project or a global basis during the proposal evaluation period. | Sensitivity parameters and definitions will be decided by PJM prior to the beginning of the window. PJM reserves right to add sensitivites as necessary. (Documents Status Quo) | Mandatory sensitivities parameters are decided prior to beginning of window. | Sensitivity parameters and definitions will be decided by PJM prior to the beginning of the window. PJM reserves right to add sensitivites as necessary. (Documents Status Quo) | Sensitivity parameters and definitions will be decided by PJM prior to the beginning of the window. PJM reserves right to add sensitivites as necessary. (Documents Status Quo) | Sensitivity parameters and definitions will be decided by PJM prior to the beginning of the window. PJM reserves right to add sensitivites as necessary. (Documents Status Quo) | Sensitivity parameters and definitions will be decided by PJM prior to the beginning of the window. PJM reserves right to add sensitivites as necessary. (Documents Status Quo)
23 | Benefits | Generator Retirement Plan |  | Aligned with simulation year | N/A | In all simulated years, generation and transmission topology are set at RTEP year level. | In all simulated years, generation and transmission topology are set at RTEP year level. | In all simulated years, generation and transmission topology are set at RTEP year level. | In all simulated years, generation and transmission topology are set at RTEP year level. | In all simulated years, generation and transmission topology are set at RTEP year level. | In all simulated years, generation and transmission topology are set at RTEP year level.
24 | Benefits | Hourly Monte Carlo |  | Single draw | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo
25 | Benefits | Capacity
26 | Benefits | Benefit Calculation Simulation Years |  | RTEP, RTEP+3 and RTEP+6 | RPM and RTEP years | N/A | N/A | PJM/stakeholders should investigate alternative methods to do this analysis -- should be done in a transparent fashion. | Status Quo | N/A | N/A
27 | Benefits | Regional Benefit Calculation Period |  | 15 years | 2 years | N/A | N/A | PJM/stakeholders should investigate alternative methods to do this analysis -- should be done in a transparent fashion. | Status Quo | N/A | N/A
28 | Benefits | Lower Voltage Benefit Calculation Period |  | 15 years | 2 years | N/A | N/A | PJM/stakeholders should investigate alternative methods to do this analysis -- should be done in a transparent fashion. | Status Quo | N/A | N/A
29 | Benefits | In-Service for RPM Market |  | No restrictions | To be in service prior to establishing planning parameters for the next BRA planning period. In the event a transmission expansion cannot be attained by the RPM year, PJM will consider capacity market solutions beyond RPM year, and before RTEP year. | N/A | N/A | PJM/stakeholders should investigate alternative methods to do this analysis -- should be done in a transparent fashion. | Status Quo | N/A | N/A
30 | Benefits | Benefit Adjustment for In-Service Date |  | N/A | Capacity benefits of projects that are proposed to be in service later than the RPM year will be adjusted to account for any savings forgone due to later in-service date | N/A | N/A | PJM/stakeholders should investigate alternative methods to do this analysis -- should be done in a transparent fashion. | Status Quo | N/A | N/A
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45

## 7.5 Consolidate Package Matrix
Row | Category | Design Components | Status Quo | G | H | I | J | K | L | M | N | O | P | Q | R | S | T | U | V | W | X | Y
2 | FSA Units | FSA Modeling | Consider all FSA and Suspended ISA resources at time of case build. | G: By default, exclude from the base case the FSA and Suspended ISA resources, and their associated network upgrades at time of case build. Conduct required FSA sensitivity studies to be used for proposal evaluations, but not for B/C ratio test.; H: Suspended ISAs are included in the model at full capability. All FSAs are included in the model with their capabilities scaled to 40% of their proposed MW Energy. Scaled units should maintain similar economic performance as if they were modeled at full capability (their proposed MW Energy).; I: By default exclude FSAs from the base case that is utilized to calculate B/C ratios. When determining congestion drivers, include the impact of FSAs that mitigate congestion drivers
3 | FSA Units | FSA Exception | If FSA or Suspended ISA resources are excluded from the base case at time of case build, TEAC should be notified. | G: If FSA or Suspended ISA resources are included in the base case at time of case build or mid-cycle update, TEAC will be notified and the assumptions will be reviewed at TEAC on an as needed basis.; H: Status Quo; I: If FSA or Suspended ISA resources are included in the base case at time of case build or mid-cycle update, TEAC will be notified and the assumptions will be reviewed at TEAC on an as needed basis.
4 | FSA Units | Criteria to Include FSAs | Not defined. PJM practice includes all. | G: In case of a reserve deficiency, include FSA and Suspended ISA resources (as well as the expected network upgrades) ranked by their commercial probability, until the reserve requirement is met.; H: In case of a reserve deficiency, FSA units can be scaled higher than 40%.; I: In case of a reserve deficiency, include FSA and Suspended ISA resources (as well as the expected network upgrades) ranked by their commercial probability, until the reserve requirement is met.
12 | Benefits | Regional Benefit Calculation | 50% Net Load Payment + 50% Adjusted Production Cost | G: Status Quo; H: Status Quo; I: Status Quo
13 | Benefits | Lower Voltage Benefit Calculation | 100% Net Load Payment | G: Status Quo; H: Status Quo; I: Status Quo
14 | Benefits | B/C Ratio Passing Threshold | 1.25 | G: Status Quo; H: Status Quo; I: Status Quo
15 | Benefits | Energy
20 | Benefits | Benefit Adjustment for In-Service Date | N/A | G: Energy benefits of projects that are proposed to be in service later than the RTEP year will be adjusted to account for any savings forgone due to later in-service date; H: As a means of comparing between alternatives with different in-service dates, benefits can be adjusted for that difference as proposed by PJM (slides 9-10, item 3g from 6.15.2018 (http://www.pjm.com/-/media/committees-groups/task-forces/mepetf/20180615/20180615-item-03g-energy-benefits-presentation.ashx)). Ideally, this adjustment would be done following the Independent Cost and Schedule Review. This adjustment would be done for projects with in-service dates both before and after the RTEP year. B/C Ratio for approval would remain unadjusted.; I: Energy benefits of projects that are proposed to be in service later than the RTEP year will be adjusted to account for any savings forgone due to later in-service date
21 | Benefits | Sensitivities | For informational purposes only. | G: Mandatory sensitives are conducted yearly with the inclusion of FSA units, only if FSA units are excluded from base case analysis. Sensitivities are not used to B/C ratio test but are considered when reviewing a proposals robustness and sizing.; H: Status Quo; I: Mandatory sensitives are conducted yearly with the inclusion of FSA units, only if FSA units are excluded from base case analysis. Sensitivities are not used to B/C ratio test but are considered when reviewing a proposals robustness and sizing.
22 | Benefits | Sensitivity Parameters | N/A | G: Mandatory sensitivities parameters are decided prior to beginning of window.; H: Status Quo; I: Mandatory sensitivities parameters are decided prior to beginning of window.
23 | Benefits | Generator Retirement Plan | Aligned with simulation year | G: In all simulated years, generation and transmission topology are set at RTEP year level.; H: In all simulated years, generation and transmission topology are set at RTEP year level.; I: In all simulated years, generation and transmission topology are set at RTEP year level.
24 | Benefits | Hourly Monte Carlo | Single draw | G: Status Quo; H: Status Quo; I: Status Quo

## Phase 2 Package Matrix
Market Efficiency Process Enhancement Task Force (MEPETF)
PACKAGE/ PROPOSAL MATRIX
** The RTMEP Status Quo refers to the interregional process currently in place between PJM and MISO for Market-to-Market flowgates. No parallel process currently exists in the PJM regional process
Packages
Row | Category | Design Components | Priority | Status Quo | A | A' | B | C | D | E | F
1 | Reevaluation | Reevaluation Criteria |  | Costs and benefits of new economic-based enhancements or expansions to be evaluated annually to ensure these projects continue to be economical | PJM will only reevaluate projects with a capital cost of $50M or higher. For projects with a cost less than $50M, if project cost increases such that the B/C ratio (given the original benefits) falls below 1.25, then PJM will study the impacts of cancelling the project. | PJM will only reevaluate projects with a capital cost of $20M or higher. For projects with a cost less than $20M, if project cost increases such that the B/C ratio (given the original benefits) falls below 1.25, then PJM will study the impacts of cancelling the project. PJM will stop reevaluating projects with cost greater than $20M once the project has completed 20% of its construction within the Engineering and Procuremnet status as described on PJM transmission construcrtion status page or once the CPCN certificate is recieved (approved), as applicable. | PJM will only reevaluate projects with a capital cost of $10M or higher. For projects with a cost less than $10M, if project cost increases such that the B/C ratio (given the original benefits) falls below 1.25, then PJM will study the impacts of cancelling the project. PJM will stop reevaluating projects with cost greater than $10M once the project has completed 20% of its construction. | PJM will reevaluate approved projects with a capital cost of $20M or higher only once following approval. That reevaluation will be conducted in the subsequent modeling cycle that immediately follows the modeling cycle when the project was approved. No reevaluation for approved projects with a capital cost of below $20M. | PJM will only reevaluate projects with a capital cost of $10M or higher. For projects with a cost less than $10M, if project cost increases such that the B/C ratio (given the original benefits) falls below 1.25, then PJM will study the impacts of cancelling the project. PJM will stop reevaluating projects with cost greater than $10M once the project has completed 20% of its construction. | PJM will only reevaluate projects with a capital cost of $20M or higher. For projects with a cost less than $20M, if project cost increases such that the B/C ratio (given the original benefits) falls below 1.25, then PJM will study the impacts of cancelling the project. PJM will stop reevaluating projects with cost greater than $20M once the project has completed 20% of its construction within the Engineering and Procuremnet status as described on PJM transmission construcrtion status page or once the CPCN certificate is recieved, as applicable. | PJM will only reevaluate projects with a capital cost of $50M or higher. For projects with a cost less than $50M, if project cost increases such that the B/C ratio (given the original benefits) falls below 1.25, then PJM will study the impacts of cancelling the project. PJM will stop reevaluating projects with cost greater than $50M once the project has completed 20% of its construction within the Engineering and Procuremnet status as described on PJM transmission construcrtion status page or once the CPCN certificate is recieved (approved), as applicable.
5 | RTMEP | Qualifed Projects |  | Upgrades which resolve congestion on one or more Qualified Congestion Driver(s), with a capital cost under $20 million, to be in service by third summer season | Upgrades which resolve congestion on one or more Qualified Congestion Driver(s), with a capital cost under $20 million, to be in service by third summer season | N/A | N/A | Upgrades which resolve congestion on one or more Qualified Congestion Driver(s), with a capital cost under $20 million, to be in service by third summer season | No RTMEP category | N/A | N/A
6 | RTMEP | Qualified Congestion Drivers |  | PJM/MISO Identify coordinated flowgate with significant historical congestion (based on previous 2 years) that are not due to planned outages, and that are not addressed by any planned system changes | PJM Identified facilities with significant and persistent historical congestion (based on previous 2 years) that are not due to planned outages, that are not addressed by any planned system changes | N/A | N/A | PJM Identified facilities with significant and persistent historical congestion (based on previous 2 years) that are not due to planned outages, that are not addressed by any planned system changes | No RTMEP category | N/A | N/A
7 | RTMEP | Benefits |  | Average of past 2 years of historical congestion (Day Ahead + Balancing), adjusted for M2M settlements and decremented for outage impacts | Average of past 2 years of historical congestion (Day Ahead + Balancing), adjusted for outage impacts | N/A | N/A | Average of past 2 years of historical congestion (Day Ahead + Balancing), adjusted for outage impacts | No RTMEP category | N/A | N/A
8 | RTMEP | Cost |  | Targeted Market Efficiency project costs are split between PJM and MISO based on each region’s historical congestion expected to be reived by the upgrade, ajusted for M2M settlements. | Project capital cost (no discount or inflation rate) | N/A | N/A | Project capital cost (no discount or inflation rate) | No RTMEP category | N/A | N/A
9 | RTMEP | Passing Threshold |  | Four years of Benefits must exceed the projects total capital cost (No discount or inflation rate) | Four years worth of Benefits (no discount/inflation rate) must completely cover project’s capital cost | N/A | N/A | Four years worth of Benefits (no discount/inflation rate) must completely cover project’s capital cost | No RTMEP category | N/A | N/A
10 | RTMEP | Timing and Coordination between TMEP and ME Processes |  | N/A | TMEPs will be identified, reviewed by TEAC, and approved by Board before Market Efficiency long term window opens. TMEPs will also be considered for the mid-cycle update. | N/A | N/A | TMEPs will be identified, reviewed by TEAC, and approved by Board before Market Efficiency long term window opens. TMEPs will also be considered for the mid-cycle update. | No RTMEP category | N/A | N/A
11 | RTMEP | Unit Retirements in Area of Congestion |  | Announced generator deativations at time of project recommendation are considered. | Status Quo | N/A | N/A | Status Quo | No RTMEP category | N/A | N/A
15 | Benefits | Energy
16 | Benefits | Benefit Calculation Simulation Years |  | RTEP-4, RTEP, RTEP+3 and RTEP+6 | RTEP | RTEP-2, RTEP, RTEP+2, RTEP+4. In all simulated years, generation and transmission topology are set at RTEP year level. | RTEP -2, RTEP, RTEP +2, RTEP +4, RTEP +6 (Topology is representative of the year under RTEP year under study, not the RTEP year level) | RTEP-2, RTEP, RTEP+2, RTEP+4. In all simulated years, generation and transmission topology are set at RTEP year level. | RTEP-2, RTEP, RTEP+2, RTEP+4. In all simulated years, generation and transmission topology are set at RTEP year level. | RTEP-2, RTEP, RTEP+2, RTEP+4. In all simulated years, generation and transmission topology are set at RTEP year level. | RTEP-2, RTEP, RTEP+2, RTEP+4. In all simulated years, generation and transmission topology are set at RTEP year level.
17 | Benefits | Trend Simulation Years |  | RTEP-4, RTEP, RTEP+3, RTEP+6 and RTEP+10 (as needed) | Benefits are flat-lined beyond the last simulated year | RTEP-2, RTEP, RTEP+2, RTEP+4. | RTEP -2, RTEP, RTEP +2, RTEP +4, RTEP +6 (optional RTEP +10), (Trend using third order polynomial), Use polynomial trend values to replace interpolated years. | RTEP-2, RTEP, RTEP+2, RTEP+4. Linear trend replaces interpolated values as shown on slides 2 and 3 of item 03g. 10-year B/C ratio (calculated based on 10 years of annual benefit and 10 years of annual revenue requirement) should exceed 1.00 threshold | RTEP-2, RTEP, RTEP+2, RTEP+4. 10-year B/C ratio (calculated based on 10 years of annual benefit and 10 years of annual revenue requirement) should exceed 1.00 threshold | RTEP-2, RTEP, RTEP+2, RTEP+4. Interpolated between simulation years. Maximum annual benefit applied beyond the last simulation year, with annual escalation based on load projection. | RTEP-2, RTEP, RTEP+2, RTEP+4. 10-year B/C ratio (calculated based on 10 years of annual benefit and 10 years of annual revenue requirement) should exceed 1.25 threshold
18 | Benefits | Regional Benefit Calculation Period |  | 15 years from in-service year | 10 years from in-service year, capped at RTEP+10 | 15 years from in-service year, capped at RTEP+15 | 15 years from in-service year, capped at RTEP+15 | Status Quo | 15 years from in-service year, capped at RTEP+15 | 10 years from in-service year | 15 years from in-service year, capped at RTEP+15
19 | Benefits | Lower Voltage Benefit Calculation Period |  | 15 years from in-service year | 10 years from in-service year, capped at RTEP+10 | 15 years from in-service year, capped at RTEP+15 | 15 years from in-service year, capped at RTEP+15 | Status Quo | 15 years from in-service year, capped at RTEP+15 | 10 years from in-service year | 15 years from in-service year, capped at RTEP+15
25 | Benefits | Capacity
26 | Benefits | Benefit Calculation Simulation Years |  | RTEP, RTEP+3 and RTEP+6 | RPM and RTEP years | N/A | N/A | PJM/stakeholders should investigate alternative methods to do this analysis -- should be done in a transparent fashion. | Status Quo | N/A | N/A
27 | Benefits | Regional Benefit Calculation Period |  | 15 years | 2 years | N/A | N/A | PJM/stakeholders should investigate alternative methods to do this analysis -- should be done in a transparent fashion. | Status Quo | N/A | N/A
28 | Benefits | Lower Voltage Benefit Calculation Period |  | 15 years | 2 years | N/A | N/A | PJM/stakeholders should investigate alternative methods to do this analysis -- should be done in a transparent fashion. | Status Quo | N/A | N/A
29 | Benefits | In-Service for RPM Market |  | No restrictions | To be in service prior to establishing planning parameters for the next BRA planning period. In the event a transmission expansion cannot be attained by the RPM year, PJM will consider capacity market solutions beyond RPM year, and before RTEP year. | N/A | N/A | PJM/stakeholders should investigate alternative methods to do this analysis -- should be done in a transparent fashion. | Status Quo | N/A | N/A
30 | Benefits | Benefit Adjustment for In-Service Date |  | N/A | Capacity benefits of projects that are proposed to be in service later than the RPM year will be adjusted to account for any savings forgone due to later in-service date | N/A | N/A | PJM/stakeholders should investigate alternative methods to do this analysis -- should be done in a transparent fashion. | Status Quo | N/A | N/A
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45

## Package Details
Market Efficiency Process Enhancement Task Force
[IssueTitle]
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
6 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
7 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
8 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
9 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
10 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
11 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
12 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
13 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
14 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
15 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
16 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
17 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
18 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
19 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
20 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
21 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
22 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
23 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
24 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
25 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
26 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
27 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
28 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
29 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
30 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
31 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
32 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
33 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
34 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
35 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
36 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
37 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>