## file_format
Registration | Account | Date | Type | UOM | HE1 | HE2 | HE3 | HE4 | HE5 | HE6 | HE7 | HE8 | HE9 | HE10 | HE11 | HE12 | HE13 | HE14 | HE15 | HE16 | HE17 | HE18 | HE19 | HE20 | HE21 | HE22 | HE23 | HE24 | HE25
1234567 | 0123456789 | 2020-06-01 | GLD_Generation | KW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 578 | 675 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1234567 | 0123456789 | 2020-06-01 | Hourly_Load | KW | 4617 | 4443 | 4370 | 4289 | 4186 | 4452 | 4932 | 5233 | 5515 | 5853 | 6090 | 6255 | 4678 | 3567 | 3379 | 3254 | 3181 | 3007 | 3865 | 4770 | 5641 | 5507 | 5169 | 4846

## Instructions
General Notes for the File Format:
1 | GLD compliance is to be uploaded into DRHUB as HOURLY.
2 | Please note that formats for the data in the Account column is "TEXT", and Date column is "DATE". For all other columns and the Header the "GENERAL" format is acceptable.
3 | Please note that date values are Hour Ending and ought be in Eastern Prevailing Time.
4 | Please upload data for all hours of each day.
5 | Please note data must be hourly KWH consumption data.
6 | Load data must be uploaded into DR Hub no more than 45 days after the end of the month of the event day.
Colum Headers Definition:
Registration | The registration number generated by DRHUB.
Account | EDC account number assigned to the location on the registration.
Date | Date of electricity consumption.
Type | Type of meter data. Must be "Hourly_Load". Must also include "GLD_Generation" which needs to be the generation output.
UOM | Units of Measurement for meter data. Must be "KW".
HE1-HE25 | Meter value of the intervals of the day (see DST notes for DST days).
IMPORTANT: | Meter Data files must be in .csv format or they will not upload successfully into DRHUB.
Conversion to .CSV:
1 | Select "file_format" tab.
2 | Click "File" and then click "Save As".
3 | Choose "Save as type:" - and select the type "CSV (Comma delimited) (*.csv)" from dropdown.
4 | Click "File" and then click "Close".
5 | Excel dialog box will ask if you want to save changes - click "YES".
6 | Excel dialog box will *again* ask if you want to save changes - click "Save".
7 | Excel dialog box will point out that there may be incompatible features and ask if you want to keep the format - click "Yes"
8 | At this point the Excel book ought close.
9 | In your destination directory there will be a .CSV file with the name you assigned to it.
10 | This .csv file is ready for upload into DRHUB.
Note: | If you wish to view the contents of the .csv file, it is recommended that you
open the file with notepad since opening it in Excel will cause any leading 0 's in the Account number to vanish.
Generation | The hourly integrated output from a generator used to provide Guaranteed Load Drop. This method may only be utilized if the generation would not have otherwise been deployed on the emergency or pre-emergency event or test day and must comply with the provisions contained in the PJM Manuals

## DST Notes
Day Light Savings Days
Long Day (Fall): System expects to have 25 values on the long day.
|  | Registration | Account | Date | Type | UOM | HE1 | HE2 | HE3 | HE4 | HE5 | HE6 | HE7 | HE8 | HE9 | HE10 | HE11 | HE12 | HE13 | HE14 | HE15 | HE16 | HE17 | HE18 | HE19 | HE20 | HE21 | HE22 | HE23 | HE24 | HE25
|  | 1234567 | 0123456789 | 2020-11-01 | Hourly_Load | KW | 4617 | 4443 | 4370 | 4289 | 4186 | 4452 | 4932 | 5233 | 5515 | 5853 | 6090 | 6255 | 5349 | 3487 | 3379 | 3254 | 3181 | 3007 | 3865 | 4770 | 5641 | 5507 | 5169 | 4846 | 4967
Short Day (Spring): System expects to have 24 value on the short day. For the HE 3 you should have zero value, not null.
|  | Registration | Account | Date | Type | UOM | HE1 | HE2 | HE3 | HE4 | HE5 | HE6 | HE7 | HE8 | HE9 | HE10 | HE11 | HE12 | HE13 | HE14 | HE15 | HE16 | HE17 | HE18 | HE19 | HE20 | HE21 | HE22 | HE23 | HE24 | HE25
|  | 1234567 | 0123456789 | 2020-03-08 | Hourly_Load | KW | 4655 | 4498 | 0 | 4217 | 4237 | 4656 | 5019 | 5221 | 5565 | 5853 | 6255 | 6370 | 6437 | 6567 | 6542 | 6652 | 6515 | 6177 | 6025 | 5906 | 5745 | 5561 | 5307 | 4944
| Normal Day: | System expects to have 24 hours of data except for the DST day in the fall.