## Sheet1
LMP Bus Model Update - March 10, 2021
Buses Added
Pnode ID | Tx Zone | Substation | Voltage | Equipment
2156111391 | AECO | MANVILTP | 69 KV | LOAD
2156111390 | AECO | VALEPKTP | 69 KV | LOAD
2156111389 | AECO | WHEATOTP | 69 KV | BETA
2156111399 | AEP | ADA | 69 KV | LOAD
2156111398 | AEP | BEAVERDM | 69 KV | LOAD
2156111612 | AEP | CAPITALA | 34.5 KV | STJOESP
2156111393 | AEP | GUYANDOT | 138 KV | MARIANNA
2156111400 | AEP | LAFAYETT | 69 KV | LOAD
2156111397 | AEP | VIKINGSW | 138 KV | T1
2156111396 | AEP | WAKATOMI | 138 KV | T1
2156111394 | AEP | WYTHE | 138 KV | T5
2156111392 | APS | SULPHRCI | 34.5 KV | AUXLOAD
2156111610 | APS | SULPHRCI | 34.5 KV | BLACKRWF
2156111407 | ATSI | MAGELLAN | 138 KV | TR1_LD
2156111406 | ATSI | MAGELLAN | 138 KV | TR2_LD
2156111405 | ATSI | MAGELLAN | 138 KV | TR3_LD
2156111611 | COMED | 133 ROCK | 34.5 KV | STERLBS
2156111615 | DOM | ALTON | 34.5 KV | ALTPOSSP
2156111403 | DOM | BEAUMEAD | 35 KV | TX6LD
2156111616 | DOM | FENTRES4 | 35 KV | CNVLPKSP
2156111617 | DOM | GRASSFID | 35 KV | GRASFDSP
2156111618 | DOM | POCATY | 34.5 KV | POCATYSP
2156111614 | DOM | SMTHPOND | 34.5 KV | MERRINSP
2156111404 | DOM | SOCKMAN | 36.5 KV | LOAD
2156111402 | DOM | TAUSSIG | 34 KV | TX6
2156111386 | METED | CMPBLTWN | 69 KV | HERSHEYB
2156111387 | METED | PEACHST | 69 KV | PEACHLD
2156111369 | PECO | COLWYN | 35 KV | 132
2156111370 | PECO | COLWYN | 35 KV | 133
2156111367 | PECO | MONROEPE | 35 KV | LD_1
2156111368 | PECO | MONROEPE | 35 KV | LD_2
2156111388 | PENELEC | ALTOONA | 46 KV | WLMBRGLD
2156111380 | PPL | FIRSTQUA | 69 KV | T1LOAD
2156111379 | PPL | FIRSTQUA | 69 KV | T2LOAD
2156111385 | PPL | HOWMET | 69 KV | HOWM_LD1
2156111384 | PPL | HOWMET | 69 KV | HOWM_LD2
2156111376 | PPL | JERSEYSH | 69 KV | T1LOAD
2156111377 | PPL | JERSEYSH | 69 KV | T2LOAD
2156111381 | PPL | JERSEYSS | 69 KV | JESTLOAD
2156111378 | PPL | LARRYSCR | 69 KV | LACRLOAD
2156111375 | PPL | LEWISBRG | 69 KV | ALWDLOAD
2156111374 | PPL | LOCKHAVE | 69 KV | T2LOAD
2156111383 | PPL | WOOLRICH | 69 KV | WOOL_LD1
2156111382 | PPL | WOOLRICH | 69 KV | WOOL_LD2
2041943129 | PSEG | CAMDEN | 69 KV | T-1LOAD
Buses Deleted
Pnode ID | Tx Zone | Substation | Voltage | Equipment
50842 | AECO | BUTLER | 69 KV | VCLP
119118211 | AECO | HIGBEE | 23 KV | CT C
119118213 | AECO | HIGBEE | 23 KV | CT D
50857 | AECO | HIGBEE | 69 KV | CT B
50859 | AECO | MIDD AE | 69 KV | CT_1
50860 | AECO | MIDD AE | 69 KV | CT_2
50861 | AECO | MIDD AE | 69 KV | CT_3
61482291 | AECO | QUINTON | 69 KV | QUITONLF
31020619 | AECO | WENONAH | 69 KV | LOAD1
31020617 | AECO | WENONAH | 69 KV | LOAD2
40243781 | AEP | BAKER | 26 KV | BS2
32410619 | AEP | BELVAAEP | 138 KV | T1B
40243833 | AEP | MUSKING2 | 18 KV | MR1
40243831 | AEP | MUSKING2 | 18 KV | MR2
1869180300 | AEP | NCOSHOCT | 69 KV | BTM
40243865 | AEP | TANNERSC | 13.8 KV | TC1
40243867 | AEP | TANNERSC | 13.8 KV | TC2
40243863 | AEP | TANNERSC | 20 KV | TC4
2041967854 | ATSI | 04CPPW41 | 69 KV | BTM
50686 | BGE | RIVERSID | 13 KV | CT 7
1123180189 | DAY | TAITCT | 13.8 KV | TAITCTBS
2155501945 | DEOK | 08IVYDL1 | 69 KV | BTM
2155501950 | DEOK | MCGUFFEY | 69 KV | BTM1
2155501951 | DEOK | MCGUFFEY | 69 KV | BTM2
119118043 | DEOK | TRENTON2 | 138 KV | BK6
1388604826 | DOM | AYDLETT | 35 KV | BTM
1305131303 | DOM | CHESAPKE | 13.8 KV | GT2
1305131305 | DOM | CHESAPKE | 13.8 KV | GT4
1439646303 | DOM | DUNNSVIL | 35 KV | BTM
1379259029 | DOM | EVERETTS | 35 KV | BTM
1439647163 | DOM | EVERETTS | 35 KV | BTM2
34887797 | DOM | FOURRIVR | 230 KV | NUG5
34887801 | DOM | HCF | 230 KV | NUG
2156109774 | DOM | HICKORY | 34.5 KV | HICK1 SP
2156109773 | DOM | HICKORY | 34.5 KV | HICK2 SP
1439647170 | DOM | HORNERTN | 35 KV | BTM2
2041963545 | DOM | HORNERTN | 36.5 KV | BTM1
34887855 | DOM | LAKINGMN | 230 KV | NUG
1218906840 | DOM | LAKINGMN | 230 KV | SS1
1379259184 | DOM | LOUISA | 35 KV | BTM
1379259048 | DOM | MURPHY | 35 KV | BTM
2156109769 | DOM | PAMPLIN | 35 KV | PAMPLNSP
1666105931 | DOM | PARMELE | 13 KV | BTMLOAD
2156109770 | DOM | POE | 35 KV | RIVES SP
1379258450 | DOM | POWHATAN | 35 KV | BTM
34886615 | DOM | SCOTLAND | 115 KV | NC
1388604896 | DOM | SCOTLAND | 13 KV | BTM
71856769 | DOM | SHACKLFD | 35 KV | SHACKLF2
1379258686 | DOM | SMITHFLD | 35 KV | BTM
1869182264 | DOM | VANDORN | 35 KV | BTM
1348256298 | DOM | WHITAKER | 35 KV | BTMWHISP
32406697 | DPL | MOTIVA | 138 KV | SS LOAD
1123180706 | EKPC | DALESTN | 13.8 KV | DALESTN1
1123180707 | EKPC | DALESTN | 13.8 KV | DALESTN2
1123180708 | EKPC | DALESTN | 13.8 KV | DALESTN3
1123180709 | EKPC | DALESTN | 13.8 KV | DALESTN4
1123174853 | EKPC | LANCAST3 | 69 KV | LD_185
50572 | PECO | SUNOIL | 13 KV | SUNOIL
49086 | PPL | ELDRED | 69 KV | FAIR
659770 | PPL | HUNLOCK | 13 KV | HUNL_3
2156109876 | PSEG | CAMDEN | 69 KV | T9_LOAD
1356147768 | PSEG | CHESTERF | 138 KV | T1
2156109865 | PSEG | MAYWOOD | 69 KV | M17
1368996202 | PSEG | MCCARTER | 230 KV | TR2
1368996201 | PSEG | MCCARTER | 230 KV | TR3
Changed From: |  |  |  |  | Changed To:
Pnode ID | Tx Zone | Substation | Voltage | Equipment | Pnode ID | Tx Zone | Substation | Voltage | Equipment
1097724703 | AEP | CAPITALA | 138 KV | TXF1 | 2156111395 | AEP | CAPITALA | 34.5 KV | T1_LD
1552845035 | DOM | OLDCHRCH | 20 KV | MECHVLSP | 2156111613 | DOM | OLDCHRCH | 35 KV | MECHVLSP
1183224654 | DOM | SNORFOLK | 34.5 KV | TX5 | 2156111401 | DOM | SNORFOLK | 34.5 KV | TX1
2156109529 | PPL | ELDRED | 69 KV | EXCH | 2156111371 | PPL | ELDRED | 69 KV | EXCH1_LD
49088 | PPL | ELDRED | 69 KV | REED | 2156111372 | PPL | ELDRED | 69 KV | EXCH2_LD
49119 | PPL | LOCKHAVE | 69 KV | BUS_4 | 2156111373 | PPL | LOCKHAVE | 69 KV | T1LOAD
2156110036 | PSEG | DEVILSBR | 230 KV | BLKRCKSP | 2156111608 | PSEG | DEVILSBR | 13 KV | BLKRCKSP
2156110034 | PSEG | DEVILSBR | 230 KV | CRANB1SP | 93353961 | PSEG | DEVILSBR | 13 KV | CRANB1SP
2156110033 | PSEG | DEVILSBR | 230 KV | CRANB2SP | 93353963 | PSEG | DEVILSBR | 13 KV | CRANB2SP
2156110035 | PSEG | DEVILSBR | 230 KV | DEVILSSP | 2156111607 | PSEG | DEVILSBR | 13 KV | DEVILSSP
2155501804 | PSEG | DEVILSBR | 230 KV | T1LD | 2156111364 | PSEG | DEVILSBR | 13 KV | T1LD
2155501803 | PSEG | DEVILSBR | 230 KV | T2LD | 2156111365 | PSEG | DEVILSBR | 13 KV | T2LD
1368996199 | PSEG | MCCARTER | 230 KV | TR1 | 2156111366 | PSEG | MCCARTER | 26 KV | XFMRLD
48934139 | PSEG | NEWARK | 26 KV | UMD | 2156111609 | PSEG | MCCARTER | 26 KV | UMD
1305116348 | PSEG | PENHORN | 230 KV | T3 | 48715 | PSEG | PENHORN | 230 KV | T-1
1305116347 | PSEG | PENHORN | 230 KV | T4 | 48716 | PSEG | PENHORN | 230 KV | T-2
Aggregates Added
Pnode ID | Name
Aggregates Deleted
Pnode ID | Name
210019 | VCLP
278227 | MISSOURI AVE CT B
51272 | SUNOIL
278226 | MIDDLE 3 CT
278228 | MISSOURI AVE CT C
278229 | MISSOURI AVE CT D
1072629098 | DECAM COAL GEN
278224 | MIDDLE 1 CT
278225 | MIDDLE 2 CT