## Facilities
Equipment Name | Contingency Description | Required MW Increase in Capability Limits | Type | Reason for Infeasibility
ALLDAM6 138 KV ALL-KIT_I | L345.Armstrong-HomerCity | 107 | Internal PJM | Transmission Outage
ALLLUD4J138 KV ALJ-ALL_I | L345.Armstrong-HomerCity | 107 | Internal PJM | Transmission Outage
APCI 115 KV APC-GEN_Z | L345.ErieWest-Wayne.3004 | 71 | Internal PJM | Transmission Outage
APCI 115 KV API-FRN_I | L345.ErieWest-Wayne.3004 | 69 | Internal PJM | Transmission Outage
ARMSTRON138 KV ARM-KIT_Z | L345.Armstrong-HomerCity | 30 | Internal PJM | Transmission Outage
BARNJNDP115 KV 33B_Z | L500.Clover-Rawlings.556 | 527 | Internal PJM | Transmission Outage
BARTONVI138 KV BAR-MEA_Z | L500.FrontRoyal-Morrisville.541 | 24 | Internal PJM | Transmission Outage
Batesville-Hubble 138 l/o Tanners Crk-Miami Fort 345 |  | 96 | M2M Flowgate | Network Load
BIGPINET138 KV BIG-GAR_I | L345.Armstrong-HomerCity | 132 | Internal PJM | Transmission Outage
BIGPINET138 KV BIG-KIS_Z | L345.Armstrong-HomerCity | 132 | Internal PJM | Transmission Outage
BURMA 115 KV BUR-PIN_I | L345.HandsomeLake-Wayne | 140 | Internal PJM | Transmission Outage
BURMA 138 KV T1_I | L345.HandsomeLake-Wayne | 127 | Internal PJM | Transmission Outage
Cayuga 345/230 XFMR 9 (flo) Cayuga 345/230 XFMR 10 |  | 2 | M2M Flowgate | Network Load
CHASECTY115 KV 33A_Z | L500.Clover-Rawlings.556 | 524 | Internal PJM | Transmission Outage
Cherry Valley Silver Lake 15616 345kV l/o Byron-Wayne 0626 345 kV |  | 82 | M2M Flowgate | Network Load
CONASTON500 KV CNS-PEA_Z |  | 44 | Internal PJM | Transmission Outage
COOPERPE230 KV COO-GRA_I | L500.Conastone-PeachBottom.5012 | 386 | Internal PJM | Transmission Outage
COOPERPE230 KV COO-PEA_Z | L500.Conastone-PeachBottom.5012 | 401 | Internal PJM | Transmission Outage
DIXONVIL115 KV DIX-GLO_Z | L345.Armstrong-HomerCity | 7 | Internal PJM | Transmission Outage
DIXONVIL115 KV DIX-TRA_I | L345.Armstrong-HomerCity | 3 | Internal PJM | Transmission Outage
DUBOIS 115 KV DUB-ROC_Z | L345.HandsomeLake-Wayne | 13 | Internal PJM | Transmission Outage
ECLIPSE 115 KV ECL-PIN_Z | L345.HandsomeLake-Wayne | 88 | Internal PJM | Transmission Outage
ECLIPSE 115 KV ECL-UTI_I | L345.HandsomeLake-Wayne | 88 | Internal PJM | Transmission Outage
Fargo XF 3 l/o Maple Rid-Tazwell 345kV |  | 10 | M2M Flowgate | Network Load
FRANKTAP115 KV FRN-GEN1_I | L345.ErieWest-Wayne.3004 | 78 | Internal PJM | Transmission Outage
FRANKTAP115 KV FRN-MOR_I | L345.ErieWest-Wayne.3004 | 70 | Internal PJM | Transmission Outage
FRANKTAP115 KV FRN-WAY_Z | L345.ErieWest-Wayne.3004 | 42 | Internal PJM | Transmission Outage
Grand Mound - Maquoketa 161 kV l/o Rock Creek - Salem 345 kV |  | 3 | M2M Flowgate | Network Load
GRANDVIE115 KV GRA-HAY_Z | L345.HandsomeLake-Wayne | 67 | Internal PJM | Transmission Outage
GRANDVIE115 KV GRA-TIT_I | L345.ErieWest-Wayne.3004 | 34 | Internal PJM | Transmission Outage
HAYNIE 115 KV HAY-PIN_Z | L345.HandsomeLake-Wayne | 79 | Internal PJM | Transmission Outage
HEBRON 69 KV HEB-MAR_Z | L138.Loretto-Vienna.13780 | 6 | Internal PJM | Transmission Outage
JACK ME 230 KV JAC-TMI_Z | L500.Conastone-PeachBottom.5012 | 78 | Internal PJM | Transmission Outage
Labadie-GraySummit 2 345 kV l/o Labadie-GraySummit 1 345 kV |  | 75 | M2M Flowgate | Network Load
Lakeview-Zion 138 l/o Pleasant Prairie-Zion 345+Pleasant Prairie-Zion EC 345 |  | 31 | M2M Flowgate | Network Load
MANOR 69 KV MAN-SAF2_Z | L500.Greensville-RogersRoad.596 + Greensville.CC | 5 | Internal PJM | Transmission Outage
MANOR 69 KV MAN-SAF2_Z |  | 27 | Internal PJM | Transmission Outage
MARDELA 69 KV MAR-VIE_Z | L138.Loretto-Vienna.13780 | 10 | Internal PJM | Transmission Outage
MDSNVLDP115 KV 154E1_Z | L500.Clover-Rawlings.556 | 30 | Internal PJM | Transmission Outage
Monroe-Lallendorf 345 kV l/o Lulu 345 kV Sub |  | 296 | M2M Flowgate | Network Load
Monroe-Lallendorf l/o Morocco-Allen Junction |  | 296 | M2M Flowgate | Network Load
Montgomery_Labadie_345_flo_Callaway_Bland_345 |  | 58 | M2M Flowgate | Network Load
MORGANST115 KV MOR-VEN_I | L345.ErieWest-Wayne.3004 | 63 | Internal PJM | Transmission Outage
MTLAURE4115 KV 33C1_Z | L500.Clover-Rawlings.556 | 530 | Internal PJM | Transmission Outage
Nelson 345/138 TR82 l/o Nelson 345/138 TR81 |  | 39 | M2M Flowgate | Network Load
NOTTINGH230 KV 1-3_I | L500.Conastone-PeachBottom.5012 | 414 | Internal PJM | Transmission Outage
NOTTINGH230 KV 2-3_I | L500.Conastone-PeachBottom.5012 | 414 | Internal PJM | Transmission Outage
NOTTINGH230 KV NOT-PEA_I | L500.Conastone-PeachBottom.5012 | 403 | Internal PJM | Transmission Outage
Nucor-Whitestown 345 kV l/o Rockport-Jefferson 765 kV |  | 97 | M2M Flowgate | Network Load
PAMPLIN 115 KV 154D_Z | L500.Clover-Rawlings.556 | 28 | Internal PJM | Transmission Outage
Quad Cities - Cordova 0402 345kV l/o Quad Cities - Cordova 0403 345kV |  | 182 | M2M Flowgate | Network Load
RockCreek - Dewitt 161 l/o QuadCities - Sub 91 345 & Sub 91 XF |  | 38 | M2M Flowgate | Network Load
ROCKTONM115 KV ROC-SHA_Z | L345.HandsomeLake-Wayne | 13 | Internal PJM | Transmission Outage
ROCKTONM115 KV ROC-SHA_Z |  | 6 | Internal PJM | Transmission Outage
Roxana-Praxair 1 138 kV l/o Wilton Center-Dumont 765 kV |  | 3 | M2M Flowgate | Network Load
Roxana-Praxair 138 kV l/o Gary Ave-Sheffield 345 kV |  | 5 | M2M Flowgate | Network Load
Roxana-Praxair 138 kV l/o Inland5-Marktown 138 kV |  | 3 | M2M Flowgate | Network Load
ROXBURY 138 KV NO2 TX_Z | L500.Conastone-PeachBottom.5012 | 14 | Internal PJM | Transmission Outage
Sandburg xfmr 3 l/o Oak Grove - Sandburg 345 kV |  | 123 | M2M Flowgate | Network Load
SEDGEHIL230 KV TX1_I | L500.Clover-Rawlings.556 | 185 | Internal PJM | Transmission Outage
SEDGEHIL230 KV TX2_I | L500.Clover-Rawlings.556 | 165 | Internal PJM | Transmission Outage
Sub85 - Sub18 161 flo OakGrove - Louisa 345 |  | 20 | M2M Flowgate | Network Load
Sullivan-Petersburg 345 l/o Rockport-Jefferson 765 |  | 299 | M2M Flowgate | Network Load
TITUSVIL115 KV TIT-UNI_I | L345.ErieWest-Wayne.3004 | 39 | Internal PJM | Transmission Outage
TMI 500 KV 1 BANK_I | L500.Conastone-PeachBottom.5012 | 56 | Internal PJM | Network Load
UTICAJCT115 KV UTI-WAY_I | L345.HandsomeLake-Wayne | 61 | Internal PJM | Transmission Outage
Wilson XF 2 161/345 l/o Wilson XF 1 345/161 |  | 9 | M2M Flowgate | Network Load

## ARR Paths
Source | Sink | Infeasible MW Quantity
100 SHAD34.5 KV GSG6WF | COMED_RESID_AGG | 3.7
107 DIXO34.5 KV SUBLETTE | COMED_RESID_AGG | 0.8
139 MEND34.5 KV WBROOKWF | COMED_RESID_AGG | 0.9
4 QUAD C18 KV QC-1 | BATAVIA | 2.5
4 QUAD C18 KV QC-1 | COMED_RESID_AGG | 547.1
4 QUAD C18 KV QC-1 | GENEVA | 1.3
4 QUAD C18 KV QC-1 | N ILLINOIS HUB | 106.4
4 QUAD C18 KV QC-1 | NAPERVILLE | 9
4 QUAD C18 KV QC-1 | ROCHELLE | 0.8
4 QUAD C18 KV QC-1 | ST. CHARLES | 3.1
4 QUAD C18 KV QC-2 | BATAVIA | 2.5
4 QUAD C18 KV QC-2 | COMED_RESID_AGG | 547.5
4 QUAD C18 KV QC-2 | GENEVA | 1.3
4 QUAD C18 KV QC-2 | N ILLINOIS HUB | 248.1
4 QUAD C18 KV QC-2 | NAPERVILLE | 9
4 QUAD C18 KV QC-2 | ROCHELLE | 0.8
4 QUAD C18 KV QC-2 | ST. CHARLES | 3.1
6 BYRON 25 KV BY-1 | BATAVIA | 1
6 BYRON 25 KV BY-1 | COMED_RESID_AGG | 414.5
6 BYRON 25 KV BY-1 | GENEVA | 0.6
6 BYRON 25 KV BY-1 | N ILLINOIS HUB | 50.9
6 BYRON 25 KV BY-1 | NAPERVILLE | 6.2
6 BYRON 25 KV BY-1 | ST. CHARLES | 1.2
6 BYRON 25 KV BY-2 | BATAVIA | 1
6 BYRON 25 KV BY-2 | COMED_RESID_AGG | 403.7
6 BYRON 25 KV BY-2 | GENEVA | 0.6
6 BYRON 25 KV BY-2 | N ILLINOIS HUB | 118.8
6 BYRON 25 KV BY-2 | NAPERVILLE | 6
6 BYRON 25 KV BY-2 | ST. CHARLES | 1.2
937 LEE 13.5 KV LEE31-1 | BATAVIA | 0.2
937 LEE 13.5 KV LEE31-1 | COMED_RESID_AGG | 44.8
937 LEE 13.5 KV LEE31-1 | GENEVA | 0.1
937 LEE 13.5 KV LEE31-1 | NAPERVILLE | 0.7
937 LEE 13.5 KV LEE31-1 | ST. CHARLES | 0.2
937 LEE 13.5 KV LEE31-2 | BATAVIA | 0.2
937 LEE 13.5 KV LEE31-2 | COMED_RESID_AGG | 44.8
937 LEE 13.5 KV LEE31-2 | GENEVA | 0.1
937 LEE 13.5 KV LEE31-2 | NAPERVILLE | 0.7
937 LEE 13.5 KV LEE31-2 | ST. CHARLES | 0.2
937 LEE 13.5 KV LEE32-1 | BATAVIA | 0.1
937 LEE 13.5 KV LEE32-1 | COMED_RESID_AGG | 23.2
937 LEE 13.5 KV LEE32-1 | GENEVA | 0.1
937 LEE 13.5 KV LEE32-1 | NAPERVILLE | 0.3
937 LEE 13.5 KV LEE32-1 | ST. CHARLES | 0.1
937 LEE 13.5 KV LEE32-2 | BATAVIA | 0.1
937 LEE 13.5 KV LEE32-2 | COMED_RESID_AGG | 23.2
937 LEE 13.5 KV LEE32-2 | GENEVA | 0.1
937 LEE 13.5 KV LEE32-2 | NAPERVILLE | 0.3
937 LEE 13.5 KV LEE32-2 | ST. CHARLES | 0.1
937 LEE 13.5 KV LEE33-1 | BATAVIA | 0.2
937 LEE 13.5 KV LEE33-1 | COMED_RESID_AGG | 44
937 LEE 13.5 KV LEE33-1 | GENEVA | 0.1
937 LEE 13.5 KV LEE33-1 | NAPERVILLE | 0.7
937 LEE 13.5 KV LEE33-1 | ST. CHARLES | 0.2
937 LEE 13.5 KV LEE33-2 | BATAVIA | 0.2
937 LEE 13.5 KV LEE33-2 | COMED_RESID_AGG | 43.9
937 LEE 13.5 KV LEE33-2 | GENEVA | 0.1
937 LEE 13.5 KV LEE33-2 | NAPERVILLE | 0.7
937 LEE 13.5 KV LEE33-2 | ST. CHARLES | 0.2
937 LEE 13.5 KV LEE34-1 | BATAVIA | 0.1
937 LEE 13.5 KV LEE34-1 | COMED_RESID_AGG | 23
937 LEE 13.5 KV LEE34-1 | GENEVA | 0.1
937 LEE 13.5 KV LEE34-1 | NAPERVILLE | 0.3
937 LEE 13.5 KV LEE34-1 | ST. CHARLES | 0.1
937 LEE 13.5 KV LEE34-2 | BATAVIA | 0.1
937 LEE 13.5 KV LEE34-2 | COMED_RESID_AGG | 23
937 LEE 13.5 KV LEE34-2 | GENEVA | 0.1
937 LEE 13.5 KV LEE34-2 | NAPERVILLE | 0.3
937 LEE 13.5 KV LEE34-2 | ST. CHARLES | 0.1
940 CORD18 KV CD-1 | BATAVIA | 0.4
940 CORD18 KV CD-1 | COMED_RESID_AGG | 93
940 CORD18 KV CD-1 | GENEVA | 0.2
940 CORD18 KV CD-1 | NAPERVILLE | 1.5
940 CORD18 KV CD-1 | ROCHELLE | 0.1
940 CORD18 KV CD-1 | ST. CHARLES | 0.5
940 CORD18 KV CD-2 | BATAVIA | 0.4
940 CORD18 KV CD-2 | COMED_RESID_AGG | 92.8
940 CORD18 KV CD-2 | GENEVA | 0.2
940 CORD18 KV CD-2 | NAPERVILLE | 1.5
940 CORD18 KV CD-2 | ROCHELLE | 0.1
940 CORD18 KV CD-2 | ST. CHARLES | 0.5
952 ROCK16 KV RO11 | COMED_RESID_AGG | 36.6
952 ROCK16 KV RO11 | NAPERVILLE | 0.6
952 ROCK16 KV RO12 | COMED_RESID_AGG | 36.2
952 ROCK16 KV RO12 | NAPERVILLE | 0.6
959ERDBS34.5 KV BSWFBRS1 | BATAVIA | 0.1
959ERDBS34.5 KV BSWFBRS1 | COMED_RESID_AGG | 18.8
959ERDBS34.5 KV BSWFBRS1 | GENEVA | 0.1
959ERDBS34.5 KV BSWFBRS1 | NAPERVILLE | 0.3
959ERDBS34.5 KV BSWFBRS1 | ST. CHARLES | 0.1
969 ECOG34.5 KV LENAWF | COMED_RESID_AGG | 5.7
969 ECOG34.5 KV LENAWF | NAPERVILLE | 0.1
982 ROCK16 KV RO21 | COMED_RESID_AGG | 29.2
982 ROCK16 KV RO21 | NAPERVILLE | 0.6
ASYLUM 23 KV LIBRTY10 | BGE_RESID_AGG | 16.4
ASYLUM 23 KV LIBRTY10 | PENELEC_RESID_AGG | 134.3
ASYLUM 23 KV LIBRTY10 | PEPCO DC | 4.9
ASYLUM 23 KV LIBRTY10 | PEPCO MD | 6.9
ASYLUM 23 KV LIBRTY10 | SMECO_RESID_AGG | 1.2
ASYLUM 23 KV LIBRTY10 | WELLSBORO | 1.2
BIRDBORO23 KV CT1 | PENELEC_RESID_AGG | 112.5
BIRDBORO23 KV CT1 | WELLSBORO | 1
BLAIRSVE22 KV CONMDMUN | PENELEC_RESID_AGG | 4.5
BLOSSBUR13 KV UNITCT | PENELEC_RESID_AGG | 19.6
BLOSSBUR13 KV UNITCT | WELLSBORO | 0.3
BLUECREE34.5 KV BLUEC3WF | AEPAPCO_RESID_AGG | 1.5
BLUECREE34.5 KV BLUEC3WF | AEPKY_RESID_AGG | 1.7
BLUECREE34.5 KV BLUEC3WF | AEPOHIO W.O. MON POWER | 2.7
BLUECREE34.5 KV BLUEC3WF | AMP-ATSI OH | 0.8
BLUECREE34.5 KV BLUEC3WF | AMP-OHIO | 0.1
BLUECREE34.5 KV BLUEC3WF | BLUE RIDGE | 0.6
BLUECREE34.5 KV BLUEC3WF | CPP | 0.8
CLIFTYCR15.5 KV CC1 | AEPAPCO_RESID_AGG | 92.7
CLIFTYCR15.5 KV CC1 | APS_RESID_AGG | 8.8
CLIFTYCR15.5 KV CC1 | DAY_RESID_AGG | 32.1
CLOVER 25 KV G1 | DOM_RESID_AGG | 253.7
CLOVER 25 KV G2 | DOM_RESID_AGG | 252.4
CONEMAUG115 KV DIESEL | BGE_RESID_AGG | 0.1
CONEMAUG22 KV UNIT 1 | AMP-METED | 0.4
CONEMAUG22 KV UNIT 1 | BGE_RESID_AGG | 40.3
CONEMAUG22 KV UNIT 1 | METED | 9.8
CONEMAUG22 KV UNIT 1 | METED_RESID_AGG | 87.2
CONEMAUG22 KV UNIT 1 | PEPCO DC | 8.7
CONEMAUG22 KV UNIT 1 | PEPCO MD | 11.4
CONEMAUG22 KV UNIT 1 | PPL_RESID_AGG | 0.4
CONEMAUG22 KV UNIT 1 | PSEG_RESID_AGG | 0.1
CONEMAUG22 KV UNIT 1 | SMECO_RESID_AGG | 3.5
CONEMAUG22 KV UNIT02 | AMP-METED | 0.4
CONEMAUG22 KV UNIT02 | BGE_RESID_AGG | 40.1
CONEMAUG22 KV UNIT02 | METED | 9.8
CONEMAUG22 KV UNIT02 | METED_RESID_AGG | 80
CONEMAUG22 KV UNIT02 | PEPCO DC | 8.7
CONEMAUG22 KV UNIT02 | PEPCO MD | 11.4
CONEMAUG22 KV UNIT02 | PSEG_RESID_AGG | 0.1
CONEMAUG22 KV UNIT02 | SMECO_RESID_AGG | 3.5
CONOWING13 KV G10 | PECO_RESID_AGG | 0.1
CONOWING13 KV G11 | PECO_RESID_AGG | 0.1
CONOWING13 KV GEN8 | PECO_RESID_AGG | 0.1
CONOWING13 KV GEN9 | PECO_RESID_AGG | 0.1
COOK 26 KV CK1 | AEPAPCO_RESID_AGG | 242.9
COOK 26 KV CK1 | AEPKY_RESID_AGG | 42.4
COOK 26 KV CK1 | AEPOHIO W.O. MON POWER | 203.5
COOK 26 KV CK1 | AMP-OHIO | 2
COOK 26 KV CK1 | BLUE RIDGE | 12.7
COOK 26 KV CK1 | BUCK-CIN | 0.4
COOK 26 KV CK1 | BUCKEYE - AEPOH | 4.2
COOK 26 KV CK1 | BUCKEYE - DPL | 1.5
COOK 26 KV CK1 | BUCK-FE | 1.1
COOK 26 KV CK2 | AEPAPCO_RESID_AGG | 251.7
COOK 26 KV CK2 | AEPKY_RESID_AGG | 43.7
COOK 26 KV CK2 | AEPOHIO W.O. MON POWER | 183
COOK 26 KV CK2 | AMP-OHIO | 1.9
COOK 26 KV CK2 | BLUE RIDGE | 13.2
COOK 26 KV CK2 | BUCK-CIN | 0.4
COOK 26 KV CK2 | BUCKEYE - AEPOH | 4.1
COOK 26 KV CK2 | BUCKEYE - DPL | 1.5
COOK 26 KV CK2 | BUCK-FE | 1.2
COOP_EK 13.8 KV COOPER01 | EKPC-DEOK LOAD | 0.9
COOP_EK 20 KV COOPER02 | EKPC-DEOK LOAD | 1.7
CORNU 18 KV 1GT1 | BUCK-CIN | 0.1
COVERT 16 KV 1GTG | AEPAPCO_RESID_AGG | 34.3
COVERT 16 KV 1GTG | AEPKY_RESID_AGG | 44.7
COVERT 16 KV 1GTG | AEPOHIO W.O. MON POWER | 272.3
COVERT 16 KV 1GTG | AK STEEL | 0.5
COVERT 16 KV 1GTG | AMP-OHIO | 2.9
COVERT 16 KV 1GTG | BLUE RIDGE | 13.2
COVERT 16 KV 1GTG | BUCK-CIN | 0.5
COVERT 16 KV 1GTG | BUCKEYE - AEPOH | 6.6
COVERT 16 KV 1GTG | BUCKEYE - DPL | 2.1
COVERT 16 KV 1GTG | BUCK-FE | 1.8
DEEPCRK 12 KV NO 1 G | PENELEC_RESID_AGG | 0.3
DEEPCRK 12 KV NO 2 G | PENELEC_RESID_AGG | 0.2
DELA DPL13 KV G1 | DPL_ODEC | 3.1
DELA DPL13 KV G10 | DPL_ODEC | 1
DELA DPL13 KV G2 | DPL_ODEC | 3.2
DLTAPLNT13.8 KV GEN1 | AMP-ATSI OH | 0.8
DLTAPLNT13.8 KV GEN1 | BGE_RESID_AGG | 11.5
DLTAPLNT13.8 KV GEN1 | CPP | 0.6
DLTAPLNT13.8 KV GEN1 | DEOK_RESID_AGG | 26.7
DLTAPLNT13.8 KV GEN1 | DUQ_RESID_AGG | 4.1
DLTAPLNT13.8 KV GEN1 | EKPC_RESID_AGG | 2.1
DLTAPLNT13.8 KV GEN1 | EKPC-DEOK LOAD | 0.1
DLTAPLNT13.8 KV GEN1 | FEOHIO_RESID_AGG | 16.1
DLTAPLNT13.8 KV GEN1 | PENNPOWER_RESID_AGG | 0.2
DLTAPLNT13.8 KV GEN1 | PEPCO DC | 5.6
DLTAPLNT13.8 KV GEN1 | PEPCO MD | 8.1
DLTAPLNT13.8 KV GEN1 | SMECO_RESID_AGG | 1.4
DLTAPLNT13.8 KV GEN2 | AMP-ATSI OH | 0.9
DLTAPLNT13.8 KV GEN2 | BGE_RESID_AGG | 12.1
DLTAPLNT13.8 KV GEN2 | CPP | 0.6
DLTAPLNT13.8 KV GEN2 | DEOK_RESID_AGG | 28
DLTAPLNT13.8 KV GEN2 | DUQ_RESID_AGG | 4.7
DLTAPLNT13.8 KV GEN2 | EKPC_RESID_AGG | 2.3
DLTAPLNT13.8 KV GEN2 | EKPC-DEOK LOAD | 0.1
DLTAPLNT13.8 KV GEN2 | FEOHIO_RESID_AGG | 17.4
DLTAPLNT13.8 KV GEN2 | PENNPOWER_RESID_AGG | 0.2
DLTAPLNT13.8 KV GEN2 | PEPCO DC | 5.9
DLTAPLNT13.8 KV GEN2 | PEPCO MD | 8
DLTAPLNT13.8 KV GEN2 | SMECO_RESID_AGG | 1.6
DLTAPLNT13.8 KV GEN3 | AMP-ATSI OH | 0.9
DLTAPLNT13.8 KV GEN3 | BGE_RESID_AGG | 12.1
DLTAPLNT13.8 KV GEN3 | CPP | 0.6
DLTAPLNT13.8 KV GEN3 | DEOK_RESID_AGG | 27.6
DLTAPLNT13.8 KV GEN3 | DUQ_RESID_AGG | 4.7
DLTAPLNT13.8 KV GEN3 | EKPC_RESID_AGG | 2.3
DLTAPLNT13.8 KV GEN3 | EKPC-DEOK LOAD | 0.1
DLTAPLNT13.8 KV GEN3 | FEOHIO_RESID_AGG | 17.4
DLTAPLNT13.8 KV GEN3 | PENNPOWER_RESID_AGG | 0.2
DLTAPLNT13.8 KV GEN3 | PEPCO DC | 5.6
DLTAPLNT13.8 KV GEN3 | PEPCO MD | 8
DLTAPLNT13.8 KV GEN3 | SMECO_RESID_AGG | 1.5
DLTAPLNT18 KV GEN4 | AMP-ATSI OH | 1.3
DLTAPLNT18 KV GEN4 | AMP-ATSI PA | 0.1
DLTAPLNT18 KV GEN4 | BGE_RESID_AGG | 15.1
DLTAPLNT18 KV GEN4 | CPP | 0.9
DLTAPLNT18 KV GEN4 | DEOK_RESID_AGG | 38.4
DLTAPLNT18 KV GEN4 | DUQ_RESID_AGG | 7.4
DLTAPLNT18 KV GEN4 | EKPC_RESID_AGG | 3.5
DLTAPLNT18 KV GEN4 | EKPC-DEOK LOAD | 0.1
DLTAPLNT18 KV GEN4 | FEOHIO_RESID_AGG | 28.6
DLTAPLNT18 KV GEN4 | PENNPOWER_RESID_AGG | 0.4
DLTAPLNT18 KV GEN4 | PEPCO DC | 6.5
DLTAPLNT18 KV GEN4 | PEPCO MD | 9.3
DLTAPLNT18 KV GEN4 | SMECO_RESID_AGG | 2
DLTAPLNT18 KV ST7 | BGE_RESID_AGG | 219.2
EBEND 20 KV EB2 | DEK | 136.1
EBEND 20 KV EB2 | EKPC_RESID_AGG | 5.3
EBENSBUR13 KV NUG GE | PENELEC_RESID_AGG | 39
EDGEMOOR13 KV HAYRD1 | DPL_ODEC | 0.9
EDGEMOOR13 KV HAYRD2 | DPL_ODEC | 0.1
EDGEMOOR13 KV HAYRD3 | DPL_ODEC | 7.2
EDGEMOOR13 KV HAYRD4 | DPL_ODEC | 10.3
EDGEMOOR13 KV HAYRD5 | AMP-ATSI OH | 1
EDGEMOOR13 KV HAYRD5 | BGE_RESID_AGG | 11.9
EDGEMOOR13 KV HAYRD5 | CPP | 0.8
EDGEMOOR13 KV HAYRD5 | DEOK_RESID_AGG | 29.8
EDGEMOOR13 KV HAYRD5 | EKPC_RESID_AGG | 3
EDGEMOOR13 KV HAYRD5 | EKPC-DEOK LOAD | 0.1
EDGEMOOR13 KV HAYRD5 | FEOHIO_RESID_AGG | 39
EDGEMOOR13 KV HAYRD5 | PENNPOWER_RESID_AGG | 0.3
EDGEMOOR13 KV HAYRD5 | PEPCO DC | 5.5
EDGEMOOR13 KV HAYRD5 | PEPCO MD | 7.9
EDGEMOOR13 KV HAYRD5 | SMECO_RESID_AGG | 1.6
EDGEMOOR13 KV HAYRD6 | AMP-ATSI OH | 1
EDGEMOOR13 KV HAYRD6 | BGE_RESID_AGG | 11.8
EDGEMOOR13 KV HAYRD6 | CPP | 0.8
EDGEMOOR13 KV HAYRD6 | DEOK_RESID_AGG | 29.7
EDGEMOOR13 KV HAYRD6 | EKPC_RESID_AGG | 3
EDGEMOOR13 KV HAYRD6 | EKPC-DEOK LOAD | 0.1
EDGEMOOR13 KV HAYRD6 | FEOHIO_RESID_AGG | 39
EDGEMOOR13 KV HAYRD6 | PENNPOWER_RESID_AGG | 0.3
EDGEMOOR13 KV HAYRD6 | PEPCO DC | 5.5
EDGEMOOR13 KV HAYRD6 | PEPCO MD | 8
EDGEMOOR13 KV HAYRD6 | SMECO_RESID_AGG | 1.6
EDGEMOOR13 KV HAYRD7 | AMP-ATSI OH | 1
EDGEMOOR13 KV HAYRD7 | BGE_RESID_AGG | 11.9
EDGEMOOR13 KV HAYRD7 | CPP | 0.8
EDGEMOOR13 KV HAYRD7 | DEOK_RESID_AGG | 29.8
EDGEMOOR13 KV HAYRD7 | EKPC_RESID_AGG | 3
EDGEMOOR13 KV HAYRD7 | EKPC-DEOK LOAD | 0.1
EDGEMOOR13 KV HAYRD7 | FEOHIO_RESID_AGG | 39
EDGEMOOR13 KV HAYRD7 | PENNPOWER_RESID_AGG | 0.3
EDGEMOOR13 KV HAYRD7 | PEPCO DC | 5.2
EDGEMOOR13 KV HAYRD7 | PEPCO MD | 7.7
EDGEMOOR13 KV HAYRD7 | SMECO_RESID_AGG | 1.6
EDGEMOOR13 KV UNIT03 | DPL_ODEC | 0.1
EDGEMOOR18 KV HAYRD8 | AMP-ATSI OH | 1.5
EDGEMOOR18 KV HAYRD8 | AMP-ATSI PA | 0.1
EDGEMOOR18 KV HAYRD8 | BGE_RESID_AGG | 15
EDGEMOOR18 KV HAYRD8 | CPP | 1.1
EDGEMOOR18 KV HAYRD8 | DEOK_RESID_AGG | 41.6
EDGEMOOR18 KV HAYRD8 | EKPC_RESID_AGG | 4.5
EDGEMOOR18 KV HAYRD8 | EKPC-DEOK LOAD | 0.1
EDGEMOOR18 KV HAYRD8 | FEOHIO_RESID_AGG | 50.4
EDGEMOOR18 KV HAYRD8 | PENNPOWER_RESID_AGG | 0.7
EDGEMOOR18 KV HAYRD8 | PEPCO DC | 6.1
EDGEMOOR18 KV HAYRD8 | PEPCO MD | 8.9
EDGEMOOR18 KV HAYRD8 | SMECO_RESID_AGG | 2.1
EDGEMOOR23 KV UNIT05 | DPL_ODEC | 25.5
ELKHYDRO4 KV ELK | AEPAPCO_RESID_AGG | 0.6
ELKHYDRO4 KV ELK | AEPKY_RESID_AGG | 0.1
ELKHYDRO4 KV ELK | AEPOHIO W.O. MON POWER | 0.1
ELKHYDRO4 KV ELK | BLUE RIDGE | 0.3
EVERTSUB34.5 KV ARMENIA | APS_RESID_AGG | 1.2
FAIRVWEC21 KV S1 | AMP-METED | 0.5
FAIRVWEC21 KV S1 | METED | 11.5
FAIRVWEC21 KV S1 | METED_RESID_AGG | 88.1
FAIRVWEC21 KV S1 | PENELEC_RESID_AGG | 154.8
FAIRVWEC21 KV S1 | WELLSBORO | 1.4
FOOTHILL18 KV UNIT 4 | AECO_RESID_AGG | 0.1
FOOTHILL18 KV UNIT 4 | AMP-ATSI OH | 0.6
FOOTHILL18 KV UNIT 4 | BGE_RESID_AGG | 3.1
FOOTHILL18 KV UNIT 4 | CPP | 0.3
FOOTHILL18 KV UNIT 4 | DEOK_RESID_AGG | 28.9
FOOTHILL18 KV UNIT 4 | EKPC-DEOK LOAD | 0.1
FOOTHILL18 KV UNIT 4 | FEOHIO_RESID_AGG | 6.6
FOOTHILL18 KV UNIT 5 | AECO_RESID_AGG | 0.1
FOOTHILL18 KV UNIT 5 | AMP-ATSI OH | 0.6
FOOTHILL18 KV UNIT 5 | BGE_RESID_AGG | 3.1
FOOTHILL18 KV UNIT 5 | CPP | 0.3
FOOTHILL18 KV UNIT 5 | DEOK_RESID_AGG | 28.6
FOOTHILL18 KV UNIT 5 | EKPC-DEOK LOAD | 0.1
FOOTHILL18 KV UNIT 5 | FEOHIO_RESID_AGG | 6.6
FOWLER 34.5 KV FWL2-1WF | AEPOHIO W.O. MON POWER | 1.9
FOWLER 34.5 KV FWL2-2WF | AEPOHIO W.O. MON POWER | 1.9
FOWLER 34.5 KV FWL2-3WF | AEPOHIO W.O. MON POWER | 1.9
FOWLER 34.5 KV FWL2-4WF | AEPOHIO W.O. MON POWER | 1.8
FOWLER 34.5 KV FWLR1AWF | AEPAPCO_RESID_AGG | 3.3
FOWLER 34.5 KV FWLR1AWF | AEPKY_RESID_AGG | 0.5
FOWLER 34.5 KV FWLR1AWF | AEPOHIO W.O. MON POWER | 1.5
FOWLER 34.5 KV FWLR1AWF | BLUE RIDGE | 0.5
FOWLER 34.5 KV FWLR1BWF | AEPAPCO_RESID_AGG | 3.2
FOWLER 34.5 KV FWLR1BWF | AEPKY_RESID_AGG | 0.5
FOWLER 34.5 KV FWLR1BWF | AEPOHIO W.O. MON POWER | 1.5
FOWLER 34.5 KV FWLR1BWF | BLUE RIDGE | 0.5
FOWLER 34.5 KV FWLR3WF | AEPAPCO_RESID_AGG | 11.5
FRONTROY21 KV WARCOST1 | DOM_RESID_AGG | 100
FTMARTIN22 KV GEN 1 | LIDA - AP | 0.4
FTMARTIN22 KV GEN 2 | LIDA - AP | 0.4
GRAYFR_113 KV 1 GEN | AMP-ATSI OH | 1.4
GRAYFR_113 KV 1 GEN | AMP-ATSI PA | 0.1
GRAYFR_113 KV 1 GEN | BGE_RESID_AGG | 12.3
GRAYFR_113 KV 1 GEN | CPP | 1
GRAYFR_113 KV 1 GEN | DEOK_RESID_AGG | 36.8
GRAYFR_113 KV 1 GEN | EKPC_RESID_AGG | 4
GRAYFR_113 KV 1 GEN | EKPC-DEOK LOAD | 0.1
GRAYFR_113 KV 1 GEN | FEOHIO_RESID_AGG | 44.6
GRAYFR_113 KV 1 GEN | PENNPOWER_RESID_AGG | 0.6
GRAYFR_113 KV 1 GEN | PEPCO DC | 5.5
GRAYFR_113 KV 1 GEN | PEPCO MD | 7.4
GRAYFR_113 KV 1 GEN | SMECO_RESID_AGG | 2
GREENUP | DEOK_RESID_AGG | 29.1
HANDSOME13 KV CT1 | PENELEC_RESID_AGG | 0.1
HANDSOME13 KV CT2 | PENELEC_RESID_AGG | 0.1
HANDSOME13 KV CT3 | PENELEC_RESID_AGG | 0.1
HANDSOME13 KV CT4 | PENELEC_RESID_AGG | 0.1
HANDSOME13 KV CT5 | PENELEC_RESID_AGG | 0.1
HARR APS20 KV GEN 1 | LIDA - AP | 0.2
HOMERCIT20 KV UNIT 1 | PENELEC_RESID_AGG | 288.4
HOMERCIT20 KV UNIT 2 | PENELEC_RESID_AGG | 43.7
HOMERCIT24 KV UNIT 3 | PENELEC_RESID_AGG | 17.6
JKSMT_EK13.8 KV JKSMT1 | EKPC-DEOK LOAD | 0.8
JKSMT_EK13.8 KV JKSMT2 | EKPC-DEOK LOAD | 0.8
JKSMT_EK13.8 KV JKSMT3 | EKPC-DEOK LOAD | 0.8
JKSMT_EK13.8 KV JKSMT4 | EKPC-DEOK LOAD | 0.5
JKSMT_EK13.8 KV JKSMT5 | EKPC-DEOK LOAD | 0.5
JKSMT_EK13.8 KV JKSMT6 | EKPC-DEOK LOAD | 0.5
JKSMT_EK13.8 KV JKSMT7 | EKPC-DEOK LOAD | 0.4
KEYSTNE 13 KV _UN1__15 | DAY_RESID_AGG | 32.7
KEYSTNE 13 KV _UN2__15 | DAY_RESID_AGG | 32.3
KEYSTNE 13 KV _UN3__15 | DAY_RESID_AGG | 32.5
KEYSTNE 13 KV _UN4__15 | DAY_RESID_AGG | 32.2
KEYSTONE20 KV UNIT 1 | BGE_RESID_AGG | 78.2
KEYSTONE20 KV UNIT 1 | PPL_RESID_AGG | 0.1
KEYSTONE20 KV UNIT 2 | BGE_RESID_AGG | 78
KEYSTONE20 KV UNIT 2 | PPL_RESID_AGG | 0.1
KEYSTONE20 KV UNIT 3 | BGE_RESID_AGG | 0.4
KYGERCRE15.5 KV KY1 | DAY_RESID_AGG | 16.2
LAURELDM13.8 KV LAUREL | EKPC-DEOK LOAD | 0.5
LAWRENC218 KV S1 | AEPAPCO_RESID_AGG | 61
LAWRENC218 KV S1 | AEPKY_RESID_AGG | 12
LAWRENC218 KV S1 | BLUE RIDGE | 2.6
LAWRENC218 KV S1 | BUCK-CIN | 0.1
LAWRENC218 KV S1 | BUCK-FE | 0.3
LAWRENC218 KV S1 | EKPC_RESID_AGG | 18.1
LAWRENC218 KV S1 | EKPC-DEOK LOAD | 0.1
LAWRENC218 KV S2 | AEPAPCO_RESID_AGG | 1.7
LAWRENC218 KV S2 | AEPKY_RESID_AGG | 12
LAWRENC218 KV S2 | BLUE RIDGE | 2.6
LAWRENC218 KV S2 | BUCK-CIN | 0.1
LAWRENC218 KV S2 | BUCK-FE | 0.3
LAWRENC218 KV S2 | EKPC_RESID_AGG | 18.1
LAWRENC218 KV S2 | EKPC-DEOK LOAD | 0.1
LINWDPE 18 KV STM | AMP-ATSI OH | 5.9
LINWDPE 18 KV STM | AMP-ATSI PA | 0.4
LINWDPE 18 KV STM | BGE_RESID_AGG | 46.8
LINWDPE 18 KV STM | CPP | 4.1
LINWDPE 18 KV STM | DEOK_RESID_AGG | 148
LINWDPE 18 KV STM | DUQ_RESID_AGG | 53.9
LINWDPE 18 KV STM | EKPC_RESID_AGG | 17.6
LINWDPE 18 KV STM | EKPC-DEOK LOAD | 0.3
LINWDPE 18 KV STM | FEOHIO_RESID_AGG | 160
LINWDPE 18 KV STM | PENNPOWER_RESID_AGG | 5.2
LINWDPE 18 KV STM | PEPCO DC | 17.8
LINWDPE 18 KV STM | PEPCO MD | 23.2
LINWDPE 18 KV STM | SMECO_RESID_AGG | 7
LINWDPE 18 KV STM | WILLIAMSTOWN | 0.2
MELDDAM 13.8 KV GEN_1 | DEOK_RESID_AGG | 2.3
MISO | AEC - AP | 3.3
MISO | AEPAPCO_RESID_AGG | 112.3
MISO | AEPKY_RESID_AGG | 11.1
MISO | AEPOHIO W.O. MON POWER | 118.3
MISO | AK STEEL | 0.2
MISO | AMP-OHIO | 11.4
MISO | APS_RESID_AGG | 204.3
MISO | BLUE RIDGE | 5.8
MISO | BUCK-CIN | 0.2
MISO | BUCKEYE - AEPOH | 2.5
MISO | BUCKEYE - DPL | 0.7
MISO | BUCK-FE | 0.6
MISO | DAY_RESID_AGG | 45.3
MISO | HREA - AP | 0.5
MISO | LIDA - AP | 0.2
MISO | MON POWER | 3.5
MISO | NEWMARTINSVILLE-AP | 0.2
MISO | PHILIPPI - AP | 0.1
MTNTOP 34.5 KV MHOOPWF2 | APS_RESID_AGG | 2.9
MTNTOP 34.5 KV MHOOPWF2 | DPL_ODEC | 3
MTSTORM422 KV G1 | DOM_RESID_AGG | 10
MTSTORM422 KV G2 | DOM_RESID_AGG | 10.1
MTSTORM422 KV G3 | DOM_RESID_AGG | 9.6
MTSTORM435 KV GT1 | DOM_RESID_AGG | 0.2
NLONGVW 26 KV GEN 1 | LIDA - AP | 0.5
NYIS | AMP-OHIO | 2.3
NYIS | BUCKEYE - AEPIM | 0.2
NYIS | BUCKEYE - AEPOH | 26.5
NYIS | BUCKEYE - DPL | 7.1
NYIS | PENELEC_RESID_AGG | 24.9
PAULDNG334.5 KV PAUL3WF | AEPAPCO_RESID_AGG | 5
PAULDNG334.5 KV PAUL3WF | AEPKY_RESID_AGG | 0.8
PAULDNG334.5 KV PAUL3WF | BLUE RIDGE | 0.5
PEACHBOT22 KV UNIT02 | DPL_ODEC | 5.2
PEACHBOT22 KV UNIT03 | DPL_ODEC | 5.2
PLEA APS26 KV GEN 1 | LIDA - AP | 0.5
PLYWOOD 13.8 KV PLYWODBI | DOM_RESID_AGG | 25.9
PRINTZ 18 KV STG | AMP-ATSI OH | 4.8
PRINTZ 18 KV STG | AMP-ATSI PA | 0.3
PRINTZ 18 KV STG | BGE_RESID_AGG | 37.4
PRINTZ 18 KV STG | CPP | 3.3
PRINTZ 18 KV STG | DEOK_RESID_AGG | 121
PRINTZ 18 KV STG | EKPC_RESID_AGG | 13.9
PRINTZ 18 KV STG | EKPC-DEOK LOAD | 0.3
PRINTZ 18 KV STG | FEOHIO_RESID_AGG | 129.2
PRINTZ 18 KV STG | PENNPOWER_RESID_AGG | 3.7
PRINTZ 18 KV STG | PEPCO DC | 14.5
PRINTZ 18 KV STG | PEPCO MD | 19.2
PRINTZ 18 KV STG | SMECO_RESID_AGG | 5.7
PRINTZ 18 KV STG | WILLIAMSTOWN | 0.1
PSEGGLOB18 KV 6 | AECO_RESID_AGG | 0.1
PSEGGLOB18 KV 6 | AMP-ATSI OH | 0.4
PSEGGLOB18 KV 6 | BGE_RESID_AGG | 3.6
PSEGGLOB18 KV 6 | DEOK_RESID_AGG | 32.7
PSEGGLOB18 KV 6 | EKPC-DEOK LOAD | 0.1
PSEGGLOB18 KV 6 | FEOHIO_RESID_AGG | 3.7
PSEGGLOB18 KV 7 | AECO_RESID_AGG | 0.1
PSEGGLOB18 KV 7 | AMP-ATSI OH | 0.4
PSEGGLOB18 KV 7 | BGE_RESID_AGG | 3.6
PSEGGLOB18 KV 7 | DEOK_RESID_AGG | 32.3
PSEGGLOB18 KV 7 | EKPC-DEOK LOAD | 0.1
PSEGGLOB18 KV 7 | FEOHIO_RESID_AGG | 3.7
PSEGGLOB18 KV 8 | AECO_RESID_AGG | 0.1
PSEGGLOB18 KV 8 | AMP-ATSI OH | 0.4
PSEGGLOB18 KV 8 | BGE_RESID_AGG | 3.6
PSEGGLOB18 KV 8 | DEOK_RESID_AGG | 31.5
PSEGGLOB18 KV 8 | EKPC-DEOK LOAD | 0.1
PSEGGLOB18 KV 8 | FEOHIO_RESID_AGG | 3.7
PSEGGLOB22 KV 5 | AECO_RESID_AGG | 0.1
PSEGGLOB22 KV 5 | AMP-ATSI OH | 0.9
PSEGGLOB22 KV 5 | BGE_RESID_AGG | 8.8
PSEGGLOB22 KV 5 | DEOK_RESID_AGG | 67.5
PSEGGLOB22 KV 5 | EKPC-DEOK LOAD | 0.2
PSEGGLOB22 KV 5 | FEOHIO_RESID_AGG | 9
RAYSTOWN46 KV RAYSUN | PENELEC_RESID_AGG | 6
ROCKPOR226 KV RP1 | AEPAPCO_RESID_AGG | 44.6
ROCKPOR226 KV RP1 | AEPIM_RESID_AGG | 115.2
ROCKPOR226 KV RP1 | AEPKY_RESID_AGG | 58.4
ROCKPOR226 KV RP1 | AEPOHIO W.O. MON POWER | 282.2
ROCKPOR226 KV RP1 | AMP-OHIO | 3.1
ROCKPOR226 KV RP1 | BLUE RIDGE | 12.6
ROCKPOR226 KV RP1 | BUCK-CIN | 0.4
ROCKPOR226 KV RP1 | BUCKEYE - AEPOH | 6.2
ROCKPOR226 KV RP1 | BUCKEYE - DPL | 2.1
ROCKPOR226 KV RP1 | BUCK-FE | 1.9
ROCKPOR226 KV RP2 | AEPAPCO_RESID_AGG | 39
ROCKPOR226 KV RP2 | AEPIM_RESID_AGG | 113.9
ROCKPOR226 KV RP2 | AEPKY_RESID_AGG | 57.8
ROCKPOR226 KV RP2 | AEPOHIO W.O. MON POWER | 282.4
ROCKPOR226 KV RP2 | AMP-OHIO | 3.1
ROCKPOR226 KV RP2 | BLUE RIDGE | 12.5
ROCKPOR226 KV RP2 | BUCK-CIN | 0.4
ROCKPOR226 KV RP2 | BUCKEYE - AEPOH | 6.1
ROCKPOR226 KV RP2 | BUCKEYE - DPL | 2
ROCKPOR226 KV RP2 | BUCK-FE | 1.9
ROCKSPRI18 KV CT3 | DPL_ODEC | 0.9
ROCKSPRI18 KV CT4 | DPL_ODEC | 0.9
ROCKSPRI24 KV WCATSTG | APS_RESID_AGG | 36.8
ROCKSPRI24 KV WCATSTG | DPL_ODEC | 33.2
RONCO 18 KV CT1 | LIDA - AP | 0.1
RONCO 18 KV CT2 | LIDA - AP | 0.1
RONCO 18 KV STM | LIDA - AP | 0.2
RPMONE 18 KV 1 | AEPAPCO_RESID_AGG | 34.2
RPMONE 18 KV 1 | AEPKY_RESID_AGG | 5.9
RPMONE 18 KV 1 | AEPOHIO W.O. MON POWER | 9.9
RPMONE 18 KV 1 | BLUE RIDGE | 1.8
RPMONE 18 KV 1 | BUCK-CIN | 0.1
RPMONE 18 KV 1 | BUCKEYE - AEPOH | 0.3
RPMONE 18 KV 1 | BUCK-FE | 0.2
RPMONE 18 KV 2 | AEPAPCO_RESID_AGG | 17.2
RPMONE 18 KV 2 | AEPKY_RESID_AGG | 5.9
RPMONE 18 KV 2 | AEPOHIO W.O. MON POWER | 9.9
RPMONE 18 KV 2 | BLUE RIDGE | 1.8
RPMONE 18 KV 2 | BUCK-CIN | 0.1
RPMONE 18 KV 2 | BUCKEYE - AEPOH | 0.3
RPMONE 18 KV 2 | BUCK-FE | 0.2
RPMONE 18 KV 3 | AEPAPCO_RESID_AGG | 4.6
RPMONE 18 KV 3 | AEPKY_RESID_AGG | 5.9
RPMONE 18 KV 3 | AEPOHIO W.O. MON POWER | 9.9
RPMONE 18 KV 3 | BLUE RIDGE | 1.8
RPMONE 18 KV 3 | BUCK-CIN | 0.1
RPMONE 18 KV 3 | BUCKEYE - AEPOH | 0.3
RPMONE 18 KV 3 | BUCK-FE | 0.2
SAFEHARB13 KV UNIT1 | BGE_RESID_AGG | 15.7
SAFEHARB13 KV UNIT10 | BGE_RESID_AGG | 17.4
SAFEHARB13 KV UNIT11 | BGE_RESID_AGG | 16.8
SAFEHARB13 KV UNIT12 | BGE_RESID_AGG | 16.8
SAFEHARB13 KV UNIT2 | BGE_RESID_AGG | 15.7
SAFEHARB13 KV UNIT3 | BGE_RESID_AGG | 14.3
SAFEHARB13 KV UNIT4 | BGE_RESID_AGG | 14.2
SAFEHARB13 KV UNIT5 | BGE_RESID_AGG | 15.7
SAFEHARB13 KV UNIT6 | BGE_RESID_AGG | 15.2
SAFEHARB13 KV UNIT7 | BGE_RESID_AGG | 15.3
SAFEHARB13 KV UNIT8 | BGE_RESID_AGG | 16.6
SAFEHARB13 KV UNIT9 | BGE_RESID_AGG | 16.4
SALEM 25 KV SALEM1 | DPL_ODEC | 4.8
SALEM 25 KV SALEM2 | DPL_ODEC | 4.8
SBEND 18 KV CT1 | AEC - AP | 1.1
SBEND 18 KV CT1 | LIDA - AP | 0.1
SBEND 18 KV CT2 | AEC - AP | 1.1
SBEND 18 KV CT2 | LIDA - AP | 0.1
SBEND 18 KV CT3 | AEC - AP | 1.1
SBEND 18 KV CT3 | LIDA - AP | 0.1
SBEND 18 KV CT4 | AEC - AP | 1.1
SBEND 18 KV CT4 | LIDA - AP | 0.1
SEWARD 22 KV UNIT1 | PENELEC_RESID_AGG | 493.3
SEWARD 22 KV UNIT1 | WELLSBORO | 4.5
SHAWVILL4.1 KV DIESEL | PENELEC_RESID_AGG | 2.1
SJEC 18 KV STG | AEPAPCO_RESID_AGG | 167.9
SJEC 18 KV STG | AEPKY_RESID_AGG | 29.2
SJEC 18 KV STG | AEPOHIO W.O. MON POWER | 123.8
SJEC 18 KV STG | AMP-OHIO | 1.5
SJEC 18 KV STG | BLUE RIDGE | 8.7
SJEC 18 KV STG | BUCK-CIN | 0.3
SJEC 18 KV STG | BUCKEYE - AEPOH | 3
SJEC 18 KV STG | BUCKEYE - DPL | 1.2
SJEC 18 KV STG | BUCK-FE | 0.9
SPRINGDA13 KV AES 1 | AEC - AP | 0.3
SPRINGDA13 KV AES 1 | APS_RESID_AGG | 43.9
SPRINGDA13 KV AES 1 | HREA - AP | 0.1
SPRINGDA13 KV AES 1 | LIDA - AP | 0.1
SPRINGDA13 KV AES 1 | MON POWER | 1.9
SPRINGDA13 KV AES 1 | MONT ALTO - AP | 0.1
SPRINGDA13 KV AES 1 | PHILIPPI - AP | 0.1
SPRINGDA13 KV AES 2 | AEC - AP | 0.3
SPRINGDA13 KV AES 2 | APS_RESID_AGG | 43.8
SPRINGDA13 KV AES 2 | HREA - AP | 0.1
SPRINGDA13 KV AES 2 | LIDA - AP | 0.1
SPRINGDA13 KV AES 2 | MON POWER | 1.8
SPRINGDA13 KV AES 2 | MONT ALTO - AP | 0.1
SPRINGDA13 KV AES 2 | PHILIPPI - AP | 0.1
SPRINGDA18 KV ST5 | AEC - AP | 3.6
SPRINGDA18 KV ST5 | APS_RESID_AGG | 476.5
SPRINGDA18 KV ST5 | HREA - AP | 1.2
SPRINGDA18 KV ST5 | LIDA - AP | 0.4
SPRINGDA18 KV ST5 | MON POWER | 12.8
SPRINGDA18 KV ST5 | MONT ALTO - AP | 0.1
SPRINGDA18 KV ST5 | NEWMARTINSVILLE-AP | 0.4
SPRINGDA18 KV ST5 | PHILIPPI - AP | 0.3
SUSQUEHA24 KV UNIT01 | BGE_RESID_AGG | 46.5
SUSQUEHA24 KV UNIT01 | PENELEC_RESID_AGG | 94
SUSQUEHA24 KV UNIT02 | BGE_RESID_AGG | 46.3
SUSQUEHA24 KV UNIT02 | PENELEC_RESID_AGG | 94.4
TANNERSC18 KV TC3 | MIAMIFOR18 KV G6 | 138.1
TIDD_AEP24 KV CD2 | BUCK-CIN | 6.2
TIDD_AEP24 KV CD2 | BUCKEYE - DPL | 8.1
TIDD_AEP26 KV CD3 | BUCK-CIN | 6.2
TIDD_AEP26 KV CD3 | BUCKEYE - DPL | 8.1
WCATWIND34.5 KV WLDCATWF | AEPAPCO_RESID_AGG | 0.1
WCATWIND34.5 KV WLDCATWF | AEPOHIO W.O. MON POWER | 0.2
WMORELND20 KV CT1 | AEC - AP | 0.5
WMORELND20 KV CT1 | LIDA - AP | 0.1
ZELDA 18 KV UNIT 1 | BUCK-CIN | 0.1
ZELDA 18 KV UNIT 1 | BUCK-FE | 0.1
ZELDA 18 KV UNIT 2 | BUCK-CIN | 0.1
ZELDA 18 KV UNIT 2 | BUCK-FE | 0.1
ZELDA 18 KV UNIT 3 | BUCK-CIN | 0.1
ZELDA 18 KV UNIT 3 | BUCK-FE | 0.1
ZIMMER2 25 KV G1 | DEOK_RESID_AGG | 288