## Table of Contents
Table of Contents
Click on Table Name
Wholesale Cost
Monthly Weather and Energy
Daily Weather and Energy
System Marginal Price
Monthly Generation Fuel Mix
Daily Generation Fuel Mix
Monthly Uplift
Monthly Zonal Uplift
Daily Uplift
High Uplift Days
Uneconomic CC, CT, Steam Hours
Reliability and Deviations BOR
Operating Reserve
Balancing Operating Reserve MWh
Balancing Operating Reserve $
Monthly LOC
Daily LOC
Monthly Load Weighted LMP
Annual LMP Averages
LMP Suspensions and Reruns
Annual DR Estimated Revenue
Demand Response
Incs, Decs and Up-Tos
Congestion and FTR Revenue
Balancing Congestion Facilities
Average Interface Prices
Market to Market Congestion
Regulation and Sync Reserve
Regulation Daily
Synchronized Reserve Daily
Daily Marginal Losses
Monthly Marginal Losses
Sychronized Reserve Performance
Shortage Pricing Intervals
Shortage Interval Constraints

## Wholesale Cost
Wholesale Cost
($/MWh of Load)
Click to return to Table of Contents
Year | Energy | Reliability Capacity | Transmission | Regulation | Operating Reserve | PJM Cost | Reactive | Transmission Owner Control | Synchronized Reserve | Black Start | Total
2019 | 27.15 | 11.05 | 9.52 | 0.11 | 0.11 | 0.38 | 0.44 | 0.09 | 0.04 | 0.08 | 48.98
2020 | 21.65 | 9.45 | 11.03 | 0.1 | 0.12 | 0.38 | 0.47 | 0.09 | 0.03 | 0.09 | 43.41
2021 | 39.79 | 11.04 | 11.72 | 0.18 | 0.23 | 0.38 | 0.47 | 0.09 | 0.07 | 0.09 | 64.07
2022 | 80.17 | 8 | 12.5 | 0.37 | 0.37 | 0.4 | 0.48 | 0.07 | 0.11 | 0.09 | 102.56
2023 | 29.75 | 5.46 | 14.09 | 0.17 | 0.15 | 0.4 | 0.52 | 0.08 | 0.01 | 0.09 | 50.72

## Monthly Weather and Energy
Monthly Weather and Energy
Click to return to Table of Contents
Date | Current Month HDD+CDD | Monthly Average HDD+CDD | Current Month Energy (TWh) | Monthly Average Energy (TWh)
MAY21 | 177.19 | 142.42 | 58.53 | 60.33
JUN21 | 283.52 | 236.03 | 69.15 | 67.55
JUL21 | 357.34 | 351.42 | 75.9 | 76.36
AUG21 | 370.66 | 308 | 77.92 | 74.77
SEP21 | 168.16 | 158.82 | 63.51 | 63.23
OCT21 | 118.88 | 193.75 | 58.57 | 59.48
NOV21 | 489.88 | 437.65 | 61.11 | 60.5
DEC21 | 521.21 | 739.83 | 64.94 | 69.11
JAN22 | 981.39 | 876.48 | 76.39 | 72.25
FEB22 | 688.82 | 729.7 | 64 | 64.13
MAR22 | 454.47 | 546.54 | 62.9 | 64.23
APR22 | 281.23 | 254.89 | 56.51 | 56.65
MAY22 | 153.71 | 143.87 | 61.06 | 60.26
JUN22 | 258.8 | 238.01 | 67.81 | 67.61
JUL22 | 403.13 | 351.66 | 77.69 | 76.34
AUG22 | 345.45 | 310.61 | 76.38 | 74.9
SEP22 | 178.06 | 159.21 | 62.66 | 63.24
OCT22 | 181.52 | 190.63 | 57.34 | 59.45
NOV22 | 408.96 | 439.83 | 60.66 | 60.53
DEC22 | 747.38 | 730.72 | 71.64 | 68.94
JAN23 | 622.48 | 880.68 | 68.24 | 72.41
FEB23 | 521.29 | 728.06 | 60.28 | 64.13
MAR23 | 510.36 | 542.86 | 63.9 | 64.17
APR23 | 210.04 | 255.95 | 55.53 | 56.65
MAY23 | 97.85 | 144.27 | 58.01 | 60.29

## Daily Weather and Energy
Daily Weather and Energy
Click to return to Table of Contents
Date | Current Day HDD+CDD | Daily Average HDD+CDD | Current Day Energy (TWh) | Daily Average Energy (TWh) | Current Day Average Temperature | Daily Average Temperature
01MAY2023 | 10.77 | 4.67 | 1.9157 | 1.9 | 49.23 | 63.57
02MAY2023 | 11.22 | 4.67 | 1.9585 | 1.9 | 48.78 | 63.57
03MAY2023 | 11.93 | 4.67 | 1.9457 | 1.9 | 48.07 | 63.57
04MAY2023 | 7.36 | 4.67 | 1.9102 | 1.9 | 52.64 | 63.57
05MAY2023 | 3.85 | 4.67 | 1.8444 | 1.9 | 57.24 | 63.57
06MAY2023 | 0.67 | 4.67 | 1.6935 | 1.9 | 61.92 | 63.57
07MAY2023 | 1.42 | 4.67 | 1.7153 | 1.9 | 65.33 | 63.57
08MAY2023 | 3.49 | 4.67 | 1.9293 | 1.9 | 66.01 | 63.57
09MAY2023 | 0.36 | 4.67 | 1.8778 | 1.9 | 62.34 | 63.57
10MAY2023 | 0.56 | 4.67 | 1.8613 | 1.9 | 60.95 | 63.57
11MAY2023 | 1.84 | 4.67 | 1.9468 | 1.9 | 66.47 | 63.57
12MAY2023 | 5.39 | 4.67 | 2.038 | 1.9 | 70.39 | 63.57
13MAY2023 | 3.95 | 4.67 | 1.8555 | 1.9 | 68.47 | 63.57
14MAY2023 | 1.84 | 4.67 | 1.729 | 1.9 | 65.3 | 63.57
15MAY2023 | 0.3 | 4.67 | 1.864 | 1.9 | 62.44 | 63.57
16MAY2023 | 1.74 | 4.67 | 1.9332 | 1.9 | 65.28 | 63.57
17MAY2023 | 2.64 | 4.67 | 1.8669 | 1.9 | 60.54 | 63.57
18MAY2023 | 2.73 | 4.67 | 1.84 | 1.9 | 57.54 | 63.57
19MAY2023 | 0.75 | 4.67 | 1.8744 | 1.9 | 64.58 | 63.57
20MAY2023 | 0.74 | 4.67 | 1.7575 | 1.9 | 63.29 | 63.57
21MAY2023 | 1.08 | 4.67 | 1.7223 | 1.9 | 64.51 | 63.57
22MAY2023 | 1.54 | 4.67 | 1.9413 | 1.9 | 66.05 | 63.57
23MAY2023 | 2.01 | 4.67 | 1.9666 | 1.9 | 66.38 | 63.57
24MAY2023 | 0.96 | 4.67 | 1.9616 | 1.9 | 65.11 | 63.57
25MAY2023 | 1.94 | 4.67 | 1.8458 | 1.9 | 59.09 | 63.57
26MAY2023 | 0.45 | 4.67 | 1.8251 | 1.9 | 61.11 | 63.57
27MAY2023 | 0.35 | 4.67 | 1.6962 | 1.9 | 63.6 | 63.57
28MAY2023 | 0.94 | 4.67 | 1.6877 | 1.9 | 65.3 | 63.57
29MAY2023 | 4.47 | 4.67 | 1.8289 | 1.9 | 69.44 | 63.57
30MAY2023 | 5.14 | 4.67 | 2.054 | 1.9 | 69.8 | 63.57
31MAY2023 | 5.42 | 4.67 | 2.1215 | 1.9 | 70.22 | 63.57

## System Marginal Price
Daily Difference in Day-Ahead and Real-Time System Marginal Price
($/MWh of Load)
Click to return to Table of Contents
Date | DA SMP - RT SMP
01MAY2023 | $-2.81
02MAY2023 | $-1.46
03MAY2023 | $-6.49
04MAY2023 | 0.15
05MAY2023 | 3.08
06MAY2023 | $-1.55
07MAY2023 | 1.62
08MAY2023 | $-4.11
09MAY2023 | $-1.08
10MAY2023 | 2.55
11MAY2023 | 3.03
12MAY2023 | 8.66
13MAY2023 | 0.39
14MAY2023 | 3.69
15MAY2023 | $-5.89
16MAY2023 | $-4.64
17MAY2023 | 0.84
18MAY2023 | 3.83
19MAY2023 | 1.65
20MAY2023 | $-2.65
21MAY2023 | $-0.67
22MAY2023 | $-6.09
23MAY2023 | 6.97
24MAY2023 | 3.13
25MAY2023 | 4.12
26MAY2023 | 2.88
27MAY2023 | 3.2
28MAY2023 | 3.27
29MAY2023 | 1.08
30MAY2023 | 0.48
31MAY2023 | 1.19

## Monthly Generation Fuel Mix
Monthly Generation Fuel Mix
(MWh)
Click to return to Table of Contents
Date | COAL | FLYWHEEL | GAS | HYDRO | MULTIPLE FUELS | NUCLEAR | OIL | OTHER | OTHER RENEWABLES | SOLAR | STORAGE | WIND | Total
01MAY2021 | 12272930.9 | 0 | 22288785.6 | 1294706.4 | 359601.2 | 21870213.9 | 207017.1 | 77603 | 518590.4 | 653304.1 | 0 | 2127677.8 | 61670430.4
01JUN2021 | 18622955.4 | 0 | 27362679.3 | 1313410 | 426605.9 | 23405351 | 207052.7 | 34835.6 | 503921.4 | 638206.7 | 0 | 1733345.1 | 74248363.1
01JUL2021 | 21942090.7 | 0 | 30935903.6 | 1596372.2 | 654408.6 | 23667796.2 | 202584.6 | 57323.9 | 511122.3 | 690129.6 | 0 | 1156516.7 | 81414248.4
01AUG2021 | 21550949.6 | 0 | 32734704.9 | 1510298.1 | 539937.9 | 24310680.7 | 284515.1 | 59654.8 | 494349 | 629189.9 | 0 | 1155460.1 | 83269740.1
01SEP2021 | 14083247.3 | 0 | 25581551.8 | 1564026.7 | 276521.5 | 22893604.9 | 160801.1 | 51279.8 | 435697.1 | 592005.5 | 0 | 2174756.7 | 67813492.4
01OCT2021 | 9756265.6 | 0 | 25924062.5 | 1265636.5 | 556989.9 | 21574194.1 | 159883.3 | 37512.5 | 419151.8 | 437604.2 | 0 | 2199079.8 | 62330380.2
01NOV2021 | 9726547 | 0 | 25426346.1 | 1243768.6 | 482555.1 | 22067467.1 | 174205.2 | 48213.2 | 455980.6 | 420684.3 | 0 | 3028346.5 | 63074113.7
01DEC2021 | 12272956.4 | 0 | 27162261.7 | 1095264.9 | 122836.6 | 24937761.4 | 188573.1 | 47215.1 | 515473.2 | 298262.5 | 0 | 3236982.9 | 69877587.8
01JAN2022 | 22096106.4 | 0 | 26934706.2 | 1289801.1 | 608269.3 | 25091532.1 | 336650.6 | 67572.1 | 459303.8 | 335244.8 | 0 | 3092767.5 | 80311953.9
01FEB2022 | 16247378.2 | 0 | 23829408.5 | 1320139.5 | 314419.1 | 21783000.7 | 199016 | 82659.3 | 397734.2 | 432938.9 | 0 | 3303952 | 67910646.4
01MAR2022 | 12391654.9 | 0 | 25773319.2 | 1673091.7 | 66041.2 | 22484823.9 | 189278.3 | 94782.6 | 408892.2 | 586966.3 | 0 | 3452910.6 | 67121760.9
01APR2022 | 11928682.9 | 0 | 20477478.5 | 1402573.8 | 192782.4 | 19462774 | 168845.7 | 130342.5 | 420908.5 | 718934.1 | 0 | 3379448.3 | 58282770.7
01MAY2022 | 12076693 | 0 | 23444271.5 | 1566417.3 | 252351.8 | 22698734.9 | 104098.6 | 88464.7 | 472314.7 | 745154 | 0 | 2754654.8 | 64203155.3
01JUN2022 | 13685809.6 | 0 | 30056761.6 | 1465916.8 | 358750.4 | 23232104.8 | 177172.2 | 89179 | 466858.9 | 865655.7 | 0 | 1911077.7 | 72309286.7
01JUL2022 | 17052242.8 | 0 | 36302866.9 | 1360840 | 610371.7 | 24117345.7 | 243286.8 | 104468.1 | 503862.6 | 771787.9 | 0 | 1568729.1 | 82635801.6
01AUG2022 | 17485730 | 0 | 35827457.9 | 1421843.7 | 495394.7 | 23726492.4 | 274219 | 191607.9 | 498193.8 | 765285.7 | 0 | 1335724.7 | 82021949.8
01SEP2022 | 10870516.5 | 0 | 30174632.6 | 1184450.6 | 275524.8 | 22209898.1 | 158327.7 | 139062.7 | 429092.5 | 677478.1 | 0 | 1709928 | 67828911.6
01OCT2022 | 7699168.4 | 0 | 26657631.5 | 783787.3 | 246213 | 20674823.5 | 143755.8 | 148769.3 | 432503 | 524646.5 | 0 | 3011020 | 60322318.3
01NOV2022 | 9904347 | 0 | 24945972.6 | 1068501.4 | 315264 | 22113890.9 | 151691.9 | 116870.8 | 432373.3 | 420124.6 | 0 | 3569110.3 | 63038146.8
01DEC2022 | 15950358.8 | 0 | 27831147.4 | 1465030 | 328253.2 | 24517964.8 | 653693.7 | 127096.8 | 475959.6 | 311577.3 | 0 | 3113889.6 | 74774971.2
01JAN2023 | 10977371 | 0 | 30436566.8 | 1572855.5 | 150051.2 | 24512234.5 | 186011.5 | 281888.4 | 431908.1 | 324008 | 0 | 2942137.6 | 71815032.6
01FEB2023 | 9309541 | 0 | 27231164 | 1164131 | 114850 | 21442584 | 194771 | 53901 | 375905 | 482879 | 0 | 3477932 | 63847658
01MAR2023 | 10328020 | 0 | 29041912 | 1328819 | 63734 | 22010003 | 235151 | . | 426604 | 760638 | 0 | 3647419 | 67842300
01APR2023 | 8665803 | 0 | 23451828 | 1158282 | 272148 | 20094334 | 209909 | . | 401803 | 861377 | 0 | 2863473 | 57978957
01MAY2023 | 7479791 | 0 | 26083118 | 1361315 | 387790 | 22264117 | 295883 | . | 463135 | 994550 | 7 | 2174829 | 61504535

## Daily Generation Fuel Mix
Daily Generation Fuel Mix
(MWh)
Click to return to Table of Contents
Date | COAL | FLYWHEEL | GAS | HYDRO | MULTIPLE FUELS | NUCLEAR | OIL | OTHER | OTHER RENEWABLES | SOLAR | STORAGE | WIND | Total
01MAY2023 | 242673 | 0 | 755189 | 57102 | 6451 | 665193 | 8829 | . | 12953 | 24890 | 0 | 199829 | 1973109
02MAY2023 | 249808 | 0 | 815378 | 52467 | 6598 | 674124 | 9113 | . | 12823 | 28964 | 0 | 168684 | 2017959
03MAY2023 | 266222 | 0 | 858567 | 57488 | 10490 | 677268 | 10552 | . | 11870 | 24698 | 0 | 94795 | 2011950
04MAY2023 | 254483 | 0 | 869784 | 55047 | 7890 | 675728 | 17061 | . | 12591 | 33397 | 0 | 40397 | 1966378
05MAY2023 | 226849 | 0 | 830308 | 49004 | 12279 | 670521 | 12123 | . | 13415 | 40297 | 0 | 104124 | 1958920
06MAY2023 | 220730 | 0 | 696809 | 50510 | 6082 | 677051 | 7543 | . | 13344 | 37379 | 0 | 110060 | 1819508
07MAY2023 | 241814 | 0 | 727171 | 52450 | 6024 | 695984 | 8337 | . | 13092 | 30811 | 0 | 81843 | 1857526
08MAY2023 | 272002 | 0 | 840495 | 67642 | 15832 | 699187 | 9394 | . | 14128 | 34298 | 0 | 80957 | 2033935
09MAY2023 | 273155 | 0 | 841620 | 50286 | 15939 | 681287 | 12414 | . | 14671 | 31180 | 0 | 36198 | 1956750
10MAY2023 | 244667 | 0 | 839896 | 48147 | 18711 | 679920 | 9839 | . | 14823 | 42861 | 0 | 45391 | 1944255
11MAY2023 | 258689 | 0 | 884306 | 58772 | 22659 | 678356 | 10431 | . | 14659 | 38048 | 0 | 45975 | 2011895
12MAY2023 | 264010 | 0 | 981637 | 56739 | 23536 | 676690 | 17959 | . | 15201 | 35914 | 0 | 38580 | 2110266
13MAY2023 | 222561 | 0 | 859802 | 38194 | 20556 | 676507 | 17175 | . | 15366 | 22650 | 0 | 36863 | 1909674
14MAY2023 | 214435 | 0 | 732088 | 34626 | 8100 | 688910 | 7733 | . | 15936 | 37741 | 0 | 111321 | 1850890
15MAY2023 | 225037 | 0 | 875624 | 44862 | 15713 | 701944 | 14229 | . | 15199 | 27876 | 0 | 41519 | 1962003
16MAY2023 | 236771 | 0 | 913201 | 42116 | 19720 | 705776 | 9227 | . | 14540 | 22365 | 0 | 42551 | 2006267
17MAY2023 | 240818 | 0 | 825310 | 38206 | 11482 | 726455 | 7593 | . | 14998 | 37665 | 0 | 77367 | 1979894
18MAY2023 | 241370 | 0 | 818308 | 33603 | 10025 | 727073 | 8491 | . | 15340 | 36795 | 0 | 72568 | 1963573
19MAY2023 | 234629 | 0 | 804087 | 42181 | 8890 | 715997 | 9407 | . | 15418 | 24651 | 0 | 120273 | 1975533
20MAY2023 | 221255 | 0 | 800049 | 33961 | 7016 | 742365 | 7327 | . | 15854 | 29560 | 0 | 70279 | 1927666
21MAY2023 | 218363 | 0 | 764211 | 34275 | 6630 | 751843 | 6839 | . | 16044 | 36506 | 0 | 33485 | 1868196
22MAY2023 | 222986 | 0 | 916064 | 45815 | 17989 | 751079 | 7889 | . | 15951 | 40157 | 0 | 20195 | 2038125
23MAY2023 | 235647 | 0 | 956852 | 42628 | 24603 | 745938 | 7872 | . | 16293 | 38934 | 0 | 27871 | 2096638
24MAY2023 | 219925 | 0 | 916471 | 35568 | 14308 | 763356 | 7723 | . | 15557 | 39420 | 0 | 68032 | 2080360
25MAY2023 | 205074 | 0 | 780401 | 32090 | 8184 | 772853 | 6649 | . | 15055 | 30991 | 0 | 116771 | 1968068
26MAY2023 | 215237 | 0 | 808207 | 29880 | 8087 | 768478 | 6024 | . | 16356 | 37442 | 0 | 84349 | 1974060
27MAY2023 | 216256 | 0 | 719345 | 33636 | 8148 | 775156 | 6269 | . | 16823 | 26182 | 0 | 66632 | 1868447
28MAY2023 | 218730 | 0 | 751330 | 31008 | 7101 | 775474 | 6254 | . | 16723 | 17448 | 0 | 38436 | 1862504
29MAY2023 | 251940 | 0 | 855699 | 32495 | 7895 | 774794 | 8398 | . | 16439 | 28924 | 0 | 26722 | 2003306
30MAY2023 | 311441 | 0 | 997237 | 38473 | 16735 | 774891 | 8693 | . | 16282 | 22556 | 7 | 33367 | 2219682
31MAY2023 | 312214 | 0 | 1047672 | 42044 | 14117 | 773919 | 8496 | . | 15391 | 33950 | 0 | 39395 | 2287198

## Monthly Uplift
Monthly Uplift
Click to return to Table of Contents
Date | Day-Ahead Operating Reserve ($ Millions) | Balancing Operating Reserve ($ Millions) | Reactive ($ Millions) | Blackstart ($ Millions) | Lost Opportunity Cost ($ Millions) | Total Uplift ($ Millions) | Day-Ahead Operating Reserve ($/MWh) | Balancing Operating Reserve ($/MWh) | Reactive ($/MWh) | Blackstart ($/MWh) | Lost Opportunity Cost ($/MWh) | Total Uplift ($/MWh)
MAY21 | 0.62 | 5.82 | 0 | 0.03 | 2.82 | 9.27 | 0.01 | 0.1 | 0 | 0 | 0.05 | 0.16
JUN21 | 1.29 | 13.38 | 0.01 | 0.01 | 3.16 | 17.84 | 0.02 | 0.19 | 0 | 0 | 0.05 | 0.26
JUL21 | 0.59 | 17.85 | 0 | 0 | 1.85 | 20.29 | 0.01 | 0.24 | 0 | 0 | 0.02 | 0.27
AUG21 | 1.08 | 19.57 | 0 | 0 | 1.63 | 22.28 | 0.01 | 0.25 | 0 | 0 | 0.02 | 0.29
SEP21 | 1.91 | 4.25 | 0 | 0 | 2.59 | 8.75 | 0.03 | 0.07 | 0 | 0 | 0.04 | 0.14
OCT21 | 0.43 | 11.64 | 0 | 0.07 | 2.35 | 14.43 | 0.01 | 0.2 | 0 | 0 | 0.04 | 0.25
NOV21 | 0.83 | 14.15 | 0.17 | 0.03 | 7.23 | 22.38 | 0.01 | 0.23 | 0 | 0 | 0.12 | 0.37
DEC21 | 1.63 | 4.9 | 0 | 0 | 3.24 | 9.77 | 0.03 | 0.08 | 0 | 0 | 0.05 | 0.15
JAN22 | 0.71 | 10.22 | 0.01 | 0 | 3.73 | 14.66 | 0.01 | 0.13 | 0 | 0 | 0.05 | 0.19
FEB22 | 0.48 | 3.25 | 0 | 0.05 | 1.79 | 5.52 | 0.01 | 0.05 | 0 | 0 | 0.03 | 0.09
MAR22 | 0.52 | 6.4 | 0.23 | 0.05 | 0.51 | 7.65 | 0.01 | 0.1 | 0 | 0 | 0.01 | 0.12
APR22 | 0.58 | 12.01 | 0 | 0.08 | 1.36 | 13.95 | 0.01 | 0.21 | 0 | 0 | 0.02 | 0.25
MAY22 | 2.32 | 10.74 | 0.75 | 0.11 | 1.08 | 14.9 | 0.04 | 0.18 | 0.01 | 0 | 0.02 | 0.24
JUN22 | 4.15 | 13.84 | 0.01 | 0.01 | 5.56 | 23.55 | 0.06 | 0.2 | 0 | 0 | 0.08 | 0.35
JUL22 | 11.03 | 20.24 | 0 | 0 | 4.75 | 36.02 | 0.14 | 0.26 | 0 | 0 | 0.06 | 0.46
AUG22 | 8.3 | 26.61 | 0.23 | 0 | 5 | 40.13 | 0.11 | 0.35 | 0 | 0 | 0.07 | 0.53
SEP22 | 7.19 | 11.55 | 0.01 | 0 | 1.67 | 20.42 | 0.11 | 0.18 | 0 | 0 | 0.03 | 0.33
OCT22 | 0.32 | 8.81 | 0.09 | 0.06 | 4.23 | 13.45 | 0.01 | 0.15 | 0 | 0 | 0.07 | 0.23
NOV22 | 1.23 | 11.92 | 0 | 0.06 | 1.25 | 14.41 | 0.02 | 0.2 | 0 | 0 | 0.02 | 0.24
DEC22 | 21.97 | 47.42 | 0.19 | 0 | 9.98 | 79.56 | 0.31 | 0.66 | 0 | 0 | 0.14 | 1.11
JAN23 | 1.68 | 4.01 | 0 | 0.01 | 1.91 | 7.6 | 0.02 | 0.06 | 0 | 0 | 0.03 | 0.11
FEB23 | 1.04 | 3.5 | 0 | 0.04 | 1.02 | 5.56 | 0.02 | 0.06 | 0 | 0 | 0.02 | 0.09
MAR23 | 1.32 | 4.29 | 0 | 0.06 | 0.67 | 6.28 | 0.02 | 0.07 | 0 | 0 | 0.01 | 0.1
APR23 | 2.01 | 10.69 | 0.38 | 0.05 | 1.47 | 14.55 | 0.04 | 0.19 | 0.01 | 0 | 0.03 | 0.26
MAY23 | 0.41 | 9.46 | 0 | 0.03 | 1.48 | 11.36 | 0.01 | 0.16 | 0 | 0 | 0.03 | 0.2

## Monthly Zonal Uplift
Monthly Zonal Uplift
($ Millions)
Click to return to Table of Contents
Date | Zone | Day-Ahead Operating Reserve | Balancing Operating Reserve | Reactive | Blackstart | Lost Opportunity Cost | Total Uplift
01MAY2023 | AECO | 0 | 0.14 | 0 | 0 | 0 | 0.15
01MAY2023 | AEP | 0.01 | 2.91 | 0 | 0.01 | 0.51 | 3.44
01MAY2023 | APS | 0 | 0.4 | 0 | 0.01 | 0.02 | 0.43
01MAY2023 | ATSI | 0 | 0.38 | 0 | 0 | 0.38 | 0.77
01MAY2023 | BGE | 0 | 0.53 | 0 | 0 | 0.01 | 0.54
01MAY2023 | COMED | 0 | 1.01 | 0 | 0.01 | 0.01 | 1.03
01MAY2023 | DAY | 0 | 0.57 | 0 | 0 | 0.09 | 0.67
01MAY2023 | DEOK | 0 | 0.68 | 0 | 0 | 0.03 | 0.71
01MAY2023 | DOM | 0 | 1.34 | 0 | 0 | 0.26 | 1.6
01MAY2023 | DPL | 0 | 0.02 | 0 | 0.01 | 0 | 0.03
01MAY2023 | EKPC | 0 | 0.96 | 0 | 0 | 0.07 | 1.03
01MAY2023 | JCPL | 0 | 0.04 | 0 | 0 | 0 | 0.04
01MAY2023 | METED | 0 | 0.02 | 0 | 0 | 0.02 | 0.04
01MAY2023 | PECO | 0.01 | 0 | 0 | 0 | 0 | 0.01
01MAY2023 | PENELEC | 0 | 0.03 | 0 | 0 | 0.04 | 0.07
01MAY2023 | PEPCO | 0.34 | 0.1 | 0 | 0 | 0 | 0.43
01MAY2023 | PPL | 0.03 | 0.11 | 0 | 0 | 0.03 | 0.17
01MAY2023 | PSEG | 0.01 | 0.2 | 0 | 0 | 0.01 | 0.23

## Daily Uplift
Daily Uplift
($ Millions)
Click to return to Table of Contents
Date | Day-Ahead Operating Reserve | Balancing Operating Reserve | Reactive | Blackstart | Lost Opportunity Cost | Total Uplift
01MAY2023 | 0 | 0.18 | 0 | 0 | 0.02 | 0.21
02MAY2023 | 0 | 0.36 | 0 | 0 | 0.12 | 0.48
03MAY2023 | 0 | 0.22 | 0 | 0.01 | 0.1 | 0.33
04MAY2023 | 0 | 0.37 | 0 | 0 | 0.12 | 0.49
05MAY2023 | 0 | 0.22 | 0 | 0 | 0.05 | 0.27
06MAY2023 | 0 | 0.1 | 0 | 0 | 0 | 0.1
07MAY2023 | 0 | 0.62 | 0 | 0 | 0.01 | 0.63
08MAY2023 | 0.03 | 0.57 | 0 | 0 | 0.02 | 0.62
09MAY2023 | 0.11 | 0.77 | 0 | 0.01 | 0.01 | 0.9
10MAY2023 | 0.1 | 0.21 | 0 | 0 | 0.03 | 0.34
11MAY2023 | 0.09 | 0.39 | 0 | 0.01 | 0.1 | 0.58
12MAY2023 | 0.01 | 0.32 | 0 | 0 | 0.02 | 0.35
13MAY2023 | 0 | 0.38 | 0 | 0 | 0.05 | 0.43
14MAY2023 | 0 | 0.09 | 0 | 0 | 0.04 | 0.14
15MAY2023 | 0 | 0.48 | 0 | 0 | 0.02 | 0.5
16MAY2023 | 0 | 0.65 | 0 | 0 | 0.05 | 0.71
17MAY2023 | 0 | 0.64 | 0 | 0 | 0.05 | 0.69
18MAY2023 | 0 | 0.15 | 0 | 0 | 0.05 | 0.2
19MAY2023 | 0.01 | 0.1 | 0 | 0 | 0.04 | 0.15
20MAY2023 | 0.01 | 0.12 | 0 | 0 | 0.02 | 0.14
21MAY2023 | 0.01 | 0.05 | 0 | 0.01 | 0.12 | 0.18
22MAY2023 | 0.01 | 0.26 | 0 | 0 | 0.07 | 0.34
23MAY2023 | 0.02 | 0.63 | 0 | 0 | 0.03 | 0.67
24MAY2023 | 0 | 0.23 | 0 | 0 | 0.11 | 0.35
25MAY2023 | 0 | 0.03 | 0 | 0 | 0 | 0.03
26MAY2023 | 0 | 0.14 | 0 | 0 | 0.01 | 0.15
27MAY2023 | 0 | 0.19 | 0 | 0 | 0 | 0.19
28MAY2023 | 0 | 0.35 | 0 | 0 | 0 | 0.35
29MAY2023 | 0 | 0.15 | 0 | 0 | 0 | 0.16
30MAY2023 | 0 | 0.35 | 0 | 0 | 0.03 | 0.39
31MAY2023 | 0.01 | 0.14 | 0 | 0 | 0.17 | 0.33

## High Uplift Days
High Uplift Days
($ Millions)
Click to return to Table of Contents
Date | Day-Ahead Operating Reserve | Balancing Operating Reserve | Reactive | Blackstart | Lost Opportunity Cost | Total Uplift | Reason
09MAY2023 | 0.11 | 0.77 | 0 | 0.01 | 0.01 | 0.9

## Uneconomic CC, CT, Steam Hours
Percent of Total CC, CT, and Steam Hours - LMP < Offer
Click to return to Table of Contents
Date | CT | CC and STEAM
MAY21 | 25% | 7%
JUN21 | 18% | 7%
JUL21 | 17% | 7%
AUG21 | 16% | 7%
SEP21 | 14% | 5%
OCT21 | 13% | 4%
NOV21 | 14% | 4%
DEC21 | 27% | 4%
JAN22 | 17% | 6%
FEB22 | 26% | 6%
MAR22 | 26% | 4%
APR22 | 18% | 5%
MAY22 | 15% | 9%
JUN22 | 11% | 9%
JUL22 | 9% | 9%
AUG22 | 10% | 7%
SEP22 | 12% | 8%
OCT22 | 20% | 5%
NOV22 | 16% | 7%
DEC22 | 18% | 10%
JAN23 | 19% | 7%
FEB23 | 30% | 8%
MAR23 | 19% | 7%
APR23 | 14% | 5%
MAY23 | 14% | 6%

## Reliability and Deviations BOR
Reliability and Deviations Balancing Operating Reserve Rates
($/MWh of Load)
Click to return to Table of Contents
Date | Reliability Balancing Operating Reserve Rate RTO | Reliability Balancing Operating Reserve Rate East | Reliability Balancing Operating Reserve Rate West | Deviations Balancing Operating Reserve Rate RTO | Deviations Balancing Operating Reserve Rate East | Deviations Balancing Operating Reserve Rate West
MAY2021 | 0.05 | 0.01 | 0 | 0.26 | 0.03 | 0.01
JUN2021 | 0.07 | 0.01 | 0 | 0.46 | 0.04 | 0.01
JUL2021 | 0.09 | 0 | 0 | 0.63 | 0.04 | 0.01
AUG2021 | 0.11 | 0.01 | 0 | 0.7 | 0.03 | 0
SEP2021 | 0.02 | 0 | 0 | 0.28 | 0.02 | 0
OCT2021 | 0.08 | 0.01 | 0 | 0.51 | 0.16 | 0
NOV2021 | 0.08 | 0.03 | 0 | 0.77 | 0.19 | 0.02
DEC2021 | 0.04 | 0 | 0 | 0.27 | 0.02 | 0
JAN2022 | 0.07 | 0.01 | 0 | 0.31 | 0.02 | 0.01
FEB2022 | 0.02 | 0 | 0 | 0.12 | 0.05 | 0
MAR2022 | 0.04 | 0.01 | 0 | 0.09 | 0.03 | 0
APR2022 | 0.05 | 0.03 | 0 | 0.32 | 0.32 | 0
MAY2022 | 0.04 | 0.02 | 0.01 | 0.25 | 0.22 | 0.01
JUN2022 | 0.06 | 0.03 | 0 | 0.47 | 0.16 | 0
JUL2022 | 0.09 | 0.02 | 0 | 0.58 | 0.21 | 0.02
AUG2022 | 0.11 | 0.02 | 0 | 0.65 | 0.29 | 0
SEP2022 | 0.05 | 0.01 | 0 | 0.3 | 0.16 | 0.01
OCT2022 | 0.05 | 0.03 | 0 | 0.25 | 0.09 | 0.03
NOV2022 | 0.08 | 0.04 | 0 | 0.18 | 0.08 | 0.01
DEC2022 | 0.25 | 0.04 | 0 | 0.83 | 0.08 | 0
JAN2023 | 0.03 | 0.01 | 0 | 0.09 | 0.02 | 0
FEB2023 | 0.03 | 0.01 | 0 | 0.05 | 0.04 | 0
MAR2023 | 0.03 | 0.03 | 0 | 0.04 | 0.02 | 0
APR2023 | 0.07 | 0.04 | 0 | 0.15 | 0.08 | 0.01
MAY2023 | 0.07 | 0.01 | 0 | 0.15 | 0.06 | 0.01

## Operating Reserve
Operating Reserve
($/MWh of Load)
Click to return to Table of Contents
Date | Day-Ahead Allocated to Entire RTO | Day-Ahead Allocated Locally | Real-Time
MAY2021 | 0.01 | 0 | 0.15
JUN2021 | 0.02 | 0 | 0.24
JUL2021 | 0.01 | 0 | 0.26
AUG2021 | 0.01 | 0 | 0.27
SEP2021 | 0.03 | 0 | 0.11
OCT2021 | 0.01 | 0 | 0.24
NOV2021 | 0.01 | 0 | 0.35
DEC2021 | 0.03 | 0 | 0.13
JAN2022 | 0.01 | 0 | 0.19
FEB2022 | 0.01 | 0 | 0.08
MAR2022 | 0.01 | 0 | 0.11
APR2022 | 0.01 | 0 | 0.24
MAY2022 | 0.04 | 0.01 | 0.2
JUN2022 | 0.06 | 0 | 0.29
JUL2022 | 0.14 | 0 | 0.33
AUG2022 | 0.11 | 0 | 0.42
SEP2022 | 0.11 | 0 | 0.22
OCT2022 | 0.01 | 0 | 0.29
NOV2022 | 0.02 | 0 | 0.24
DEC2022 | 0.31 | 0 | 0.83
JAN2023 | 0.02 | 0 | 0.09
FEB2023 | 0.02 | 0 | 0.07
MAR2023 | 0.02 | 0 | 0.08
APR2023 | 0.04 | 0.01 | 0.22
MAY2023 | 0.01 | 0 | 0.19

## Balancing Operating Reserve MWh
Balancing Operating Reserve MWh by Region and Reason
Click to return to Table of Contents
Date | RTO | East | West | Reliability Analysis Reliability | Reliability Analysis Deviation | Real-Time Reliability | Real-Time Deviation | Total
01MAY2023 | 22108.92 | 7563.18 | 6153.89 | . | . | 8040.88 | 27785.12 | 35825.99
02MAY2023 | 20958.71 | 20713.16 | 8180.15 | . | . | 20469.24 | 29382.78 | 49852.03
03MAY2023 | 30278.6 | 20308.49 | . | . | . | 5368.74 | 45218.35 | 50587.09
04MAY2023 | 23580.1 | 9376.24 | 25.4 | . | . | 16256.51 | 16725.22 | 32981.73
05MAY2023 | 15054.07 | 19346.99 | . | . | . | 13810.12 | 20590.94 | 34401.05
06MAY2023 | 11246.56 | 17079.49 | . | . | . | 5916.04 | 22410.01 | 28326.05
07MAY2023 | 106117.37 | 20972.17 | . | . | . | 14732.97 | 112356.56 | 127089.53
08MAY2023 | 58243.95 | 7751.37 | 47.11 | . | 4072.19 | 13661.35 | 48308.89 | 66042.43
09MAY2023 | 64063.28 | 28457.81 | . | . | . | 14946.43 | 77574.65 | 92521.08
10MAY2023 | 18688.61 | 2596.95 | . | . | . | 15161.97 | 6123.59 | 21285.56
11MAY2023 | 44912.09 | 11187.7 | . | . | . | 19455.51 | 36644.29 | 56099.79
12MAY2023 | 50075.26 | 18862.17 | . | . | 14601.08 | 14886.26 | 39450.09 | 68937.43
13MAY2023 | 99419.77 | 9902.45 | . | . | . | 21851.09 | 87471.13 | 109322.22
14MAY2023 | 17463.73 | 2131.26 | 438.48 | . | . | 10875.46 | 9158.01 | 20033.47
15MAY2023 | 87012.88 | 6158.15 | . | . | . | 12944.53 | 80226.5 | 93171.03
16MAY2023 | 99184.12 | 10957.45 | . | . | . | 20938.95 | 89202.62 | 110141.57
17MAY2023 | 68399.7 | . | 13500.35 | . | . | 21465.59 | 60434.45 | 81900.05
18MAY2023 | 19093.89 | 3138.41 | . | . | . | 8840.09 | 13392.22 | 22232.31
19MAY2023 | 17491.52 | . | 2565 | . | . | 3857.55 | 16198.98 | 20056.52
20MAY2023 | 14966.52 | . | . | . | . | 2982.56 | 11983.97 | 14966.52
21MAY2023 | 17852.55 | . | . | . | . | 1122.87 | 16729.69 | 17852.55
22MAY2023 | 50982.37 | 1529.81 | 2542.82 | . | . | 10500 | 44554.99 | 55054.99
23MAY2023 | 77839.59 | . | . | . | . | 30601.76 | 47237.83 | 77839.59
24MAY2023 | 37434.86 | 1933.03 | 1080 | . | 369 | 17611.72 | 22467.17 | 40447.89
25MAY2023 | 3670.09 | . | 2926.66 | . | . | 1993.64 | 4603.11 | 6596.75
26MAY2023 | 14010.96 | . | 7746.99 | . | . | 11183.93 | 10574.03 | 21757.96
27MAY2023 | 23493.6 | . | . | . | . | 19429.99 | 4063.61 | 23493.6
28MAY2023 | 32740.45 | 1387.7 | . | . | . | 31657.99 | 2470.16 | 34128.15
29MAY2023 | 27646.02 | 3204.81 | . | . | . | 9614.5 | 21236.34 | 30850.84
30MAY2023 | 54114.7 | 4153.47 | . | . | . | 15862.21 | 42405.96 | 58268.17
31MAY2023 | 44383.19 | 5412.32 | 987.48 | . | . | 12929.93 | 37853.07 | 50782.99

## Balancing Operating Reserve $
Balancing Operating Reserve $ by Region and Reason
Click to return to Table of Contents
Date | RTO | East | West | Reliability Analysis Reliability | Reliability Analysis Deviation | Real-Time Reliability | Real-Time Deviation | Total
01MAY2023 | 147095.55 | 16926.8 | 16858.65 | . | . | 92511.71 | 88369.29 | 180881
02MAY2023 | 198264.87 | 147949.79 | 13532.68 | . | . | 215422.44 | 144324.9 | 359747.34
03MAY2023 | 153660.5 | 60786.18 | . | . | . | 43802.64 | 170644.04 | 214446.68
04MAY2023 | 295689.93 | 73864.26 | 101.81 | . | . | 239043.29 | 130612.71 | 369656
05MAY2023 | 92570.99 | 126246.19 | . | . | . | 144410.73 | 74406.45 | 218817.18
06MAY2023 | 87585.81 | 8874.47 | . | . | . | 74913.17 | 21547.11 | 96460.28
07MAY2023 | 533298.63 | 85553.06 | . | . | . | 177507.54 | 441344.15 | 618851.69
08MAY2023 | 381241.57 | 184646.54 | 215.01 | . | 160721.72 | 253715.8 | 151665.6 | 566103.12
09MAY2023 | 469077.52 | 289140.22 | . | . | . | 216713.62 | 541504.12 | 758217.74
10MAY2023 | 185375.83 | 25569.16 | . | . | . | 190955.79 | 19989.2 | 210944.99
11MAY2023 | 327815.39 | 56074.7 | . | . | . | 201482.52 | 182407.57 | 383890.09
12MAY2023 | 251602.65 | 72610.81 | . | . | 56242.8 | 112192.81 | 155777.85 | 324213.46
13MAY2023 | 305850.31 | 66497.76 | . | . | . | 148959.93 | 223388.14 | 372348.07
14MAY2023 | 79839.52 | 9492.6 | 3549.82 | . | . | 73733.01 | 19148.93 | 92881.94
15MAY2023 | 466349.94 | 16271.85 | . | . | . | 170962.52 | 311659.27 | 482621.79
16MAY2023 | 622088.58 | 29659.3 | . | . | . | 269039.57 | 382708.31 | 651747.88
17MAY2023 | 547465.41 | . | 95671.16 | . | . | 270112.23 | 373024.34 | 643136.57
18MAY2023 | 106381.65 | 40233.75 | . | . | . | 96429.27 | 50186.13 | 146615.4
19MAY2023 | 73712.68 | . | 25102.29 | . | . | 31263.69 | 67551.28 | 98814.97
20MAY2023 | 117408.59 | . | . | . | . | 25949.98 | 91458.61 | 117408.59
21MAY2023 | 45158.05 | . | . | . | . | 14070.66 | 31087.39 | 45158.05
22MAY2023 | 241908.62 | 7937.02 | 5305.7 | . | . | 70661.23 | 184490.11 | 255151.34
23MAY2023 | 630761.71 | . | . | . | . | 295163.51 | 335598.2 | 630761.71
24MAY2023 | 201622.53 | 22784.9 | 8429.5 | . | 948 | 131479.83 | 100409.1 | 232836.93
25MAY2023 | 17171.66 | . | 6772.88 | . | . | 15387.84 | 8556.7 | 23944.54
26MAY2023 | 121641.47 | . | 17173.05 | . | . | 104850.26 | 33964.26 | 138814.52
27MAY2023 | 189436.98 | . | . | . | . | 177046.86 | 12390.12 | 189436.98
28MAY2023 | 319343.12 | 29197.01 | . | . | . | 336066.1 | 12474.03 | 348540.13
29MAY2023 | 145427.75 | 8547.86 | . | . | . | 84398.02 | 69577.59 | 153975.61
30MAY2023 | 344315.45 | 10285.73 | . | . | . | 174335.26 | 180265.92 | 354601.18
31MAY2023 | 108771.12 | 20460.39 | 15431.56 | . | . | 89427.18 | 55235.89 | 144663.07

## Monthly LOC
Monthly Lost Oppotunity Cost
Click to return to Table of Contents
Date | MWh Reduced Wind (MWh) | Lost Oppotunity Cost Wind ($) | Lost Opportunity Cost PJM Total ($)
01MAY2021 | 692 | 25865 | 2824482
01JUN2021 | 0 | 0 | 3164442
01JUL2021 | 0 | 0 | 1849082
01AUG2021 | 0 | 0 | 1632876
01SEP2021 | 410 | 28827 | 2591209
01OCT2021 | 1755 | 78080 | 2350949
01NOV2021 | 443 | 21788 | 7231993
01DEC2021 | 0 | 0 | 3238379
01JAN2022 | 22 | 1711 | 3725800
01FEB2022 | 451 | 26649 | 1789923
01MAR2022 | 0 | 0 | 505404
01APR2022 | 121 | 8567 | 1362377
01MAY2022 | 463 | 24696 | 1082256
01JUN2022 | 252 | 122357 | 5558151
01JUL2022 | 0 | 2 | 4750042
01AUG2022 | 2382 | 272050 | 4997078
01SEP2022 | 751 | 62645 | 1668093
01OCT2022 | 12854 | 1192941 | 4228835
01NOV2022 | 2895 | 194084 | 1253492
01DEC2022 | 6611 | 736683 | 9977555
01JAN2023 | 0 | 0 | 1911830
01FEB2023 | 8439 | 425102 | 1019322
01MAR2023 | 41 | 5721 | 674534
01APR2023 | 2376 | 77927 | 1466999
01MAY2023 | 16 | 832 | 1480768

## Daily LOC
Daily Lost Oppotunity Cost
Click to return to Table of Contents
Date | Lost Oppotunity Cost Wind ($) | Lost Opportunity Cost PJM Total ($)
01MAY2023 | 0 | 24737
02MAY2023 | 0 | 124166
03MAY2023 | 0 | 102602
04MAY2023 | 0 | 117768
05MAY2023 | 0 | 54599
06MAY2023 | 0 | 567
07MAY2023 | 0 | 11141
08MAY2023 | 832 | 23970
09MAY2023 | 0 | 9939
10MAY2023 | 0 | 30124
11MAY2023 | 0 | 97272
12MAY2023 | 0 | 16119
13MAY2023 | 0 | 47280
14MAY2023 | 0 | 43354
15MAY2023 | 0 | 16780
16MAY2023 | 0 | 53090
17MAY2023 | 0 | 45431
18MAY2023 | 0 | 48375
19MAY2023 | 0 | 40732
20MAY2023 | 0 | 21080
21MAY2023 | 0 | 116084
22MAY2023 | 0 | 74263
23MAY2023 | 0 | 28594
24MAY2023 | 0 | 112356
25MAY2023 | 0 | 829
26MAY2023 | 0 | 6601
27MAY2023 | 0 | 1812
28MAY2023 | 0 | 56
29MAY2023 | 0 | 2024
30MAY2023 | 0 | 34698
31MAY2023 | 0 | 174321

## Monthly Load Weighted LMP
Monthly Load Weighted LMP
Click to return to Table of Contents
Date | Load Weighted LMP ($/MWh)
MAY2021 | 29.4
JUN2021 | 34.1
JUL2021 | 37.3
AUG2021 | 47.4
SEP2021 | 49.6
OCT2021 | 58.4
NOV2021 | 63
DEC2021 | 38.9
JAN2022 | 69.1
FEB2022 | 46.8
MAR2022 | 43.6
APR2022 | 63.9
MAY2022 | 83.2
JUN2022 | 97.9
JUL2022 | 92.5
AUG2022 | 113.8
SEP2022 | 78.3
OCT2022 | 55.9
NOV2022 | 52.9
DEC2022 | 142.2
JAN2023 | 35.8
FEB2023 | 26
MAR2023 | 28.4
APR2023 | 29.3
MAY2023 | 28.4

## Annual LMP Averages
Annual Fuel Cost Adjusted and Load Weighted LMP
Click to return to Table of Contents
Year | Fuel Cost Adjusted LMP ($/MWh) | Load Weighted LMP ($/MWh)
2014 | 26.02 | 53.13
2015 | 28.33 | 36.25
2016 | 26.95 | 29.27
2017 | 31.56 | 31.06
2018 | 33.66 | 37.83
2019 | 31.46 | 27.15
2020 | 32.4 | 21.65
2021 | 32.14 | 39.79
2022 | 35.93 | 80.17
2023 | 31.44 | 29.75
The 2023 value is through the last day of MAY, 2023.

## LMP Suspensions and Reruns
LMP Suspensions and Reruns
Click to return to Table of Contents
Date | Percentage of Intervals Price Posting Suspended | Percentage of Intervals Rerun Prior to Final LMP Posting Curent Calculation
MAY2021 | . | 0.07%
JUN2021 | 0.05% | 0%
JUL2021 | . | 0.03%
AUG2021 | 0.04% | 0.47%
SEP2021 | . | 0.07%
OCT2021 | 0.06% | 0.35%
NOV2021 | 0.01% | 1.56%
DEC2021 | 0.01% | 1.76%
JAN2022 | 0.04% | 1.56%
FEB2022 | . | 8.04%
MAR2022 | 0.01% | 3.71%
APR2022 | 0.01% | 2.45%
MAY2022 | 0.01% | 1.8%
JUN2022 | 0.45% | 1.74%
JUL2022 | 0.01% | 2.04%
AUG2022 | 0.41% | 3.39%
SEP2022 | . | 3.82%
OCT2022 | . | 4.01%
NOV2022 | 0.02% | 2.65%
DEC2022 | 0.08% | 2.35%
JAN2023 | 0.06% | 1.28%
FEB2023 | 0.04% | 1.81%
MAR2023 | 0.01% | 1.11%
APR2023 | . | 2.59%
MAY2023 | 0.01% | 1.96%

## Annual DR Estimated Revenue
Demand Response Estimated Revenue
Click to return to Table of Contents
Year | Economic Energy | Capacity | Ancillary Services | Emergency Energy | Economic Energy Incentives | Capacity Bonus Payment | Price Responsive Demand Credits | Total
2014 | 17820063 | 631016188 | 6284506 | 42930598 | 0 | . | . | 698051354
2015 | 7983488 | 807137222 | 6118299 | 480978 | 0 | . | . | 821719987
2016 | 3477215 | 644469413 | 4512812 | 0 | 0 | . | . | 652459440
2017 | 2551777 | 492872505 | 4807877 | 0 | 0 | . | . | 500232159
2018 | 2523722 | 584665539 | 8946085 | 0 | 0 | . | . | 596135346
2019 | 979266 | 481661914 | 5205768 | 1062830 | 0 | 447666 | . | 489357444
2020 | 329119 | 354358432 | 3771200 | 0 | 0 | 0 | 13865948 | 372324699
2021 | 1163113 | 504391547 | 9929451 | 0 | 0 | 0 | 32229157 | 547713268
2022 | 10893489 | 377828296 | 23353786 | 63469818 | 0 | 87808957 | 22112219 | 585466564
2023 | 654074 | 86476519 | 3474508 | 0 | 0 | 0 | 4444325 | 95049426
The 2023 value is through the last day of MAY, 2023.

## Demand Response
Demand Response
Click to return to Table of Contents
Date | Economic DR Total Load Reductions | Economic DR Total Net CSP Credits | DR as Sync. Res. MWh Cleared | DR as Sync. Res. Total Payments | DR as Regulation MWh Cleared | DR as Regulation Total Payments | Total MWs Registered in Economic DR
01MAY2021 | 110 | 4122.3 | 138590 | 582048 | 5029 | 99565 | 1436
01JUN2021 | 1444 | 74417.12 | 102788 | 393606 | 5383 | 118841 | 1522
01JUL2021 | 3139 | 162293.91 | 131528 | 351936 | 5998 | 135046 | 1805
01AUG2021 | 5088 | 362066.93 | 155905 | 614168 | 5899 | 221908 | 1816
01SEP2021 | 1367 | 92285.66 | 133384 | 450777 | 7543 | 252140 | 1863
01OCT2021 | 1195 | 83066.07 | 185875 | 1530525 | 6965 | 310020 | 2115
01NOV2021 | 1661 | 129065.94 | 164238 | 1537918 | 7566 | 429248 | 2126
01DEC2021 | 272 | 15611.58 | 79401 | 681433 | 8684 | 259969 | 2129
01JAN2022 | 3062 | 219579.71 | 79792 | 713255 | 8555 | 540011 | 2103
01FEB2022 | 1956 | 123401.53 | 66844 | 410939 | 8532 | 283262 | 2137
01MAR2022 | 1211 | 58864.97 | 103693 | 737865 | 8447 | 258462 | 2105
01APR2022 | 1877 | 131511.04 | 123912 | 1255506 | 8224 | 422769 | 2212
01MAY2022 | 3988 | 356687.72 | 144015 | 1492295 | 13653 | 633502 | 2234
01JUN2022 | 4298 | 526201.32 | 157808 | 2706886 | 10676 | 546659 | 1691
01JUL2022 | 14231 | 1759574.87 | 140464 | 1640622 | 14068 | 787164 | 2216
01AUG2022 | 15801 | 1978740.32 | 181845 | 2137391 | 18883 | 1212870 | 2298
01SEP2022 | 12685 | 1253594.13 | 152931 | 910143 | 18891 | 1029618 | 2311
01OCT2022 | 11904 | 917837.88 | 140006 | 99523 | 19009 | 820235 | 2421
01NOV2022 | 10457 | 760641.55 | 92511 | 107360 | 18530 | 506158 | 2442
01DEC2022 | 22096 | 2806853.62 | 77604 | 1146954 | 14172 | 1442192 | 2456
01JAN2023 | 6295 | 304972.31 | 103847 | 150437 | 14017 | 294337 | 2484
01FEB2023 | 124 | 10803.87 | 99889 | 67615 | 14784 | 291581 | 2433
01MAR2023 | 1327 | 67542.15 | 107236 | 51541 | 17884 | 351672 | 2489
01APR2023 | 3036 | 156222.31 | 129813 | 199537 | 19533 | 488013 | 2636
01MAY2023 | 2390 | 114533.41 | 190816 | 1024284 | 18338 | 521342 | 2609

## Incs, Decs and Up-Tos
Virtual and Up-To Congestion Transactions
Click to return to Table of Contents
Date | Virtual Bids Submitted | Virtaul Bids Cleared | Virtual MWh Submitted | Virtual MWh Cleared | Up-To Transactions Submitted | Up-To Transactions Cleared | Up-To MWh Submitted | Up-To MWh Cleared | Total Transactions Submitted | Total Transactions Cleared | Total MWh Submitted | Total MWh Cleared
MAY2021 | 1299804 | 331706 | 10712612 | 4349098 | 1684221 | 435272 | 15255935 | 5189928 | 2984025 | 766978 | 25968547 | 9539026
JUN2021 | 1259963 | 271134 | 11623317 | 4945272 | 1460797 | 447462 | 12716567 | 5157223 | 2720760 | 718596 | 24339884 | 10102495
JUL2021 | 1236515 | 279279 | 11048854 | 4504002 | 1573589 | 425833 | 12012361 | 5017149 | 2810104 | 705112 | 23061215 | 9521151
AUG2021 | 1374399 | 285990 | 10733926 | 4318028 | 1841321 | 323605 | 9989197 | 3992130 | 3215720 | 609595 | 20723123 | 8310158
SEP2021 | 1521432 | 380555 | 11717069 | 4539777 | 2329955 | 339451 | 11831271 | 4794124 | 3851387 | 720006 | 23548340 | 9333901
OCT2021 | 1689491 | 448019 | 11782527 | 4517125 | 2291217 | 308179 | 11603152 | 4033467 | 3980708 | 756198 | 23385678 | 8550592
NOV2021 | 1656291 | 467405 | 11369701 | 4649046 | 2385838 | 353045 | 13406796 | 4874637 | 4042129 | 820450 | 24776497 | 9523683
DEC2021 | 1551891 | 476684 | 12725122 | 5726641 | 2499837 | 374500 | 14073607 | 4932180 | 4051728 | 851184 | 26798729 | 10658821
JAN2022 | 1955318 | 508718 | 15893777 | 7001586 | 2636803 | 355965 | 21185234 | 6151542 | 4592121 | 864683 | 37079011 | 13153128
FEB2022 | 1737786 | 475257 | 14782342 | 6599706 | 3004748 | 424588 | 20911191 | 8002309 | 4742534 | 899845 | 35693533 | 14602015
MAR2022 | 1647294 | 440982 | 16282470 | 7170257 | 2985400 | 387324 | 25757517 | 8114631 | 4632694 | 828306 | 42039987 | 15284889
APR2022 | 1508609 | 387460 | 14186971 | 5574487 | 2847497 | 316721 | 26571583 | 6501343 | 4356106 | 704181 | 40758554 | 12075830
MAY2022 | 1563068 | 421097 | 15491620 | 6359134 | 2887256 | 326172 | 25363864 | 6410221 | 4450324 | 747269 | 40855485 | 12769355
JUN2022 | 1397621 | 347983 | 13817000 | 5894356 | 3168236 | 374569 | 22656802 | 7353240 | 4565857 | 722552 | 36473802 | 13247595
JUL2022 | 1521446 | 341413 | 13356800 | 5588520 | 4287467 | 464155 | 26211757 | 8190488 | 5808913 | 805568 | 39568557 | 13779008
AUG2022 | 1465696 | 371576 | 13233766 | 5952457 | 5668567 | 562781 | 35834573 | 11165039 | 7134263 | 934357 | 49068339 | 17117496
SEP2022 | 1520746 | 391842 | 13741667 | 6846914 | 5780132 | 614122 | 34118720 | 9546538 | 7300878 | 1005964 | 47860387 | 16393452
OCT2022 | 1673581 | 464139 | 14847553 | 6261710 | 5859676 | 549493 | 39548728 | 10965036 | 7533257 | 1013632 | 54396281 | 17226746
NOV2022 | 1800212 | 490460 | 16070091 | 6554011 | 5906813 | 641304 | 52802789 | 15706300 | 7707025 | 1131764 | 68872880 | 22260312
NOV2022 | 1800212 | 490460 | 16070091 | 6554011 | 5906813 | 641304 | 52802789 | 15706300 | 7707025 | 1131764 | 68872880 | 22260312
DEC2022 | 1820827 | 472288 | 15421533 | 6124227 | 6618098 | 744286 | 60439700 | 17870046 | 8438925 | 1216574 | 75861233 | 23994273
JAN2023 | 1506612 | 469504 | 13234347 | 6177575 | 6452516 | 708370 | 50705416 | 17638580 | 7959128 | 1177874 | 63939763 | 23816155
FEB2023 | 1426573 | 459343 | 13116379 | 6435646 | 7183266 | 674106 | 57444566 | 16290896 | 8609839 | 1133449 | 70560945 | 22726542
MAR2023 | 1620941 | 543059 | 14888549 | 6828384 | 9141322 | 713957 | 84211767 | 18451327 | 10762263 | 1257016 | 99100316 | 25279711
APR2023 | 1531725 | 467429 | 14760108 | 6102021 | 8580136 | 751238 | 91618263 | 21619586 | 10111861 | 1218667 | 106378371 | 27721607
MAY2023 | 1513172 | 504080 | 14428199 | 6527677 | 6646490 | 783478 | 81113241 | 20764812 | 8159662 | 1287558 | 95541440 | 27292489

## Congestion and FTR Revenue
Congestion and FTR Revenue
Click to return to Table of Contents
Date | Total FTR Revenue ($Millions) | Total FTR Target ($Millions) | FTR Payout Ratio (%) | Day-Ahead Congestion ($Millions) | Balancing Congestion ($Millions)
MAY2021 | 118.92 | 110.31 | 100% | 104.41 | -10.45
JUN2021 | 103.27 | 101.46 | 100% | 90.93 | -15.86
JUL2021 | 92.04 | 75.45 | 100% | 78.71 | -3.37
AUG2021 | 125.43 | 138.11 | 91% | 112.05 | -16.62
SEP2021 | 111.34 | 133.52 | 83% | 97.01 | -7.21
OCT2021 | 127.01 | 142.13 | 89% | 113.4 | -14.42
NOV2021 | 221.89 | 270.06 | 82% | 209.85 | -34.31
DEC2021 | 126.69 | 146.42 | 87% | 113.52 | -7.31
JAN2022 | 459.79 | 410.2 | 100% | 442.57 | -121.63
FEB2022 | 174.13 | 170.9 | 100% | 158.77 | -42.47
MAR2022 | 114.17 | 107.63 | 100% | 99.25 | -24.75
APR2022 | 161.87 | 161.64 | 100% | 145.88 | -31.29
MAY2022 | 420.98 | 386.43 | 100% | 406.07 | -52.24
JUN2022 | 220.22 | 231.54 | 95% | 202.01 | -37.64
JUL2022 | 248.73 | 220.42 | 100% | 223.57 | -33.09
AUG2022 | 373.66 | 313.73 | 100% | 355.62 | -46.13
SEP2022 | 269.12 | 260.88 | 100% | 248.49 | -28.71
OCT2022 | 179.69 | 208.05 | 86% | 161.39 | -16.65
NOV2022 | 240.48 | 242.18 | 99% | 215.39 | -28.36
DEC2022 | 392.03 | 322.37 | 100% | 364.98 | -58.57
JAN2023 | 94.62 | 77.62 | 100% | 69.25 | -7.04
FEB2023 | 128.41 | 90.81 | 100% | 102.77 | -16.41
MAR2023 | 80.73 | 59.87 | 100% | 54.1 | -27.34
APR2023 | 155.24 | 140.05 | 100% | 128.82 | -43.34
MAY2023 | 121.05 | 111.93 | 100% | 96.87 | -35.92

## Balancing Congestion Facilities
Balancing Congestion Facilities
Click to return to Table of Contents
Date | Facility Name | Balancing Congestion ($)
MAY2023 | Brambleton-Yardley Ridge 230 (2172A) | -11530000
MAY2023 | Chicago Ave-Praxair1 138 (MISO) | -5814868
MAY2023 | Nottingham Reactor 230 (PECO) | -3925614
MAY2023 | Chrysler-Maple 138 (MISO) | -3315819
MAY2023 | Dumont-Stillwell 345 (AEP IM) | -1790986
MAY2023 | Lafayette South-Shadeland 138 (MISO) | -1298112
MAY2023 | Dearborn-Tanners Creek 345 (MISO) | -1280859
MAY2023 | Mohomet-Weedman 138 (MISO) | -1000329
MAY2023 | Roxbury-Shade Gap 115 (PN) | -760362
MAY2023 | Cayuga-Hilsdale 230 (MISO) | -743183

## Average Interface Prices
Monthly Average PJM/MISO and PJM/NYISO Interface Prices
Click to return to Table of Contents
Date | PJM's Price for MISO Real-Time | MISO's Price for PJM Real-Time | PJM's Price for MISO Day-Ahead | MISO's Price for PJM Day-Ahead | PJM's Price for NYISO Real-Time | NYISO's Price for PJM Real-Time | PJM's Price for NYISO Day-Ahead | NYISO's Price for PJM Day-Ahead
MAY2021 | 25.79 | 25.62 | 26.15 | 26.44 | 25.07 | 23.08 | 24.16 | 21.02
JUN2021 | 31.23 | 32.73 | 30.78 | 32.88 | 29.23 | 32.9 | 28.64 | 30.99
JUL2021 | 34.59 | 35.81 | 35.73 | 36.86 | 34.36 | 33.39 | 34.51 | 36.89
AUG2021 | 41.69 | 40.05 | 41.15 | 41.73 | 41.83 | 42.16 | 40.36 | 42.8
SEP2021 | 44.43 | 43.86 | 42.75 | 43.02 | 41.99 | 41.11 | 39.8 | 40.83
OCT2021 | 53.93 | 54.84 | 54.33 | 54.41 | 49.18 | 47.24 | 48.91 | 47.64
NOV2021 | 52.39 | 53.89 | 53.77 | 53.35 | 50.91 | 51.83 | 49.89 | 48.65
DEC2021 | 35.72 | 36.34 | 34.61 | 37.65 | 36.09 | 39.71 | 35.27 | 39.77
JAN2022 | 43.79 | 45.49 | 47.63 | 46.33 | 93.71 | 98.5 | 79.12 | 101.16
FEB2022 | 39.89 | 41.72 | 42.35 | 44.3 | 57.09 | 55.41 | 54.29 | 63.83
MAR2022 | 37.63 | 39.86 | 40 | 40.95 | 42.04 | 45.73 | 43.54 | 45.82
APR2022 | 56.09 | 58.65 | 58.31 | 59.87 | 55.82 | 50.4 | 58.81 | 50.1
MAY2022 | 69.85 | 71.96 | 72.18 | 74.39 | 61.34 | 63.62 | 66.21 | 58.89
JUN2022 | 85.89 | 81.23 | 83.44 | 85.9 | 74.5 | 74.23 | 69.82 | 68.3
JUL2022 | 79.74 | 83.61 | 83.71 | 84.55 | 78.79 | 84.28 | 83.14 | 82.98
AUG2022 | 89.88 | 94.62 | 90.8 | 93.05 | 98.3 | 100.68 | 92.15 | 94.87
SEP2022 | 70.17 | 72.46 | 74.28 | 76.51 | 62.25 | 66.95 | 68.04 | 70.43
OCT2022 | 49.31 | 51.57 | 50.67 | 50.95 | 47.81 | 45.8 | 48.78 | 48.11
NOV2022 | 45.33 | 44.69 | 46.97 | 47.8 | 43.35 | 40.9 | 45.58 | 41.21
DEC2022 | 93.73 | 75.53 | 68.23 | 61.64 | 116.57 | 94.81 | 87.7 | 86.24
JAN2023 | 32.8 | 33.81 | 33.46 | 34.96 | 33.45 | 34.33 | 33.56 | 36.97
FEB2023 | 22.98 | 24.56 | 25.7 | 26.58 | 26.11 | 28.29 | 31.28 | 36.83
MAR2023 | 25.66 | 25.5 | 25.67 | 26.65 | 25.19 | 25.01 | 25.86 | 26.77
APR2023 | 23.42 | 24.76 | 24.7 | 25.88 | 24.1 | 26.06 | 25.19 | 25.47
MAY2023 | 25.44 | 27.08 | 26.39 | 27.94 | 20.7 | 21.14 | 21.61 | 20.76

## Market to Market Congestion
PJM/MISO and PJM/NYISO Market to Market Congestion Payments
Click to return to Table of Contents
Date | Net M2M Payments from PJM to MISO ($) | Payments to MISO as Percent of Total PJM Congestion | Net M2M Payments from PJM to NYISO ($) | Payments to NYISO as Percent of Total PJM Congestion | FTR Revenue ($)
MAY2021 | $-3,722,722 | 3.4% | $-77,067 | 0.07% | 110310359
JUN2021 | $-1,474,390 | 1.5% | 72073 | 0.07% | 101460146
JUL2021 | $-205,566 | 0.3% | 229825 | 0.29% | 79107575
AUG2021 | $-1,348,144 | 1% | 105464 | 0.07% | 141136819
SEP2021 | $-786,412 | 0.6% | $-31,199 | 0.02% | 133524904
OCT2021 | $-1,449,393 | 1% | $-36,840 | 0.03% | 142128235
NOV2021 | 1410123 | 0.5% | 184035 | 0.07% | 270062172
DEC2021 | $-2,809,014 | 1.9% | $-220,347 | 0.15% | 146419783
JAN2022 | $-8,827,970 | 2.2% | $-2,842,631 | 0.69% | 410202298
FEB2022 | $-6,539,248 | 3.8% | $-827,421 | 0.48% | 170901305
MAR2022 | $-14,903,430 | 13.8% | $-73,500 | 0.07% | 107630030
APR2022 | $-23,957,490 | 14.8% | $-1,077,850 | 0.67% | 161635739
MAY2022 | $-23,059,246 | 6% | $-2,380,617 | 0.62% | 386433052
JUN2022 | $-8,203,485 | 3.5% | $-9,971 | 0% | 231540036
JUL2022 | $-7,600,711 | 3.4% | $-85,615 | 0.04% | 220415075
AUG2022 | $-5,937,583 | 1.9% | $-134,279 | 0.04% | 313733668
SEP2022 | $-4,658,097 | 1.8% | 36561 | 0.01% | 260877180
OCT2022 | $-17,773,829 | 8.5% | $-44,500 | 0.02% | 208047698
NOV2022 | $-14,312,352 | 5.9% | $-36,302 | 0.01% | 242184098
DEC2022 | $-47,335,717 | 14.7% | $-6,206 | 0% | 322367124
JAN2023 | $-5,658,070 | 7.3% | 279756 | 0.36% | 77622121
FEB2023 | $-2,574,139 | 2.8% | 282401 | 0.31% | 90806423
MAR2023 | $-6,496,984 | 10.9% | $-111,170 | 0.19% | 59866477
APR2023 | $-16,199,761 | 11.6% | $-11,504 | 0.01% | 140053037
MAY2023 | $-10,394,960 | 9.3% | $-10,287 | 0.01% | 111927654

## Regulation and Sync Reserve
Regulation and Synchronized Reserve
Click to return to Table of Contents
Date | Synchronous Condenser ($Millions) | Synchronized Reserve ($Millions) | Synchronous Condenser (Cents/MWh load) | Synchronized Reserve (Cents/MWh load) | Regulation ($Millions)
MAY2021 | . | 4.58 | . | 7.83 | 8.05
JUN2021 | . | 3.28 | . | 4.74 | 9.65
JUL2021 | . | 3.04 | . | 4 | 9.68
AUG2021 | . | 5.56 | . | 7.14 | 15.39
SEP2021 | . | 3.68 | . | 5.79 | 12.92
OCT2021 | . | 10.47 | . | 17.88 | 18.33
NOV2021 | . | 10.73 | . | 17.56 | 24.45
DEC2021 | . | 4.86 | . | 7.49 | 13.66
JAN2022 | . | 7.07 | . | 9.26 | 33.95
FEB2022 | . | 2.48 | . | 3.88 | 14.31
MAR2022 | . | 5.25 | . | 8.35 | 13.05
APR2022 | . | 7.96 | . | 14.08 | 23.25
MAY2022 | . | 8.33 | . | 13.64 | 19.63
JUN2022 | . | 20.56 | . | 30.32 | 25.58
JUL2022 | . | 9.81 | . | 12.62 | 28.26
AUG2022 | . | 11.64 | . | 15.24 | 32.33
SEP2022 | . | 4.08 | . | 6.52 | 21.26
OCT2022 | . | 5.05 | . | 8.8 | 19.14
NOV2022 | . | 3.48 | . | 5.74 | 11.43
DEC2022 | . | 6.28 | . | 8.77 | 53.85
JAN2023 | . | 1.38 | . | 2.02 | 9.81
FEB2023 | . | 1.33 | . | 2.21 | 8.13
MAR2023 | . | 1.18 | . | 1.85 | 9.51
APR2023 | . | 2.85 | . | 5.13 | 11.32
MAY2023 | . | 9.01 | . | 15.54 | 12.61

## Regulation Daily
Regulation Market Daily Prices and Charges
Click to return to Table of Contents
Date | Minimum Hourly Price ($/MWh) | Average Hourly Price ($/MWh) | Maximum Hourly Price ($/MWh) | Total Daily Regulation Charges($Millions) /
01MAY2023 | 3.74 | 23.05 | 93.37 | 525165.34
02MAY2023 | 4.13 | 29.71 | 80.32 | 609831.76
03MAY2023 | 9.28 | 37.48 | 143.86 | 627111.61
04MAY2023 | 4.36 | 35.51 | 112.65 | 531388.62
05MAY2023 | 3.71 | 21.04 | 70.27 | 350818.07
06MAY2023 | 8.61 | 25.72 | 68.74 | 513636.98
07MAY2023 | 5.53 | 32.99 | 156.45 | 589978.28
08MAY2023 | 1.13 | 35.4 | 172.79 | 582665.74
09MAY2023 | 5.76 | 46.38 | 381.28 | 603337.06
10MAY2023 | 11.01 | 38.78 | 261.22 | 585976.95
11MAY2023 | 1.24 | 24.37 | 110.67 | 374055.69
12MAY2023 | 0.01 | 18.75 | 59.19 | 301956.88
13MAY2023 | 0.01 | 15.75 | 56.84 | 295580.69
14MAY2023 | 0 | 13.56 | 71.32 | 237128.43
15MAY2023 | 9 | 42.37 | 329.15 | 694900.94
16MAY2023 | 2.72 | 32.01 | 66.8 | 490065.96
17MAY2023 | 0.01 | 22.74 | 86.93 | 414281.27
18MAY2023 | 4.38 | 21.35 | 73.71 | 367386.72
19MAY2023 | 0 | 16.87 | 63.85 | 256691.24
20MAY2023 | 4.01 | 25.12 | 92.5 | 405879.44
21MAY2023 | 0.01 | 20.46 | 147.68 | 439761.54
22MAY2023 | 6.83 | 29.31 | 114.04 | 462774.24
23MAY2023 | 0 | 14.06 | 36.81 | 274095.59
24MAY2023 | 0.01 | 16.2 | 54.58 | 233735.23
25MAY2023 | 0 | 8.3 | 23.94 | 173534
26MAY2023 | 0 | 15.25 | 75.61 | 295862.4
27MAY2023 | 0.01 | 11.71 | 62 | 200649.27
28MAY2023 | 1.09 | 8.92 | 20.88 | 169500.29
29MAY2023 | 6.67 | 15.32 | 41.63 | 332779.21
30MAY2023 | 1.7 | 29.19 | 338.29 | 359283.7
31MAY2023 | 1.07 | 14.63 | 44.95 | 306676.8

## Synchronized Reserve Daily
Synchronized Reserve Market Daily Prices and Charges
Click to return to Table of Contents
Date | Minimum Hourly Price ($/MWh) | Average Hourly Price ($/MWh) | Maximum Hourly Price ($/MWh) | Total Daily Regulation Charges($Millions) /
01MAY2023 | 0 | 0.02 | 0.07 | 78650.34
02MAY2023 | 0 | 0.28 | 3.63 | 62503.83
03MAY2023 | 0 | 2.36 | 32.88 | 80121
04MAY2023 | 0 | 0.6 | 5.45 | 57395.33
05MAY2023 | 0 | 0.71 | 16.4 | 62783.71
06MAY2023 | 0 | 0.03 | 0.07 | 60885.84
07MAY2023 | 0 | 0.39 | 8.67 | 55814.43
08MAY2023 | 0 | 0.84 | 7.67 | 235574.03
09MAY2023 | 0 | 1.68 | 35.44 | 158402.13
10MAY2023 | 0 | 4.96 | 89.22 | 99682.55
11MAY2023 | 0.01 | 1.85 | 43.19 | 167483.88
12MAY2023 | 0.07 | 33.33 | 600 | 981833.87
13MAY2023 | 0.07 | 10.12 | 45.39 | 1227124.5
14MAY2023 | 0.02 | 3.16 | 25.55 | 573142.33
15MAY2023 | 0.07 | 23.83 | 245.27 | 1316118.92
16MAY2023 | 0 | 4.15 | 27.91 | 158166.56
17MAY2023 | 0 | 1.35 | 16.2 | 91045.37
18MAY2023 | 0 | 1.07 | 13.76 | 174001.45
19MAY2023 | 0.02 | 3.51 | 29.72 | 293309.98
20MAY2023 | 0.02 | 4.27 | 48.6 | 374578.04
21MAY2023 | 0.01 | 5.1 | 110.3 | 295561.17
22MAY2023 | 0 | 4.88 | 35.96 | 446613.07
23MAY2023 | 0.01 | 0.84 | 10.59 | 528065.41
24MAY2023 | 0.01 | 0.99 | 14.08 | 238080.19
25MAY2023 | 0.01 | 0.59 | 6.2 | 123502.63
26MAY2023 | 0.01 | 2.38 | 14.95 | 213306.38
27MAY2023 | 0.01 | 2.41 | 54.22 | 74818.38
28MAY2023 | 0.01 | 0.02 | 0.07 | 75919.59
29MAY2023 | 0 | 1.13 | 12.31 | 218208.12
30MAY2023 | 0 | 12.2 | 252.77 | 233062.66
31MAY2023 | 0 | 3.16 | 20.01 | 256010.99

## Daily Marginal Losses
Daily Marginal Loss Summary
Click to return to Table of Contents
Date | Average Energy Price ($/MWh) | Minimum Loss Component ($/MWh) | Maximum Loss Component ($/MWh) | Minimum Loss Zone | Maximum Loss Zone | Loss Credits ($) | Loss Credits ($/MWh)
01MAY2023 | 29.59 | (3.04) | 4.11 | PPL | DAY | 318881 | 0.17
02MAY2023 | 30.36 | (2.36) | 1.67 | COMED | DAY | 550433 | 0.28
03MAY2023 | 38.62 | (2.55) | 2.77 | COMED | DAY | 911932 | 0.47
04MAY2023 | 31.34 | (3.08) | 3.65 | COMED | DAY | 592735 | 0.31
05MAY2023 | 23.09 | (1.40) | 1.27 | COMED | DAY | 405912 | 0.22
06MAY2023 | 25.5 | (1.72) | 2.23 | PPL | DAY | 386954 | 0.23
07MAY2023 | 27.07 | (4.01) | 4.47 | PPL | DAY | 514326 | 0.3
08MAY2023 | 41.57 | (1.78) | 3.34 | PPL | DAY | 576004 | 0.3
09MAY2023 | 34.31 | (4.92) | 3.72 | COMED | BGE | 659052 | 0.35
10MAY2023 | 28.72 | (1.62) | 2.17 | PPL | DAY | 546221 | 0.29
11MAY2023 | 29.28 | (2.31) | 3.49 | PPL | DAY | 490853 | 0.25
12MAY2023 | 29.43 | (2.36) | 2.64 | COMED | DAY | 657803 | 0.32
13MAY2023 | 30.99 | (2.57) | 2.28 | COMED | DAY | 601116 | 0.32
14MAY2023 | 19.18 | (2.04) | 2.67 | COMED | DAY | 364011 | 0.21
15MAY2023 | 37.57 | (1.63) | 3.09 | COMED | DAY | 532576 | 0.29
16MAY2023 | 34.17 | (4.38) | 4.69 | PENELEC | DAY | 577657 | 0.3
17MAY2023 | 25.77 | (3.57) | 3.26 | COMED | BGE | 528155 | 0.28
18MAY2023 | 24.81 | (2.77) | 2.23 | COMED | DAY | 557809 | 0.3
19MAY2023 | 24.72 | (1.62) | 2.11 | COMED | DAY | 502479 | 0.27
20MAY2023 | 27.71 | (2.13) | 2.17 | COMED | DAY | 561740 | 0.32
21MAY2023 | 25.27 | (1.48) | 1.47 | COMED | DOM | 459812 | 0.27
22MAY2023 | 35.87 | (2.80) | 5.76 | PENELEC | DAY | 630591 | 0.32
23MAY2023 | 24.86 | (2.12) | 3.08 | COMED | DAY | 755441 | 0.38
24MAY2023 | 24.41 | (0.97) | 2.4 | PPL | DAY | 650262 | 0.33
25MAY2023 | 18.29 | (1.84) | 2.1 | COMED | DAY | 523362 | 0.28
26MAY2023 | 19.09 | (1.22) | 2.05 | PPL | DAY | 432948 | 0.24
27MAY2023 | 14.44 | (0.72) | 1.8 | PPL | DAY | 352601 | 0.21
28MAY2023 | 14.11 | (0.79) | 1.26 | PPL | DAY | 331028 | 0.2
29MAY2023 | 20.89 | (0.98) | 1.58 | PPL | DAY | 308554 | 0.17
30MAY2023 | 27.65 | (2.38) | 4.29 | PPL | DAY | 503528 | 0.25
31MAY2023 | 28.57 | (2.42) | 3.91 | PPL | DAY | 735140 | 0.35

## Monthly Marginal Losses
Monthly Marginal Losses
Click to return to Table of Contents
Date | Loss Credits ($) | Loss Credits ($/MWh)
MAY2021 | 17335572.2 | 0.3
JUN2021 | 25747340.02 | 0.37
JUL2021 | 36164763.45 | 0.48
AUG2021 | 39809569.85 | 0.51
SEP2021 | 28101304.38 | 0.44
OCT2021 | 32529670.98 | 0.56
NOV2021 | 35095332.64 | 0.57
DEC2021 | 24458886.73 | 0.38
JAN2022 | 68104134.85 | 0.89
FEB2022 | 38546557.75 | 0.6
MAR2022 | 25638483.69 | 0.41
APR2022 | 29309509.42 | 0.52
MAY2022 | 48282039.84 | 0.79
JUN2022 | 56294833.57 | 0.83
JUL2022 | 83683325 | 1.08
AUG2022 | 88800028.1 | 1.16
SEP2022 | 54330379.88 | 0.87
OCT2022 | 32917653.86 | 0.57
NOV2022 | 34171012.1 | 0.56
DEC2022 | 81841621.69 | 1.14
JAN2023 | 25887176.02 | 0.38
FEB2023 | 21144569.31 | 0.35
MAR2023 | 18545452.43 | 0.29
APR2023 | 15210425.22 | 0.27
MAY2023 | 16519916.8 | 0.28

## Sychronized Reserve Performance
Sychronized Reserve Performance
Click to return to Table of Contents
Start Time | End Time | Generation Tier 1 Response | Generation Tier 2 Assignment | Generation Tier 2 Response | Generation Zero Response | DSR Tier 1 Response | DSR Tier 2 Assignment | DSR Tier 2 Response | DSR Zero Response
07MAR19:03:05:00 | 07MAR19:03:15:00 | 271.26 | 75.63 | 76.09 | . | 0 | 47.39 | 22.58 | 27.62
23SEP19:16:06:00 | 23SEP19:16:18:00 | 648.01 | 75.84 | 63.89 | 3.2 | 0 | 54.48 | 51.96 | 0.74
01OCT19:18:56:00 | 01OCT19:19:07:00 | 361.41 | 176.93 | 162.4 | 3.12 | 0 | 38.93 | 48.83 | 0.04
18FEB20:11:16:00 | 18FEB20:11:26:00 | 421.44 | 6.67 | 0.28 | . | 0 | . | . | .
06JUL20:21:22:00 | 06JUL20:21:32:00 | 254.4 | 68.97 | 63.81 | 4.67 | 0 | 10.98 | 10.05 | 1.75
25JUL20:16:39:00 | 25JUL20:16:50:00 | 168.72 | 49.13 | 43.02 | . | 0 | 6.29 | 13.09 | 0.11
10SEP20:00:19:00 | 10SEP20:00:29:00 | 223.78 | 92.2 | 41.48 | 6.67 | 0 | 38.24 | 43.63 | 1.17
16DEC20:16:38:00 | 16DEC20:16:48:00 | 185.05 | 79.2 | 77.14 | 9.5 | 0 | 8.74 | 8.86 | .
09MAR21:12:50:00 | 09MAR21:13:01:00 | 303.76 | 109.41 | 61.66 | 10.08 | 0 | 52.66 | 64.75 | 0.92
30APR21:20:30:00 | 30APR21:20:42:00 | 414.24 | 52.9 | 52.7 | . | 0 | 48.76 | 43.21 | 1.58
26MAY21:14:17:00 | 26MAY21:14:27:00 | 545.84 | 73.65 | 64.71 | . | 0 | 42.21 | 47.42 | 0.67
23AUG21:20:44:00 | 23AUG21:21:01:00 | 561.46 | 163.46 | 156.05 | . | 0 | 96.14 | 52.33 | 38.36
12NOV21:22:25:00 | 12NOV21:22:37:00 | 432.47 | 123.6 | 99.82 | 24 | 0 | 54.54 | 74.32 | 0.16
06APR22:15:45:00 | 06APR22:15:55:00 | 303.15 | 161.51 | 112.95 | 47.23 | 0 | 36.2 | 38.6 | 0.03
13APR22:21:25:00 | 13APR22:21:53:00 | 1025.37 | 320.37 | 338.12 | 6.07 | 0 | 89.88 | 86.21 | 4.01
16MAY22:19:32:00 | 16MAY22:19:43:00 | 593.54 | 54.04 | 19.04 | 23.28 | 0 | . | . | .
16MAY22:19:53:00 | 16MAY22:20:03:00 | 572.62 | 103.07 | 45.43 | 10.37 | 0 | . | . | .
23MAY22:21:17:00 | 23MAY22:21:32:00 | 376.89 | 185.53 | 135.17 | . | 0 | 80.01 | 63.96 | 11.9
29OCT22:06:12:00 | 29OCT22:06:24:00 | 189.14 | 333.76 | 96.45 | 180.3 | 0 | 37.82 | 56.12 | 0.06
29NOV22:21:30:00 | 29NOV22:21:47:00 | 461.63 | 482.49 | 327.64 | 119.09 | 0 | 6.77 | 8 | 0.31
23DEC22:15:14:00 | 23DEC22:15:25:00 | 449.04 | 315.59 | 388.12 | 15.88 | 0 | 12.84 | 17.85 | 0.17
23DEC22:21:17:00 | 23DEC22:23:09:00 | 4594.02 | 3027.55 | 1442.9 | 514.08 | 0 | 417.58 | 614.23 | 1.87
24DEC22:05:05:00 | 24DEC22:05:30:00 | 507.6 | 715.38 | 393.03 | 193.84 | 0 | 20.67 | 13.36 | .
24DEC22:07:23:00 | 24DEC22:07:54:00 | 447.29 | 753.56 | 209.99 | 68.2 | 0 | 106.59 | 102.9 | 9.71
24DEC22:09:23:00 | 24DEC22:10:51:00 | 1104.38 | 1435.87 | 226.78 | 275.88 | 87.18 | 173.07 | 210.03 | 2.05
05JAN23:17:43:00 | 05JAN23:17:55:00 | 289.75 | 311.78 | 212.04 | 35.9 | 0 | 30.94 | 34.02 | .
10JAN23:12:06:00 | 10JAN23:12:23:00 | 289.83 | 566.08 | 342.73 | 81.6 | 0 | 104.89 | 89.69 | 20.54
All values are converted into MWHs by multiplying MWs by the event duration

## Shortage Pricing Intervals
Shortage Pricing Intervals
Click to return to Table of Contents
Date | 5-Minute Interval | Reserve Penalty Factors | 5-Minute Interval SMP | Hourly Integrated SMP
Friday, May 12, 2023 | 1:55 - 2:00 | RTO Synchronized Reserves; RTO Primary Reserves | 25.85 | 21.09
Friday, May 12, 2023 | 2:00 - 2:05 | RTO Synchronized Reserves; RTO Primary Reserves | 25.85 | 18.59
Friday, May 12, 2023 | 2:05 - 2:10 | RTO Synchronized Reserves; RTO Primary Reserves | 20.03 | 18.59
Friday, May 12, 2023 | 2:10 - 2:15 | RTO Primary Reserves | 19.66 | 18.59
Friday, May 12, 2023 | 2:15 - 2:20 | RTO Synchronized Reserves; RTO Primary Reserves | 17.56 | 18.59
Friday, May 12, 2023 | 2:20 - 2:25 | RTO Synchronized Reserves; RTO Primary Reserves | 17.78 | 18.59
Friday, May 12, 2023 | 2:25 - 2:30 | RTO Primary Reserves | 20 | 18.59
Friday, May 12, 2023 | 2:30 - 2:35 | RTO Primary Reserves | 15.3 | 18.59
Friday, May 12, 2023 | 2:35 - 2:40 | RTO Primary Reserves | 20.91 | 18.59
Friday, May 12, 2023 | 2:40 - 2:45 | RTO Primary Reserves | 20.91 | 18.59
Friday, May 12, 2023 | 2:45 - 2:50 | RTO Primary Reserves | 16.5 | 18.59
Monday, May 15, 2023 | 0:20 - 0:25 | RTO Synchronized Reserves | 29.66 | 18.36
Monday, May 15, 2023 | 0:25 - 0:30 | RTO Synchronized Reserves | 21.86 | 18.36
Monday, May 15, 2023 | 0:30 - 0:35 | RTO Synchronized Reserves | 20.82 | 18.36
Monday, May 15, 2023 | 0:35 - 0:40 | RTO Synchronized Reserves; RTO Primary Reserves | 22.67 | 18.36
Monday, May 15, 2023 | 0:40 - 0:45 | RTO Synchronized Reserves; RTO Primary Reserves | 6.6 | 18.36
Monday, May 15, 2023 | 0:45 - 0:50 | RTO Synchronized Reserves; RTO Primary Reserves | 6.6 | 18.36
Monday, May 15, 2023 | 0:50 - 0:55 | RTO Synchronized Reserves; RTO Primary Reserves | 12.01 | 18.36
Monday, May 15, 2023 | 1:10 - 1:15 | RTO Primary Reserves | 23.34 | 18.81
Monday, May 15, 2023 | 1:15 - 1:20 | RTO Primary Reserves | 23.27 | 18.81
Monday, May 15, 2023 | 1:20 - 1:25 | RTO Synchronized Reserves; RTO Primary Reserves | 15.18 | 18.81
Monday, May 15, 2023 | 1:25 - 1:30 | RTO Synchronized Reserves; RTO Primary Reserves | 14.44 | 18.81
Monday, May 15, 2023 | 1:30 - 1:35 | RTO Primary Reserves | 19.28 | 18.81
Monday, May 15, 2023 | 1:35 - 1:40 | RTO Primary Reserves | 17.44 | 18.81
Monday, May 15, 2023 | 1:40 - 1:45 | RTO Primary Reserves | 14.43 | 18.81
Monday, May 15, 2023 | 1:45 - 1:50 | RTO Primary Reserves | 19.19 | 18.81
Monday, May 15, 2023 | 1:55 - 2:00 | RTO Primary Reserves | 13.13 | 18.81
Monday, May 15, 2023 | 5:20 - 5:25 | RTO Primary Reserves | 27.97 | 28.94
Monday, May 15, 2023 | 17:45 - 17:50 | RTO Primary Reserves | 323.36 | 139.29
Monday, May 15, 2023 | 17:50 - 17:55 | RTO Primary Reserves | 323.69 | 139.29
Monday, May 15, 2023 | 18:05 - 18:10 | RTO Primary Reserves | 319.43 | 80.97
Friday, May 26, 2023 | 22:05 - 22:10 | RTO Primary Reserves | 27.8 | 14.09
Friday, May 26, 2023 | 22:10 - 22:15 | RTO Primary Reserves | 23.59 | 14.09
Friday, May 26, 2023 | 22:15 - 22:20 | RTO Primary Reserves | 17.31 | 14.09
Friday, May 26, 2023 | 22:20 - 22:25 | RTO Primary Reserves | 14.49 | 14.09

## Shortage Interval Constraints
Shortage Interval Constraints
Click to return to Table of Contents
Start Time | End Time | Monitored Facility | Contingency Facility | Transmission Constraint Penalty Factor | Shadow Price
12MAY23:02:20:00 | 12MAY23:02:25:00 | NOTTINGHM 2-3 SER DEV A 230 KV | L500.Conastone-PeachBottom.5012 | 2000 | -28.31
12MAY23:02:25:00 | 12MAY23:02:30:00 | NOTTINGHM 2-3 SER DEV A 230 KV | L500.Conastone-PeachBottom.5012 | 2000 | -41.95
12MAY23:02:35:00 | 12MAY23:02:40:00 | NOTTINGHM 2-3 SER DEV A 230 KV | L500.Conastone-PeachBottom.5012 | 2000 | -65.79
12MAY23:02:40:00 | 12MAY23:02:45:00 | NOTTINGHM 2-3 SER DEV A 230 KV | L500.Conastone-PeachBottom.5012 | 2000 | -65.79
12MAY23:02:45:00 | 12MAY23:02:50:00 | NOTTINGHM 2-3 SER DEV A 230 KV | L500.Conastone-PeachBottom.5012 | 2000 | -30.77
15MAY23:00:20:00 | 15MAY23:00:25:00 | TANNERSC-DEARBORN1 TIE B 345 KV | L765.Marysville-Sorenson | 1000 | -76.73
15MAY23:00:40:00 | 15MAY23:00:45:00 | TANNERSC-DEARBORN1 TIE B 345 KV | L765.Marysville-Sorenson | 1000 | -38.26
15MAY23:00:45:00 | 15MAY23:00:50:00 | TANNERSC-DEARBORN1 TIE B 345 KV | L765.Marysville-Sorenson | 1000 | -38.26
15MAY23:00:50:00 | 15MAY23:00:55:00 | TANNERSC-DEARBORN1 TIE B 345 KV | L765.Marysville-Sorenson | 1000 | -41.1
15MAY23:05:20:00 | 15MAY23:05:25:00 | NOTTINGHM 2-3 SER DEV A 230 KV | L500.Conastone-PeachBottom.5012 | 2000 | -152.98
15MAY23:17:45:00 | 15MAY23:17:50:00 | NOTTINGHM 2-3 SER DEV A 230 KV | L500.Conastone-PeachBottom.5012 | 2000 | -2000
15MAY23:17:50:00 | 15MAY23:17:55:00 | NOTTINGHM 2-3 SER DEV A 230 KV | L500.Conastone-PeachBottom.5012 | 2000 | -2000
15MAY23:18:05:00 | 15MAY23:18:10:00 | NOTTINGHM 2-3 SER DEV A 230 KV | L500.Conastone-PeachBottom.5012 | 2000 | -2000
26MAY23:22:05:00 | 26MAY23:22:10:00 | Labadie-Graysum 345 kV (GRA-LABA) l/o Labadie-Graysum 345 kV (30648308) | Labadie-Greysum Ckt1 345kV | 8.9 | -8.9
26MAY23:22:05:00 | 26MAY23:22:10:00 | Chicago - Praxair3 138 kV l/o Wilton Center - Dumont 765 kV | Dumont-Wilton Center 765kV | 1200 | -79.54
26MAY23:22:10:00 | 26MAY23:22:15:00 | Labadie-Graysum 345 kV (GRA-LABA) l/o Labadie-Graysum 345 kV (30648308) | Labadie-Greysum Ckt1 345kV | 1.6 | -1.65
26MAY23:22:10:00 | 26MAY23:22:15:00 | Chicago - Praxair3 138 kV l/o Wilton Center - Dumont 765 kV | Dumont-Wilton Center 765kV | 1200 | -1197.45
26MAY23:22:15:00 | 26MAY23:22:20:00 | Labadie-Graysum 345 kV (GRA-LABA) l/o Labadie-Graysum 345 kV (30648308) | Labadie-Greysum Ckt1 345kV | 37.7 | -37.78
26MAY23:22:15:00 | 26MAY23:22:20:00 | Chicago - Praxair3 138 kV l/o Wilton Center - Dumont 765 kV | Dumont-Wilton Center 765kV | 1200 | -918.45
26MAY23:22:20:00 | 26MAY23:22:25:00 | Labadie-Graysum 345 kV (GRA-LABA) l/o Labadie-Graysum 345 kV (30648308) | Labadie-Greysum Ckt1 345kV | 1.1 | -1.13
26MAY23:22:20:00 | 26MAY23:22:25:00 | Chicago - Praxair3 138 kV l/o Wilton Center - Dumont 765 kV | Dumont-Wilton Center 765kV | 1200 | -79.54