## Table of Contents
Table of Contents
Click on Table Name
Wholesale Cost
Monthly Weather and Energy
Daily Weather and Energy
System Marginal Price
Monthly Generation Fuel Mix
Daily Generation Fuel Mix
Monthly Uplift
Monthly Zonal Uplift
Daily Uplift
High Uplift Days
Uneconomic CC, CT, Steam Hours
Reliability and Deviations BOR
Operating Reserve
Balancing Operating Reserve MWh
Balancing Operating Reserve $
Monthly LOC
Daily LOC
Monthly Load Weighted LMP
Annual LMP Averages
LMP Suspensions and Reruns
Annual DR Estimated Revenue
Demand Response
Incs, Decs and Up-Tos
Congestion and FTR Revenue
Balancing Congestion Facilities
Average Interface Prices
Market to Market Congestion
Regulation and Sync Reserve
Regulation Daily
Synchronized Reserve Daily
Daily Marginal Losses
Monthly Marginal Losses
Sychronized Reserve Performance
Shortage Pricing Intervals
Shortage Interval Constraints

## Wholesale Cost
Wholesale Cost
($/MWh of Load)
Click to return to Table of Contents
Year | Energy | Reliability Capacity | Transmission | Regulation | Operating Reserve | PJM Cost | Reactive | Transmission Owner Control | Synchronized Reserve | Black Start | Total
2019 | 27.15 | 11.05 | 9.52 | 0.11 | 0.11 | 0.38 | 0.44 | 0.09 | 0.04 | 0.08 | 48.98
2020 | 21.65 | 9.45 | 11.03 | 0.1 | 0.12 | 0.38 | 0.47 | 0.09 | 0.03 | 0.09 | 43.41
2021 | 39.79 | 11.04 | 11.72 | 0.18 | 0.23 | 0.38 | 0.47 | 0.09 | 0.07 | 0.09 | 64.07
2022 | 80.17 | 8 | 12.5 | 0.37 | 0.37 | 0.4 | 0.48 | 0.07 | 0.11 | 0.09 | 102.56
2023 | 30.79 | 4.31 | 13.5 | 0.17 | 0.19 | 0.4 | 0.49 | 0.08 | 0.01 | 0.08 | 50.01

## Monthly Weather and Energy
Monthly Weather and Energy
Click to return to Table of Contents
Date | Current Month HDD+CDD | Monthly Average HDD+CDD | Current Month Energy (TWh) | Monthly Average Energy (TWh)
AUG21 | 370.66 | 308 | 77.92 | 74.77
SEP21 | 168.16 | 158.82 | 63.51 | 63.23
OCT21 | 118.88 | 193.75 | 58.57 | 59.48
NOV21 | 489.88 | 437.65 | 61.11 | 60.5
DEC21 | 521.21 | 739.83 | 64.94 | 69.11
JAN22 | 981.39 | 876.48 | 76.39 | 72.25
FEB22 | 688.82 | 729.7 | 64 | 64.13
MAR22 | 454.47 | 546.54 | 62.9 | 64.23
APR22 | 281.23 | 254.89 | 56.51 | 56.65
MAY22 | 153.71 | 143.87 | 61.06 | 60.26
JUN22 | 258.8 | 238.01 | 67.81 | 67.61
JUL22 | 403.13 | 351.66 | 77.69 | 76.34
AUG22 | 345.45 | 310.61 | 76.38 | 74.9
SEP22 | 178.06 | 159.21 | 62.66 | 63.24
OCT22 | 181.52 | 190.63 | 57.34 | 59.45
NOV22 | 408.96 | 439.83 | 60.66 | 60.53
DEC22 | 747.38 | 730.72 | 71.64 | 68.94
JAN23 | 622.48 | 880.68 | 68.24 | 72.41
FEB23 | 521.29 | 728.06 | 60.28 | 64.13
MAR23 | 510.36 | 542.86 | 63.9 | 64.17
APR23 | 210.04 | 255.95 | 55.53 | 56.65
MAY23 | 97.85 | 144.27 | 58.01 | 60.29
JUN23 | 170.64 | 238.84 | 62.69 | 67.62
JUL23 | 383.35 | 353.72 | 77.36 | 76.39
AUG23 | 305.88 | 312.01 | 73.72 | 74.96

## Daily Weather and Energy
Daily Weather and Energy
Click to return to Table of Contents
Date | Current Day HDD+CDD | Daily Average HDD+CDD | Current Day Energy (TWh) | Daily Average Energy (TWh) | Current Day Average Temperature | Daily Average Temperature
01AUG2023 | 7.38 | 10.06 | 2.2934 | 2.4 | 72.38 | 75.02
02AUG2023 | 7.59 | 10.06 | 2.3004 | 2.4 | 72.59 | 75.02
03AUG2023 | 8.55 | 10.06 | 2.3565 | 2.4 | 73.55 | 75.02
04AUG2023 | 9.61 | 10.06 | 2.4013 | 2.4 | 74.61 | 75.02
05AUG2023 | 10.5 | 10.06 | 2.278 | 2.4 | 75.5 | 75.02
06AUG2023 | 10.93 | 10.06 | 2.2885 | 2.4 | 75.93 | 75.02
07AUG2023 | 10.31 | 10.06 | 2.4393 | 2.4 | 75.31 | 75.02
08AUG2023 | 9.34 | 10.06 | 2.3651 | 2.4 | 74.34 | 75.02
09AUG2023 | 10.24 | 10.06 | 2.4047 | 2.4 | 75.24 | 75.02
10AUG2023 | 9.01 | 10.06 | 2.3807 | 2.4 | 74.01 | 75.02
11AUG2023 | 10.92 | 10.06 | 2.4297 | 2.4 | 75.92 | 75.02
12AUG2023 | 12.76 | 10.06 | 2.4053 | 2.4 | 77.76 | 75.02
13AUG2023 | 13.68 | 10.06 | 2.4087 | 2.4 | 78.68 | 75.02
14AUG2023 | 11.3 | 10.06 | 2.4863 | 2.4 | 76.3 | 75.02
15AUG2023 | 10.73 | 10.06 | 2.504 | 2.4 | 75.73 | 75.02
16AUG2023 | 9.25 | 10.06 | 2.4251 | 2.4 | 74.25 | 75.02
17AUG2023 | 9.76 | 10.06 | 2.4617 | 2.4 | 74.76 | 75.02
18AUG2023 | 8.22 | 10.06 | 2.309 | 2.4 | 73.22 | 75.02
19AUG2023 | 5.43 | 10.06 | 2.0369 | 2.4 | 70.42 | 75.02
20AUG2023 | 10.57 | 10.06 | 2.2644 | 2.4 | 75.57 | 75.02
21AUG2023 | 14.02 | 10.06 | 2.6464 | 2.4 | 79.02 | 75.02
22AUG2023 | 11.12 | 10.06 | 2.5135 | 2.4 | 76.12 | 75.02
23AUG2023 | 10.44 | 10.06 | 2.4608 | 2.4 | 75.44 | 75.02
24AUG2023 | 12.83 | 10.06 | 2.5591 | 2.4 | 77.83 | 75.02
25AUG2023 | 12.78 | 10.06 | 2.5799 | 2.4 | 77.78 | 75.02
26AUG2023 | 12.64 | 10.06 | 2.4146 | 2.4 | 77.64 | 75.02
27AUG2023 | 9.35 | 10.06 | 2.2302 | 2.4 | 74.35 | 75.02
28AUG2023 | 6.96 | 10.06 | 2.3051 | 2.4 | 71.93 | 75.02
29AUG2023 | 8.03 | 10.06 | 2.3433 | 2.4 | 73.03 | 75.02
30AUG2023 | 7.79 | 10.06 | 2.3085 | 2.4 | 72.59 | 75.02
31AUG2023 | 3.83 | 10.06 | 2.1173 | 2.4 | 68.63 | 75.02

## System Marginal Price
Daily Difference in Day-Ahead and Real-Time System Marginal Price
($/MWh of Load)
Click to return to Table of Contents
Date | DA SMP - RT SMP
01AUG2023 | 6.95
02AUG2023 | 2.56
03AUG2023 | 1.55
04AUG2023 | 1.1
05AUG2023 | 5.82
06AUG2023 | $-1.84
07AUG2023 | 0.21
08AUG2023 | $-3.13
09AUG2023 | $-2.89
10AUG2023 | $-10.08
11AUG2023 | $-7.40
12AUG2023 | $-6.25
13AUG2023 | $-3.61
14AUG2023 | $-5.05
15AUG2023 | $-2.63
16AUG2023 | 3.94
17AUG2023 | 1.71
18AUG2023 | 2.65
19AUG2023 | 3.56
20AUG2023 | $-5.03
21AUG2023 | 6.03
22AUG2023 | 0.22
23AUG2023 | 0.43
24AUG2023 | $-2.41
25AUG2023 | $-5.03
26AUG2023 | $-5.48
27AUG2023 | $-10.17
28AUG2023 | $-2.58
29AUG2023 | 2.04
30AUG2023 | 3.35
31AUG2023 | 2.46

## Monthly Generation Fuel Mix
Monthly Generation Fuel Mix
(MWh)
Click to return to Table of Contents
Date | COAL | FLYWHEEL | GAS | HYDRO | MULTIPLE FUELS | NUCLEAR | OIL | OTHER | OTHER RENEWABLES | SOLAR | STORAGE | WIND | Total
01AUG2021 | 21550949.6 | 0 | 32734704.9 | 1510298.1 | 539937.9 | 24310680.7 | 284515.1 | 59654.8 | 494349 | 629189.9 | 0 | 1155460.1 | 83269740.1
01SEP2021 | 14083247.3 | 0 | 25581551.8 | 1564026.7 | 276521.5 | 22893604.9 | 160801.1 | 51279.8 | 435697.1 | 592005.5 | 0 | 2174756.7 | 67813492.4
01OCT2021 | 9756265.6 | 0 | 25924062.5 | 1265636.5 | 556989.9 | 21574194.1 | 159883.3 | 37512.5 | 419151.8 | 437604.2 | 0 | 2199079.8 | 62330380.2
01NOV2021 | 9726547 | 0 | 25426346.1 | 1243768.6 | 482555.1 | 22067467.1 | 174205.2 | 48213.2 | 455980.6 | 420684.3 | 0 | 3028346.5 | 63074113.7
01DEC2021 | 12272956.4 | 0 | 27162261.7 | 1095264.9 | 122836.6 | 24937761.4 | 188573.1 | 47215.1 | 515473.2 | 298262.5 | 0 | 3236982.9 | 69877587.8
01JAN2022 | 22096106.4 | 0 | 26934706.2 | 1289801.1 | 608269.3 | 25091532.1 | 336650.6 | 67572.1 | 459303.8 | 335244.8 | 0 | 3092767.5 | 80311953.9
01FEB2022 | 16247378.2 | 0 | 23829408.5 | 1320139.5 | 314419.1 | 21783000.7 | 199016 | 82659.3 | 397734.2 | 432938.9 | 0 | 3303952 | 67910646.4
01MAR2022 | 12391654.9 | 0 | 25773319.2 | 1673091.7 | 66041.2 | 22484823.9 | 189278.3 | 94782.6 | 408892.2 | 586966.3 | 0 | 3452910.6 | 67121760.9
01APR2022 | 11928682.9 | 0 | 20477478.5 | 1402573.8 | 192782.4 | 19462774 | 168845.7 | 130342.5 | 420908.5 | 718934.1 | 0 | 3379448.3 | 58282770.7
01MAY2022 | 12076693 | 0 | 23444271.5 | 1566417.3 | 252351.8 | 22698734.9 | 104098.6 | 88464.7 | 472314.7 | 745154 | 0 | 2754654.8 | 64203155.3
01JUN2022 | 13685809.6 | 0 | 30056761.6 | 1465916.8 | 358750.4 | 23232104.8 | 177172.2 | 89179 | 466858.9 | 865655.7 | 0 | 1911077.7 | 72309286.7
01JUL2022 | 17052242.8 | 0 | 36302866.9 | 1360840 | 610371.7 | 24117345.7 | 243286.8 | 104468.1 | 503862.6 | 771787.9 | 0 | 1568729.1 | 82635801.6
01AUG2022 | 17485730 | 0 | 35827457.9 | 1421843.7 | 495394.7 | 23726492.4 | 274219 | 191607.9 | 498193.8 | 765285.7 | 0 | 1335724.7 | 82021949.8
01SEP2022 | 10870516.5 | 0 | 30174632.6 | 1184450.6 | 275524.8 | 22209898.1 | 158327.7 | 139062.7 | 429092.5 | 677478.1 | 0 | 1709928 | 67828911.6
01OCT2022 | 7699168.4 | 0 | 26657631.5 | 783787.3 | 246213 | 20674823.5 | 143755.8 | 148769.3 | 432503 | 524646.5 | 0 | 3011020 | 60322318.3
01NOV2022 | 9904347 | 0 | 24945972.6 | 1068501.4 | 315264 | 22113890.9 | 151691.9 | 116870.8 | 432373.3 | 420124.6 | 0 | 3569110.3 | 63038146.8
01DEC2022 | 15950358.8 | 0 | 27831147.4 | 1465030 | 328253.2 | 24517964.8 | 653693.7 | 127096.8 | 475959.6 | 311577.3 | 0 | 3113889.6 | 74774971.2
01JAN2023 | 10977371 | 0 | 30436566.8 | 1572855.5 | 150051.2 | 24512234.5 | 186011.5 | 281888.4 | 431908.1 | 324008 | 0 | 2942137.6 | 71815032.6
01FEB2023 | 9309541 | 0 | 27231164 | 1164131 | 114850 | 21442584 | 194771 | 53901 | 375905 | 482879 | 0 | 3477932 | 63847658
01MAR2023 | 10328020 | 0 | 29041912 | 1328819 | 63734 | 22010003 | 235151 | . | 426604 | 760638 | 0 | 3647419 | 67842300
01APR2023 | 8665803 | 0 | 23451828 | 1158282 | 272148 | 20094334 | 209909 | . | 401803 | 861377 | 0 | 2863473 | 57978957
01MAY2023 | 7479791 | 0 | 26083118 | 1361315 | 387790 | 22264117 | 295883 | . | 463135 | 994550 | 7 | 2174829 | 61504535
01JUN2023 | 8636595 | 0 | 31546914 | 1205666 | 399217 | 23467135 | 246157 | . | 462046 | 1013308 | 183 | 1762604 | 68739825
01JUL2023 | 14351713 | 0 | 39505956 | 1563237 | 750243 | 24131711 | 372749 | . | 440113 | 1142976 | 0 | 1110364 | 83369062
01AUG2023 | 13779857 | 0 | 37345688 | 1538111 | 662632 | 23909525 | 268971 | . | 466038 | 1040919 | 0 | 1553830 | 80565571
01AUG2023 | 13779857 | 0 | 37345688 | 1538111 | 662632 | 23909525 | 268971 | . | 466038 | 1040919 | 0 | 1553830 | 80565571
01AUG2023 | 13779857 | 0 | 37345688 | 1538111 | 662632 | 23909525 | 268971 | . | 466038 | 1040919 | 0 | 1553830 | 80565571

## Daily Generation Fuel Mix
Daily Generation Fuel Mix
(MWh)
Click to return to Table of Contents
Date | COAL | FLYWHEEL | GAS | HYDRO | MULTIPLE FUELS | NUCLEAR | OIL | OTHER | OTHER RENEWABLES | SOLAR | STORAGE | WIND | Total
01AUG2023 | 477053 | 0 | 1137319 | 45416 | 19729 | 784163 | 7638 | . | 15544 | 42826 | 0 | 19857 | 2549545
01AUG2023 | 477053 | 0 | 1137319 | 45416 | 19729 | 784163 | 7638 | . | 15544 | 42826 | 0 | 19857 | 2549545
01AUG2023 | 477053 | 0 | 1137319 | 45416 | 19729 | 784163 | 7638 | . | 15544 | 42826 | 0 | 19857 | 2549545
02AUG2023 | 486072 | 0 | 1111590 | 45530 | 18493 | 783046 | 7705 | . | 14991 | 39179 | 0 | 33115 | 2539721
02AUG2023 | 486072 | 0 | 1111590 | 45530 | 18493 | 783046 | 7705 | . | 14991 | 39179 | 0 | 33115 | 2539721
02AUG2023 | 486072 | 0 | 1111590 | 45530 | 18493 | 783046 | 7705 | . | 14991 | 39179 | 0 | 33115 | 2539721
03AUG2023 | 455416 | 0 | 1244776 | 44259 | 21607 | 782061 | 9099 | . | 14564 | 28989 | 0 | 8934 | 2609705
03AUG2023 | 455416 | 0 | 1244776 | 44259 | 21607 | 782061 | 9099 | . | 14564 | 28989 | 0 | 8934 | 2609705
03AUG2023 | 455416 | 0 | 1244776 | 44259 | 21607 | 782061 | 9099 | . | 14564 | 28989 | 0 | 8934 | 2609705
04AUG2023 | 459499 | 0 | 1284494 | 45987 | 20096 | 780975 | 8498 | . | 15357 | 23018 | 0 | 20106 | 2658030
04AUG2023 | 459499 | 0 | 1284494 | 45987 | 20096 | 780975 | 8498 | . | 15357 | 23018 | 0 | 20106 | 2658030
04AUG2023 | 459499 | 0 | 1284494 | 45987 | 20096 | 780975 | 8498 | . | 15357 | 23018 | 0 | 20106 | 2658030
05AUG2023 | 372196 | 0 | 1156435 | 44379 | 20146 | 782972 | 7914 | . | 15358 | 39200 | 0 | 82492 | 2521092
05AUG2023 | 372196 | 0 | 1156435 | 44379 | 20146 | 782972 | 7914 | . | 15358 | 39200 | 0 | 82492 | 2521092
05AUG2023 | 372196 | 0 | 1156435 | 44379 | 20146 | 782972 | 7914 | . | 15358 | 39200 | 0 | 82492 | 2521092
06AUG2023 | 393323 | 0 | 1157914 | 41155 | 15233 | 783418 | 7079 | . | 15335 | 35898 | 0 | 42655 | 2492010
06AUG2023 | 393323 | 0 | 1157914 | 41155 | 15233 | 783418 | 7079 | . | 15335 | 35898 | 0 | 42655 | 2492010
06AUG2023 | 393323 | 0 | 1157914 | 41155 | 15233 | 783418 | 7079 | . | 15335 | 35898 | 0 | 42655 | 2492010
07AUG2023 | 397360 | 0 | 1207105 | 40920 | 23832 | 752050 | 10226 | . | 13599 | 28243 | 0 | 46980 | 2520315
07AUG2023 | 397360 | 0 | 1207105 | 40920 | 23832 | 752050 | 10226 | . | 13599 | 28243 | 0 | 46980 | 2520315
07AUG2023 | 397360 | 0 | 1207105 | 40920 | 23832 | 752050 | 10226 | . | 13599 | 28243 | 0 | 46980 | 2520315
08AUG2023 | 423183 | 0 | 1205868 | 44137 | 22417 | 785310 | 9523 | . | 14783 | 38615 | 0 | 57396 | 2601232
08AUG2023 | 423183 | 0 | 1205868 | 44137 | 22417 | 785310 | 9523 | . | 14783 | 38615 | 0 | 57396 | 2601232
08AUG2023 | 423183 | 0 | 1205868 | 44137 | 22417 | 785310 | 9523 | . | 14783 | 38615 | 0 | 57396 | 2601232
09AUG2023 | 406735 | 0 | 1197144 | 55363 | 21266 | 751582 | 11615 | . | 12883 | 34323 | 0 | 32415 | 2523326
09AUG2023 | 406735 | 0 | 1197144 | 55363 | 21266 | 751582 | 11615 | . | 12883 | 34323 | 0 | 32415 | 2523326
09AUG2023 | 406735 | 0 | 1197144 | 55363 | 21266 | 751582 | 11615 | . | 12883 | 34323 | 0 | 32415 | 2523326
10AUG2023 | 441652 | 0 | 1272510 | 45704 | 24840 | 755150 | 9177 | . | 15457 | 20833 | 0 | 34986 | 2620309
10AUG2023 | 441652 | 0 | 1272510 | 45704 | 24840 | 755150 | 9177 | . | 15457 | 20833 | 0 | 34986 | 2620309
10AUG2023 | 441652 | 0 | 1272510 | 45704 | 24840 | 755150 | 9177 | . | 15457 | 20833 | 0 | 34986 | 2620309
11AUG2023 | 406352 | 0 | 1263467 | 49499 | 19945 | 735694 | 7987 | . | 16461 | 40670 | 0 | 79737 | 2619812
11AUG2023 | 406352 | 0 | 1263467 | 49499 | 19945 | 735694 | 7987 | . | 16461 | 40670 | 0 | 79737 | 2619812
11AUG2023 | 406352 | 0 | 1263467 | 49499 | 19945 | 735694 | 7987 | . | 16461 | 40670 | 0 | 79737 | 2619812
12AUG2023 | 392549 | 0 | 1273136 | 50954 | 23256 | 729909 | 7729 | . | 15967 | 38674 | 0 | 65497 | 2597671
12AUG2023 | 392549 | 0 | 1273136 | 50954 | 23256 | 729909 | 7729 | . | 15967 | 38674 | 0 | 65497 | 2597671
12AUG2023 | 392549 | 0 | 1273136 | 50954 | 23256 | 729909 | 7729 | . | 15967 | 38674 | 0 | 65497 | 2597671
13AUG2023 | 384789 | 0 | 1279182 | 52725 | 26008 | 729222 | 7828 | . | 15168 | 41338 | 0 | 37344 | 2573604
13AUG2023 | 384789 | 0 | 1279182 | 52725 | 26008 | 729222 | 7828 | . | 15168 | 41338 | 0 | 37344 | 2573604
13AUG2023 | 384789 | 0 | 1279182 | 52725 | 26008 | 729222 | 7828 | . | 15168 | 41338 | 0 | 37344 | 2573604
14AUG2023 | 442980 | 0 | 1317599 | 53555 | 25396 | 736497 | 9822 | . | 13670 | 25553 | 0 | 49618 | 2674690
14AUG2023 | 442980 | 0 | 1317599 | 53555 | 25396 | 736497 | 9822 | . | 13670 | 25553 | 0 | 49618 | 2674690
14AUG2023 | 442980 | 0 | 1317599 | 53555 | 25396 | 736497 | 9822 | . | 13670 | 25553 | 0 | 49618 | 2674690
15AUG2023 | 423682 | 0 | 1281317 | 49117 | 29005 | 752639 | 10783 | . | 12900 | 27236 | 0 | 83738 | 2670417
15AUG2023 | 423682 | 0 | 1281317 | 49117 | 29005 | 752639 | 10783 | . | 12900 | 27236 | 0 | 83738 | 2670417
15AUG2023 | 423682 | 0 | 1281317 | 49117 | 29005 | 752639 | 10783 | . | 12900 | 27236 | 0 | 83738 | 2670417
16AUG2023 | 407751 | 0 | 1212493 | 53670 | 29965 | 769243 | 8679 | . | 12741 | 35806 | 0 | 30231 | 2560579
16AUG2023 | 407751 | 0 | 1212493 | 53670 | 29965 | 769243 | 8679 | . | 12741 | 35806 | 0 | 30231 | 2560579
16AUG2023 | 407751 | 0 | 1212493 | 53670 | 29965 | 769243 | 8679 | . | 12741 | 35806 | 0 | 30231 | 2560579
17AUG2023 | 417584 | 0 | 1192899 | 51331 | 24719 | 779614 | 7418 | . | 13667 | 29727 | 0 | 126717 | 2643676
17AUG2023 | 417584 | 0 | 1192899 | 51331 | 24719 | 779614 | 7418 | . | 13667 | 29727 | 0 | 126717 | 2643676
17AUG2023 | 417584 | 0 | 1192899 | 51331 | 24719 | 779614 | 7418 | . | 13667 | 29727 | 0 | 126717 | 2643676
18AUG2023 | 416861 | 0 | 1140912 | 54202 | 18393 | 780455 | 6642 | . | 13444 | 41486 | 0 | 47359 | 2519754
18AUG2023 | 416861 | 0 | 1140912 | 54202 | 18393 | 780455 | 6642 | . | 13444 | 41486 | 0 | 47359 | 2519754
18AUG2023 | 416861 | 0 | 1140912 | 54202 | 18393 | 780455 | 6642 | . | 13444 | 41486 | 0 | 47359 | 2519754
19AUG2023 | 410203 | 0 | 910825 | 51745 | 18716 | 784487 | 7030 | . | 14791 | 45067 | 0 | 80188 | 2323052
19AUG2023 | 410203 | 0 | 910825 | 51745 | 18716 | 784487 | 7030 | . | 14791 | 45067 | 0 | 80188 | 2323052
19AUG2023 | 410203 | 0 | 910825 | 51745 | 18716 | 784487 | 7030 | . | 14791 | 45067 | 0 | 80188 | 2323052
20AUG2023 | 512439 | 0 | 1054803 | 55403 | 15598 | 782218 | 7327 | . | 15321 | 40968 | 0 | 37692 | 2521769
20AUG2023 | 512439 | 0 | 1054803 | 55403 | 15598 | 782218 | 7327 | . | 15321 | 40968 | 0 | 37692 | 2521769
20AUG2023 | 512439 | 0 | 1054803 | 55403 | 15598 | 782218 | 7327 | . | 15321 | 40968 | 0 | 37692 | 2521769
21AUG2023 | 552329 | 0 | 1359147 | 62238 | 27332 | 779487 | 16692 | . | 15034 | 35192 | 0 | 34119 | 2881570
21AUG2023 | 552329 | 0 | 1359147 | 62238 | 27332 | 779487 | 16692 | . | 15034 | 35192 | 0 | 34119 | 2881570
21AUG2023 | 552329 | 0 | 1359147 | 62238 | 27332 | 779487 | 16692 | . | 15034 | 35192 | 0 | 34119 | 2881570
22AUG2023 | 565700 | 0 | 1280914 | 52115 | 23489 | 782088 | 7370 | . | 15433 | 37468 | 0 | 30817 | 2795394
22AUG2023 | 565700 | 0 | 1280914 | 52115 | 23489 | 782088 | 7370 | . | 15433 | 37468 | 0 | 30817 | 2795394
22AUG2023 | 565700 | 0 | 1280914 | 52115 | 23489 | 782088 | 7370 | . | 15433 | 37468 | 0 | 30817 | 2795394
23AUG2023 | 526036 | 0 | 1240110 | 43268 | 27098 | 780710 | 7984 | . | 16003 | 41283 | 0 | 78594 | 2761086
23AUG2023 | 526036 | 0 | 1240110 | 43268 | 27098 | 780710 | 7984 | . | 16003 | 41283 | 0 | 78594 | 2761086
23AUG2023 | 526036 | 0 | 1240110 | 43268 | 27098 | 780710 | 7984 | . | 16003 | 41283 | 0 | 78594 | 2761086
24AUG2023 | 551048 | 0 | 1292994 | 47409 | 19969 | 778351 | 8076 | . | 16274 | 26764 | 0 | 99899 | 2840784
24AUG2023 | 551048 | 0 | 1292994 | 47409 | 19969 | 778351 | 8076 | . | 16274 | 26764 | 0 | 99899 | 2840784
24AUG2023 | 551048 | 0 | 1292994 | 47409 | 19969 | 778351 | 8076 | . | 16274 | 26764 | 0 | 99899 | 2840784
25AUG2023 | 547206 | 0 | 1346391 | 52898 | 22150 | 776843 | 13675 | . | 16143 | 33733 | 0 | 45257 | 2854296
25AUG2023 | 547206 | 0 | 1346391 | 52898 | 22150 | 776843 | 13675 | . | 16143 | 33733 | 0 | 45257 | 2854296
25AUG2023 | 547206 | 0 | 1346391 | 52898 | 22150 | 776843 | 13675 | . | 16143 | 33733 | 0 | 45257 | 2854296
26AUG2023 | 468248 | 0 | 1221334 | 53425 | 23013 | 777639 | 7693 | . | 15873 | 33724 | 0 | 42438 | 2643387
26AUG2023 | 468248 | 0 | 1221334 | 53425 | 23013 | 777639 | 7693 | . | 15873 | 33724 | 0 | 42438 | 2643387
26AUG2023 | 468248 | 0 | 1221334 | 53425 | 23013 | 777639 | 7693 | . | 15873 | 33724 | 0 | 42438 | 2643387
27AUG2023 | 398444 | 0 | 1110908 | 50349 | 14985 | 781922 | 7010 | . | 16616 | 26850 | 0 | 41929 | 2449013
27AUG2023 | 398444 | 0 | 1110908 | 50349 | 14985 | 781922 | 7010 | . | 16616 | 26850 | 0 | 41929 | 2449013
27AUG2023 | 398444 | 0 | 1110908 | 50349 | 14985 | 781922 | 7010 | . | 16616 | 26850 | 0 | 41929 | 2449013
28AUG2023 | 409927 | 0 | 1201597 | 54891 | 23526 | 782284 | 8240 | . | 15720 | 22008 | 0 | 23662 | 2541855
28AUG2023 | 409927 | 0 | 1201597 | 54891 | 23526 | 782284 | 8240 | . | 15720 | 22008 | 0 | 23662 | 2541855
28AUG2023 | 409927 | 0 | 1201597 | 54891 | 23526 | 782284 | 8240 | . | 15720 | 22008 | 0 | 23662 | 2541855
29AUG2023 | 422190 | 0 | 1194336 | 54480 | 15203 | 781264 | 8908 | . | 14773 | 26659 | 0 | 34259 | 2552072
29AUG2023 | 422190 | 0 | 1194336 | 54480 | 15203 | 781264 | 8908 | . | 14773 | 26659 | 0 | 34259 | 2552072
29AUG2023 | 422190 | 0 | 1194336 | 54480 | 15203 | 781264 | 8908 | . | 14773 | 26659 | 0 | 34259 | 2552072
30AUG2023 | 402429 | 0 | 1171791 | 48033 | 15304 | 782638 | 8089 | . | 16307 | 27262 | 0 | 63915 | 2535768
30AUG2023 | 402429 | 0 | 1171791 | 48033 | 15304 | 782638 | 8089 | . | 16307 | 27262 | 0 | 63915 | 2535768
30AUG2023 | 402429 | 0 | 1171791 | 48033 | 15304 | 782638 | 8089 | . | 16307 | 27262 | 0 | 63915 | 2535768
31AUG2023 | 408621 | 0 | 1024378 | 43954 | 11903 | 785594 | 5515 | . | 15861 | 32327 | 0 | 41884 | 2370037
31AUG2023 | 408621 | 0 | 1024378 | 43954 | 11903 | 785594 | 5515 | . | 15861 | 32327 | 0 | 41884 | 2370037
31AUG2023 | 408621 | 0 | 1024378 | 43954 | 11903 | 785594 | 5515 | . | 15861 | 32327 | 0 | 41884 | 2370037

## Monthly Uplift
Monthly Uplift
Click to return to Table of Contents
Date | Day-Ahead Operating Reserve ($ Millions) | Balancing Operating Reserve ($ Millions) | Reactive ($ Millions) | Blackstart ($ Millions) | Lost Opportunity Cost ($ Millions) | Total Uplift ($ Millions) | Day-Ahead Operating Reserve ($/MWh) | Balancing Operating Reserve ($/MWh) | Reactive ($/MWh) | Blackstart ($/MWh) | Lost Opportunity Cost ($/MWh) | Total Uplift ($/MWh)
AUG21 | 1.08 | 19.57 | 0 | 0 | 1.63 | 22.28 | 0.01 | 0.25 | 0 | 0 | 0.02 | 0.29
SEP21 | 1.91 | 4.25 | 0 | 0 | 2.59 | 8.75 | 0.03 | 0.07 | 0 | 0 | 0.04 | 0.14
OCT21 | 0.43 | 11.64 | 0 | 0.07 | 2.35 | 14.43 | 0.01 | 0.2 | 0 | 0 | 0.04 | 0.25
NOV21 | 0.83 | 14.15 | 0.17 | 0.03 | 7.23 | 22.38 | 0.01 | 0.23 | 0 | 0 | 0.12 | 0.37
DEC21 | 1.63 | 4.9 | 0 | 0 | 3.24 | 9.77 | 0.03 | 0.08 | 0 | 0 | 0.05 | 0.15
JAN22 | 0.71 | 10.22 | 0.01 | 0 | 3.73 | 14.66 | 0.01 | 0.13 | 0 | 0 | 0.05 | 0.19
FEB22 | 0.48 | 3.25 | 0 | 0.05 | 1.79 | 5.52 | 0.01 | 0.05 | 0 | 0 | 0.03 | 0.09
MAR22 | 0.52 | 6.4 | 0.23 | 0.05 | 0.51 | 7.65 | 0.01 | 0.1 | 0 | 0 | 0.01 | 0.12
APR22 | 0.58 | 12.01 | 0 | 0.08 | 1.36 | 13.95 | 0.01 | 0.21 | 0 | 0 | 0.02 | 0.25
MAY22 | 2.32 | 10.74 | 0.75 | 0.11 | 1.08 | 14.9 | 0.04 | 0.18 | 0.01 | 0 | 0.02 | 0.24
JUN22 | 4.15 | 13.84 | 0.01 | 0.01 | 5.56 | 23.55 | 0.06 | 0.2 | 0 | 0 | 0.08 | 0.35
JUL22 | 11.03 | 20.24 | 0 | 0 | 4.75 | 36.02 | 0.14 | 0.26 | 0 | 0 | 0.06 | 0.46
AUG22 | 8.3 | 26.61 | 0.23 | 0 | 5 | 40.13 | 0.11 | 0.35 | 0 | 0 | 0.07 | 0.53
SEP22 | 7.19 | 11.55 | 0.01 | 0 | 1.67 | 20.42 | 0.11 | 0.18 | 0 | 0 | 0.03 | 0.33
OCT22 | 0.32 | 8.81 | 0.09 | 0.06 | 4.23 | 13.45 | 0.01 | 0.15 | 0 | 0 | 0.07 | 0.23
NOV22 | 1.23 | 11.92 | 0 | 0.06 | 1.25 | 14.41 | 0.02 | 0.2 | 0 | 0 | 0.02 | 0.24
DEC22 | 21.97 | 47.42 | 0.19 | 0 | 9.98 | 79.56 | 0.31 | 0.66 | 0 | 0 | 0.14 | 1.11
JAN23 | 1.68 | 4.01 | 0 | 0.01 | 1.91 | 7.6 | 0.02 | 0.06 | 0 | 0 | 0.03 | 0.11
FEB23 | 1.04 | 3.5 | 0 | 0.04 | 1.02 | 5.56 | 0.02 | 0.06 | 0 | 0 | 0.02 | 0.09
MAR23 | 1.32 | 4.29 | 0 | 0.06 | 0.67 | 6.28 | 0.02 | 0.07 | 0 | 0 | 0.01 | 0.1
APR23 | 2.01 | 10.69 | 0.38 | 0.05 | 1.47 | 14.55 | 0.04 | 0.19 | 0.01 | 0 | 0.03 | 0.26
MAY23 | 0.41 | 9.46 | 0 | 0.03 | 1.48 | 11.36 | 0.01 | 0.16 | 0 | 0 | 0.03 | 0.2
JUN23 | 1.77 | 5.68 | 0 | 0.01 | 1.44 | 8.89 | 0.03 | 0.09 | 0 | 0 | 0.02 | 0.14
JUL23 | 10.61 | 8.67 | 0 | 0.02 | 4.39 | 23.67 | 0.14 | 0.11 | 0 | 0 | 0.06 | 0.31
AUG23 | 12 | 5.15 | 0 | 0 | 2.26 | 19.41 | 0.16 | 0.07 | 0 | 0 | 0.03 | 0.26

## Monthly Zonal Uplift
Monthly Zonal Uplift
($ Millions)
Click to return to Table of Contents
Date | Zone | Day-Ahead Operating Reserve | Balancing Operating Reserve | Reactive | Blackstart | Lost Opportunity Cost | Total Uplift
01AUG2023 | AECO | 0 | 0.11 | 0 | 0 | 0.02 | 0.13
01AUG2023 | AEP | 0.06 | 0.79 | 0 | 0 | 0.49 | 1.35
01AUG2023 | APS | 0 | 0.46 | 0 | 0 | 0.07 | 0.53
01AUG2023 | ATSI | 0 | 0.16 | 0 | 0 | 0.02 | 0.18
01AUG2023 | BGE | 9.76 | 0.99 | 0 | 0 | 0 | 10.75
01AUG2023 | COMED | 0.07 | 0.6 | 0 | 0 | 0.31 | 0.98
01AUG2023 | DAY | 0 | 0.15 | 0 | 0 | 0.01 | 0.17
01AUG2023 | DEOK | 0 | 0.31 | 0 | 0 | 0.02 | 0.33
01AUG2023 | DOM | 0 | 0.64 | 0 | 0 | 0.45 | 1.09
01AUG2023 | DPL | 0.07 | 0.31 | 0 | 0 | 0.7 | 1.07
01AUG2023 | EKPC | 0 | 0.24 | 0 | 0 | 0.1 | 0.34
01AUG2023 | JCPL | 0 | 0.07 | 0 | 0 | 0 | 0.07
01AUG2023 | METED | 0 | 0.01 | 0 | 0 | 0.01 | 0.01
01AUG2023 | PECO | 0.09 | 0 | 0 | 0 | 0 | 0.09
01AUG2023 | PENELEC | 0 | 0.03 | 0 | 0 | 0.04 | 0.07
01AUG2023 | PEPCO | 1.77 | 0.05 | 0 | 0 | 0.01 | 1.83
01AUG2023 | PPL | 0.15 | 0.19 | 0 | 0 | 0.01 | 0.35
01AUG2023 | PSEG | 0.03 | 0.05 | 0 | 0 | 0 | 0.07

## Daily Uplift
Daily Uplift
($ Millions)
Click to return to Table of Contents
Date | Day-Ahead Operating Reserve | Balancing Operating Reserve | Reactive | Blackstart | Lost Opportunity Cost | Total Uplift
01AUG2023 | 0.32 | 0.01 | 0 | 0 | 0.03 | 0.36
02AUG2023 | 0.39 | 0.03 | 0 | 0 | 0.07 | 0.49
03AUG2023 | 0.42 | 0.32 | 0 | 0 | 0.04 | 0.78
04AUG2023 | 0.46 | 0.23 | 0 | 0 | 0.01 | 0.7
05AUG2023 | 0.48 | 0.03 | 0 | 0 | 0.01 | 0.51
06AUG2023 | 0.48 | 0.05 | 0 | 0 | 0.03 | 0.56
07AUG2023 | 0.39 | 0.27 | 0 | 0 | 0.35 | 1.01
08AUG2023 | 0.48 | 0.03 | 0 | 0 | 0.01 | 0.51
09AUG2023 | 0.42 | 0.13 | 0 | 0 | 0.01 | 0.56
10AUG2023 | 0.39 | 0.17 | 0 | 0 | 0 | 0.57
11AUG2023 | 0.35 | 0.22 | 0 | 0 | 0.02 | 0.59
12AUG2023 | 0.21 | 0.26 | 0 | 0 | 0.04 | 0.51
13AUG2023 | 0.22 | 0.38 | 0 | 0 | 0.05 | 0.65
14AUG2023 | 0.29 | 0.68 | 0 | 0 | 0.03 | 1
15AUG2023 | 0.21 | 0.45 | 0 | 0 | 0.06 | 0.72
16AUG2023 | 0.44 | 0.11 | 0 | 0 | 0.03 | 0.57
17AUG2023 | 0.44 | 0.13 | 0 | 0 | 0.21 | 0.78
18AUG2023 | 0.49 | 0.05 | 0 | 0 | 0 | 0.54
19AUG2023 | 0.59 | 0.04 | 0 | 0 | 0.03 | 0.65
20AUG2023 | 0.45 | 0.23 | 0 | 0 | 0.06 | 0.74
21AUG2023 | 0.25 | 0.12 | 0 | 0 | 0.14 | 0.51
22AUG2023 | 0.84 | 0.05 | 0 | 0 | 0.09 | 0.99
23AUG2023 | 0.87 | 0.15 | 0 | 0 | 0.07 | 1.08
24AUG2023 | 0.93 | 0.26 | 0 | 0 | 0.24 | 1.43
25AUG2023 | 0.45 | 0.33 | 0 | 0 | 0.36 | 1.13
26AUG2023 | 0.36 | 0.16 | 0 | 0 | 0.25 | 0.77
27AUG2023 | 0.21 | 0.07 | 0 | 0 | 0 | 0.28
28AUG2023 | 0.17 | 0.09 | 0 | 0 | 0.02 | 0.28
29AUG2023 | 0 | 0.05 | 0 | 0 | 0.01 | 0.06
30AUG2023 | 0 | 0.01 | 0 | 0 | 0.01 | 0.03
31AUG2023 | 0.02 | 0.03 | 0 | 0 | 0 | 0.05

## High Uplift Days
High Uplift Days
($ Millions)
Click to return to Table of Contents
Date | Day-Ahead Operating Reserve | Balancing Operating Reserve | Reactive | Blackstart | Lost Opportunity Cost | Total Uplift | Reason
07AUG2023 | 0.39 | 0.27 | 0 | 0 | 0.35 | 1.01
14AUG2023 | 0.29 | 0.68 | 0 | 0 | 0.03 | 1
22AUG2023 | 0.84 | 0.05 | 0 | 0 | 0.09 | 0.99
23AUG2023 | 0.87 | 0.15 | 0 | 0 | 0.07 | 1.08
24AUG2023 | 0.93 | 0.26 | 0 | 0 | 0.24 | 1.43
25AUG2023 | 0.45 | 0.33 | 0 | 0 | 0.36 | 1.13

## Uneconomic CC, CT, Steam Hours
Percent of Total CC, CT, and Steam Hours - LMP < Offer
Click to return to Table of Contents
Date | CT | CC and STEAM
AUG21 | 16% | 7%
SEP21 | 14% | 5%
OCT21 | 13% | 4%
NOV21 | 14% | 4%
DEC21 | 27% | 4%
JAN22 | 17% | 6%
FEB22 | 26% | 6%
MAR22 | 26% | 4%
APR22 | 18% | 5%
MAY22 | 15% | 9%
JUN22 | 11% | 9%
JUL22 | 9% | 9%
AUG22 | 10% | 7%
SEP22 | 12% | 8%
OCT22 | 20% | 5%
NOV22 | 16% | 7%
DEC22 | 18% | 10%
JAN23 | 19% | 7%
FEB23 | 30% | 8%
MAR23 | 19% | 7%
APR23 | 14% | 5%
MAY23 | 14% | 6%
JUN23 | 7% | 6%
JUL23 | 5% | 8%
AUG23 | 4% | 8%

## Reliability and Deviations BOR
Reliability and Deviations Balancing Operating Reserve Rates
($/MWh of Load)
Click to return to Table of Contents
Date | Reliability Balancing Operating Reserve Rate RTO | Reliability Balancing Operating Reserve Rate East | Reliability Balancing Operating Reserve Rate West | Deviations Balancing Operating Reserve Rate RTO | Deviations Balancing Operating Reserve Rate East | Deviations Balancing Operating Reserve Rate West
AUG2021 | 0.11 | 0.01 | 0 | 0.7 | 0.03 | 0
SEP2021 | 0.02 | 0 | 0 | 0.28 | 0.02 | 0
OCT2021 | 0.08 | 0.01 | 0 | 0.51 | 0.16 | 0
NOV2021 | 0.08 | 0.03 | 0 | 0.77 | 0.19 | 0.02
DEC2021 | 0.04 | 0 | 0 | 0.27 | 0.02 | 0
JAN2022 | 0.07 | 0.01 | 0 | 0.31 | 0.02 | 0.01
FEB2022 | 0.02 | 0 | 0 | 0.12 | 0.05 | 0
MAR2022 | 0.04 | 0.01 | 0 | 0.09 | 0.03 | 0
APR2022 | 0.05 | 0.03 | 0 | 0.32 | 0.32 | 0
MAY2022 | 0.04 | 0.02 | 0.01 | 0.25 | 0.22 | 0.01
JUN2022 | 0.06 | 0.03 | 0 | 0.47 | 0.16 | 0
JUL2022 | 0.09 | 0.02 | 0 | 0.58 | 0.21 | 0.02
AUG2022 | 0.11 | 0.02 | 0 | 0.65 | 0.29 | 0
SEP2022 | 0.05 | 0.01 | 0 | 0.3 | 0.16 | 0.01
OCT2022 | 0.05 | 0.03 | 0 | 0.25 | 0.09 | 0.03
NOV2022 | 0.08 | 0.04 | 0 | 0.18 | 0.08 | 0.01
DEC2022 | 0.25 | 0.04 | 0 | 0.83 | 0.08 | 0
JAN2023 | 0.03 | 0.01 | 0 | 0.09 | 0.02 | 0
FEB2023 | 0.03 | 0.01 | 0 | 0.05 | 0.04 | 0
MAR2023 | 0.03 | 0.03 | 0 | 0.04 | 0.02 | 0
APR2023 | 0.07 | 0.04 | 0 | 0.15 | 0.08 | 0.01
MAY2023 | 0.07 | 0.01 | 0 | 0.15 | 0.06 | 0.01
JUN2023 | 0.03 | 0 | 0 | 0.11 | 0.04 | 0.01
JUL2023 | 0.03 | 0.01 | 0 | 0.29 | 0.06 | 0
AUG2023 | 0.02 | 0.01 | 0 | 0.2 | 0.03 | 0.01

## Operating Reserve
Operating Reserve
($/MWh of Load)
Click to return to Table of Contents
Date | Day-Ahead Allocated to Entire RTO | Day-Ahead Allocated Locally | Real-Time
AUG2021 | 0.01 | 0 | 0.27
SEP2021 | 0.03 | 0 | 0.11
OCT2021 | 0.01 | 0 | 0.24
NOV2021 | 0.01 | 0 | 0.35
DEC2021 | 0.03 | 0 | 0.13
JAN2022 | 0.01 | 0 | 0.19
FEB2022 | 0.01 | 0 | 0.08
MAR2022 | 0.01 | 0 | 0.11
APR2022 | 0.01 | 0 | 0.24
MAY2022 | 0.04 | 0.01 | 0.2
JUN2022 | 0.06 | 0 | 0.29
JUL2022 | 0.14 | 0 | 0.33
AUG2022 | 0.11 | 0 | 0.42
SEP2022 | 0.11 | 0 | 0.22
OCT2022 | 0.01 | 0 | 0.29
NOV2022 | 0.02 | 0 | 0.24
DEC2022 | 0.31 | 0 | 0.83
JAN2023 | 0.02 | 0 | 0.09
FEB2023 | 0.02 | 0 | 0.07
MAR2023 | 0.02 | 0 | 0.08
APR2023 | 0.04 | 0.01 | 0.22
MAY2023 | 0.01 | 0 | 0.19
JUN2023 | 0.03 | 0 | 0.11
JUL2023 | 0.14 | 0 | 0.17
AUG2023 | 0.16 | 0 | 0.1

## Balancing Operating Reserve MWh
Balancing Operating Reserve MWh by Region and Reason
Click to return to Table of Contents
Date | RTO | East | West | Reliability Analysis Reliability | Reliability Analysis Deviation | Real-Time Reliability | Real-Time Deviation | Total
01AUG2023 | 4769.92 | 286.08 | . | . | . | 1781.03 | 3274.98 | 5056.01
02AUG2023 | 5733.84 | 2548.1 | . | . | . | 2906.78 | 5375.16 | 8281.94
03AUG2023 | 45955 | 6694.9 | 625.74 | . | . | 7583.22 | 45692.41 | 53275.63
04AUG2023 | 56526.41 | 7842.76 | 6517.31 | . | . | 4316.9 | 66569.58 | 70886.48
05AUG2023 | 10313.76 | . | . | . | . | 3869.94 | 6443.82 | 10313.76
06AUG2023 | 51274.97 | . | . | . | . | 2250.17 | 49024.79 | 51274.97
07AUG2023 | 53370.86 | 4128.06 | . | . | . | 12399.51 | 45099.41 | 57498.92
08AUG2023 | 31587.78 | 939.16 | . | . | . | 1397.07 | 31129.87 | 32526.93
09AUG2023 | 82090.52 | 9498.93 | . | . | . | 7581.87 | 84007.57 | 91589.45
10AUG2023 | 66693.59 | 4432.92 | . | . | . | 7296.95 | 63829.56 | 71126.51
11AUG2023 | 59712.39 | 285.17 | . | . | . | 7267.42 | 52730.14 | 59997.56
12AUG2023 | 62765.75 | 1811.66 | . | . | . | 3234.81 | 61342.59 | 64577.4
13AUG2023 | 92034.08 | 1802.87 | . | . | . | 5723.23 | 88113.73 | 93836.95
14AUG2023 | 154936.38 | 8346.72 | . | . | . | 14911.35 | 148371.75 | 163283.1
15AUG2023 | 88095.52 | 1476.89 | . | . | . | 9588.49 | 79983.92 | 89572.41
16AUG2023 | 28422.35 | 6431.81 | . | . | . | 1415.21 | 33438.95 | 34854.16
17AUG2023 | 57836.87 | 1657.12 | . | . | . | 3572.4 | 55921.59 | 59493.98
18AUG2023 | 11583.98 | 7717.66 | . | . | . | 1754.14 | 17547.5 | 19301.64
19AUG2023 | 49281.58 | . | . | . | . | 3876.13 | 45405.46 | 49281.58
20AUG2023 | 41809.72 | 2946.53 | . | . | . | 869.38 | 43886.87 | 44756.25
21AUG2023 | 69492.77 | 4415.31 | . | . | . | 7909.04 | 65999.03 | 73908.07
22AUG2023 | 103677.53 | 2817.22 | . | . | . | 1925.34 | 104569.4 | 106494.75
23AUG2023 | 22677.34 | 3589.58 | 7610.81 | . | 6.49 | 9079.18 | 24792.07 | 33877.74
24AUG2023 | 85721.13 | 57.21 | 5755.02 | . | . | 21459.63 | 70073.73 | 91533.36
25AUG2023 | 100740.54 | 4422.34 | . | . | . | 14695.81 | 90467.07 | 105162.88
26AUG2023 | 34416.84 | 5966.19 | . | . | . | 5236.07 | 35146.96 | 40383.03
27AUG2023 | 17829.86 | 3622.62 | . | . | . | 1955.3 | 19497.18 | 21452.48
28AUG2023 | 13488.82 | 1212.62 | . | . | . | 5386.4 | 9315.03 | 14701.43
29AUG2023 | 7334.41 | 1367.13 | . | . | . | 4957.3 | 3744.24 | 8701.54
30AUG2023 | 10833.67 | . | . | . | . | 29.76 | 10803.92 | 10833.67
31AUG2023 | 13313.5 | . | . | . | . | 2304.96 | 11008.54 | 13313.5

## Balancing Operating Reserve $
Balancing Operating Reserve $ by Region and Reason
Click to return to Table of Contents
Date | RTO | East | West | Reliability Analysis Reliability | Reliability Analysis Deviation | Real-Time Reliability | Real-Time Deviation | Total
01AUG2023 | 11091.49 | 283.13 | . | . | . | 9010.73 | 2363.89 | 11374.62
02AUG2023 | 21024.07 | 4795.41 | . | . | . | 12464.33 | 13355.15 | 25819.48
03AUG2023 | 252524.58 | 45465.11 | 18940.76 | . | . | 110059.58 | 206870.87 | 316930.45
04AUG2023 | 142106.49 | 33218.27 | 51751.73 | . | . | 55612.59 | 171463.9 | 227076.49
05AUG2023 | 26451.25 | . | . | . | . | 21668.77 | 4782.48 | 26451.25
06AUG2023 | 54335.73 | . | . | . | . | 16414.22 | 37921.51 | 54335.73
07AUG2023 | 231266.95 | 42133.77 | . | . | . | 133680.58 | 139720.14 | 273400.72
08AUG2023 | 27399.26 | 1071.51 | . | . | . | 10947.16 | 17523.61 | 28470.77
09AUG2023 | 104936.99 | 23429.77 | . | . | . | 30597.17 | 97769.59 | 128366.76
10AUG2023 | 163959.18 | 11036.52 | . | . | . | 48384.4 | 126611.3 | 174995.7
11AUG2023 | 214759.93 | 5300.23 | . | . | . | 70065.29 | 149994.87 | 220060.16
12AUG2023 | 257240.64 | 5971.84 | . | . | . | 90500.14 | 172712.34 | 263212.48
13AUG2023 | 355452.69 | 28220.13 | . | . | . | 116519.24 | 267153.58 | 383672.82
14AUG2023 | 591920.91 | 86075.03 | . | . | . | 290949.13 | 387046.81 | 677995.94
15AUG2023 | 415827.37 | 30798.51 | . | . | . | 125965.6 | 320660.28 | 446625.88
16AUG2023 | 29573.78 | 77751.69 | . | . | . | 4473.17 | 102852.3 | 107325.47
17AUG2023 | 118186.04 | 7412.36 | . | . | . | 60576.41 | 65021.99 | 125598.4
18AUG2023 | 30662.66 | 19845.17 | . | . | . | 7172.46 | 43335.37 | 50507.83
19AUG2023 | 35819.57 | . | . | . | . | 14061.98 | 21757.59 | 35819.57
20AUG2023 | 231773.44 | 2617.38 | . | . | . | 5346.87 | 229043.95 | 234390.82
21AUG2023 | 100296.28 | 22351.88 | . | . | . | 79784.62 | 42863.54 | 122648.16
22AUG2023 | 40673.47 | 11308.81 | . | . | . | 10040.9 | 41941.38 | 51982.28
23AUG2023 | 93519.71 | 8724.19 | 20877.11 | . | 22.97 | 35737.37 | 87360.67 | 123121.01
24AUG2023 | 217164.41 | 822.39 | 44016.37 | . | . | 131867.12 | 130136.05 | 262003.17
25AUG2023 | 294728.36 | 25604.21 | . | . | . | 166837.57 | 153495 | 320332.57
26AUG2023 | 93845.42 | 67487.09 | . | . | . | 65215.57 | 96116.94 | 161332.51
27AUG2023 | 66390.88 | 4286.32 | . | . | . | 33828.46 | 36848.74 | 70677.2
28AUG2023 | 83824.28 | 3686.45 | . | . | . | 51854.24 | 35656.49 | 87510.73
29AUG2023 | 46402.75 | 4937.25 | . | . | . | 49867.88 | 1472.12 | 51340
30AUG2023 | 14662.24 | . | . | . | . | 126.01 | 14536.23 | 14662.24
31AUG2023 | 34996.5 | . | . | . | . | 12409.57 | 22586.93 | 34996.5

## Monthly LOC
Monthly Lost Oppotunity Cost
Click to return to Table of Contents
Date | MWh Reduced Wind (MWh) | Lost Oppotunity Cost Wind ($) | Lost Opportunity Cost PJM Total ($)
01AUG2021 | 0 | 0 | 1632876
01SEP2021 | 410 | 28827 | 2591209
01OCT2021 | 1755 | 78080 | 2350949
01NOV2021 | 443 | 21788 | 7231993
01DEC2021 | 0 | 0 | 3238379
01JAN2022 | 22 | 1711 | 3725800
01FEB2022 | 451 | 26649 | 1789923
01MAR2022 | 0 | 0 | 505404
01APR2022 | 121 | 8567 | 1362377
01MAY2022 | 463 | 24696 | 1082256
01JUN2022 | 252 | 122357 | 5558151
01JUL2022 | 0 | 2 | 4750042
01AUG2022 | 2382 | 272050 | 4997078
01SEP2022 | 751 | 62645 | 1668093
01OCT2022 | 12854 | 1192941 | 4228835
01NOV2022 | 2895 | 194084 | 1253492
01DEC2022 | 6611 | 736683 | 9977555
01JAN2023 | 0 | 0 | 1911830
01FEB2023 | 8439 | 425102 | 1019322
01MAR2023 | 41 | 5721 | 674534
01APR2023 | 2376 | 77927 | 1466999
01MAY2023 | 16 | 832 | 1480768
01JUN2023 | 0 | 13 | 1438811
01JUL2023 | 0 | 0 | 4390384
01AUG2023 | 0 | 0 | 2263692

## Daily LOC
Daily Lost Oppotunity Cost
Click to return to Table of Contents
Date | Lost Oppotunity Cost Wind ($) | Lost Opportunity Cost PJM Total ($)
01AUG2023 | 0 | 26043
02AUG2023 | 0 | 74987
03AUG2023 | 0 | 41744
04AUG2023 | 0 | 11589
05AUG2023 | 0 | 5553
06AUG2023 | 0 | 25103
07AUG2023 | 0 | 346747
08AUG2023 | 0 | 7299
09AUG2023 | 0 | 10661
10AUG2023 | 0 | 149
11AUG2023 | 0 | 24516
12AUG2023 | 0 | 41031
13AUG2023 | 0 | 47080
14AUG2023 | 0 | 30267
15AUG2023 | 0 | 59298
16AUG2023 | 0 | 25414
17AUG2023 | 0 | 212068
18AUG2023 | 0 | 1734
19AUG2023 | 0 | 26765
20AUG2023 | 0 | 57162
21AUG2023 | 0 | 144012
22AUG2023 | 0 | 88477
23AUG2023 | 0 | 66854
24AUG2023 | 0 | 237503
25AUG2023 | 0 | 358136
26AUG2023 | 0 | 246583
27AUG2023 | 0 | 2259
28AUG2023 | 0 | 20152
29AUG2023 | 0 | 9613
30AUG2023 | 0 | 12293
31AUG2023 | 0 | 2599

## Monthly Load Weighted LMP
Monthly Load Weighted LMP
Click to return to Table of Contents
Date | Load Weighted LMP ($/MWh)
AUG2021 | 47.4
SEP2021 | 49.6
OCT2021 | 58.4
NOV2021 | 63
DEC2021 | 38.9
JAN2022 | 69.1
FEB2022 | 46.8
MAR2022 | 43.6
APR2022 | 63.9
MAY2022 | 83.2
JUN2022 | 97.9
JUL2022 | 92.5
AUG2022 | 113.8
SEP2022 | 78.3
OCT2022 | 55.9
NOV2022 | 52.9
DEC2022 | 142.2
JAN2023 | 35.8
FEB2023 | 26
MAR2023 | 28.4
APR2023 | 29.3
MAY2023 | 28.4
JUN2023 | 27.3
JUL2023 | 37.2
AUG2023 | 31.3

## Annual LMP Averages
Annual Fuel Cost Adjusted and Load Weighted LMP
Click to return to Table of Contents
Year | Fuel Cost Adjusted LMP ($/MWh) | Load Weighted LMP ($/MWh)
2014 | 26.02 | 53.13
2015 | 28.33 | 36.25
2016 | 26.95 | 29.27
2017 | 31.56 | 31.06
2018 | 33.66 | 37.83
2019 | 31.46 | 27.15
2020 | 32.4 | 21.65
2021 | 32.14 | 39.79
2022 | 35.93 | 80.17
2023 | 42.17 | 30.79
The 2023 value is through the last day of AUG, 2023.

## LMP Suspensions and Reruns
LMP Suspensions and Reruns
Click to return to Table of Contents
Date | Percentage of Intervals Price Posting Suspended | Percentage of Intervals Rerun Prior to Final LMP Posting Curent Calculation
AUG2021 | 0.04% | 0.47%
SEP2021 | . | 0.07%
OCT2021 | 0.06% | 0.35%
NOV2021 | 0.01% | 1.56%
DEC2021 | 0.01% | 1.76%
JAN2022 | 0.04% | 1.56%
FEB2022 | . | 8.04%
MAR2022 | 0.01% | 3.71%
APR2022 | 0.01% | 2.45%
MAY2022 | 0.01% | 1.8%
JUN2022 | 0.45% | 1.74%
JUL2022 | 0.01% | 2.04%
AUG2022 | 0.41% | 3.39%
SEP2022 | . | 3.82%
OCT2022 | . | 4.01%
NOV2022 | 0.02% | 2.65%
DEC2022 | 0.08% | 2.35%
JAN2023 | 0.06% | 1.28%
FEB2023 | 0.04% | 1.81%
MAR2023 | 0.01% | 1.11%
APR2023 | . | 2.59%
MAY2023 | 0.01% | 1.96%
JUN2023 | . | 1.68%
JUL2023 | 0.02% | 2.48%
AUG2023 | 0.1% | 2.67%

## Annual DR Estimated Revenue
Demand Response Estimated Revenue
Click to return to Table of Contents
Year | Economic Energy | Capacity | Ancillary Services | Emergency Energy | Economic Energy Incentives | Capacity Bonus Payment | Price Responsive Demand Credits | Total
2014 | 17820063 | 631016188 | 6284506 | 42930598 | 0 | . | . | 698051354
2015 | 7983488 | 807137222 | 6118299 | 480978 | 0 | . | . | 821719987
2016 | 3477215 | 644469413 | 4512812 | 0 | 0 | . | . | 652459440
2017 | 2551777 | 492872505 | 4807877 | 0 | 0 | . | . | 500232159
2018 | 2523722 | 584665539 | 8946085 | 0 | 0 | . | . | 596135346
2019 | 979266 | 481661914 | 5205768 | 1062830 | 0 | 447666 | . | 489357444
2020 | 329119 | 354358432 | 3771200 | 0 | 0 | 0 | 13865948 | 372324699
2021 | 1163113 | 504391547 | 9929451 | 0 | 0 | 0 | 32229157 | 547713268
2022 | 10893489 | 377828296 | 23353786 | 63525922 | 0 | 87808957 | 22112219 | 585522669
2023 | 1925721 | 115116877 | 6254206 | 0 | 0 | 0 | 5978328 | 129280306
The 2023 value is through the last day of AUG, 2023.

## Demand Response
Demand Response
Click to return to Table of Contents
Date | Economic DR Total Load Reductions | Economic DR Total Net CSP Credits | DR as Sync. Res. MWh Cleared | DR as Sync. Res. Total Payments | DR as Regulation MWh Cleared | DR as Regulation Total Payments | Total MWs Registered in Economic DR
01AUG2021 | 5088 | 362066.93 | 155905 | 614168 | 5899 | 221908 | 1816
01SEP2021 | 1367 | 92285.66 | 133384 | 450777 | 7543 | 252140 | 1863
01OCT2021 | 1195 | 83066.07 | 185875 | 1530525 | 6965 | 310020 | 2115
01NOV2021 | 1661 | 129065.94 | 164238 | 1537918 | 7566 | 429248 | 2126
01DEC2021 | 272 | 15611.58 | 79401 | 681433 | 8684 | 259969 | 2129
01JAN2022 | 3062 | 219579.71 | 79792 | 713255 | 8555 | 540011 | 2103
01FEB2022 | 1956 | 123401.53 | 66844 | 410939 | 8532 | 283262 | 2137
01MAR2022 | 1211 | 58864.97 | 103693 | 737865 | 8447 | 258462 | 2105
01APR2022 | 1877 | 131511.04 | 123912 | 1255506 | 8224 | 422769 | 2212
01MAY2022 | 3988 | 356687.72 | 144015 | 1492295 | 13653 | 633502 | 2234
01JUN2022 | 4298 | 526201.32 | 157808 | 2706886 | 10676 | 546659 | 1691
01JUL2022 | 14231 | 1759574.87 | 140464 | 1640622 | 14068 | 787164 | 2216
01AUG2022 | 15801 | 1978740.32 | 181845 | 2137391 | 18883 | 1212870 | 2298
01SEP2022 | 12685 | 1253594.13 | 152931 | 910143 | 18891 | 1029618 | 2311
01OCT2022 | 11904 | 917837.88 | 140006 | 99523 | 19009 | 820235 | 2421
01NOV2022 | 10457 | 760641.55 | 92511 | 107360 | 18530 | 506158 | 2442
01DEC2022 | 22096 | 2806853.62 | 77604 | 1146954 | 14172 | 1442192 | 2456
01JAN2023 | 6295 | 304972.31 | 103847 | 150437 | 14017 | 294337 | 2484
01FEB2023 | 124 | 10803.87 | 99889 | 67615 | 14784 | 291581 | 2433
01MAR2023 | 1327 | 67542.15 | 107236 | 51541 | 17884 | 351672 | 2489
01APR2023 | 3151 | 158954.65 | 129813 | 199537 | 19533 | 488013 | 2636
01MAY2023 | 3633 | 179655.78 | 190816 | 1024284 | 18338 | 521342 | 2609
01JUN2023 | 3036 | 160405.64 | 137212 | 157679 | 26007 | 686317 | 2285
01JUL2023 | 10599 | 1025129.66 | 144622 | 320833 | 27802 | 682856 | 2449
01AUG2023 | 299 | 18257.23 | 133087 | 132416 | 31407 | 791218 | 2596

## Incs, Decs and Up-Tos
Virtual and Up-To Congestion Transactions
Click to return to Table of Contents
Date | Virtual Bids Submitted | Virtaul Bids Cleared | Virtual MWh Submitted | Virtual MWh Cleared | Up-To Transactions Submitted | Up-To Transactions Cleared | Up-To MWh Submitted | Up-To MWh Cleared | Total Transactions Submitted | Total Transactions Cleared | Total MWh Submitted | Total MWh Cleared
AUG2021 | 1374399 | 285990 | 10733926 | 4318028 | 1841321 | 323605 | 9989197 | 3992130 | 3215720 | 609595 | 20723123 | 8310158
SEP2021 | 1521432 | 380555 | 11717069 | 4539777 | 2329955 | 339451 | 11831271 | 4794124 | 3851387 | 720006 | 23548340 | 9333901
OCT2021 | 1689491 | 448019 | 11782527 | 4517125 | 2291217 | 308179 | 11603152 | 4033467 | 3980708 | 756198 | 23385678 | 8550592
NOV2021 | 1656291 | 467405 | 11369701 | 4649046 | 2385838 | 353045 | 13406796 | 4874637 | 4042129 | 820450 | 24776497 | 9523683
DEC2021 | 1551891 | 476684 | 12725122 | 5726641 | 2499837 | 374500 | 14073607 | 4932180 | 4051728 | 851184 | 26798729 | 10658821
JAN2022 | 1955318 | 508718 | 15893777 | 7001586 | 2636803 | 355965 | 21185234 | 6151542 | 4592121 | 864683 | 37079011 | 13153128
FEB2022 | 1737786 | 475257 | 14782342 | 6599706 | 3004748 | 424588 | 20911191 | 8002309 | 4742534 | 899845 | 35693533 | 14602015
MAR2022 | 1647294 | 440982 | 16282470 | 7170257 | 2985400 | 387324 | 25757517 | 8114631 | 4632694 | 828306 | 42039987 | 15284889
APR2022 | 1508609 | 387460 | 14186971 | 5574487 | 2847497 | 316721 | 26571583 | 6501343 | 4356106 | 704181 | 40758554 | 12075830
MAY2022 | 1563068 | 421097 | 15491620 | 6359134 | 2887256 | 326172 | 25363864 | 6410221 | 4450324 | 747269 | 40855485 | 12769355
JUN2022 | 1397621 | 347983 | 13817000 | 5894356 | 3168236 | 374569 | 22656802 | 7353240 | 4565857 | 722552 | 36473802 | 13247595
JUL2022 | 1521446 | 341413 | 13356800 | 5588520 | 4287467 | 464155 | 26211757 | 8190488 | 5808913 | 805568 | 39568557 | 13779008
AUG2022 | 1465696 | 371576 | 13233766 | 5952457 | 5668567 | 562781 | 35834573 | 11165039 | 7134263 | 934357 | 49068339 | 17117496
SEP2022 | 1520746 | 391842 | 13741667 | 6846914 | 5780132 | 614122 | 34118720 | 9546538 | 7300878 | 1005964 | 47860387 | 16393452
OCT2022 | 1673581 | 464139 | 14847553 | 6261710 | 5859676 | 549493 | 39548728 | 10965036 | 7533257 | 1013632 | 54396281 | 17226746
NOV2022 | 1800212 | 490460 | 16070091 | 6554011 | 5906813 | 641304 | 52802789 | 15706300 | 7707025 | 1131764 | 68872880 | 22260312
NOV2022 | 1800212 | 490460 | 16070091 | 6554011 | 5906813 | 641304 | 52802789 | 15706300 | 7707025 | 1131764 | 68872880 | 22260312
DEC2022 | 1820827 | 472288 | 15421533 | 6124227 | 6618098 | 744286 | 60439700 | 17870046 | 8438925 | 1216574 | 75861233 | 23994273
JAN2023 | 1506612 | 469504 | 13234347 | 6177575 | 6452516 | 708370 | 50705416 | 17638580 | 7959128 | 1177874 | 63939763 | 23816155
FEB2023 | 1426573 | 459343 | 13116379 | 6435646 | 7183266 | 674106 | 57444566 | 16290896 | 8609839 | 1133449 | 70560945 | 22726542
MAR2023 | 1620941 | 543059 | 14888549 | 6828384 | 9141322 | 713957 | 84211767 | 18451327 | 10762263 | 1257016 | 99100316 | 25279711
APR2023 | 1531725 | 467429 | 14760108 | 6102021 | 8580136 | 751238 | 91618263 | 21619586 | 10111861 | 1218667 | 106378371 | 27721607
MAY2023 | 1513172 | 504080 | 14428199 | 6527677 | 6646490 | 783478 | 81113241 | 20764812 | 8159662 | 1287558 | 95541440 | 27292489
JUN2023 | 1641935 | 576084 | 14204499 | 6973920 | 3120098 | 796269 | 64759627 | 18898914 | 4762033 | 1372353 | 78964126 | 25872834
JUL2023 | 1890649 | 648297 | 14888354 | 6804331 | 2781449 | 752278 | 44130187 | 13970145 | 4672098 | 1400575 | 59018541 | 20774476
AUG2023 | 1462917 | 461403 | 15090606 | 7026434 | 2247589 | 617272 | 27022883 | 9350215 | 3710506 | 1078675 | 42113489 | 16376649

## Congestion and FTR Revenue
Congestion and FTR Revenue
Click to return to Table of Contents
Date | Total FTR Revenue ($Millions) | Total FTR Target ($Millions) | FTR Payout Ratio (%) | Day-Ahead Congestion ($Millions) | Balancing Congestion ($Millions)
AUG2021 | 125.43 | 138.11 | 91% | 112.05 | -16.62
SEP2021 | 111.34 | 133.52 | 83% | 97.01 | -7.21
OCT2021 | 127.01 | 142.13 | 89% | 113.4 | -14.42
NOV2021 | 221.89 | 270.06 | 82% | 209.85 | -34.31
DEC2021 | 126.69 | 146.42 | 87% | 113.52 | -7.31
JAN2022 | 459.79 | 410.2 | 100% | 442.57 | -121.63
FEB2022 | 174.13 | 170.9 | 100% | 158.77 | -42.47
MAR2022 | 114.17 | 107.63 | 100% | 99.25 | -24.75
APR2022 | 161.87 | 161.64 | 100% | 145.88 | -31.29
MAY2022 | 420.98 | 386.43 | 100% | 406.07 | -52.24
JUN2022 | 220.22 | 231.54 | 95% | 202.01 | -37.64
JUL2022 | 248.73 | 220.42 | 100% | 223.57 | -33.09
AUG2022 | 373.66 | 313.73 | 100% | 355.62 | -46.13
SEP2022 | 269.12 | 260.88 | 100% | 248.49 | -28.71
OCT2022 | 179.69 | 208.05 | 86% | 161.39 | -16.65
NOV2022 | 240.48 | 242.18 | 99% | 215.39 | -28.36
DEC2022 | 392.03 | 322.37 | 100% | 364.98 | -58.57
JAN2023 | 94.62 | 77.62 | 100% | 69.25 | -7.04
FEB2023 | 128.41 | 90.81 | 100% | 102.77 | -16.41
MAR2023 | 80.73 | 59.87 | 100% | 54.1 | -27.34
APR2023 | 155.24 | 140.05 | 100% | 128.82 | -43.34
MAY2023 | 121.05 | 111.93 | 100% | 96.87 | -35.92
JUN2023 | 105.39 | 96.06 | 100% | 87.06 | -12.7
JUL2023 | 185.46 | 155.03 | 100% | 166.17 | -26.65
AUG2023 | 152.58 | 136.02 | 100% | 133.59 | -22.81

## Balancing Congestion Facilities
Balancing Congestion Facilities
Click to return to Table of Contents
Date | Facility Name | Balancing Congestion ($)
AUG2023 | Charlottesville-Proffit 2054B1 230 (DOM-W) | -3932282
AUG2023 | New London-Kokomo 230 (MISO-CIN) | -3616688
AUG2023 | Lenox-N Meshoppen 115 (PN) | -2591538
AUG2023 | East Frankfort 345/138 T83 (COMED) | -2074904
AUG2023 | Cool Springs-Milford 230 (DPL S) | -1486502
AUG2023 | Conastone 500/230 2 (BGE) | -1035103
AUG2023 | Crete-St. John 345 (COM) | -922540
AUG2023 | Graceton-Safe Harbor 230 (BGE) | -700849
AUG2023 | Conastone-Northwest 230 2322 (BGE) | -518161
AUG2023 | Lackawanna-Summit 2 230 (PPL) | -347307

## Average Interface Prices
Monthly Average PJM/MISO and PJM/NYISO Interface Prices
Click to return to Table of Contents
Date | PJM's Price for MISO Real-Time | MISO's Price for PJM Real-Time | PJM's Price for MISO Day-Ahead | MISO's Price for PJM Day-Ahead | PJM's Price for NYISO Real-Time | NYISO's Price for PJM Real-Time | PJM's Price for NYISO Day-Ahead | NYISO's Price for PJM Day-Ahead
AUG2021 | 41.69 | 40.05 | 41.15 | 41.73 | 41.83 | 42.16 | 40.36 | 42.8
SEP2021 | 44.43 | 43.86 | 42.75 | 43.02 | 41.99 | 41.11 | 39.8 | 40.83
OCT2021 | 53.93 | 54.84 | 54.33 | 54.41 | 49.18 | 47.24 | 48.91 | 47.64
NOV2021 | 52.39 | 53.89 | 53.77 | 53.35 | 50.91 | 51.83 | 49.89 | 48.65
DEC2021 | 35.72 | 36.34 | 34.61 | 37.65 | 36.09 | 39.71 | 35.27 | 39.77
JAN2022 | 43.79 | 45.49 | 47.63 | 46.33 | 93.71 | 98.5 | 79.12 | 101.16
FEB2022 | 39.89 | 41.72 | 42.35 | 44.3 | 57.09 | 55.41 | 54.29 | 63.83
MAR2022 | 37.63 | 39.86 | 40 | 40.95 | 42.04 | 45.73 | 43.54 | 45.82
APR2022 | 56.09 | 58.65 | 58.31 | 59.87 | 55.82 | 50.4 | 58.81 | 50.1
MAY2022 | 69.85 | 71.96 | 72.18 | 74.39 | 61.34 | 63.62 | 66.21 | 58.89
JUN2022 | 85.89 | 81.23 | 83.44 | 85.9 | 74.5 | 74.23 | 69.82 | 68.3
JUL2022 | 79.74 | 83.61 | 83.71 | 84.55 | 78.79 | 84.28 | 83.14 | 82.98
AUG2022 | 89.88 | 94.62 | 90.8 | 93.05 | 98.3 | 100.68 | 92.15 | 94.87
SEP2022 | 70.17 | 72.46 | 74.28 | 76.51 | 62.25 | 66.95 | 68.04 | 70.43
OCT2022 | 49.31 | 51.57 | 50.67 | 50.95 | 47.81 | 45.8 | 48.78 | 48.11
NOV2022 | 45.33 | 44.69 | 46.97 | 47.8 | 43.35 | 40.9 | 45.58 | 41.21
DEC2022 | 93.73 | 75.53 | 68.23 | 61.64 | 116.57 | 94.81 | 87.7 | 86.24
JAN2023 | 32.8 | 33.81 | 33.46 | 34.96 | 33.45 | 34.33 | 33.56 | 36.97
FEB2023 | 22.98 | 24.56 | 25.7 | 26.58 | 26.11 | 28.29 | 31.28 | 36.83
MAR2023 | 25.66 | 25.5 | 25.67 | 26.65 | 25.19 | 25.01 | 25.86 | 26.77
APR2023 | 23.42 | 24.76 | 24.7 | 25.88 | 24.1 | 26.06 | 25.19 | 25.47
MAY2023 | 25.44 | 27.08 | 26.39 | 27.94 | 20.7 | 21.14 | 21.61 | 20.76
JUN2023 | 26.25 | 27.19 | 26.48 | 28.17 | 23.64 | 24.37 | 22.01 | 25.5
JUL2023 | 33 | 33.37 | 35.37 | 36.48 | 34.3 | 32.46 | 34.08 | 37.31
AUG2023 | 29.82 | 32.04 | 30.89 | 32.49 | 23.45 | 27.12 | 23.02 | 25.69

## Market to Market Congestion
PJM/MISO and PJM/NYISO Market to Market Congestion Payments
Click to return to Table of Contents
Date | Net M2M Payments from PJM to MISO ($) | Payments to MISO as Percent of Total PJM Congestion | Net M2M Payments from PJM to NYISO ($) | Payments to NYISO as Percent of Total PJM Congestion | FTR Revenue ($)
AUG2021 | $-1,348,144 | 1% | 105464 | 0.07% | 141136819
SEP2021 | $-786,412 | 0.6% | $-31,199 | 0.02% | 133524904
OCT2021 | $-1,449,393 | 1% | $-36,840 | 0.03% | 142128235
NOV2021 | 1410123 | 0.5% | 184035 | 0.07% | 270062172
DEC2021 | $-2,809,014 | 1.9% | $-220,347 | 0.15% | 146419783
JAN2022 | $-8,827,970 | 2.2% | $-2,842,631 | 0.69% | 410202298
FEB2022 | $-6,539,248 | 3.8% | $-827,421 | 0.48% | 170901305
MAR2022 | $-14,903,430 | 13.8% | $-73,500 | 0.07% | 107630030
APR2022 | $-23,957,490 | 14.8% | $-1,077,850 | 0.67% | 161635739
MAY2022 | $-23,059,246 | 6% | $-2,380,617 | 0.62% | 386433052
JUN2022 | $-8,203,485 | 3.5% | $-9,971 | 0% | 231540036
JUL2022 | $-7,600,711 | 3.4% | $-85,615 | 0.04% | 220415075
AUG2022 | $-5,937,583 | 1.9% | $-134,279 | 0.04% | 313733668
SEP2022 | $-4,658,097 | 1.8% | 36561 | 0.01% | 260877180
OCT2022 | $-17,773,829 | 8.5% | $-44,500 | 0.02% | 208047698
NOV2022 | $-14,312,352 | 5.9% | $-36,302 | 0.01% | 242184098
DEC2022 | $-47,335,717 | 14.7% | $-6,206 | 0% | 322367124
JAN2023 | $-5,658,070 | 7.3% | 279756 | 0.36% | 77622121
FEB2023 | $-2,574,139 | 2.8% | 282401 | 0.31% | 90806423
MAR2023 | $-6,496,984 | 10.9% | $-111,170 | 0.19% | 59866477
APR2023 | $-16,199,761 | 11.6% | $-11,504 | 0.01% | 140053037
MAY2023 | $-10,394,960 | 9.3% | $-10,287 | 0.01% | 111927654
JUN2023 | $-1,730,052 | 1.8% | $-48 | 0% | 96057780
JUL2023 | $-1,727,776 | 1.1% | 2056 | 0% | 155033386
AUG2023 | $-288,916 | 0.2% | $-32,030 | 0.02% | 136020791

## Regulation and Sync Reserve
Regulation and Synchronized Reserve
Click to return to Table of Contents
Date | Synchronous Condenser ($Millions) | Synchronized Reserve ($Millions) | Synchronous Condenser (Cents/MWh load) | Synchronized Reserve (Cents/MWh load) | Regulation ($Millions)
AUG2021 | . | 5.56 | . | 7.14 | 15.39
SEP2021 | . | 3.68 | . | 5.79 | 12.92
OCT2021 | . | 10.47 | . | 17.88 | 18.33
NOV2021 | . | 10.73 | . | 17.56 | 24.45
DEC2021 | . | 4.86 | . | 7.49 | 13.66
JAN2022 | . | 7.07 | . | 9.26 | 33.95
FEB2022 | . | 2.48 | . | 3.88 | 14.31
MAR2022 | . | 5.25 | . | 8.35 | 13.05
APR2022 | . | 7.96 | . | 14.08 | 23.25
MAY2022 | . | 8.33 | . | 13.64 | 19.63
JUN2022 | . | 20.56 | . | 30.32 | 25.58
JUL2022 | . | 9.81 | . | 12.62 | 28.26
AUG2022 | . | 11.64 | . | 15.24 | 32.33
SEP2022 | . | 4.08 | . | 6.52 | 21.26
OCT2022 | . | 5.05 | . | 8.8 | 19.14
NOV2022 | . | 3.48 | . | 5.74 | 11.43
DEC2022 | . | 6.28 | . | 8.77 | 53.85
JAN2023 | . | 1.38 | . | 2.02 | 9.81
FEB2023 | . | 1.33 | . | 2.21 | 8.13
MAR2023 | . | 1.18 | . | 1.85 | 9.51
APR2023 | . | 2.85 | . | 5.13 | 11.32
MAY2023 | . | 9.01 | . | 15.54 | 12.61
JUN2023 | . | 4.43 | . | 7.06 | 11.65
JUL2023 | . | 10.76 | . | 13.91 | 12.71
AUG2023 | . | 3.3 | . | 4.48 | 11.92

## Regulation Daily
Regulation Market Daily Prices and Charges
Click to return to Table of Contents
Date | Minimum Hourly Price ($/MWh) | Average Hourly Price ($/MWh) | Maximum Hourly Price ($/MWh) | Total Daily Regulation Charges($Millions) /
01AUG2023 | 0 | 9.88 | 45.68 | 199517.7
02AUG2023 | 5.41 | 21.97 | 145.68 | 444274.56
03AUG2023 | 0.45 | 14.05 | 35.2 | 315591.72
04AUG2023 | 0 | 11.58 | 47.78 | 246849.79
05AUG2023 | 0 | 8.44 | 48.82 | 127618.7
06AUG2023 | 0 | 14.94 | 58.51 | 286973.35
07AUG2023 | 0.18 | 29.66 | 250.7 | 495077.76
08AUG2023 | 0 | 16.97 | 59.69 | 368606.97
09AUG2023 | 0 | 13.67 | 42 | 309398.04
10AUG2023 | 3.68 | 29.6 | 187.22 | 795757.02
11AUG2023 | 2.56 | 28.28 | 93.5 | 504118.31
12AUG2023 | 2.44 | 28.95 | 124.38 | 538668.74
13AUG2023 | 3.16 | 23.62 | 117.5 | 484183.19
14AUG2023 | 6.36 | 25.22 | 77.91 | 532217.55
15AUG2023 | 0 | 15.02 | 42.67 | 317620.26
16AUG2023 | 0 | 10.43 | 26.64 | 213456.58
17AUG2023 | 0 | 13.08 | 81.87 | 238373.85
18AUG2023 | 1.23 | 7.48 | 23.96 | 161063.2
19AUG2023 | 0.01 | 12.55 | 68.9 | 182633.4
20AUG2023 | 0 | 22.67 | 129.61 | 646660.78
21AUG2023 | 0.11 | 23.73 | 160.14 | 447188.9
22AUG2023 | 4.05 | 16.87 | 48.42 | 463185
23AUG2023 | 0 | 29.39 | 351.7 | 341011.62
24AUG2023 | 0 | 25.29 | 120.07 | 508306.22
25AUG2023 | 0 | 37.29 | 377.51 | 720100.86
26AUG2023 | 0 | 31.64 | 297.93 | 542629.41
27AUG2023 | 0 | 23.46 | 145.34 | 417452.25
28AUG2023 | 0 | 24.05 | 138.93 | 470143.71
29AUG2023 | 0 | 11.73 | 25.54 | 214110.4
30AUG2023 | 0 | 10.21 | 29.07 | 209409.4
31AUG2023 | 1.32 | 10.15 | 20.36 | 181576.14

## Synchronized Reserve Daily
Synchronized Reserve Market Daily Prices and Charges
Click to return to Table of Contents
Date | Minimum Hourly Price ($/MWh) | Average Hourly Price ($/MWh) | Maximum Hourly Price ($/MWh) | Total Daily Regulation Charges($Millions) /
01AUG2023 | 0 | 0.01 | 0.05 | 194651
02AUG2023 | 0 | 0.41 | 8.59 | 137728.59
03AUG2023 | 0 | 0.01 | 0.05 | 189447.6
04AUG2023 | 0 | 0.01 | 0.05 | 131454.02
05AUG2023 | 0 | 0 | 0.01 | 163777.58
06AUG2023 | 0 | 2.94 | 70.21 | 156761.71
07AUG2023 | 0 | 0.01 | 0.05 | 251755.99
08AUG2023 | 0 | 1.68 | 27.89 | 117117.5
09AUG2023 | 0 | 2.13 | 15.2 | 133828.12
10AUG2023 | 0 | 0.01 | 0.05 | 48247.6
11AUG2023 | 0 | 0.96 | 13.43 | 62877.55
12AUG2023 | 0 | 1.82 | 29.32 | 170430.56
13AUG2023 | 0 | 0.22 | 5.22 | 179268.09
14AUG2023 | 0 | 0.01 | 0.05 | 122596.78
15AUG2023 | 0 | 0.01 | 0.05 | 169244.2
16AUG2023 | 0 | 0 | 0.02 | 110500.01
17AUG2023 | 0 | 0 | 0.02 | 78266.64
18AUG2023 | 0 | 0 | 0.01 | 25900.97
19AUG2023 | 0 | 0 | 0.01 | 10705.8
20AUG2023 | 0 | 0.01 | 0.05 | 68481.44
21AUG2023 | 0 | 0.94 | 16.81 | 342834.15
22AUG2023 | 0 | 0.36 | 4.33 | 55788.35
23AUG2023 | 0 | 0.01 | 0.05 | 29665.82
24AUG2023 | 0 | 0.37 | 8.53 | 41268.31
25AUG2023 | 0 | 0.03 | 0.38 | 81600.25
26AUG2023 | 0 | 0.01 | 0.05 | 57791.57
27AUG2023 | 0 | 1.18 | 13.34 | 19837.76
28AUG2023 | 0 | 3.43 | 77.18 | 76614.89
29AUG2023 | 0 | 0.12 | 2.43 | 39938.7
30AUG2023 | 0 | 0 | 0.01 | 21412.33
31AUG2023 | 0 | 0.01 | 0.05 | 14306.37

## Daily Marginal Losses
Daily Marginal Loss Summary
Click to return to Table of Contents
Date | Average Energy Price ($/MWh) | Minimum Loss Component ($/MWh) | Maximum Loss Component ($/MWh) | Minimum Loss Zone | Maximum Loss Zone | Loss Credits ($) | Loss Credits ($/MWh)
01AUG2023 | 22.57 | (1.46) | 2.18 | PPL | DAY | 834655 | 0.36
02AUG2023 | 23.14 | (2.20) | 2.9 | PPL | DAY | 781708 | 0.34
03AUG2023 | 27.54 | (4.90) | 5.89 | PPL | DAY | 1010811 | 0.43
04AUG2023 | 27.56 | (2.75) | 3.73 | PPL | DAY | 965410 | 0.4
05AUG2023 | 20.74 | (1.88) | 2.8 | PPL | DAY | 726874 | 0.32
06AUG2023 | 28.24 | (2.35) | 2.38 | COMED | BGE | 588816 | 0.26
07AUG2023 | 30.94 | (3.97) | 4.75 | COMED | BGE | 675758 | 0.28
08AUG2023 | 29.54 | (2.00) | 2.76 | OVEC | DAY | 801017 | 0.34
09AUG2023 | 31.14 | (2.92) | 4.14 | PPL | DAY | 790691 | 0.33
10AUG2023 | 39.59 | (4.10) | 5.29 | PPL | DAY | 896849 | 0.38
11AUG2023 | 36.51 | (2.25) | 3.31 | COMED | DAY | 742291 | 0.31
12AUG2023 | 38.76 | (3.68) | 4.12 | COMED | BGE | 935628 | 0.39
13AUG2023 | 36.24 | (3.97) | 4.35 | COMED | DPL | 882490 | 0.37
14AUG2023 | 38.67 | (6.29) | 5.07 | COMED | DPL | 888347 | 0.36
15AUG2023 | 36.08 | (10.36) | 8.48 | COMED | DPL | 1109919 | 0.44
16AUG2023 | 23.75 | (7.00) | 7.04 | COMED | DPL | 891207 | 0.37
17AUG2023 | 26.32 | (2.95) | 2.44 | COMED | BGE | 758034 | 0.31
18AUG2023 | 21.77 | (5.13) | 4.35 | COMED | DPL | 802107 | 0.35
19AUG2023 | 15.38 | (1.17) | 1.3 | PENELEC | BGE | 548847 | 0.27
20AUG2023 | 30.05 | (3.29) | 4.25 | PPL | DAY | 636294 | 0.28
21AUG2023 | 30.46 | (4.25) | 5.09 | PPL | DAY | 813450 | 0.31
22AUG2023 | 28.55 | (2.40) | 3.87 | PPL | DAY | 936440 | 0.37
23AUG2023 | 28.86 | (3.35) | 4.1 | PPL | DAY | 1021317 | 0.42
24AUG2023 | 34.97 | (4.40) | 5.36 | PPL | DAY | 1291203 | 0.5
25AUG2023 | 39.2 | (10.18) | 9.81 | PPL | DAY | 1158346 | 0.45
26AUG2023 | 34.12 | (5.05) | 5.73 | OVEC | BGE | 987561 | 0.41
27AUG2023 | 33.38 | (4.97) | 4.27 | COMED | BGE | 757231 | 0.34
28AUG2023 | 30.32 | (2.69) | 2.95 | COMED | BGE | 661933 | 0.29
29AUG2023 | 25.59 | (1.86) | 2.1 | PPL | DAY | 658617 | 0.28
30AUG2023 | 22.31 | (1.61) | 2 | COMED | BGE | 749635 | 0.32
31AUG2023 | 17.94 | (1.48) | 1.93 | COMED | BGE | 493354 | 0.23

## Monthly Marginal Losses
Monthly Marginal Losses
Click to return to Table of Contents
Date | Loss Credits ($) | Loss Credits ($/MWh)
AUG2021 | 39809569.85 | 0.51
SEP2021 | 28101304.38 | 0.44
OCT2021 | 32529670.98 | 0.56
NOV2021 | 35095332.64 | 0.57
DEC2021 | 24458886.73 | 0.38
JAN2022 | 68104134.85 | 0.89
FEB2022 | 38546557.75 | 0.6
MAR2022 | 25638483.69 | 0.41
APR2022 | 29309509.42 | 0.52
MAY2022 | 48282039.84 | 0.79
JUN2022 | 56294833.57 | 0.83
JUL2022 | 83683325 | 1.08
AUG2022 | 88800028.1 | 1.16
SEP2022 | 54330379.88 | 0.87
OCT2022 | 32917653.86 | 0.57
NOV2022 | 34171012.1 | 0.56
DEC2022 | 81841621.69 | 1.14
JAN2023 | 25887176.02 | 0.38
FEB2023 | 21144569.31 | 0.35
MAR2023 | 18545452.43 | 0.29
APR2023 | 15210425.22 | 0.27
MAY2023 | 16519916.8 | 0.28
JUN2023 | 19165944.57 | 0.31
JUL2023 | 38068632.28 | 0.49
AUG2023 | 25796839.83 | 0.35

## Sychronized Reserve Performance
Sychronized Reserve Performance
Click to return to Table of Contents
Start Time | End Time | Generation Tier 1 Response | Generation Tier 2 Assignment | Generation Tier 2 Response | Generation Zero Response | DSR Tier 1 Response | DSR Tier 2 Assignment | DSR Tier 2 Response | DSR Zero Response
07MAR19:03:05:00 | 07MAR19:03:15:00 | 271.26 | 75.63 | 76.09 | . | 0 | 47.39 | 22.58 | 27.62
23SEP19:16:06:00 | 23SEP19:16:18:00 | 648.01 | 75.84 | 63.89 | 3.2 | 0 | 54.48 | 51.96 | 0.74
01OCT19:18:56:00 | 01OCT19:19:07:00 | 361.41 | 176.93 | 162.4 | 3.12 | 0 | 38.93 | 48.83 | 0.04
18FEB20:11:16:00 | 18FEB20:11:26:00 | 421.44 | 6.67 | 0.28 | . | 0 | . | . | .
06JUL20:21:22:00 | 06JUL20:21:32:00 | 254.4 | 68.97 | 63.81 | 4.67 | 0 | 10.98 | 10.05 | 1.75
25JUL20:16:39:00 | 25JUL20:16:50:00 | 168.72 | 49.13 | 43.02 | . | 0 | 6.29 | 13.09 | 0.11
10SEP20:00:19:00 | 10SEP20:00:29:00 | 223.78 | 92.2 | 41.48 | 6.67 | 0 | 38.24 | 43.63 | 1.17
16DEC20:16:38:00 | 16DEC20:16:48:00 | 185.05 | 79.2 | 77.14 | 9.5 | 0 | 8.74 | 8.86 | .
09MAR21:12:50:00 | 09MAR21:13:01:00 | 303.76 | 109.41 | 61.66 | 10.08 | 0 | 52.66 | 64.75 | 0.92
30APR21:20:30:00 | 30APR21:20:42:00 | 414.24 | 52.9 | 52.7 | . | 0 | 48.76 | 43.21 | 1.58
26MAY21:14:17:00 | 26MAY21:14:27:00 | 545.84 | 73.65 | 64.71 | . | 0 | 42.21 | 47.42 | 0.67
23AUG21:20:44:00 | 23AUG21:21:01:00 | 561.46 | 163.46 | 156.05 | . | 0 | 96.14 | 52.33 | 38.36
12NOV21:22:25:00 | 12NOV21:22:37:00 | 432.47 | 123.6 | 99.82 | 24 | 0 | 54.54 | 74.32 | 0.16
06APR22:15:45:00 | 06APR22:15:55:00 | 303.15 | 161.51 | 112.95 | 47.23 | 0 | 36.2 | 38.6 | 0.03
13APR22:21:25:00 | 13APR22:21:53:00 | 1025.37 | 320.37 | 338.12 | 6.07 | 0 | 89.88 | 86.21 | 4.01
16MAY22:19:32:00 | 16MAY22:19:43:00 | 593.54 | 54.04 | 19.04 | 23.28 | 0 | . | . | .
16MAY22:19:53:00 | 16MAY22:20:03:00 | 572.62 | 103.07 | 45.43 | 10.37 | 0 | . | . | .
23MAY22:21:17:00 | 23MAY22:21:32:00 | 376.89 | 185.53 | 135.17 | . | 0 | 80.01 | 63.96 | 11.9
29OCT22:06:12:00 | 29OCT22:06:24:00 | 189.14 | 333.76 | 96.45 | 180.3 | 0 | 37.82 | 56.12 | 0.06
29NOV22:21:30:00 | 29NOV22:21:47:00 | 461.63 | 482.49 | 327.64 | 119.09 | 0 | 6.77 | 8 | 0.31
23DEC22:15:14:00 | 23DEC22:15:25:00 | 449.04 | 315.59 | 388.12 | 15.88 | 0 | 12.84 | 17.85 | 0.17
23DEC22:21:17:00 | 23DEC22:23:09:00 | 4594.02 | 3027.55 | 1442.9 | 514.08 | 0 | 417.58 | 614.23 | 1.87
24DEC22:05:05:00 | 24DEC22:05:30:00 | 507.6 | 715.38 | 393.03 | 193.84 | 0 | 20.67 | 13.36 | .
24DEC22:07:23:00 | 24DEC22:07:54:00 | 447.29 | 753.56 | 209.99 | 68.2 | 0 | 106.59 | 102.9 | 9.71
24DEC22:09:23:00 | 24DEC22:10:51:00 | 1104.38 | 1435.87 | 226.78 | 275.88 | 87.18 | 173.07 | 210.03 | 2.05
05JAN23:17:43:00 | 05JAN23:17:55:00 | 289.75 | 311.78 | 212.04 | 35.9 | 0 | 30.94 | 34.02 | .
10JAN23:12:06:00 | 10JAN23:12:23:00 | 289.83 | 566.08 | 342.73 | 81.6 | 0 | 104.89 | 89.69 | 20.54
All values are converted into MWHs by multiplying MWs by the event duration

## Shortage Pricing Intervals
Shortage Pricing Intervals
Click to return to Table of Contents
Date | 5-Minute Interval | Reserve Penalty Factors | 5-Minute Interval SMP | Hourly Integrated SMP
. | . - . |  | . | .