## CETL
Data Source: PJM Planning Parameters, Available at: http://www.pjm.com/markets-and-operations/rpm.aspx
Source: Dayton and DEOK excluded because of insufficient CETL data.
|  |  |  | Standard Deviation (CETL Shock) >> | 15.33%
Calculate CETL Shock
LDA | Year | CETL in that Year | CETL Average Across Years in LDA | Absolute Delta of CETL from Average | Percentage Delta
|  | (MW) | (MW) | (MW) | (%)
MAAC | 2007 | n/a | 6257.4 | n/a | n/a
EMAAC | 2007 | 5845 | 8375.8462 | -2530.8462 | -30.22%
SWMAAC | 2007 | 5699 | 7729.8769 | -2030.8769 | -26.27%
PSEG | 2007 | n/a | 6803.2333 | n/a | n/a
PS-North | 2007 | n/a | 3139.1111 | n/a | n/a
DPL-South | 2007 | n/a | 1832.9091 | n/a | n/a
PEPCO | 2007 | n/a | 6290.0375 | n/a | n/a
ATSI | 2007 | n/a | 8351.6333 | n/a | n/a
ATSI-C | 2007 | n/a | 5169.6 | n/a | n/a
COMED | 2007 | n/a | 5367.75 | n/a | n/a
BGE | 2007 | n/a | 6272.925 | n/a | n/a
PL | 2007 | n/a | 5531.5 | n/a | n/a
MAAC | 2008 | n/a | 6257.4 | n/a | n/a
EMAAC | 2008 | 7930 | 8375.8462 | -445.8462 | -5.323%
SWMAAC | 2008 | 5610 | 7729.8769 | -2119.8769 | -27.42%
PSEG | 2008 | n/a | 6803.2333 | n/a | n/a
PS-North | 2008 | n/a | 3139.1111 | n/a | n/a
DPL-South | 2008 | n/a | 1832.9091 | n/a | n/a
PEPCO | 2008 | n/a | 6290.0375 | n/a | n/a
ATSI | 2008 | n/a | 8351.6333 | n/a | n/a
ATSI-C | 2008 | n/a | 5169.6 | n/a | n/a
COMED | 2008 | n/a | 5367.75 | n/a | n/a
BGE | 2008 | n/a | 6272.925 | n/a | n/a
PL | 2008 | n/a | 5531.5 | n/a | n/a
MAAC | 2009 | n/a | 6257.4 | n/a | n/a
EMAAC | 2009 | 8505 | 8375.8462 | 129.1538 | 1.542%
SWMAAC | 2009 | 6391 | 7729.8769 | -1338.8769 | -17.32%
PSEG | 2009 | n/a | 6803.2333 | n/a | n/a
PS-North | 2009 | n/a | 3139.1111 | n/a | n/a
DPL-South | 2009 | n/a | 1832.9091 | n/a | n/a
PEPCO | 2009 | n/a | 6290.0375 | n/a | n/a
ATSI | 2009 | n/a | 8351.6333 | n/a | n/a
ATSI-C | 2009 | n/a | 5169.6 | n/a | n/a
COMED | 2009 | n/a | 5367.75 | n/a | n/a
BGE | 2009 | n/a | 6272.925 | n/a | n/a
PL | 2009 | n/a | 5531.5 | n/a | n/a
MAAC | 2010 | 6645 | 6257.4 | 387.6 | 6.194%
EMAAC | 2010 | n/a | 8375.8462 | n/a | n/a
SWMAAC | 2010 | 6667 | 7729.8769 | -1062.8769 | -13.75%
PSEG | 2010 | n/a | 6803.2333 | n/a | n/a
PS-North | 2010 | n/a | 3139.1111 | n/a | n/a
DPL-South | 2010 | 1447 | 1832.9091 | -385.9091 | -21.05%
PEPCO | 2010 | n/a | 6290.0375 | n/a | n/a
ATSI | 2010 | n/a | 8351.6333 | n/a | n/a
ATSI-C | 2010 | n/a | 5169.6 | n/a | n/a
COMED | 2010 | n/a | 5367.75 | n/a | n/a
BGE | 2010 | n/a | 6272.925 | n/a | n/a
PL | 2010 | n/a | 5531.5 | n/a | n/a
MAAC | 2011 | n/a | 6257.4 | n/a | n/a
EMAAC | 2011 | 8804 | 8375.8462 | 428.1538 | 5.112%
SWMAAC | 2011 | n/a | 7729.8769 | n/a | n/a
PSEG | 2011 | n/a | 6803.2333 | n/a | n/a
PS-North | 2011 | n/a | 3139.1111 | n/a | n/a
DPL-South | 2011 | 1857 | 1832.9091 | 24.0909 | 1.314%
PEPCO | 2011 | n/a | 6290.0375 | n/a | n/a
ATSI | 2011 | n/a | 8351.6333 | n/a | n/a
ATSI-C | 2011 | n/a | 5169.6 | n/a | n/a
COMED | 2011 | n/a | 5367.75 | n/a | n/a
BGE | 2011 | n/a | 6272.925 | n/a | n/a
PL | 2011 | n/a | 5531.5 | n/a | n/a
MAAC | 2012 | 6377 | 6257.4 | 119.6 | 1.911%
EMAAC | 2012 | 9079 | 8375.8462 | 703.1538 | 8.395%
SWMAAC | 2012 | 7400 | 7729.8769 | -329.8769 | -4.268%
PSEG | 2012 | 6356 | 6803.2333 | -447.2333 | -6.574%
PS-North | 2012 | 2755 | 3139.1111 | -384.1111 | -12.24%
DPL-South | 2012 | 1746 | 1832.9091 | -86.9091 | -4.742%
PEPCO | 2012 | n/a | 6290.0375 | n/a | n/a
ATSI | 2012 | n/a | 8351.6333 | n/a | n/a
ATSI-C | 2012 | n/a | 5169.6 | n/a | n/a
COMED | 2012 | n/a | 5367.75 | n/a | n/a
BGE | 2012 | n/a | 6272.925 | n/a | n/a
PL | 2012 | n/a | 5531.5 | n/a | n/a
MAAC | 2013 | 4460 | 6257.4 | -1797.4 | -28.72%
EMAAC | 2013 | 7095 | 8375.8462 | -1280.8462 | -15.29%
SWMAAC | 2013 | 6724.9 | 7729.8769 | -1004.9769 | -13%
PSEG | 2013 | 5868.4 | 6803.2333 | -934.8333 | -13.74%
PS-North | 2013 | 2570 | 3139.1111 | -569.1111 | -18.13%
DPL-South | 2013 | 2123 | 1832.9091 | 290.0909 | 15.83%
PEPCO | 2013 | 4483 | 6290.0375 | -1807.0375 | -28.73%
ATSI | 2013 | n/a | 8351.6333 | n/a | n/a
ATSI-C | 2013 | n/a | 5169.6 | n/a | n/a
COMED | 2013 | n/a | 5367.75 | n/a | n/a
BGE | 2013 | n/a | 6272.925 | n/a | n/a
PL | 2013 | n/a | 5531.5 | n/a | n/a
MAAC | 2014 | 5694 | 6257.4 | -563.4 | -9.004%
EMAAC | 2014 | 8189 | 8375.8462 | -186.8462 | -2.231%
SWMAAC | 2014 | 7718.5 | 7729.8769 | -11.3769 | -0.1472%
PSEG | 2014 | 5720.7 | 6803.2333 | -1082.5333 | -15.91%
PS-North | 2014 | 2372 | 3139.1111 | -767.1111 | -24.44%
DPL-South | 2014 | 1925 | 1832.9091 | 92.0909 | 5.024%
PEPCO | 2014 | 5606.3 | 6290.0375 | -683.7375 | -10.87%
ATSI | 2014 | n/a | 8351.6333 | n/a | n/a
ATSI-C | 2014 | n/a | 5169.6 | n/a | n/a
COMED | 2014 | n/a | 5367.75 | n/a | n/a
BGE | 2014 | n/a | 6272.925 | n/a | n/a
PL | 2014 | n/a | 5531.5 | n/a | n/a
MAAC | 2015 | 6156 | 6257.4 | -101.4 | -1.62%
EMAAC | 2015 | 9177 | 8375.8462 | 801.1538 | 9.565%
SWMAAC | 2015 | 8373 | 7729.8769 | 643.1231 | 8.32%
PSEG | 2015 | 6220 | 6803.2333 | -583.2333 | -8.573%
PS-North | 2015 | 2972 | 3139.1111 | -167.1111 | -5.324%
DPL-South | 2015 | 1822 | 1832.9091 | -10.9091 | -0.5952%
PEPCO | 2015 | 6522 | 6290.0375 | 231.9625 | 3.688%
ATSI | 2015 | 5417.8 | 8351.6333 | -2933.8333 | -35.13%
ATSI-C | 2015 | n/a | 5169.6 | n/a | n/a
COMED | 2015 | n/a | 5367.75 | n/a | n/a
BGE | 2015 | n/a | 6272.925 | n/a | n/a
PL | 2015 | n/a | 5531.5 | n/a | n/a
MAAC | 2016 | 6495 | 6257.4 | 237.6 | 3.797%
EMAAC | 2016 | 8916 | 8375.8462 | 540.1538 | 6.449%
SWMAAC | 2016 | 8786 | 7729.8769 | 1056.1231 | 13.66%
PSEG | 2016 | 6581 | 6803.2333 | -222.2333 | -3.267%
PS-North | 2016 | 2936 | 3139.1111 | -203.1111 | -6.47%
DPL-South | 2016 | 1901 | 1832.9091 | 68.0909 | 3.715%
PEPCO | 2016 | 6846 | 6290.0375 | 555.9625 | 8.839%
ATSI | 2016 | 7881 | 8351.6333 | -470.6333 | -5.635%
ATSI-C | 2016 | 5245 | 5169.6 | 75.4 | 1.459%
COMED | 2016 | n/a | 5367.75 | n/a | n/a
BGE | 2016 | n/a | 6272.925 | n/a | n/a
PL | 2016 | n/a | 5531.5 | n/a | n/a
MAAC | 2017 | 7261 | 6257.4 | 1003.6 | 16.04%
EMAAC | 2017 | 9315 | 8375.8462 | 939.1538 | 11.21%
SWMAAC | 2017 | 8029 | 7729.8769 | 299.1231 | 3.87%
PSEG | 2017 | 6700 | 6803.2333 | -103.2333 | -1.517%
PS-North | 2017 | 2795 | 3139.1111 | -344.1111 | -10.96%
DPL-South | 2017 | 1869 | 1832.9091 | 36.0909 | 1.969%
PEPCO | 2017 | 5208 | 6290.0375 | -1082.0375 | -17.2%
ATSI | 2017 | 8470 | 8351.6333 | 118.3667 | 1.417%
ATSI-C | 2017 | 4940 | 5169.6 | -229.6 | -4.441%
COMED | 2017 | 7020 | 5367.75 | 1652.25 | 30.78%
BGE | 2017 | 6086 | 6272.925 | -186.925 | -2.98%
PL | 2017 | 4336 | 5531.5 | -1195.5 | -21.61%
MAAC | 2018 | 7883 | 6257.4 | 1625.6 | 25.98%
EMAAC | 2018 | 8375 | 8375.8462 | -0.84615 | -0.0101%
SWMAAC | 2018 | 9888 | 7729.8769 | 2158.1231 | 27.92%
PSEG | 2018 | 7926 | 6803.2333 | 1122.7667 | 16.5%
PS-North | 2018 | 3761 | 3139.1111 | 621.8889 | 19.81%
DPL-South | 2018 | 1702 | 1832.9091 | -130.9091 | -7.142%
PEPCO | 2018 | 7045 | 6290.0375 | 754.9625 | 12%
ATSI | 2018 | 9240 | 8351.6333 | 888.3667 | 10.64%
ATSI-C | 2018 | 4557 | 5169.6 | -612.6 | -11.85%
COMED | 2018 | 5227 | 5367.75 | -140.75 | -2.622%
BGE | 2018 | 6527 | 6272.925 | 254.075 | 4.05%
PL | 2018 | 4538 | 5531.5 | -993.5 | -17.96%
MAAC | 2019 | 7385 | 6257.4 | 1127.6 | 18.02%
EMAAC | 2019 | 8856 | 8375.8462 | 480.1538 | 5.733%
SWMAAC | 2019 | 9400 | 7729.8769 | 1670.1231 | 21.61%
PSEG | 2019 | 7856 | 6803.2333 | 1052.7667 | 15.47%
PS-North | 2019 | 3827 | 3139.1111 | 687.8889 | 21.91%
DPL-South | 2019 | 1898 | 1832.9091 | 65.0909 | 3.551%
PEPCO | 2019 | 6985 | 6290.0375 | 694.9625 | 11.05%
ATSI | 2019 | 9212 | 8351.6333 | 860.3667 | 10.3%
ATSI-C | 2019 | 5501 | 5169.6 | 331.4 | 6.411%
COMED | 2019 | 5160 | 5367.75 | -207.75 | -3.87%
BGE | 2019 | 6234.7 | 6272.925 | -38.225 | -0.6094%
PL | 2019 | 6168 | 5531.5 | 636.5 | 11.51%
MAAC | 2020 | 4218 | 6257.4 | -2039.4 | -32.59%
EMAAC | 2020 | 8800 | 8375.8462 | 424.1538 | 5.064%
SWMAAC | 2020 | 9802 | 7729.8769 | 2072.1231 | 26.81%
PSEG | 2020 | 8001 | 6803.2333 | 1197.7667 | 17.61%
PS-North | 2020 | 4264 | 3139.1111 | 1124.8889 | 35.83%
DPL-South | 2020 | 1872 | 1832.9091 | 39.0909 | 2.133%
PEPCO | 2020 | 7625 | 6290.0375 | 1334.9625 | 21.22%
ATSI | 2020 | 9889 | 8351.6333 | 1537.3667 | 18.41%
ATSI-C | 2020 | 5605 | 5169.6 | 435.4 | 8.422%
COMED | 2020 | 4064 | 5367.75 | -1303.75 | -24.29%
BGE | 2020 | 6244 | 6272.925 | -28.925 | -0.4611%
PL | 2020 | 7084 | 5531.5 | 1552.5 | 28.07%

## BLS Index Shock
Average BLS Index> |  |  | 0.84589
Standard Deviation of Residuals> |  |  | 0.025031
Gross CONE Shock> |  |  | 2.959%
BLS Index Shocks
| BLS Index | Line Estimates | Residuals from Linear Estimate | error bars
2001 | 0.64651 | 0.64422 | 0.00229 | 0.0014753
2002 | 0.65504 | 0.66943 | -0.014386 | -0.0096307
2003 | 0.6687 | 0.69463 | -0.025934 | -0.018015
2004 | 0.70105 | 0.71984 | -0.018796 | -0.01353
2005 | 0.73027 | 0.74505 | -0.014779 | -0.011011
2006 | 0.76736 | 0.77026 | -0.0029027 | -0.0022358
2007 | 0.79486 | 0.79547 | -0.00060844 | -0.00048399
2008 | 0.85449 | 0.82068 | 0.033814 | 0.02775
2009 | 0.9037 | 0.84589 | 0.057811 | 0.048901
2010 | 0.87849 | 0.87109 | 0.0073997 | 0.0064458
2011 | 0.90431 | 0.8963 | 0.0080118 | 0.007181
2012 | 0.92741 | 0.92151 | 0.0058971 | 0.0054343
2013 | 0.96438 | 0.94672 | 0.017662 | 0.016721
2014 | 0.99266 | 0.97193 | 0.020734 | 0.020152
2015 | 0.99872 | 0.99714 | 0.0015796 | 0.0015751
2016 | 0.99211 | 1.0223 | -0.030238 | -0.030914
2017 | 1 | 1.0476 | -0.047554 | -0.049816
Note: BLS index constructed using OH Annual Wages, Turbine and Generator Sets, and Materials and Components for Construction data from BLS according to PJM parameters.
Index value for 2015 = 1.00
Linear | Slope | Intercept
Coefficients | 0.025209 | -49.7982

## E&AS
Notes:
Starting point was PJM confidential data on zonal E&AS estimates for a CC.
Fitted a linear trend across years (one for each zone), and calculated the residual as a % of estimated value.
CC Residuals: % Difference from Linear Trend in CC Energy Margins Across Years
| Zone | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016
|  | (%) | (%) | (%) | (%) | (%) | (%) | (%) | (%) | (%) | (%) | (%) | (%) | (%) | (%)
| AECO | 38.93% | 40.27% | -14.82% | -19.41% | 11.75% | -89.83% | 59.09% | -50.8% | -45.02% | 12.68% | 39.44% | -54.32% | 36.49% | 35.54%
| DPL | 6.33% | 24.15% | -10.19% | -7.553% | 17.67% | -51.11% | 54.92% | -37.03% | -20.47% | 5.488% | 46.37% | -94.01% | 32.39% | 33.04%
| JCPL | 26.25% | 6.757% | -10.6% | 18.91% | 9.192% | -59.85% | 24.87% | -26.4% | -26.06% | 8.604% | 20.15% | -40.54% | 2.063% | 46.66%
| PECO | 12.82% | 27.85% | -21.31% | 3.64% | 21.06% | -38.53% | 23.46% | -31.93% | -36.06% | 1.75% | 32.61% | -40.89% | 0.4133% | 45.11%
| PSEG | 32.88% | -1.383% | -13.82% | 11.41% | 26.75% | -50.96% | 25.36% | -36.4% | -25.4% | -0.03948% | 14.5% | -54.11% | 26.71% | 44.49%
| RECO | 22.01% | 10% | -9.501% | 4.143% | 17.71% | -48.69% | 27.74% | -33.21% | -8.493% | 3.217% | 5.03% | -58.9% | 24.47% | 44.47%
| BGE | 11.58% | 13.37% | -13.12% | -7.64% | 18.1% | -47.92% | 26.86% | -22.67% | -2.456% | 13.64% | 38.31% | -40.56% | 2.035% | 10.46%
| PEPCO | 21.95% | 20.37% | -16.44% | -14.45% | 17.79% | -54.11% | 24.4% | -25.73% | -1.384% | 10.76% | 30.91% | -42.42% | 7.852% | 20.5%
| AEP |  |  | -13.02% | -0.8406% | 10.64% | 8.051% | 23.71% | 4.558% | -22.7% | -16.64% | 32.78% | -52.69% | -14.79% | 40.94%
| APS | -3.604% | 12.88% | -9.897% | 5.956% | 27.04% | -14.6% | 13.04% | -25.16% | -25.84% | 1.896% | 35.4% | -46.36% | -17.09% | 46.34%
| ATSI | 2012: 4.894%; 2013: 22.93%; 2014: -39.05%; 2015: -10.26%; 2016: 21.49%
| COMED |  | 13.94% | -16.48% | -11.02% | 1.729% | -9.042% | 34.95% | 4.483% | -5.084% | -28.92% | 34.32% | -22.76% | -6.89% | 10.78%
| DAY |  |  | -12.38% | -0.2086% | 8.13% | 6.091% | 27.67% | 7.508% | -20.25% | -22.28% | 30.94% | -55.3% | -14.21% | 44.29%
| DEOK | 2012: -3.461%; 2013: 30.75%; 2014: -30.52%; 2015: -17.38%; 2016: 20.6%
| DUQ |  |  | -8.202% | 5.683% | 15.16% | 7.151% | 24.37% | -12.26% | -33.22% | -26.22% | 31.61% | -36.53% | -8.121% | 40.57%
| METED | 14.52% | 29.98% | -18.39% | -6.281% | 18.27% | -41.59% | 24.6% | -32.22% | -23.84% | 3.55% | 28.34% | -37.47% | 0.9196% | 39.61%
| PENELEC | -17.14% | -5.238% | -28.54% | 15.75% | 27.27% | 1.527% | 31.76% | 4.003% | -1.835% | 17.07% | 31.72% | -89% | -38.21% | 50.85%
| PPL | 9.958% | 31.99% | -20.24% | -1.064% | 15.48% | -38.54% | 23.82% | -24.62% | -29.99% | 5.338% | 29.29% | -43.32% | -2.683% | 44.59%
| DOM |  |  | 20.82% | 1.992% | 21.79% | -38.55% | 17.93% | -39.15% | -16.08% | -1.058% | 23.67% | -4.693% | -4.29% | 17.62%
| RTO | 2009: 24.14%; 2010: -15.06%; 2011: -14.4%; 2012: -5.03%; 2013: 26.07%; 2014: -29.92%; 2015: -4.877%; 2016: 19.08%
[14 empty] | Standard Deviation of % Residuals (E&AS Shock) > | 28.39%

## Rel Req
Data Source: PJM Planning Parameters, Available at: http://www.pjm.com/markets-and-operations/rpm.aspx
| Reliability Requirement - Historical | [16 empty] | Reliability Requirement - Spline Fitted Time Trend | [15 empty] | Difference from Spline Fitted Time Trend (MW) | [16 empty] | Percent Difference from Spline Fitted Time Trend (%) | [16 empty] | Percent Difference from Spline Fitted Time Trend Incremental to Parent (%) | [15 empty] | Fluctuations
| Delivery Year> | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | Average | Average as % of RTO | Delivery Year> | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | Average | Delivery Year> | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | Average | StDev | Delivery Year> | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | StDev | Parent | Delivery Year> | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | StDev |  | Average Size (% of RTO) | Fluctuation Incremental to RTO | Modeled Fluctuation Incremental to Parent | Modeled Fluctuation Incremental to RTO
| RTO | 148277.3 | 150934.6 | 153480.1 | 156636.8386 | 154251.1 | 157488.5 | 173549 | 178086.5 | 177184.1 | 180332.2 | 179545.0581 | 174896.8 | 171036.8 | 167644.2 | 165953.0783 | 100% | RTO | 149133.0073 | 150235.0653 | 151841.4049 | 154459.557 | 158362.3503 | 163405.0778 | 169002.6446 | 174257.4488 | 178194.2042 | 180031.4783 | 179408.8495 | 176495.9874 | 171933.0218 | 166582.9996 | 165953.0783 | RTO | 855.7073 | -699.5347 | -1638.6951 | -2177.2816 | 4111.2503 | 5916.5778 | -4546.3554 | -3829.0512 | 1010.1042 | -300.7217 | -136.2086 | 1599.1874 | 896.2218 | -1061.2004 | 2.1428e-06 | 2794.2629 | RTO | 0.5738% | -0.4656% | -1.079% | -1.41% | 2.596% | 3.621% | -2.69% | -2.197% | 0.5669% | -0.167% | -0.07592% | 0.9061% | 0.5213% | -0.637% | 1.698% | RTO | RTO | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | RTO | 100% | 1e-06% | 1.132e-05% | 0%
| MAAC | 68506.8651 | 69611.2272 | 70796.654 | 70339.4 | 73059.4213 | 72125 | 73142 | 72187 | 71623 | 72299 | 71534 | 69853.6 | 67662 | 66385 | 70651.7263 | 39.6% | MAAC | 68693.1378 | 69574.5716 | 70432.7463 | 71232.6545 | 71926.6637 | 72456.7646 | 72759.5446 | 72775.0913 | 72458.9497 | 71794.4992 | 70802.0545 | 69540.7625 | 68099.8701 | 66576.8572 | 70651.7263 | MAAC | 186.2727 | -36.6555 | -363.9078 | 893.2545 | -1132.7576 | 331.7646 | -382.4554 | 588.0913 | 835.9497 | -504.5008 | -731.9455 | -312.8375 | 437.8701 | 191.8572 | 4.3158e-07 | 599.1782 | MAAC | 0.2712% | -0.05269% | -0.5167% | 1.254% | -1.575% | 0.4579% | -0.5256% | 0.8081% | 1.154% | -0.7027% | -1.034% | -0.4499% | 0.643% | 0.2882% | 0.8379% | RTO | MAAC | -0.3026% | 0.4129% | 0.5625% | 2.664% | -4.171% | -3.163% | 2.164% | 3.005% | 0.5868% | -0.5357% | -0.9579% | -1.356% | 0.1217% | 0.9252% | 2.02% | MAAC | 42.57% | 2.02% | 0.02377% | 0.02377%
| EMAAC | 37236.7 | 37890.7 | 38605.2 | 39870.9038 | 40854.0512 | 40145 | 40398 | 39995 | 39370 | 39694 | 39371 | 38535.2 | 37633 | 36921 | 39037.1254 | 22.02% | EMAAC | 37196.2802 | 38083.0983 | 38910.2565 | 39608.0112 | 40114.7729 | 40393.5658 | 40438.008 | 40269.5621 | 39928.8122 | 39464.164 | 38921.3443 | 38336.2904 | 37732.6012 | 37122.9878 | 39037.1254 | EMAAC | -40.4198 | 192.3983 | 305.0565 | -262.8926 | -739.2783 | 248.5658 | 40.008 | 274.5621 | 558.8122 | -229.836 | -449.6557 | -198.9096 | 99.6012 | 201.9878 | 3.1298e-08 | 344.5952 | EMAAC | -0.1087% | 0.5052% | 0.784% | -0.6637% | -1.843% | 0.6154% | 0.09894% | 0.6818% | 1.4% | -0.5824% | -1.155% | -0.5189% | 0.264% | 0.5441% | 0.87% | MAAC | EMAAC | -0.3798% | 0.5579% | 1.301% | -1.918% | -0.268% | 0.1575% | 0.6246% | -0.1263% | 0.2458% | 0.1203% | -0.1215% | -0.06899% | -0.379% | 0.2559% | 0.7142% | EMAAC | 23.52% | 0.7142% | 0.2202% | 0.2215%
| SWMAAC | 16075.3 | 16561.9 | 16840.3 | 16985.5 | 17279.8488 | 17220 | 17899 | 17358 | 17238 | 17316 | 16935 | 16211.6 | 15883 | 15486 | 16806.3892 | 9.237% | SWMAAC | 16161.0286 | 16473.9049 | 16775.3049 | 17049.6026 | 17278.2724 | 17441.8767 | 17521.9633 | 17503.3566 | 17376.8219 | 17141.6363 | 16807.299 | 16393.4841 | 15927.3618 | 15437.5358 | 16806.3892 | SWMAAC | 85.7286 | -87.9951 | -64.9951 | 64.1026 | -1.5764 | 221.8767 | -377.0367 | 145.3566 | 138.8219 | -174.3637 | -127.701 | 181.8841 | 44.3618 | -48.4642 | 1.7991e-07 | 161.5605 | SWMAAC | 0.5305% | -0.5341% | -0.3874% | 0.376% | -0.009124% | 1.272% | -2.152% | 0.8304% | 0.7989% | -1.017% | -0.7598% | 1.109% | 0.2785% | -0.3139% | 0.9386% | MAAC | SWMAAC | 0.2593% | -0.4815% | 0.1292% | -0.878% | 1.566% | 0.8142% | -1.626% | 0.02236% | -0.3548% | -0.3145% | 0.274% | 1.559% | -0.3645% | -0.6021% | 0.8802% | SWMAAC | 10.13% | 0.8802% | 1.112% | 1.112%
| PSEG | 12687.2165 | 12863.2424 | 13065.9756 | 13278.4207 | 13484.7958 | 13439 | 13401 | 13099 | 12824 | 12870 | 12759 | 12416.1 | 12174 | 11797 | 12868.4822 | 7.037% | PSEG | 12677.1135 | 12904.3651 | 13111.112 | 13273.6024 | 13371.3294 | 13392.8044 | 13337.5385 | 13214.8188 | 13040.2803 | 12831.5528 | 12604.2827 | 12369.5585 | 12133.2514 | 11897.1412 | 12868.4822 | PSEG | -10.103 | 41.1227 | 45.1364 | -4.8182 | -113.4664 | -46.1956 | -63.4615 | 115.8188 | 216.2803 | -38.4472 | -154.7173 | -46.5415 | -40.7486 | 100.1412 | -4.3785e-07 | 97.0136 | PSEG | -0.07969% | 0.3187% | 0.3443% | -0.0363% | -0.8486% | -0.3449% | -0.4758% | 0.8764% | 1.659% | -0.2996% | -1.227% | -0.3763% | -0.3358% | 0.8417% | 0.753% | EMAAC | PSEG | 0.02897% | -0.1865% | -0.4397% | 0.6274% | 0.9943% | -0.9603% | -0.5747% | 0.1946% | 0.259% | 0.2828% | -0.0722% | 0.1426% | -0.5998% | 0.2976% | 0.5206% | PSEG | 7.754% | 0.5206% | 1.469% | 1.486%
| PS-N | - | - | - | 6414.4924 | - | 6324 | 6347 | 6211 | 6462 | 6440 | 6465 | 6379.1 | 6375 | 6023 | 6344.0592 | 3.593% | PS-N | - | - | - | 6416.6127 | - | 6306.6922 | 6303.9547 | 6343.551 | 6404.5299 | 6451.7706 | 6451.4586 | 6386.5259 | 6264.3104 | 6111.1863 | 6344.0592 | PS-N | - | - | - | 2.1203 | - | -17.3078 | -43.0453 | 132.551 | -57.4701 | 11.7706 | -13.5414 | 7.4259 | -110.6896 | 88.1863 | 3.4424e-08 | 69.4707 | PS-N | - | - | - | 0.03304% | - | -0.2744% | -0.6828% | 2.09% | -0.8973% | 0.1824% | -0.2099% | 0.1163% | -1.767% | 1.443% | 1.106% | PSEG | PS-N | - | - | - | 0.06934% | - | 0.07049% | -0.207% | 1.213% | -2.556% | 0.4821% | 1.018% | 0.4925% | -1.431% | 0.6013% | 1.153% | PS-N | 3.823% | 1.153% | 2.273% | 2.716%
| DPL-S | - | - | - | 3049.4 | - | 3035 | 2996 | 3018 | 3062 | 3160 | 3215 | 3149.7 | 3060 | 2999 | 3074.41 | 1.789% | DPL-S | - | - | - | 3061.8097 | - | 2994.4394 | 3000.8845 | 3040.6117 | 3098.9391 | 3150.5601 | 3170.7491 | 3146.5835 | 3082.5755 | 2996.9473 | 3074.41 | DPL-S | - | - | - | 12.4097 | - | -40.5606 | 4.8845 | 22.6117 | 36.9391 | -9.4399 | -44.2509 | -3.1165 | 22.5755 | -2.0527 | -9.5497e-13 | 26.3937 | DPL-S | - | - | - | 0.4053% | - | -1.355% | 0.1628% | 0.7437% | 1.192% | -0.2996% | -1.396% | -0.09904% | 0.7324% | -0.06849% | 0.8555% | EMAAC | DPL-S | - | - | - | 1.069% | - | -1.97% | 0.06383% | 0.06185% | -0.2075% | 0.2828% | -0.2403% | 0.4198% | 0.4684% | -0.6126% | 0.8123% | DPL-S | 1.853% | 0.8123% | 2.856% | 2.865%
| PEPCO | 8725.5861 | 8901.2604 | 9035.5995 | 9168.647 | 9140.2291 | 9020.0989 | 9442 | 8951 | 8973 | 9012 | 8715 | 8181.2 | 8074 | 7978 | 8808.4015 | 4.759% | PEPCO | 8774.1789 | 8896.1437 | 9009.7541 | 9104.5143 | 9169.5956 | 9195.7521 | 9176.4048 | 9108.1875 | 8991.1585 | 8828.7841 | 8627.6997 | 8397.1496 | 8147.9082 | 7890.3896 | 8808.4015 | PEPCO | 48.5928 | -5.1167 | -25.8454 | -64.1326 | 29.3666 | 175.6532 | -265.5952 | 157.1875 | 18.1585 | -183.2159 | -87.3003 | 215.9496 | 73.9082 | -87.6104 | -1.4586e-08 | 134.572 | PEPCO | 0.5538% | -0.05752% | -0.2869% | -0.7044% | 0.3203% | 1.91% | -2.894% | 1.726% | 0.202% | -2.075% | -1.012% | 2.572% | 0.9071% | -1.11% | 1.52% | SWMAAC | PEPCO | 0.02335% | 0.4766% | 0.1006% | -1.08% | 0.3294% | 0.6381% | -0.7425% | 0.8953% | -0.5969% | -1.058% | -0.2521% | 1.462% | 0.6286% | -0.7964% | 0.7835% | PEPCO | 5.308% | 0.7835% | 1.961% | 2.254%
| ATSI | - | - | - | - | - | - | 16490.204 | 16709.8431 | 16201 | 16255 | 16009 | 16048.1 | 15742 | 15610 | 16133.1434 | 9.311% | ATSI | - | - | - | - | - | - | 16620.865 | 16481.5165 | 16342.1678 | 16202.8188 | 16063.4695 | 15924.1198 | 15784.7699 | 15645.4197 | 16133.1434 | ATSI | - | - | - | - | - | - | 130.661 | -228.3266 | 141.1678 | -52.1812 | 54.4695 | -123.9802 | 42.7699 | 35.4197 | -3.7049e-07 | 127.2109 | ATSI | - | - | - | - | - | - | 0.7861% | -1.385% | 0.8638% | -0.322% | 0.3391% | -0.7786% | 0.271% | 0.2264% | 0.7776% | RTO | ATSI | - | - | - | - | - | - | 3.476% | 0.812% | 0.297% | -0.155% | 0.415% | -1.685% | -0.2503% | 0.8634% | 1.459% | ATSI | 9.722% | 1.459% | 1.102% | 1.102%
| ATSI-C | - | - | - | - | - | - | - | - | - | 6164 | 6250 | 6029.7 | 5979 | 5865 | 6057.54 | 3.498% | ATSI-C | - | - | - | - | - | - | - | - | - | 6231.3384 | 6144.441 | 6057.5416 | 5970.6404 | 5883.7387 | 6057.54 | ATSI-C | - | - | - | - | - | - | - | - | - | 67.3384 | -105.559 | 27.8416 | -8.3596 | 18.7387 | -3.8199e-12 | 64.9487 | ATSI-C | - | - | - | - | - | - | - | - | - | 1.081% | -1.718% | 0.4596% | -0.14% | 0.3185% | 1.055% | ATSI | ATSI-C | - | - | - | - | - | - | - | - | - | 1.403% | -2.057% | 1.238% | -0.411% | 0.09209% | 1.405% | ATSI-C | 3.65% | 1.405% | 2.3% | 2.55%
| COMED | 27139.7856 | 27898.2828 | 28552.9599 | 29145.7114 | 29484.8976 | 29146.5664 | 29482.4548 | 28885.1841 | 28780.1426 | 28708.0793 | 28991 | 28045.8 | 26509 | 26224 | 28356.7046 | 15.64% | COMED | 27404.6608 | 27925.1495 | 28417.6073 | 28847.2155 | 29178.8423 | 29383.6827 | 29442.7615 | 29348.2572 | 29103.431 | 28721.7189 | 28225.2576 | 27642.7686 | 27006.331 | 26346.1805 | 28356.7046 | COMED | 264.8752 | 26.8667 | -135.3526 | -298.4959 | -306.0553 | 237.1163 | -39.6933 | 463.0731 | 323.2884 | 13.6396 | -765.7424 | -403.0314 | 497.331 | 122.1805 | 1.8446e-07 | 357.3374 | COMED | 0.9665% | 0.09621% | -0.4763% | -1.035% | -1.049% | 0.807% | -0.1348% | 1.578% | 1.111% | 0.04749% | -2.713% | -1.458% | 1.842% | 0.4638% | 1.266% | RTO | COMED | 0.3927% | 0.5618% | 0.6029% | 0.3749% | -3.645% | -2.814% | 2.555% | 3.775% | 0.544% | 0.2145% | -2.637% | -2.364% | 1.32% | 1.101% | 2.127% | COMED | 17.09% | 2.127% | 0.4941% | 0.4941%
| BGE | 8676.2354 | 8799.0935 | 8936.6945 | 9077.9812 | 9026.3808 | 9189.782 | 9363.0119 | 9097.6385 | 8966.1804 | 8953.8946 | 8701 | 8706.7 | 8401 | 8132 | 8859.1138 | 4.851% | BGE | 8673.461 | 8809.8878 | 8938.3394 | 9048.8767 | 9131.4048 | 9177.5448 | 9181.6415 | 9141.1821 | 9056.8408 | 8932.2907 | 8773.8404 | 8589.8518 | 8389.7885 | 8182.6426 | 8859.1138 | BGE | -2.7744 | 10.7943 | 1.645 | -29.1045 | 105.024 | -12.2373 | -181.3704 | 43.5436 | 90.6604 | -21.6039 | 72.8404 | -116.8482 | -11.2115 | 50.6426 | -2.8519e-08 | 77.1017 | BGE | -0.03199% | 0.1225% | 0.0184% | -0.3216% | 1.15% | -0.1333% | -1.975% | 0.4763% | 1.001% | -0.2419% | 0.8302% | -1.36% | -0.1336% | 0.6189% | 0.8589% | SWMAAC | BGE | -0.5625% | 0.6567% | 0.4058% | -0.6976% | 1.159% | -1.405% | 0.1764% | -0.3541% | 0.2021% | 0.7753% | 1.59% | -2.47% | -0.4122% | 0.9328% | 1.081% | BGE | 5.338% | 1.081% | 1.938% | 2.235%
| PPL | 10105.1558 | 10260.8156 | 10426.3811 | 10599.0221 | 10686.7576 | 10468.8338 | 10792.8894 | 10732.0405 | 10732.0405 | 10727.7952 | 10813 | 10040.1 | 10565 | 9829 | 10484.2023 | 5.863% | PPL | 10165.4421 | 10282.7588 | 10397.9833 | 10507.6017 | 10606.2268 | 10686.6055 | 10740.19 | 10758.4037 | 10734.4341 | 10665.1294 | 10552.433 | 10403.7724 | 10230.9119 | 10046.939 | 10484.2023 | PPL | 60.2863 | 21.9432 | -28.3978 | -91.4204 | -80.5309 | 217.7717 | -52.6994 | 26.3632 | 2.3935 | -62.6659 | -260.567 | 363.6724 | -334.0881 | 217.939 | -6.5803e-07 | 182.6851 | PPL | 0.5931% | 0.2134% | -0.2731% | -0.87% | -0.7593% | 2.038% | -0.4907% | 0.245% | 0.0223% | -0.5876% | -2.469% | 3.496% | -3.265% | 2.169% | 1.76% | MAAC | PPL | 0.3219% | 0.2661% | 0.2436% | -2.124% | 0.8156% | 1.58% | 0.03497% | -0.563% | -1.131% | 0.1151% | -1.435% | 3.945% | -3.908% | 1.881% | 1.88% | PPL | 6.318% | 1.88% | 1.705% | 1.705%
| DAYTON | 4111.0735 | 4171.9964 | 4230.4823 | 4291.4051 | 4319.4297 | 4321.8666 | 4290.1867 | 4342.5803 | 4262.1622 | 4332.8327 | 4268.2545 | 4271.9098 | 4074.5198 | 4027 | 4236.8357 | 2.402% | DAYTON | 4132.746 | 4177.2837 | 4220.5646 | 4260.7611 | 4295.4926 | 4321.9815 | 4337.3001 | 4338.7699 | 4324.4824 | 4293.8299 | 4247.8899 | 4189.4889 | 4122.794 | 4052.3151 | 4236.8357 | DAYTON | 21.6725 | 5.2873 | -9.9177 | -30.6441 | -23.9371 | 0.11492 | 47.1134 | -3.8104 | 62.3202 | -39.0028 | -20.3645 | -82.4209 | 48.2742 | 25.3151 | 1.327e-07 | 39.151 | DAYTON | 0.5244% | 0.1266% | -0.235% | -0.7192% | -0.5573% | 0.002659% | 1.086% | -0.08782% | 1.441% | -0.9083% | -0.4794% | -1.967% | 1.171% | 0.6247% | 0.9251% | RTO | DAYTON | -0.04938% | 0.5922% | 0.8442% | 0.6904% | -3.153% | -3.618% | 3.776% | 2.11% | 0.8742% | -0.7413% | -0.4035% | -2.873% | 0.6496% | 1.262% | 2.058% | DAYTON | 2.553% | 2.058% | 2.643% | 2.643%
| DEOK | - | - | - | - | - | - | - | 8177.9899 | 7951.9933 | 7821.7294 | 7766.7041 | 7615.1039 | 7543.5149 | 7500 | 7768.1479 | 4.474% | DEOK | - | - | - | - | - | - | - | 8147.5024 | 7986.3414 | 7842.6148 | 7725.9337 | 7633.6968 | 7556.2829 | 7484.6634 | 7768.1479 | DEOK | - | - | - | - | - | - | - | -30.4875 | 34.3481 | 20.8855 | -40.7704 | 18.5929 | 12.768 | -15.3366 | -5.5102e-08 | 28.7276 | DEOK | - | - | - | - | - | - | - | -0.3742% | 0.4301% | 0.2663% | -0.5277% | 0.2436% | 0.169% | -0.2049% | 0.3661% | RTO | DEOK | - | - | - | - | - | - | - | 1.823% | -0.1368% | 0.4333% | -0.4518% | -0.6625% | -0.3523% | 0.4321% | 0.8481% | DEOK | 4.681% | 0.8481% | 2.033% | 2.033%
Exponential Fit
[85 empty] | a | 0.035827
[85 empty] | b | -12.6651

## Supply
Supply Shocks
[24 empty] | a | -6.175e-06
[24 empty] | b | 0.051638
|  |  |  | Total Supply Offered by Delivery Year | [11 empty] | Standard Deviation of Historical Fluctuations | [8 empty] | St. Dev of Fluctuations
|  |  |  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | Total Offers | Annual Change in Offer | Diff. from Trend | Diff. from Spline |  | Total Offers | Annual Change in Offer | Diff. from Trend | Diff. from Spline | Model Input Value | Model Output in 1,000 Draws
|  |  |  | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) |  | (%) | (%) | (%) | (%) | (MW) | (MW)
[16 empty] | 1 | 2 | 3 | 4 |  | 5 | 6 | 7 | 8 | 9 | 10
RTO Including Subzones
163475.8417 | Total Offered (No Adjustments) |  |  | 133551 | 133092.7 | 137720.3 | 145373.3 | 160898.1 | 160486.3 | 178587.7 | 184380 | 178838.5 | 179891.2 | 185539.5 | 183351.5 | 21058.2259 | 7250.0888 | 7158.9193 | 5349.7598 |  | 12.88% | 4.435% | 4.379% | 3.273% | 3051.7063 | 2987.6642
152647.2833 | Adjust for Expansions Only |  | [A] | 133551 | 133092.7 | 137720.3 | 145373.3 | 147499.2 | 147743.1 | 163693.8 | 165620.1 | 161237 | 163298 | 167567.7 | 165371.2 | 13264.3973 | 5453.2012 | 4527.4739 | 3722.6499 |  | 8.69% | 3.572% | 2.966% | 2.439% | - | -
182621.4231 | Adjust for FRR Only |  | [B] | 156484.0743 | 156899.6506 | 161312.7 | 169129.4898 | 184458.4 | 190249.7 | 192994.4 | 198584.7 | 191039.0632 | 194180.6 | 199483.9 | 196640.4 | 16760.8867 | 5869.1744 | 6952.7641 | 4129.2971 |  | 9.178% | 3.214% | 3.807% | 2.261% | - | -
170814.3554 | Adjust for Expansions and FRR |  | [C] | 156484.0743 | 156899.6506 | 161312.7 | 169129.4898 | 171059.5 | 171493.4626 | 177120.5868 | 178814.0722 | 172592.9292 | 176612.6844 | 180567.7405 | 177685.3744 | 8396.4542 | 3964.1387 | 3656.9896 | 2336.0278 |  | 4.916% | 2.321% | 2.141% | 1.368% | - | -
Parent LDAs Including Sub-LDAs
69959.0833 | MAAC |  |  | 63425.6 | 63819.8 | 65373.2 | 68295.5 | 68338 | 70885.4 | 74260.5 | 71608.3 | 72351.3 | 73545.7 | 74633 | 72972.7 | 4027.1467 | 1834.5614 | 1604.0211 | 1073.7219 |  | 5.756% | 2.622% | 2.293% | 1.535% | 2401.2157 | 2355.8884
33190.4667 | EMAAC |  |  | 31639.1 | 31075.1 | 31876.4 | 32982.5 | 33007.4 | 34519.6 | 37226.4 | 34139.9 | 33706 | 33840 | 33228.2 | 31045 | 1730.3165 | 1632.1474 | 1668.6698 | 1023.8025 |  | 5.213% | 4.918% | 5.028% | 3.085% | 1323.438 | 1338.4698
12173.5167 | SWMAAC |  |  | 10311.7 | 10928.2 | 11651.1 | 12395.8 | 11768.2 | 12457.8 | 12721.9 | 12386 | 12645 | 12621.2 | 13299.9 | 12895.4 | 860.3936 | 509.3407 | 411.8773 | 311.098 |  | 7.068% | 4.184% | 3.383% | 2.556% | 614.9222 | 622.0394
12174.25 | ATSI |  |  | n/a | n/a | n/a | n/a | 13335 | 12679.4 | 11777.1 | 12791.3 | 12172.6 | 11085.7 | 11847.7 | 11705.2 | 722.3555 | 822.4137 | 488.1297 | 488.1225 |  | 5.933% | 6.755% | 4.01% | 4.009% | 562.2844 | 569.3021
7272.55 | PSEG |  |  | 6994.6 | 7243.9 | 7427 | 7460.5 | 8064.1 | 8214.6 | 8964.1 | 6795.9 | 6833.1 | 6939.3 | 6634 | 5699.5 | 848.8606 | 810.7591 | 764.028 | 470.8706 |  | 11.67% | 11.15% | 10.51% | 6.475% | 284.1319 | 294.6073
| Average LDA Fluctuation | [14 empty] | 1637.8146 | 1121.8445 | 987.3452 | 673.5231 |  | 7.129% | 5.925% | 5.044% | 3.532% | 1037.1984 | 1036.0614
Smallest LDAs
5915.925 | PEPCO |  |  | 5063.9 | 5497.5 | 5670.3 | 5381.5 | 5288.9 | 5875.2 | 6235.1 | 6126.1 | 6133.7 | 5991.2 | 6786.6 | 6941.1 | 576.0353 | 339.3447 | 250.9113 | 250.8965 |  | 9.737% | 5.736% | 4.241% | 4.241% | 343.3854 | 335.8159
3874.45 | PS-North |  |  | 3428.9 | 3525.8 | 3664.5 | 3745.3 | 4154.9 | 4150.5 | 4911.8 | 4161.7 | 4019.1 | 3645.3 | 3726.5 | 3359.1 | 432.2459 | 405.7548 | 430.5269 | 233.443 |  | 11.16% | 10.47% | 11.11% | 6.025% | 169.8958 | 169.8735
2401.2125 | ATSI-Cleveland |  |  | n/a | n/a | n/a | n/a | 2232.2 | 2341.2 | 1656.5 | 2874.3 | 2561 | 2590.4 | 2486.7 | 2467.4 | 355.2842 | 586.7959 | 325.7655 | 325.7643 |  | 14.8% | 24.44% | 13.57% | 13.57% | 125.4846 | 125.6671
1633.65 | DPL-South |  |  | 1505.1 | 1546.1 | 1460.3 | 1498.9 | 1612.4 | 1600.4 | 1767.7 | 1766.7 | 1686.4 | 1748.2 | 1723.7 | 1687.9 | 111.43 | 77.8849 | 64.7723 | 60.4955 |  | 6.821% | 4.768% | 3.965% | 3.703% | 86.2558 | 84.8242
4323.0417 | BGE |  |  | 3538.4 | 3721.3 | 4271.4 | 5309.8 | 4770.5 | 4919.1 | 4791.9 | 4578.2 | 4107 | 4224.9 | 4100.7 | 3543.3 | 564.7438 | 484.8875 | 562.9425 | 281.2046 |  | 13.06% | 11.22% | 13.02% | 6.505% | 179.0085 | 184.1872
26063.625 | ComEd |  |  | 24585.3 | 24139.1 | 24634.5 | 25647.2 | 26747.7 | 25945.3 | 27412.2 | 26649.8 | 26701.3 | 26275.6 | 26588.7 | 27436.8 | 1102.1525 | 794.9883 | 637.0046 | 521.8466 |  | 4.229% | 3.05% | 2.444% | 2.002% | 1195.9743 | 1203.9753
3160.7917 | Dayton |  |  | 2336.6 | 2335.2 | 2439.3 | 2742 | 2691.8 | 2599.3 | 4437.9 | 4376.2 | 4130 | 4145.2 | 4026.8 | 1669.2 | 980.8864 | 953.4384 | 884.3702 | 750.3542 |  | 31.03% | 30.16% | 27.98% | 23.74% | 85.31 | 85.1381
10035.8333 | PPL |  |  | 8334.8 | 8339 | 8418.7 | 9149 | 9447.2 | 10232.1 | 10863.4 | 11096.9 | 11294.3 | 11157.6 | 11167.3 | 10929.7 | 1216.9785 | 346.385 | 456.7092 | 324.2618 |  | 12.13% | 3.451% | 4.551% | 3.231% | 527.5519 | 538.0369
3055.7167 | DEOK |  |  | n/a | n/a | n/a | n/a | n/a | n/a | 3055.8 | 3233.6 | 2840.2 | 2957.9 | 3080.1 | 3166.7 | 141.8237 | 234.6286 | 141.3716 | 125.2284 |  | 4.641% | 7.678% | 4.626% | 4.098% | 160.355 | 160.2512
| Average LDA Fluctuation | [14 empty] | 609.0645 | 469.3453 | 417.1527 | 319.2772 |  | 11.96% | 11.22% | 9.501% | 7.457% | 319.2468 | 320.8633
Notes:
| [A]: | Supply located in ATSI, DEOK, and East Kentucky Power Cooperative, Inc. (EKPC) zones are subtracted from Rest of RTO Supply.
| [B]: | Supply from FRR added to Rest of RTO supply.
| [C]: | The adjustments from [A] and [B] are combined. For the FRR, adjustment, the portion of the FRR obligation due to DEOK and EKPC are not included.
| 1 | Standard deviation of total supply offers by delivery year.
| 2 | Standard deviation of year to year delta in total supply offer.
| 3 | Standard deviation of MW difference from a linear time trend of total supply offer.
| 4 | Standard deviation of MW difference from a spline regression time trend of total supply offer.
| 5 | Column [1] divided by average total historical supply offer.
| 6 | Column [2] divided by average total historical supply offer.
| 7 | Column [3] divided by average total historical supply offer.
| 8 | Column [4] divided by average total historical supply offer.
| 9 | Exponential formula of column [8] and average total historical supply offer.
| 9 | Standard deviation of 1,000 actual modeled draws.
Plot Data For Comparison
| LDA |  |  | Total Supply Offered by Delivery Year 2009: Supply Offers; Total Supply Offered by Delivery Year 2012: Shock Standard Deviations | Modeled Shocks
|  |  |  | Average across years | 2020/21 Supply Offer |  | Total Offers | Annual Change in Offer | Diff. from Trend | Diff. from Spline |  | Total Offers | Annual Change in Offer | Difference from Linear Trend | Difference from Spline | Absolute | Percent of 2020/21 Offer
|  |  |  | (MW) | (MW) |  | (MW) | (MW) | (MW) | (MW) |  | (%) | (%) | (%) | (%) | (MW) | (%)
[7 empty] | 1 | 2 | 3 | 4 |  | 5 | 6 | 7 | 8
| Total Offered (No Adjustments) |  |  | 163475.8417 | 183351.5 |  | 21058.2259 | 7250.0888 | 7158.9193 | 5349.7598 |  | 12.88% | 4.435% | 4.379% | 3.273% | 3051.7063 | 1.664%
| MAAC |  |  | 69959.0833 | 72972.7 |  | 4027.1467 | 1834.5614 | 1604.0211 | 1073.7219 |  | 5.756% | 2.622% | 2.293% | 1.535% | 2401.2157 | 3.291%
| EMAAC |  |  | 33190.4667 | 31045 |  | 1730.3165 | 1632.1474 | 1668.6698 | 1023.8025 |  | 5.213% | 4.918% | 5.028% | 3.085% | 1323.438 | 4.263%
| SWMAAC |  |  | 12173.5167 | 12895.4 |  | 860.3936 | 509.3407 | 411.8773 | 311.098 |  | 7.068% | 4.184% | 3.383% | 2.556% | 614.9222 | 4.769%
| ATSI |  |  | 12174.25 | 11705.2 |  | 722.3555 | 822.4137 | 488.1297 | 488.1225 |  | 5.933% | 6.755% | 4.01% | 4.009% | 562.2844 | 4.804%
| PSEG |  |  | 7272.55 | 5699.5 |  | 848.8606 | 810.7591 | 764.028 | 470.8706 |  | 11.67% | 11.15% | 10.51% | 6.475% | 284.1319 | 4.985%
| PEPCO |  |  | 5915.925 | 6941.1 |  | 576.0353 | 339.3447 | 250.9113 | 250.8965 |  | 9.737% | 5.736% | 4.241% | 4.241% | 343.3854 | 4.947%
| PS-North |  |  | 3874.45 | 3359.1 |  | 432.2459 | 405.7548 | 430.5269 | 233.443 |  | 11.16% | 10.47% | 11.11% | 6.025% | 169.8958 | 5.058%
| ATSI-Cleveland |  |  | 2401.2125 | 2467.4 |  | 355.2842 | 586.7959 | 325.7655 | 325.7643 |  | 14.8% | 24.44% | 13.57% | 13.57% | 125.4846 | 5.086%
| DPL-South |  |  | 1633.65 | 1687.9 |  | 111.43 | 77.8849 | 64.7723 | 60.4955 |  | 6.821% | 4.768% | 3.965% | 3.703% | 86.2558 | 5.11%
| BGE |  |  | 4323.0417 | 3543.3 |  | 564.7438 | 484.8875 | 562.9425 | 281.2046 |  | 13.06% | 11.22% | 13.02% | 6.505% | 179.0085 | 5.052%
| COMED |  |  | 26063.625 | 27436.8 |  | 1102.1525 | 794.9883 | 637.0046 | 521.8466 |  | 4.229% | 3.05% | 2.444% | 2.002% | 1195.9743 | 4.359%
| Dayton |  |  | 3160.7917 | 1669.2 |  | 980.8864 | 953.4384 | 884.3702 | 750.3542 |  | 31.03% | 30.16% | 27.98% | 23.74% | 85.31 | 5.111%
| PPL |  |  | 10035.8333 | 10929.7 |  | 1216.9785 | 346.385 | 456.7092 | 324.2618 |  | 12.13% | 3.451% | 4.551% | 3.231% | 527.5519 | 4.827%
| DEOK |  |  | 3055.7167 | 3166.7 |  | 141.8237 | 234.6286 | 141.3716 | 125.2284 |  | 4.641% | 7.678% | 4.626% | 4.098% | 160.355 | 5.064%
0