## Simulation Results
Scenario | Scenario Description | Auction Results | RTO | MAAC | EMAAC | SWMAAC | PSEG | PS-NORTH | DPL-SOUTH | PEPCO | ATSI | ATSI-C | COMED | BGE | PPL | DAY | DEOK
Base Case | Actual 2021/22 BRA Results | CP RCP | 140 | 140 | 165.73 | 140 | 204.29 | 204.29 | 165.73 | 140 | 171.33 | 171.33 | 195.55 | 200.3 | 140 | 140 | 140
|  | Cleared Annual CP MW | 162911.8 | 67274.9 | 29287.5 | 10106.7 | 5366.6 | 3132.3 | 1673.8 | 5948.8 | 8007.3 | 1248 | 22083.6 | 1937.7 | 11223.4 | 1636.7 | 2733.3
|  | Cleared Matched Seasonal CP MW | 715.5 | 91 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 274.5 | 0 | 9.7 | 0 | 0
|  | Cleared Equivalent Annual CP MW | 163627.3 | 67365.9 | 29288.5 | 10106.7 | 5367.6 | 3133.3 | 1673.8 | 5948.8 | 8007.3 | 1248 | 22358.1 | 1937.7 | 11233.1 | 1636.7 | 2733.3
Scenario #1 (See Note 1) | 2021/2022 BRA Using Net EAS Values of PJM's 8/19/2020 Informational Filing | CP RCP | 141.03 | 141.03 | 171.15 | 141.03 | 206.37 | 206.37 | 171.15 | 141.03 | 169.59 | 169.59 | 189.1 | 182.52 | 141.03 | 141.03 | 141.03
|  | Cleared Annual CP MW | 163175.8 | 67434 | 29331.8 | 10219.9 | 5380.6 | 3146.3 | 1674.7 | 5948.8 | 8006.5 | 1248 | 22073.3 | 2050.9 | 11224.4 | 1636.7 | 2734.5
|  | Cleared Matched Seasonal CP MW | 715.5 | 91 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 274.5 | 0 | 9.7 | 0 | 0
|  | Cleared Equivalent Annual CP MW | 163891.3 | 67525 | 29332.8 | 10219.9 | 5381.6 | 3147.3 | 1674.7 | 5948.8 | 8006.5 | 1248 | 22347.8 | 2050.9 | 11234.1 | 1636.7 | 2734.5
Scenario #2 (See Note 2) | 2021/2022 BRA Using Net EAS Values Calculated as Described in Note 2 | CP RCP | 142.6 | 142.6 | 174 | 142.6 | 206.37 | 206.37 | 174 | 142.6 | 190.89 | 190.89 | 199.98 | 184.59 | 142.6 | 142.6 | 142.6
|  | Cleared Annual CP MW | 163347.5 | 67564.6 | 29382.2 | 10300.1 | 5402.5 | 3168.2 | 1674.7 | 5948.8 | 8008.5 | 1248 | 22112.4 | 2070.3 | 11224.4 | 1636.7 | 2734.5
|  | Cleared Matched Seasonal CP MW | 715.5 | 91 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 274.5 | 0 | 9.7 | 0 | 0
|  | Cleared Equivalent Annual CP MW | 164063 | 67655.6 | 29383.2 | 10300.1 | 5403.5 | 3169.2 | 1674.7 | 5948.8 | 8008.5 | 1248 | 22386.9 | 2070.3 | 11234.1 | 1636.7 | 2734.5
Scenarios #1 and #2 were simulated at the request of PJM stakeholders.
Note 1: Scenario #1 is a re-run of the 2021/2022 Base Residual Auction using the indicative energy and ancillary service revenue offset values of the Combustion Turbine provided in PJM's 8/19/2020 informational filing in Docket No. EL19-58-003. Using the indicative energy and ancillary service revenue offset values yield a change in the Net CONE and thus a change in the points that define the VRR Curve for the RTO and each modeled LDA. All sell offers and auction parameters, other than the Net EAS values used to develop the Net CONE and VRR Curves of the RTO and each modeled LDA, used in the simulation were the same as that used in the actual 2021/2022 BRA, which can be found here: https://www.pjm.com/-/media/markets-ops/rpm/rpm-auction-info/2021-2022/2021-2022-bra-planning-period-parameters.ashx?la=en. The Net CONE values and VRR Curve definitions of Scenario #1 are provided in the "Scenario 1 -VRR Curve" tab. The Net CONE values and VRR Curve definitions used in the clearing of the actual 2021/2022 BRA are provided in the "BRA - VRR Curve" tab.
Note 2: Scenario #2 is a re-run of the 2021/2022 Base Residual Auction using energy and ancillary service revenue offset values calculated for the Reference Resource CT using the existing Peak-Hour Dispatch methodology and dispatching the reference resource against the 2022/2023 forward gas and electricity prices used for PJM's 8/19/2020 informational filing, rather than historical prices. Using these revised energy and ancillary service revenue offset values yields a change in the Net CONE and thus a change in the points that define the VRR Curve for the RTO and each modeled LDA. All sell offers and auction parameters, other than the Net EAS values used to develop the Net CONE and VRR Curves of the RTO and each modeled LDA, used in the simulation were the same as that used in the actual 2021/2022 BRA. The Net CONE values and VRR Curve definitions of Scenario #2 are provided in the "Scenario 2 -VRR Curve" tab. The Net CONE values and VRR Curve definitions used in the clearing of the actual 2021/2022 BRA are provided in the "BRA - VRR Curve" tab.

## BRA - VRR Curve
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland | COMED | BGE | PL | DAYTON | DEOK
Net CONE, $/MW-Day (UCAP Price) | 321.57 | 292.69 | 313.77 | 264.88 | 330.61 | 330.61 | 300.18 | 285.42 | 306.87 | 306.87 | 344.36 | 244.33 | 300.72 | 312.56 | 312.8
Variable Resource Requirement Curve:
Point (a) UCAP Price, $/MW-Day | 482.36 | 439.04 | 470.66 | 410.34 | 495.92 | 495.92 | 450.27 | 428.13 | 460.31 | 460.31 | 516.54 | 410.34 | 451.08 | 468.84 | 469.2
Point (b) UCAP Price, $/MW-Day | 241.18 | 219.52 | 235.33 | 198.66 | 247.96 | 247.96 | 225.14 | 214.07 | 230.15 | 230.15 | 258.27 | 183.25 | 225.54 | 234.42 | 234.6
Point (c) UCAP Price, $/MW-Day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Point (a) UCAP Level, MW | 156809.2 | 66148.8 | 36864.2 | 15463.8 | 11858.5 | 5883.8 | 2919.2 | 8178.2 | 15825.7 | 5298.8 | 26910 | 8008.4 | 10060.8 | 4082.8 | 7240.1
Point (b) UCAP Level, MW | 160909.3 | 67886.7 | 37827.8 | 15872.3 | 12166.4 | 6039.3 | 2997 | 8394.3 | 16243.2 | 5439.6 | 27609 | 8220.2 | 10327.8 | 4189.3 | 7431
Point (c) UCAP Level, MW | 168712.9 | 71194.3 | 39661.7 | 16649.8 | 12752.4 | 6335.3 | 3145.1 | 8805.6 | 17037.9 | 5707.5 | 28939.4 | 8623.2 | 10836 | 4392.1 | 7794.2
Nominated PRD Value, MW | 510 | 510 | 75 | 435 | 0 | 0 | 35.7 | 195 | 0 | 0 | 0 | 240 | 0 | 0 | 0
VRR Curve adjusted for PRD:
Point (a1) UCAP Price, $/MW-Day | 482.36 | 439.04 | 470.66 | 410.34 |  |  | 450.27 | 428.13 |  |  |  | 410.34
Point (b1) UCAP Price, $/MW-Day | 241.18 | 219.52 | 235.33 | 198.66 |  |  | 225.14 | 214.07 |  |  |  | 183.25
Point (prd1) UCAP Price, $/MW-Day | 0.01 | 0.01 | 0.01 | 0.01 |  |  | 0.01 | 0.01 |  |  |  | 0.01
Point (prd2) UCAP Price, $/MW-Day | 0.01 | 0.01 | 0.01 | 0.01 |  |  | 0.01 | 0.01 |  |  |  | 0.01
Point (c) UCAP Price, $/MW-Day | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  |  |  | 0
Point (a1) UCAP Level, MW | 156253.4 | 65593 | 36782.5 | 14989.7 |  |  | 2880.3 | 7965.7 |  |  |  | 7746.8
Point (b1) UCAP Level, MW | 160353.5 | 67330.9 | 37746.1 | 15398.2 |  |  | 2958.1 | 8181.8 |  |  |  | 7958.6
Point (prd1) UCAP Level, MW | 168156.8 | 70638.3 | 39579.9 | 16175.7 |  |  | 3106.2 | 8593.1 |  |  |  | 8361.6
Point (prd2) UCAP Level, MW | 168712.6 | 71194.1 | 39661.6 | 16649.8 |  |  | 3145.1 | 8805.6 |  |  |  | 8623.2
Point (c) UCAP Level, MW | 168712.9 | 71194.3 | 39661.7 | 16649.8 |  |  | 3145.1 | 8805.6 |  |  |  | 8623.2

## Scenario 1 - VRR Curve
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland | COMED | BGE | PL | DAYTON | DEOK
Net CONE, $/MW-Day (UCAP Price) | 343.95 | 327.1 | 335.55 | 334.14 | 343.94 | 343.94 | 309.91 | 347.45 | 303.32 | 303.32 | 329.65 | 320.82 | 336.23 | 305.35 | 298.03
Variable Resource Requirement Curve:
Point (a) UCAP Price, $/MW-Day | 515.93 | 490.65 | 503.33 | 501.21 | 515.91 | 515.91 | 464.87 | 521.18 | 454.98 | 454.98 | 494.48 | 481.23 | 504.35 | 458.03 | 447.05
Point (b) UCAP Price, $/MW-Day | 257.96 | 245.33 | 251.66 | 250.61 | 257.96 | 257.96 | 232.43 | 260.59 | 227.49 | 227.49 | 247.24 | 240.62 | 252.17 | 229.01 | 223.52
Point (c) UCAP Price, $/MW-Day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Point (a) UCAP Level, MW | 156809.2 | 66148.8 | 36864.2 | 15463.8 | 11858.5 | 5883.8 | 2919.2 | 8178.2 | 15825.7 | 5298.8 | 26910 | 8008.4 | 10060.8 | 4082.8 | 7240.1
Point (b) UCAP Level, MW | 160909.3 | 67886.7 | 37827.8 | 15872.3 | 12166.4 | 6039.3 | 2997 | 8394.3 | 16243.2 | 5439.6 | 27609 | 8220.2 | 10327.8 | 4189.3 | 7431
Point (c) UCAP Level, MW | 168712.9 | 71194.3 | 39661.7 | 16649.8 | 12752.4 | 6335.3 | 3145.1 | 8805.6 | 17037.9 | 5707.5 | 28939.4 | 8623.2 | 10836 | 4392.1 | 7794.2
Nominated PRD Value, MW | 510 | 510 | 75 | 435 | 0 | 0 | 35.7 | 195 | 0 | 0 | 0 | 240 | 0 | 0 | 0
VRR Curve adjusted for PRD:
Point (a1) UCAP Price, $/MW-Day | 515.93 | 490.65 | 503.33 | 501.21 |  |  | 464.87 | 521.18 |  |  |  | 481.23
Point (b1) UCAP Price, $/MW-Day | 257.96 | 245.33 | 251.66 | 250.61 |  |  | 232.43 | 260.59 |  |  |  | 240.62
Point (prd1) UCAP Price, $/MW-Day | 0.01 | 0.01 | 0.01 | 0.01 |  |  | 0.01 | 0.01 |  |  |  | 0.01
Point (prd2) UCAP Price, $/MW-Day | 0.01 | 0.01 | 0.01 | 0.01 |  |  | 0.01 | 0.01 |  |  |  | 0.01
Point (c) UCAP Price, $/MW-Day | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  |  |  | 0
Point (a1) UCAP Level, MW | 156253.4 | 65593 | 36782.5 | 14989.7 |  |  | 2880.3 | 7965.7 |  |  |  | 7746.8
Point (b1) UCAP Level, MW | 160353.5 | 67330.9 | 37746.1 | 15398.2 |  |  | 2958.1 | 8181.8 |  |  |  | 7958.6
Point (prd1) UCAP Level, MW | 168156.8 | 70638.4 | 39579.9 | 16175.7 |  |  | 3106.2 | 8593.1 |  |  |  | 8361.6
Point (prd2) UCAP Level, MW | 168712.6 | 71194.2 | 39661.6 | 16649.8 |  |  | 3145.1 | 8805.6 |  |  |  | 8623.2
Point (c) UCAP Level, MW | 168712.9 | 71194.3 | 39661.7 | 16649.8 |  |  | 3145.1 | 8805.6 |  |  |  | 8623.2

## Scenario 2 - VRR Curve
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland | COMED | BGE | PL | DAYTON | DEOK
Net CONE, $/MW-Day (UCAP Price) | 362.38 | 354.29 | 355.51 | 357.04 | 360.81 | 360.81 | 332.97 | 367.64 | 342.6 | 342.6 | 362.55 | 346.44 | 364.02 | 344.16 | 337.76
Variable Resource Requirement Curve:
Point (a) UCAP Price, $/MW-Day | 543.57 | 531.44 | 533.27 | 535.56 | 541.22 | 541.22 | 499.46 | 551.46 | 513.9 | 513.9 | 543.83 | 519.66 | 546.03 | 516.24 | 506.64
Point (b) UCAP Price, $/MW-Day | 271.79 | 265.72 | 266.63 | 267.78 | 270.61 | 270.61 | 249.73 | 275.73 | 256.95 | 256.95 | 271.91 | 259.83 | 273.02 | 258.12 | 253.32
Point (c) UCAP Price, $/MW-Day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Point (a) UCAP Level, MW | 156809.2 | 66148.8 | 36864.2 | 15463.8 | 11858.5 | 5883.8 | 2919.2 | 8178.2 | 15825.7 | 5298.8 | 26910 | 8008.4 | 10060.8 | 4082.8 | 7240.1
Point (b) UCAP Level, MW | 160909.3 | 67886.7 | 37827.8 | 15872.3 | 12166.4 | 6039.3 | 2997 | 8394.3 | 16243.2 | 5439.6 | 27609 | 8220.2 | 10327.8 | 4189.3 | 7431
Point (c) UCAP Level, MW | 168712.9 | 71194.3 | 39661.7 | 16649.8 | 12752.4 | 6335.3 | 3145.1 | 8805.6 | 17037.9 | 5707.5 | 28939.4 | 8623.2 | 10836 | 4392.1 | 7794.2
Nominated PRD Value, MW | 510 | 510 | 75 | 435 | 0 | 0 | 35.7 | 195 | 0 | 0 | 0 | 240 | 0 | 0 | 0
VRR Curve adjusted for PRD:
Point (a1) UCAP Price, $/MW-Day | 543.57 | 531.44 | 533.27 | 535.56 |  |  | 499.46 | 551.46 |  |  |  | 519.66
Point (b1) UCAP Price, $/MW-Day | 271.79 | 265.72 | 266.63 | 267.78 |  |  | 249.73 | 275.73 |  |  |  | 259.83
Point (prd1) UCAP Price, $/MW-Day | 0.01 | 0.01 | 0.01 | 0.01 |  |  | 0.01 | 0.01 |  |  |  | 0.01
Point (prd2) UCAP Price, $/MW-Day | 0.01 | 0.01 | 0.01 | 0.01 |  |  | 0.01 | 0.01 |  |  |  | 0.01
Point (c) UCAP Price, $/MW-Day | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  |  |  | 0
Point (a1) UCAP Level, MW | 156253.4 | 65593 | 36782.5 | 14989.7 |  |  | 2880.3 | 7965.7 |  |  |  | 7746.8
Point (b1) UCAP Level, MW | 160353.5 | 67330.9 | 37746.1 | 15398.2 |  |  | 2958.1 | 8181.8 |  |  |  | 7958.6
Point (prd1) UCAP Level, MW | 168156.8 | 70638.4 | 39579.9 | 16175.7 |  |  | 3106.2 | 8593.1 |  |  |  | 8361.6
Point (prd2) UCAP Level, MW | 168712.6 | 71194.2 | 39661.6 | 16649.8 |  |  | 3145.1 | 8805.6 |  |  |  | 8623.2
Point (c) UCAP Level, MW | 168712.9 | 71194.3 | 39661.7 | 16649.8 |  |  | 3145.1 | 8805.6 |  |  |  | 8623.2