## Payments
Comparison of Black Start Schedule 6A Payments with RPM Payments
(For Estimation Purposes Only)
Assumptions
Installed Capacity | 20 | MW
Hydro | No
Fuel Source | Oil
CONE | 160.76 | (for area where Black Start unit is Located)
Annual O&M | 60000 | (Annual Variable O&M outlined in Manual 15)
Refurbishment Cost | 2000000
Unit Age | 25 | years
RPM Clearing Price | 110 | per MW day
EFORd | 5%
ACR Rate | 27.98 | per MW day
Offer into RPM | Yes
ALR Unit | No
Refurbishment Cost ($)
2000000
| Black Start Service | Black Start CRF | Estimated RPM | Estimated ACR
| Annual Revenue | Annual Revenue | Annual Revenues | Annual Revenues
| 38454.6746 | 737487.8351 | 762850 | 194041.3
Original Proposal A |  | Compromise Proposal A1 |  | Proposal B
Annual Revenue |  | Annual Revenue |  | Annual Revenue
(Max of Sch 6A CRF or RPM) |  | (Max of Sch 6A CRF + ACR or RPM) |  | (Sch 6A CRF +RPM)
(Includes Formula Rate if RPM is Greater)
762850 |  | 931529.1351 |  | 1500337.8351
RPM Payment = | 762850 | RPM Payment = | 762850 | RPM Payment = | 762850
Black Start Payment = | 0 | Black Start Payment = | 168679.1351 | Black Start Payment = | 737487.8351

## Calculations
Calculations
Annual Black Start Service Revenue (No refurbishment) |  |  | Annual Black Start Service Revenue (With refurbishment)
Annual Fixed Black Start Service Cost | = | CONE * 365 * Black Start Unit Capacity * X | Annual Fixed Black Start Service Cost | = | Black Start Capital Cost * CRF
| = | 23470.96 |  | = | 726000
Variable Black Start Service Cost | = | Black Start Unit O&M * Y | Variable Black Start Service Cost | = | Black Start Unit O&M * Y
| = | 600 |  | = | 600
Annual Training Costs | = | 50 staff hours/year/plant * $75/hour | Annual Training Costs | = | 50 staff hours/year/plant * $75/hour
| = | 3750 |  | = | 3750
Annual Fuel Storage Costs | = | {MTSL + [(# Run Hours) * ( Fuel Burn Rate)]} * ( 12 Month Forward Strip + Basis) * ( Bond Rate) | Annual Fuel Storage Costs | = | {MTSL + [(# Run Hours) * ( Fuel Burn Rate)]} * ( 12 Month Forward Strip + Basis) * ( Bond Rate)
(estimated) | = | 7137.8351 | (estimated) | = | 7137.8351
Annual Black Start Service Revenue* | = | {(Fixed BSSC) + (Variable BSSC) + (Training Costs) + (Fuel Storage Costs)} * (1 + Z) | Annual Black Start Service Revenue* | = | {(Fixed BSSC) + (Variable BSSC) + (Training Costs) + (Fuel Storage Costs)} * (1 )
| = | 38454.6746 |  | = | 737487.8351
|  |  | Total Capital Recovery | = | Fixed Black Start Service Cost * Years Remaining * 1
|  |  |  | = | 3630000
* For units that have the demonstrated ability to operate at reduced levels when automatically disconnected from the grid,
the formula is revised to: |  |  | CRF Table
Annual Black Start Service Revenue | = | (Training Costs) * (1 + Z) | Age of Unit |  | Years Remaining | Levelized CRF
|  |  | 1 | 5 | 20 | 0.125
|  |  | 6 | 10 | 15 | 0.146
|  |  | 11 | 15 | 10 | 0.198
|  |  | 16 | 16+ | 5 | 0.363