## Setup
Enter Stakeholder Committee Name in cell A2:
Operating Committee
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Maximum Emergency Changes for Resource Limitation Reporting

## 1. Interest Identification
Operating Committee
Maximum Emergency Changes for Resource Limitation Reporting
Interest Identification
Instructions: List interests of all parties on this page.
1 | Maintaining reliability for all hours/days, not just a focus on RT/DA.
2 | Detailed information on unit availability and remaining run time
3 | Detailed information with respect to remaining run hours for resources the causes for any resource limitations
4 | Detailed information with respect to the causes for any resource limitations and when those limitations will be mitigated
5 | Clarity of the rules for eligibility for max emergency
6 | Transparency, as permitted by confidentiality rules, into Max Emergency information that is posted publicly for Members
7
8
9
10
11
12
13
14
15
16
17
18
19
20

## 2. Options Matrix- Design Comp.
Operating Committee
Maximum Emergency Changes for Resource Limitation Reporting
OPTIONS MATRIX
Solution Options2
# | Design Components1 | Priority | Status Quo | A | B | C | D | E
* | Implementation
1 | Remaing run hour eligibility for Maximum Emergency utilization | Medium - High | 32-hour for steam, 16-hour for CT (not including the 'temporary note') | increase to 24hrs for CTs, add an additional step between 32hrs and 240hrs for Steam units that can be used unless there is a HWA, CWA or PJM denies due to a local thermal or voltage violation, or a black start concern
2 | Entity responsible for identifying units to be placed into Max Emergency | Medium - High | Resource owner | resource owner
3 | Reporting requirements for resources utilizing Maximum Emergency | Medium - High | 72-hour fuel limited reporting in Markets Gateway | In addition to the 72-hour resource limited reporting, expand the requirement for all units that utilize Maximum Emergency to report remaining run hours in Markets Gateway (except for temporary MW additions), enter an information eDART ticket, and verbally notify the PJM Generation Dispatcher
4 | Clarify what conditions qualify as a 'temporary megawatt addition' for eligibility for use of Maximum Emergency | Medium - High | MW must have a time limitation or restriction. Limitation must be supported by OEM documentation or air permit. Operating Agreement, Schedule 1: If a resource can provide additional megawatts on a temporary basis by oil topping, boiler over-pressure, or simliar techniques, and such megwatts are not ordinarily otherwise available. | Add clarifying lanuage in M13 around qualification for usage of temporary MW additions. In order to meet the criteria for temporary MW additions, a generation resource must be able to demonstrate that MW have a time limitation or restriction. Max Emerg MWs must be available on demand whenever requested by PJM. Acceptable documentation for justifying the use of temporary MW additions include, but are not limited to: - OEM documentation showing a time limitation on the MW - Air permit showing time restriction
5
6 | [8 empty] | Low
7 | [8 empty] | Low - Medium
8 | [8 empty] | Low - High
9 | [8 empty] | Medium
10 | [8 empty] | Medium - High
High
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attibute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Design Component Details
Operating Committee
Maximum Emergency Changes for Resource Limitation Reporting
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component | Detailed Description
1 | <enter detailed description of this component>
2 | <enter detailed description of this component>
3 | <enter detailed description of this component>
4 | <enter detailed description of this component>
5 | <enter detailed description of this component>

## 2b. Option Details
Operating Committee
Maximum Emergency Changes for Resource Limitation Reporting
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 3. Package Matrix
Operating Committee
Maximum Emergency Changes for Resource Limitation Reporting
PACKAGE/ PROPOSAL MATRIX
Packages
# | Design Components | Priority | Status Quo | A | B | C | D | E
1
2
3
4
5
6
7
8
9 | [8 empty] | Low
10 | [8 empty] | Low - Medium
Low - High
Medium
Instructions: | [8 empty] | Medium - High
1. Copy over design component, priority, and status quo columns from options matrix | [8 empty] | High
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## 3a. Package Details
Operating Committee
Maximum Emergency Changes for Resource Limitation Reporting
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
Operating Committee
Maximum Emergency Changes for Resource Limitation Reporting
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description

## Revision History
Operating Committee
Maximum Emergency Changes for Resource Limitation Reporting
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1
2
3