## Setup
Enter Stakeholder Committee Name in cell A2:
Planning Committee
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Critical Infrastructure Stakeholder Oversight

## 1. Interest Identification
Planning Committee
Critical Infrastructure Stakeholder Oversight
Interest Identification
Instructions: List interests of all parties on this page.
Interest Category
1 | Understand the roles and responsibilities for PJM | Parties involved
2 | Understand the State's role in this process | Parties involved
3 | Appropriate level of transparency | Transparency
4 | Eligibility of CIP-014-2 project solutions for competition | Competitive/Planning Process
5 | Cost Allocation and Regional vs. Local benefits | Cost Allocation
6 | Understanding the applicable NERC standards and NERC's role in the process | Parties involved
7 | PJM Planning criteria | Competitive/Planning Process
8 | Respect the confidentiality terms as listed in NERC CIP-014-2, Requirement 2.4 | Confidentiality
9 | Protect against the future creation of CIP-014-2 critical assets | Reliability
10 | Ensure solutions do not result in compliance violations | Reliability
11 | Ensure solutions do not adversely affect reliability, operational performance and market efficiency | Reliability
12 | Define and understand the time horizon for loss of load analysis in planning | Analysis Timeline
13 | Notification to members and timing of these projects | Transparency
14 | Role of non-transmission considerations and batteries | More info needed
15 | Alternative competitive models to protect confidentiality | Transparency
16 | Voluntary vs. mandatory removal of CIP-014-2 facilities from the list, and who makes that call? | Transparency
17 | Better understanding of compliance with Requirement 5 and CIP-014-2 standard | Compliance & Penalties
18 | Ensure completion doesn't sacrifice the confidential nature of the issues and solutions (protect against bad actors) | Confidentiality
19 | Respect Tariff provisions for Supplemental project planning | Competitive/Planning Process
20 | Respect for FERC Order 1000 | Competitive/Planning Process
21 | Respect member obligations with section 11.3.2 of the Operating Agreement (to cooperate with each other to achieve the greatest practicable degree of reliability) | Reliability
22 | Respect CTOA provisions and the FERC ruling on M3
23 | Understanding customer needs and deliver valued service to meet those needs in a cost efficient manner

## 2. Options Matrix- Design Comp.
Planning Committee
Critical Infrastructure Stakeholder Oversight
OPTIONS MATRIX
Solution Options2
# | Design Components1 | Priority | Status Quo | A | B_Advocates | C | D_AMP | E_PJM | F | G
* | Implementation
1 | Stakeholder Involvement with respect to mitigation of future CIP-014 facilities | High
1a | Role of PJM as the Regional Transmission Planner |  | N/A | Review projects within RTEP process and determine solutions to be presented to PJM Board | PJM to establish system reliability planning criteria for the removal of any CIP-14 facilities that have security plan and system reliability planning criteria to avoid the creation of CIP-14 facilities in the future. |  | PJM to establish/implement system reliability planning criteria for the addressing of any Thermal, voltage, or stability violations resulting from the Maximum Credible Disturbance Analysis outlined in Section 2.3.15 of Manual 14B to avoid the creation of CIP-14 facilities in the future. | PJM, as the NERC registered transmission planner, to establish system reliability planning criteria for the removal of any future CIP-14 facilities. PJM to conduct analysis of potential CIP-014 violations in order to verify CIP-014 facilities. PJM to select the more efficient or cost effective solution for recommendation to the PJM Board. This process does not apply to those CMPs identified as part of the Attachment M-4 process.
1b | Role of State Commissions |  | N/A |  | Consultation w/ state commissions: The consultations in Step 5, and information exchanged therein, shall be subject to a NDA that will be developed by PJM and interested stakeholders. States maintain full jurisdiction including whether a proposed project has met any applicable state laws w/ respect to the facilities at issue. |  | PJM to consult with State Commissions on the results of Maximum Credible Disturbance Analysis, results, and mitigations of identified violations (Thermal, Voltage, Stability). No NDA required, only CEII approval required. | PJM will summarize findings in a confidential document. PJM will use existing protocols in the Operating Agreement to provide the state public utility commissions confidential documentation as needed.
1c | Role of PJM Stakeholders |  | N/A |  | Active participation in TEAC process |  | Active participation in TEAC process | Stakeholder participation limited to those participating entities bidding solutions for projects qualifying as part of RFP competitive solicitation.
1d | Role of the Asset Owner |  | To ensure grid reliability and adhere to the CIP-014 Standard |  | TO will propose and implement a Mitigation Project with direct decision-making and oversight authority from PJM while the states retain siting authority where applicable | TO may bid on the Greenfield Mitigation Project. PJM will provide a competitive opportunity (with appropriate confidentiality). PJM will have direct decision-making and oversight authority while the states retain sitting authority where applicable | PJM to implement competitive framework with required CEII access requirements. PJM will have full planning authority and discretion to select mitigation project identified through its competitive planning process. Asset Owners able to participate through PJM competitive window framework. | Performs CIP-014 analysis and provides a list of critical facilities to PJM; Works with PJM to identify potential solutions. Coordinates state outreach
2 | Transparency with respect to CMP | High | N/A |  | Upon of PJM's review and assessment of the CMPs, existing mitigation projects, PJM will submit the assessment to both the affected states and TO. Transparency to stakeholder limited to meeting (reasonable) confidentiality requirements outlined in a standard NDA developed by PJM and interested stakeholders (as applicable) at any time. After the fact, there should be all non-confidential information provided to stakeholders. |  | Upon PJM's review and assessments of results and existing baseline projects, PJM will submit the assessment results and mitigation plans to both the affected states and stakeholders through PJM's standard CEII processes. Transparency to stakeholder consistent with existing PJM RTEP process. | Limited to Asset Owner during CIP-014-2 identification and verification analysis period. A project that falls under current PJM open solicitation rules (exempted less than 200kV, substation equipment and immediate need) will be open to competition as part of an RFP process if the mitigating solution does not disclose the CIP 14 facility. Full details of solution published following completion of construction. |  |  | Low
3 | Confidentiality | High | PJM currently utilizes CEII and Non-Disclosure Agreements; CIP-014-2 R 2.4 requires TO to implement procedures such as NDA |  | Status Quo |  | PJM's current CEII processes as required by RTEP protocols | PJM will consider additional confidentiality measures for those on a need to know basis for any parties requiring access to CIP-014 information. |  |  | Low - Medium
3a | Competitive Process |  | N/A The competitive process does not respect the confidential nature of CMPs |  | CEII Competitive Procurement Process for the PJM-determined solution | CEII Competitive Procurement Process for the PJM-determined solution | PJM's current Competitive Solicitation process with including CEII procedures | To the extent the PJM recommended transmission enhancement or expansion would be available for competition under current PJM open solicitation rules (exempted less than 200kV, substation equipment and immediate need), the project will be open to competition as part of an RFP process if the mitigating solution does not disclose the CIP 14 facility. Any recommended transmission enhancement or expansion, under these provisions, which includes component(s) that require public disclosure of siting prior to completing construction may only proceed in states where confidentiality provisions allow restricting access to information associated with the recommended transmission enhancement or expansion to the state commission and commission staff.
4 | CEII | High | CEII protocol for PJM (PJM CEII Request Web Page) |  | Status Quo |  | CEII protocol for PJM (PJM CEII Request Web Page) | Status Quo |  |  | Low - High
5 | NERC CIP-014 Mitigation | High | Attachment M-4 of the PJM Tariff. |  | PJM defined system reliability criteria for which facilities get addressed to include any project designed specifically to remove transmission facilities from the list of CIP-014 facilities documented as requiring a physical security plan. Note: Physical Security Plan references Section B of the CIP-14-0-02 standard and comments (R5-5-1 to R5-5-5). |  | PJM to implement "Maximum Credible Disturbance" criteria such that the PJM criteria is more stringent than that of CIP-014. PJM analysis to target the mitigation of facilities before they are projected to become CMP facilities. | PJM to work with Asset Owner to study potential solutions to identified CIP-014 violations. PJM will select solution. Competition available, via competitive process described above |  |  | Medium
5a | Integration with the regional plan |  | N/A |  | This is not discussing specific projects (or solutions) and thus, should be included in the regional transmission planning process. |  | Full integration/implementation of analysis into PJM RTEP process. | Alleviation projects will be integrated into the regional plan following PJM board approval.
6 | Oversight | High | N/A |  | FERC, PJM, and States maintain full authority where applicable. |  | FERC and States maintain full authority where applicable. | All existing FERC, PJM and state authorities applicable |  |  | Medium - High
7 | CIP-014 Facility Identification Prevention | High | N/A |  | ?? |  | Maximum Credible Disturbance event implemented such that the initiating event is more stringent than the events included into the CIP-014 analysis. | Confidentiality associated with analysis and CIP-014 assets to be maintained in accordance with CIP-014 requirements |  |  | High
7a | Integration with the regional plan |  | N/A |  | The regional plan is not discussing specific projects (or solutions) and thus, should be included in the regional transmission planning process. |  | Full integration/implementation of analysis into PJM RTEP process. | Alleviation projects will be integrated into the regional plan following PJM board approval.
8 | Cost Allocation/Cost Recovery | Medium | N/A |  | Regional RTEP project cost allocation |  | Regional RTEP project cost allocation | PJM will use existing reliability cost allocation methodology for calculation of cost responsibility to be filed following completion of construction of entire recommended transmission enhancement or expansion
9 | Timeline | High | N/A |  | Developed in accordance with the regional planning process. |  | Developed in accordance with the regional planning process. | Developed in accordance with the regional planning process.
9a | Horizon for Identification |  | N/A |  | The process applies to all projects that are new or existing projects. |  | The process applies to all projects that are new or existing projects. | This process applies to all projects identified by the Asset Owner as potential CIP-014 violations (Except those "Less than 20" that are covered by M4)
9b | Process for Identified Facilities |  | N/A |  | Order No. 1000 Qualification Process; can add additional qualifications related to CEII (Confidentiality can affect timeline) |  | Order No. 1000 Qualification Process; can add additional qualifications related to CEII (Confidentiality can affect timeline) | To the extent the PJM recommended transmission enhancement or expansion would be available for competition under current PJM open solicitation rules (exempted less than 200kV, substation equipment and immediate need), the project will be open to competition as part of an RFP process if the mitigating solution does not disclose the CIP 14 facility. Any recommended transmission enhancement or expansion, under these provisions, which includes component(s) that require public disclosure of siting prior to completing construction may only proceed in states where confidentiality provisions allow restricting access to information associated with the recommended transmission enhancement or expansion to the state commission and commission staff.
10 | Cost Efficiency | High | N/A |  | Regional Planning Process. Reliability and Resilience should be the priority but cost efficiency should be a factor. |  | Cost Efficiency considered when PJM selects a proposal targeted at mitigating identified thermal, voltage, or stability violations resulting from Maximum Credible Disturbance analysis. | Regional Planning Process. Reliability and Resilience should be the priority while adhering to the Order 1000 principles to recommend the more efficient or cost-effective enhancements and expansions to the PJM Board for approval
11 | Verification of successful mitigation | High | N/A - PJM would perform the same analysis it performs as the independent third party verifier |  | PJM and States |  |  | PJM Analysis consistent with CIP-014-2
12 | Avoidance of future CIP-014 critical facilities |  | N/A
12a | Resilience Driver/Criteria Analysis |  | N/A | PJM performs RTEP Resilience criteria analysis utilizing the cascading trees tool. |  |  | PJM to establish/implement system reliability planning criteria for the addressing of any Thermal, voltage, or stability violations resulting from the Maximum Credible Disturbance Analysis outlined in Section 2.3.15 of Manual 14B to avoid the creation of CIP-14 facilities in the future.
12b | Metrics/Measurements/Factors. |  | N/A | Consistent with RTEP Resilience criteria analytical methods incorporated in cascading trees tool software. |  |  | Expansion of Manual 14B-Section 2.3.15 Maximum Credible Disturbance Review to allow PJM to open up events/violations to PJM's competitive RTEP planning process. Criteria not focused on load drop, but on the mitigation of reliability issues to prevent facilities from becoming CMP facilities. Standard powerflow and stability analysis is all that is required.
12c | Sensitivity Testing |  | N/A | Consistent with analysis methods as indicated in the resilience criteria analysis described above. |  |  | Consistent with PJM Competitive RTEP planning process.
13 | Integration into RTEP |  | N/A |  |  | PJM creation of extreme event criteria that would allow PJM proposed baseline mitigation projects establishment of thermal and voltage violations
13a | Communication Procedures |  | N/A | - PJM to communicate failure of project to meet resilience criteria requirements - If a project proposal violates PJM's Resilience criteria, PJM to provide verbal update with limited/restricted level of information to entity who submitted the project proposal through competitive window. Information limited to analytical results only. |  |  | PJM to communicate selected mitigation projects. If a project/proposal violates Maximum Credible Disturbance criteria, PJM to inform all stakeholders and the entity whose proposal failed to ensure system reliaiblity.
13b | Confidentiality |  | N/A | If project proposal violates PJM's Resilience criteria, PJM shall provide limited/restricted level of information to project proposal. |  |  | if project fails to address identified reliability violations, or prevents a new reliability violation with its implementation PJM will fully disclose this information. Note: criteria is more stringent than CIP-014 thus, confidentiality should not be required.
13c | CEII |  |  | Status Quo |  |  | Status Quo
13d | Re-evaluation Process |  | N/A | Not Applicable |  |  | Applicable until project begins construction
14 | Transparency |  | N/A | - PJM communicate failure of project to meet RTEP Resilience criteria requirements - If a project proposal violates PJM's Resilience criteria, PJM shall provide limited/restricted level of information to entity proposing project through the competitive window. |  |  | Full transparency consistent with PJM's current competitive RTEP planning process.
15 | Competition |  | N/A | Limited to proposing entities ability to mitigate initial issue identified in competitive process. No opportunity to revise a proposal submitted through a competitive window once the window closes to address issues that trigger potential violations associated with the RTEP Resilience criteria. |  |  | Limited to proposing entities ability to mitigate initial issue identified in competitive process. No opportunity to revise a proposal submitted through a competitive window once the window closes to address issues that trigger potential violations associated with the RTEP Resilience criteria.
16 | Cost Allocation/Cost Recovery |  | N/A | Status Quo |  |  | Cost allocation as determined by TOs
17 | Roles and Responsibilities |  | N/A
17a | PJM |  | N/A | - Performs RTEP Resilience criteria analysis with cascading trees tool - Communicates information in accordance with confidentiality requirements as described above. E.g., release limited/restricted level of information to proposing entity. |  |  | PJM has full authority to identify, assess, solicit and select mitigation projects to address Maximum Credible Disturbance reliability violations.
17b | State Commissioners |  | N/A | Provide feedback consistent with the confidentiality provisions in the Operating Agreement |  |  | Provide feedback consistent with the confidentiality provisions in the Operating Agreement
17c | PJM Stakeholders |  | N/A | Status Quo with limited/restricted level of communications to entity proposing project triggering potential violations of PJM's RTEP Resilience criteria. |  |  | Active participation in TEAC process
17d | Asset Owners |  | N/A | Status quo with limited/restricted level of communications to entity proposing project triggering potential violation of PJM's RTEP Resilience criteria. |  |  | PJM to implement competitive framework with required CEII access requirements. PJM will have full planning authority and discretion to select mitigation project identified through its competitive planning process. Asset Owners able to participate through PJM competitive window framework.
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attribute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Design Component Details
Planning Committee
Critical Infrastructure Stakeholder Oversight
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component | Detailed Description
1 | <enter detailed description of this component>
2 | <enter detailed description of this component>
3 | <enter detailed description of this component>
4 | <enter detailed description of this component>
5 | <enter detailed description of this component>

## 2b. Option Details
Planning Committee
Critical Infrastructure Stakeholder Oversight
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 3. Package Matrix - Mitigation
Planning Committee
Critical Infrastructure Stakeholder Oversight
PACKAGE/ PROPOSAL MATRIX
Mitigation of future CIP-014 facilities
Packages
# | Design Components | Priority | Status Quo | C - PJM | D - AMP Withdrawn | E - Advocates Revised Withdrawn | A - Advocates REMOVED | B - Advocates REMOVED
1a | Role of PJM as the Regional Transmission Planner |  | N/A | PJM, as the NERC registered transmission planner, to establish system reliability planning criteria for the removal of any future CIP-014 facilities. PJM to conduct analysis of potential CIP-014 facilities in order to verify. PJM to select the more efficient or cost effective solution for recommendation to the PJM Board. This process does not apply to those CMPs identified as part of the Attachment M-4 process. | PJM to establish/implement system reliability planning criteria for the addressing of any Thermal, voltage, or stability violations resulting from the Maximum Credible Disturbance Analysis outlined in Section 2.3.15 of Manual 14B to avoid the creation of CIP-14 facilities in the future. | PJM, as the NERC registered transmission planner, to establish system reliability planning criteria for the removal of any future CIP-014 facilities. PJM to conduct analysis of potential CIP-014 violations in order to verify CIP-014 facilities. PJM to select the more efficient or cost effective solution for recommendation to the PJM Board. This process does not apply to those CMPs identified as part of the Attachment M-4 process that are not substantially completed upon FERC's approval of this revised approach. | PJM to establish system-reliability planning criteria for the potential mitigation of any CIP-14 facilities that have security plan. PJM will consult with relevant state commission(s) and asset owner regarding any potential mitigation requirements. PJM will consider whether mitigation can be addressed through the RTEP. If mitigation is required and cannot be addressed through the RTEP, asset owner will propose and implement a CMP Mitigation Project with direct decision-making and oversight authority from PJM while the states retain authority where applicable. | Same as Advocates A.
1b | Role of State Commissions |  | N/A | PJM will summarize findings in a confidential document. PJM will use existing protocols in the Operating Agreement to provide the state public utility commissions confidential documentation as needed. PJM will consult with relevant state commission(s) and asset owner regarding any potential mitigation requirements. States maintain full authority where applicable. | PJM to consult with State Commissions on the results of Maximum Credible Disturbance Analysis, results, and mitigations of identified violations (Thermal, Voltage, Stability). No NDA required, only CEII approval required. | PJM will summarize findings in a confidential document. PJM will use existing protocols in the Operating Agreement to provide the state public utility commissions confidential documentation as needed. PJM will consult with relevant state commission(s) and asset owner regarding any potential mitigation requirements. States maintain full authority. where applicable. | States maintain full jurisdiction including whether a proposed project has met any applicable state laws w/ respect to the facilities at issue. IF FULL JURISDICTION CANNOT BE MAINTAINED DUE TO CONFIDENTIALITY CONCERNS PJM WILL TAKE ON THE OVERSIGHT ROLE. PJM will consult with relevant state commission(s) and asset owner regarding any potential mitigation requirements. | Same as Advocates A.
1c | Role of PJM Stakeholders |  | N/A | Stakeholder participation is limited to those who are pre-qualified for designated entity status and who have executed an NDA and are interested in bidding solutions for projects qualifying as part of RFP competitive solicitation. | Active participation in TEAC process | Stakeholder participation is limited to pre-qualified transmission or designated entities who have executed an NDA and are interested in bidding solutions for projects qualifying as part of RFP competitive solicitation. | Information provided to stakeholders when (and as reasonable) when confidentiality is not required. | Same as Advocates A.
1d | Role of the Asset Owner |  | To ensure grid reliability and adhere to the CIP-014 Standard | Performs CIP-014 analysis and provides a list of critical facilities to PJM; Works with PJM to identify potential solutions. Coordinates state outreach | PJM to implement competitive framework with required CEII access requirements. PJM will have full planning authority and discretion to select mitigation project identified through its competitive planning process. Asset Owners able to participate through PJM competitive window framework. | Performs CIP-014 analysis and provides a list of critical facilities to PJM; Works with PJM to identify potential solutions. Coordinates state outreach | PJM will consult with relevant state commission(s) and asset owner regarding any potential mitigation requirements. If mitigation is required and cannot be addressed through the RTEP, asset owner will propose and implement a CMP Mitigation Project with direct decision-making and oversight authority from PJM while the states retain authority where applicable. | Same as Advocates A.
2 | Transparency with respect to CMP |  | N/A | Limited to Asset Owner during CIP-014 identification and verification analysis period. A project that falls under current PJM competitive window rules (exempted less than 200kV, substation equipment and immediate need) will be open to competition as part of an RFP process if the mitigating solution does not disclose the CIP-014 facility. Full details of solution published following completion of construction. | Upon PJM's review and assessments of results and existing baseline projects, PJM will submit the assessment results and mitigation plans to both the affected states and stakeholders through PJM's standard CEII processes. Transparency to stakeholder consistent with existing PJM RTEP process. | Limited to Asset Owner during CIP-014-2 identification and verification analysis period. A project that falls under current PJM open solicitation rules (exempted less than 200kV, substation equipment and immediate need) will be open to competition as part of an RFP process if the mitigating solution does not disclose the CIP 14 facility. Full details of solution published following completion of construction. (what about impacted states?. | Upon PJM's review and assessment of the CMPs, existing mitigation projects, PJM will submit the assessment to both the affected states and TO. Transparency to stakeholder limited to meeting (reasonable) confidentiality requirements outlined in a standard NDA developed by PJM and interested stakeholders (as applicable) at any time. After the fact, there should be all non-confidential information provided to stakeholders. | Same as Advocates A.
3 | Confidentiality |  | PJM currently utilizes CEII and Non-Disclosure Agreements; CIP-014-2 R 2.4 requires TO to implement procedures such as NDA | PJM will consider additional confidentiality measures for those on a need to know basis for any parties requiring access to information associated with solutions. | PJM's current CEII processes as required by RTEP protocols | PJM will consider additional confidentiality measures for those on a need to know basis for any parties requiring access to CIP-014 information. | same as status quo
3a | Competitive Process |  | N/A The competitive process does not respect the confidential nature of CMPs | To the extent the PJM recommended transmission enhancement or expansion would be available for competition under current PJM competitive window rules (exempted less than 200kV, substation equipment and immediate need), the project will be open to competition as part of an RFP process if the mitigating solution does not disclose the CIP-014 facility. Any recommended transmission enhancement or expansion, under these provisions, which includes component(s) that require public disclosure of siting prior to completing construction may only proceed in states where confidentiality provisions allow restricting access to information associated with the recommended transmission enhancement or expansion to the state commission and commission staff. | PJM's current Competitive Solicitation process with including CEII procedures | To the extent the PJM recommended transmission enhancement or expansion would be available for competition under current PJM open solicitation rules (exempted less than 200kV, substation equipment and immediate need), the project will be open to competition as part of an RFP process if the mitigating solution does not disclose the CIP 14 facility. Any recommended transmission enhancement or expansion, under these provisions, which includes component(s) that require public disclosure of siting prior to completing construction may only proceed in states where confidentiality provisions allow restricting access to information associated with the recommended transmission enhancement or expansion to the state commission and commission staff. | no competition | CEII Competitive Procurement Process for the PJM-determined solution
4 | CEII |  | CEII protocol for PJM (PJM CEII Request Web Page) | Status Quo | CEII protocol for PJM (PJM CEII Request Web Page) | status quo
5 | NERC CIP-014 Mitigation |  | Attachment M-4 of the PJM Tariff. | PJM to work with Asset Owner to study potential solutions to identified CIP-014 facilities. PJM will select solution. Competition available, via competitive process described above | PJM to implement "Maximum Credible Disturbance" criteria such that the PJM criteria is more stringent than that of CIP-014. PJM analysis to target the mitigation of facilities before they are projected to become CMP facilities. | PJM to work with Asset Owner to study potential solutions to identified CIP-014 violations. PJM will select solution. Competition available, via competitive process described above. Note: Physical Security Plan references Section B of the CIP-14-0-02 standard and comments (R5-5-1 to R5-5-5). | PJM defined system reliability criteria for which facilities get addressed to include any project designed specifically to remove transmission facilities from the list of CIP-014 facilities documented as requiring a physical security plan. Note: Physical Security Plan references Section B of the CIP-14-0-02 standard and comments (R5-5-1 to R5-5-5). | Same as Advocates A.
5a | Integration with the regional plan |  | N/A | Mitigation projects will be integrated into the regional plan following PJM board approval. | Full integration/implementation of analysis into PJM RTEP process. | Alleviation projects will be integrated into the regional plan following PJM board approval. | PJM to establish system-reliability planning criteria for the potential mitigation of any CIP-14 facilities that have security plan. PJM will consult with relevant state commission(s) and asset owner regarding any potential mitigation requirements. PJM will consider whether mitigation can be addressed through the RTEP. If mitigation is required and cannot be addressed through the RTEP, asset owner will propose and implement a CMP Mitigation Project with direct decision-making and oversight authority from PJM while the states retain authority where applicable. | Same as Advocates A.
6 | Oversight |  | N/A | All existing FERC, PJM and state authorities applicable | FERC and States maintain full authority where applicable. | All existing FERC, PJM and state authorities will be retained. applicable | Core issue: Consistent with the goals of the RTEP, PJM has a responsibility to coordinate CIP-14 mitigation solutions across multiple transmission owners’ systems, permitting the identification of the most efficient or cost-effective security mitigation and expansion plan for the region. PJM as regional planner, retains ability to approve or reject solutions. Solutions will be integrated into the RTEP for approval by the PJM Board of Managers. FERC and States maintain full authority where applicable. *Question: Attachment M-4 (7)(B) suggests that state commission oversight is limited(?) to” “all applicable licensing, permitting, siting, or certification requirements as well as applicable proceedings for eminent domain authority.” Are there items of state authority that are excluded by this statement? | Same as Advocates A.
7 | CIP-014 Facility Identification Prevention |  | N/A | Confidentiality associated with analysis and CIP-014 assets to be maintained in accordance with CIP-014 requirements. Public Review of CMP occurs after the CMP is placed in-service. | Maximum Credible Disturbance event implemented such that the initiating event is more stringent than the events included into the CIP-014 analysis. | Confidentiality associated with analysis and CIP-014 assets to be maintained in accordance with CIP-014 requirements. OA Attachment M-4 - Public Review of CMP: costs included in TO filed rates with public review under current rate protocols after project is placed in service.
7a | Integration with the regional plan |  | N/A | Mitigation projects will be integrated into the regional plan following PJM board approval. | Full integration/implementation of analysis into PJM RTEP process. | Alleviation projects will be integrated into the regional plan following PJM board approval.
8 | Cost Allocation/Cost Recovery |  | N/A | PJM will use existing reliability cost allocation methodology for calculation of cost responsibility to be filed following completion of construction of entire recommended transmission enhancement or expansion | Regional RTEP project cost allocation | PJM will use existing reliability cost allocation methodology for calculation of cost responsibility to be filed following completion of construction of entire recommended transmission enhancement or expansion
9 | Timeline |  | N/A | Developed in accordance with the regional planning process. | Developed in accordance with the regional planning process. | Developed in accordance with the regional planning process. | Consistent w/ regional planning process
9a | Horizon for Identification |  | N/A | This process applies to all facilities identified by the Asset Owner as potential CIP-014 facilities (Except those "Less than 20" that are covered by M4) | The process applies to all projects that are new or existing projects. | This process applies to all projects identified by the Asset Owner as potential CIP-014 violations (Except those "Less than 20" that are covered by M4 and have been substantially completed when FERC approves this alternate approach.) | Process will apply to all facilities identified after September 30, 2018 and all facilities identified on or prior to September 30, 2018 that have not undertaken significant mitigation action (completion of Step 4, Attachment M-4). | Same as Advocates A.
9b | Process for Identified Facilities |  | N/A | To the extent the PJM recommended transmission enhancement or expansion would be available for competition under current PJM competitive window rules (exempted less than 200kV, substation equipment and immediate need), the project will be open to competition as part of an RFP process if the mitigating solution does not disclose the CIP-014 facility. Any recommended transmission enhancement or expansion, under these provisions, which includes component(s) that require public disclosure of siting prior to completing construction may only proceed in states where confidentiality provisions allow restricting access to information associated with the recommended transmission enhancement or expansion to the state commission and commission staff. | Order No. 1000 Qualification Process; can add additional qualifications related to CEII (Confidentiality can affect timeline) | To the extent the PJM recommended transmission enhancement or expansion would be available for competition under current PJM open solicitation rules (exempted less than 200kV, substation equipment and immediate need), the project will be open to competition as part of an RFP process if the mitigating solution does not disclose the CIP 14 facility. Any recommended transmission enhancement or expansion, under these provisions, which includes component(s) that require public disclosure of siting prior to completing construction may only proceed in states where confidentiality provisions allow restricting access to information associated with the recommended transmission enhancement or expansion to the state commission and commission staff. | Consistent with Manual 14B and applicable NERC standards governing the treatment of confidential information, PJM will review mitigation solutions to determine if the proposed solution interacts with an identified violation, system condition, economic constraint, or public policy requirement posted on the PJM website. PJM will then determine whether a possible baseline upgrade would more efficiently and cost-effectively address the identified regional need, as well as the mitigation need, provided that in doing so neither confidential information is disclosed nor the potential security risk unreasonably increased. | Same as Advocates A.
10 | Cost Efficiency |  | N/A | Reliability and Resilience should be the priority while adhering to the Order 1000 principles to recommend the more efficient or cost-effective enhancements and expansions to the PJM Board for approval | Cost Efficiency considered when PJM selects a proposal targeted at mitigating identified thermal, voltage, or stability violations resulting from Maximum Credible Disturbance analysis. | Regional Planning Process. Reliability and Resilience should be the priority while adhering to the Order 1000 principles to recommend the more efficient or cost-effective enhancements and expansions to the PJM Board for approval
11 | Verification of successful mitigation |  | N/A - PJM would perform the same analysis it performs as the independent third party verifier | PJM will perform analysis consistent with CIP-014 to verify that the project mitigates the CIP critical facility. |  | PJM will perform Analysis consistent with CIP-014-2 to verify that the project mitigates the CIP critical facility. | Core issue: States/PJM/FERC/ (*is NERC involved?) | Same as Advocates A.
Instructions:
1. Copy over design component, priority, and status quo columns from options matrix
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## 3. Package Matrix - Avoidance
Planning Committee
Critical Infrastructure Stakeholder Oversight
PACKAGE/ PROPOSAL MATRIX
Avoidance of future CIP-014 critical facilities
Packages
# | Design Components | Priority | Status Quo | A - PJM | B - AMP Withdrawn | C | D | E
12a | Resilience Driver/Criteria Analysis |  | N/A | PJM performs RTEP Resilience criteria analysis utilizing the cascading trees tool. | PJM to establish/implement system reliability planning criteria for the addressing of any Thermal, voltage, or stability violations resulting from the Maximum Credible Disturbance Analysis outlined in Section 2.3.15 of Manual 14B to avoid the creation of CIP-14 facilities in the future.
12b | Metrics/Measurements/Factors. |  | N/A | Consistent with RTEP Resilience criteria analytical methods incorporated in cascading trees tool software. | Expansion of Manual 14B-Section 2.3.15 Maximum Credible Disturbance Review to allow PJM to open up events/violations to PJM's competitive RTEP planning process. Criteria not focused on load drop, but on the mitigation of reliability issues to prevent facilities from becoming CMP facilities. Standard powerflow and stability analysis is all that is required.
12c | Sensitivity Testing |  | N/A | Consistent with analysis methods as indicated in the resilience criteria analysis described above. | Consistent with PJM Competitive RTEP planning process.
13 | Integration into RTEP |  | N/A |  | PJM creation of extreme event criteria that would allow PJM proposed baseline mitigation projects establishment of thermal and voltage violations
13a | Communication Procedures |  | N/A | - PJM to communicate failure of project to meet resilience criteria requirements - If a project proposal violates PJM's Resilience criteria, PJM to provide verbal update with limited/restricted level of information to entity who submitted the project proposal through competitive window. Information limited to analytical results only. | PJM to communicate selected mitigation projects. If a project/proposal violates Maximum Credible Disturbance criteria, PJM to inform all stakeholders and the entity whose proposal failed to ensure system reliaiblity.
13b | Confidentiality |  | N/A | If project proposal violates PJM's Resilience criteria, PJM shall provide limited/restricted level of information to project proposal. | if project fails to address identified reliability violations, or prevents a new reliability violation with its implementation PJM will fully disclose this information. Note: criteria is more stringent than CIP-014 thus, confidentiality should not be required.
13c | CEII |  |  | Status Quo | Status Quo
13d | Re-evaluation Process |  | N/A | Not Applicable | Applicable until project begins construction
14 | Transparency |  | N/A | - PJM communicate failure of project to meet RTEP Resilience criteria requirements - If a project proposal violates PJM's Resilience criteria, PJM shall provide limited/restricted level of information to entity proposing project through the competitive window. | Full transparency consistent with PJM's current competitive RTEP planning process. |  |  |  | Low
15 | Competition |  | N/A | Limited to proposing entities ability to mitigate initial issue identified in competitive process. No opportunity to revise a proposal submitted through a competitive window once the window closes to address issues that trigger potential violations associated with the RTEP Resilience criteria. | Limited to proposing entities ability to mitigate initial issue identified in competitive process. No opportunity to revise a proposal submitted through a competitive window once the window closes to address issues that trigger potential violations associated with the RTEP Resilience criteria. |  |  |  | Low - Medium
16 | Cost Allocation/Cost Recovery |  | N/A | Status Quo | Cost allocation as determined by TOs |  |  |  | Low - High
17 | Roles and Responsibilities |  | N/A | [5 empty] | Medium
17a | PJM |  | N/A | - Performs RTEP Resilience criteria analysis with cascading trees tool - Communicates information in accordance with confidentiality requirements as described above. E.g., release limited/restricted level of information to proposing entity. | PJM has full authority to identify, assess, solicit and select mitigation projects to address Maximum Credible Disturbance reliability violations. |  |  |  | Medium - High
17b | State Commissioners |  | N/A | Provide feedback consistent with the confidentiality provisions in the Operating Agreement | Provide feedback consistent with the confidentiality provisions in the Operating Agreement |  |  |  | High
17c | PJM Stakeholders |  | N/A | Status Quo with limited/restricted level of communications to entity proposing project triggering potential violations of PJM's RTEP Resilience criteria. | Active participation in TEAC process
17d | Asset Owners |  | N/A | Status quo with limited/restricted level of communications to entity proposing project triggering potential violation of PJM's RTEP Resilience criteria. | PJM to implement competitive framework with required CEII access requirements. PJM will have full planning authority and discretion to select mitigation project identified through its competitive planning process. Asset Owners able to participate through PJM competitive window framework.
Instructions:
1. Copy over design component, priority, and status quo columns from options matrix
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## 3a. Package Details
Planning Committee
Critical Infrastructure Stakeholder Oversight
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
Planning Committee
Critical Infrastructure Stakeholder Oversight
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description

## Revision History
Planning Committee
Critical Infrastructure Stakeholder Oversight
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1
2
3