## Version History
PJM 2014/15 RTEP Long Term Proposal Window Tracking Spreadsheet
Proposal Window: | 2014/15 RTEP Long Term Proposal Window
Window Opening Date: | 2014-10-30
Window Closing Date: | 2015-02-27
Window Duration: | 120 Days
Current Spreadsheet Version | V2
V1: Original Posting for 3/12/2015 TEAC
V2: Clarified differences between projects 22A and 22B

## Tracking by Proposal
PJM 2014/15 RTEP Long Term Proposal Window Tracking Spreadsheet
Proposal Window: | 2014/15 RTEP Long Term Proposal Window
Window Opening Date: | 2014-10-30
Window Closing Date: | 2015-02-27
Window Duration: | 120 Days
Current Spreadsheet Version | V2
Project ID | Upgrade/Greenfield | Reliability/Market Efficiency | Proposing Entity | Cost ($M) | Target Zone | kV Level | Analysis Type | FG # | Major Components | ME Constraints Identified
201415_1-1A | Upgrade | Reliability | EKPC | 0.72* | EKPC | 69 | Long Term EKPC Criteria | LT-EKPC1, LT-EKPC2 | Upgrade the Denny - Gregory Road Tap 69-kV line facility. *$720,000 Cost includes an upgrade of the entire Denny 69 kV bus and associated equipment at Denny.
201415_1-2A | Upgrade | Market Efficiency | PPL | 1.1 | PPL/BGE | 230 | Market Efficiency | N/A | Reconductor two spans of the Graceton-Safe Harbor 230kV transmission line. Includes termination point upgrades | Safe Harbor to Graceton 230 kV
201415_1-2B | Upgrade | Market Efficiency | PPL | 3.1 | PPL/Meted | 230 | Market Efficiency | N/A | Reconductor three spans limiting the Brunner Island - Yorkana 230kV line, add 2 breakers to Brunner Island Switchyard, upgrade associated terminal equipment | Brunner Island to Yorkana 230 kV
201415_1-2C | Greenfield | Market Efficiency | PPL | 33.95 | PPL | 500 | Market Efficiency/ Reactive | N/A | Install 500kV -100/+500 MVAR SVC addition and associated terminal hardware at New Juniata SVC Substation Yard with Approx. 300ft of 500kV transmission linking the existing Juniata Substation to the new SVC yard | AP SOUTH L/O BED-BLA
201415_1-3A | Upgrade | Market Efficiency | PPL/FE | 40.2 | PPL/Meted | 500 | Market Efficiency | N/A | Expand existing Yorkana substation in Met-Ed. Install 500/230 kV transformer, construct a 500 kV ring bus, install two 230 kV breakers and loop TMI-Peach Bottom 500 kV line into new 500 kV ring bus. | Brunner Island to Yorkana 230 kV
201415_1-4A | Greenfield | Reliability | AEP | 17.6 | AEP/OVEC | 345 | 15 Year Thermal Single | 15Y-S7 | Construct 3.2 miles of new 1590 ACSR 345kV line between Kyger Creek 345kV and Gavin 138kV stations and install a 345/138kV transformer at Gavin
201415_1-4B | Upgrade | Reliability | AEP | 15.5 | AEP/OVEC | 345 | 15 Year Thermal Single | 15Y-S7 | Reconductor Kyger - Sporn No.2 circuit
201415_1-4C | Upgrade | Reliability | AEP | 21.3 | AEP/OVEC | 345 | 15 Year Thermal Single | 15Y-S7 | Reconductor Kyger - Sporn No.1 and No.2 circuit
201415_1-4D | Upgrade | Reliability | AEP | 0.3 | AEP/OVEC | 345 | 15 Year Thermal Single | 15Y-S7 | Six Wire Kyger - Sporn No.1 and No.2 Circuits Together
201415_1-4E | Upgrade | Reliability | AEP | 62.48 | AEP/OVEC | 345 | 15 Year Thermal Single | 15Y-S7 | Rebuild Kyger - Sporn No.1 and No.2 circuit
201415_1-4F | Upgrade | Reliability | AEP | 10 | AEP | 345 | 15 Year Thermal Single | 15Y-S13, 15Y-S14 | Reconductor Dequine-Meadow Lake 345 kV ckt #1 and ckt #2. Upgrade wavetraps at Deqine and Meadow Lake stations to ensure that the new conductor sets the ratings for these circuits
201415_1-4G | Upgrade | Reliability | AEP | 25 | AEP | 345 | 15 Year Thermal Single | 15Y-S13, 15Y-S14 | Rebuild Dequine-Meadow Lake 345 kV ckt #1 and ckt #2. Also install OPGW. Upgrade relay trip settings at Dequine station on Dequine-Meadow Lake 345 kV #1. Upgrade relay trip settings at Meadow Lake on Dequine-Meadow Lake 345 kV #2. Dequine-Meadow Lake 345 kV ckt 1 and ckt 2 will be on fiber for communications. Retire wavetraps on both circuits.
201415_1-4H | Greenfield | Reliability | AEP | 25 | AEP | 345 | 15 Year Thermal Single | 15Y-S13, 15Y-S14 | Construct Dequine-Meadow Lake 345 kV ckt #3. Install a 3000 A (cont. current) 63 kA (intr. current) 345 kV circuit breaker at Dequine station to complete breaker and half string “A”. Swing Fowler Ridge (IPP), Meadow Lake #1, and Meadow Lake #2 to new positions. Terminate Meadow Lake #3 between breaker C1 and C. Install a 3000 A (cont. current) 63 kA (intr. current) 345 kV circuit breaker at Meadow Lake station to complete breaker and half string “D”. Swing Dequine #1 and #2 to new positions. Terminate Dequine #3 between breaker C and C1. Dequine-Meadow Lake ckt #1 and ckt #2 will continue to be on carrier communications whereas; ckt #3 will be on fiber communications.
201415_1-4I | Upgrade | Market Efficiency | AEP | 0.75 | AEP | 138 | Market Efficiency | N/A | Mitigate all violations identified by the sag study to operate the Fieldale - Thornton - Franklin overhead 138 kV line conductor at its maximum operating temperature. Preliminary study results have identified 6 potential distribution/utility line crossings to be addressed. Also, replace terminal equipment at AEP's Danville and East Danville substations to improve the thermal capacity of Danville - East Danville 138 kV circuit. | Fieldale to Thornton 138 kV Danville to East Danville 138 kV
201415_1-4J | Upgrade | Market Efficiency | AEP | 0.5 | AEP | 765 | Market Efficiency | N/A | Replace relays at AEP's Cloverdale and Jackson's Ferry substation to improve the thermal capacity of Cloverdale - Jackson's Ferry 765 kV line | Jacksons Ferry to Cloverdale 765 KV 765 kV
201415_1-5A | Upgrade | Market Efficiency | BGE | 5.6 | BGE/PPL | 230 | Market Efficiency | N/A | Rebuild BGE portion of line, approximately 1.4 miles of the Graceton-Safe Harbor 230kV line with 1590kcm 45/7 ACSR conductor in conjunction with the project being submitted by PPL for this same tie line. BGE and PPL projects together will achieve a combined tie line facility ratings of 648/802 MVA SN/SE and 746/903 MVA WN/WE | Safe Harbor to Graceton 230 kV
201415_1-6A | Upgrade | Market Efficiency | Dominion Virginia Power | 25 | Dominion | 500 | Market Efficiency/ Reactive | N/A | Build one 500kV Thyristor Controlled Series Capacitors (TCSC) at Mt Storm substation on the Mt Storm - Pruntytown (554) transmission line to reduce congestion on AP South and other PJM interfaces | AP SOUTH L/O BED-BLA Other Interfaces
201415_1-6B | Upgrade | Market Efficiency | Dominion Virginia Power | 25 | Dominion | 500 | Market Efficiency/ Reactive | N/A | Build one 500kV Thyristor Controlled Series Capacitors (TCSC) at Loudoun substation on the Loudoun - Meadowbrook line to reduce congestion on AP South and other PJM interfaces | AP SOUTH L/O BED-BLA Other Interfaces
201415_1-6C | Upgrade | Market Efficiency | Dominion Virginia Power | 39.06 | Dominion | 500 | Market Efficiency/ Reactive | N/A | Build one 500kV Thyristor Controlled Series Capacitor (TCSC) at Loudoun substation on the Loudoun - Meadowbrook (535) line and build five (5) 230 kV capacitor banks at five (5) DVP substations to alleviate congestion on AP South and other PJM interfaces | AP SOUTH L/O BED-BLA Other Interfaces
201415_1-6D | Greenfield | Market Efficiency | Dominion Virginia Power | 42.7 | Dominion | 500 | Market Efficiency/ Reactive | N/A | Build a new 500kV station (Palmyra) by connecting at the intersection of two (2) 500kV lines of North Anna - Midlothian 500kV line and Cunningham - Elmont 500kV line and build five (5) capacitor banks in DVP zone to alleviate AP South and AEP-DOM congestions | AP SOUTH L/O BED-BLA Other Interfaces
201415_1-7A | Greenfield | Market Efficiency | Transource | 139 | AEP | 765 | Market Efficiency/ Reactive | N/A | Construct a new double circuit 230 kV line between AEP's Axton Station to AEP's East Danville Station approximately 25 miles away. Install 3-765kV breakers in a ring configuration, 2-230 kV breakers, and a 765/230 kV transformer at Axton Station. Install 4-230 kV breakers in a ring configuration at East Danville Station. Additional upgrades in AEP will also be included in this proposal. The 765kV Axton and 230kV East Danville substations will both be expanded to accommodate the new circuits. 1,550 MVARs of new capacitance will also be installed with 350 MVAR of capacitor banks each at Brambleton and Ashburn stations, 175 MVAR each at Lexington and Dooms stations and 250 MVAR each at Jackson’s Ferry and Broadford substations. | AP SOUTH L/O BED-BLA Other Interfaces Danville to East Danville 138 kV Fieldale to Thornton 138 kV
201415_1-7B | Greenfield | Market Efficiency | Transource | 237 | AEP | 230 | Market Efficiency/ Reactive | N/A | Construct a new double circuit 230 kV line between MeadowbBrook Station and Doubs Station approximately 50 miles away. Additional upgrades in AEP will also be included in this proposal. The 500kV Meadowbrook and 230kV Doubs substations will both be expanded to accommodate the new circuits. 1,550 MVARs of new capacitance will also be installed with 350 MVAR of capacitor banks each at Brambleton and Ashburn stations, 175 MVAR each at Lexington and Dooms stations and 250 MVAR each at Jackson’s Ferry and Broadford substations. | AP SOUTH L/O BED-BLA Other Interfaces Taneytown to Carroll 138 kV
201415_1-7C | Greenfield | Market Efficiency | Transource | 210 | AEP | 500 | Market Efficiency/ Reactive | N/A | Construct a new 500 kV line between MeadowbBrook Station to Doubs Station approximately 50 miles away. Install a single 500 kV breaker in the existing ring arrangemenet at Meadow Brook Station. Connect the 500 kV line into the existing breaker and a half arrangement at Doubs Station. Additional upgrades in AEP will also be included in this proposal. The Meadowbrook and Doubs substations will both be expanded to accommodate the new circuits. 1,750 MVARs of new capacitance will also be installed with 350 MVAR of capacitor banks each at Brambleton, Loudoun, Lexington, Jackson’s Ferry and Broadford substations. | AP SOUTH L/O BED-BLA Other Interfaces Taneytown to Carroll 138 kV
201415_1-8A | Greenfield | Market Efficiency | Dominion/Transource | 384 | AEP/Dominion | 765 | Market Efficiency/ Reactive | N/A | Construct a new 500 kV station called "Palmyra" that will tap the existing North Anna - Midlothian 500 kV line and the Cunningham - Elmont 500 kV line approximately where the two lines cross. Include a 765/500 kV transformer in the new station, which will be built as breaker-and-a-half. Construct a new 75 mile single circuit 765 kV line between Palmyra station and Joshua Falls 765 kV station. Install additional 765 kV breakers at The Joshua Falls station will be expanded to accommodate the new line to Palmyra. Install one 350 MVAR cap bank at Jackson's Ferry and Broadford 765 kV stations. Install one 151.54 MVAR cap bank at Liberty and Cannon Branch 230 kV stations. Install two 151.54 MVAR cap banks at Shellhorn, Dooms, and Morrisville 230 kV stations. Replace the relay on the Cloverdale - Jackson's Ferry 765 kV line. Complete sag remediation on the Fieldale - Thornton - Franklin 138 kV line. Replace terminal equipment on the Danville - East Danville 138 kV line. | AP SOUTH L/O BED-BLA AEP-DOM L/O BED-BLA Other Interfaces Danville to East Danville 138 kV Fieldale to Thornton 138 kV
201415_1-8B | Greenfield | Market Efficiency | Dominion/Transource | 293 | AEP/Dominion | 500 | Market Efficiency/ Reactive | N/A | Construct a new 500 kV station called "Palmyra" that will tap the existing North Anna - Midlothian 500 kV line and the Cunningham - Elmont 500 kV line approximately where the two lines cross. Construct a new 75 mile single circuit 500 kV line between Palmyra station and Joshua Falls 765 kV station. Install a 765/500 kV transformer at Joshua Falls station. Install additional 765 kV breakers at The Joshua Falls station will be expanded to accommodate the new circuit transformer. Install one 151.54 MVAR cap bank at Liberty and Cannon Branch 230 kV stations. Install two 151.54 MVAR cap banks at Shellhorn, Dooms, and Morrisville 230 kV stations. | AP SOUTH L/O BED-BLA AEP-DOM L/O BED-BLA Other Interfaces Fieldale to Thornton 138 kV
201415_1-8C | Greenfield | Market Efficiency | Dominion/Transource | 317 | AEP/Dominion | 765 | Market Efficiency/ Reactive | N/A | Construct a new single circuit 765kV line between AEP's Axton Station to Dominions Clover Station approximately 60 miles away. Install 4-765kV breakers in a ring configuration and a shunt reactor at Axton Station. Install 9-500 kV breakers, 1-765kV breaker, and a 765/500 kV transformer at Clover Station. Additional upgrades in AEP will also be included in this proposal. The Axton and Clover substations will be expanded to accommodate the new circuit. Complete sag remediation on the Fieldale - Thornton - Franklin 138 kV line. Replace terminal equipment on the Danville - East Danville 138 kV line and at the Carson and Rawlings substations. Replace the relay on the Cloverdale-Jackson’s Ferry 765kV line. Install one 350 MVAR cap bank at Jackson's Ferry and Broadford 765 kV stations. Install one 151.54 MVAR cap bank at Liberty and Cannon Branch 230 kV stations. Install two 151.54 MVAR cap banks at Shellhorn, Dooms, and Morrisville 230 kV stations. | AP SOUTH L/O BED-BLA AEP-DOM L/O BED-BLA Other Interfaces Danville to East Danville 138 kV Fieldale to Thornton 138 kV
201415_1-8D | Greenfield | Market Efficiency | Dominion/Transource | 222 | AEP/Dominion | 500 | Market Efficiency/ Reactive | N/A | Build a single circuit 500kV AC overhead line from Axton - Clover substations, build a 765/500kV TX at Axton, and build five (5) capacitor banks in DVP zone to alleviate AP South and AEP-DOM congestions | AP SOUTH L/O BED-BLA AEP-DOM L/O BED-BLA Other Interfaces Fieldale to Thornton 138 kV
201415_1-8E | Greenfield | Market Efficiency | Dominion/Transource | 181 | Dominion | 230 | Market Efficiency/ Reactive | N/A | Build a double circuit 230kV AC overhead line from Joshua Falls - Farmville substations, build a 765/230kV TX at Joshua Falls, and build five (5) capacitor banks in DVP zone to alleviate AP South and AEP-DOM congestions | AP SOUTH L/O BED-BLA AEP-DOM L/O BED-BLA Other Interfaces Fieldale to Thornton 138 kV
201415_1-8F | Greenfield | Market Efficiency | Dominion/Transource | 193 | Dominion | 230 | Market Efficiency/ Reactive | N/A | Build a single circuit 230kV AC overhead line from Joshua Falls - Farmville substations, build a 765/230kV TX at Joshua Falls, upgrade portions of the 84 line, and build five (5) capacitor banks in DVP zone to alleviate AP South and AEP-DOM congestions | AP SOUTH L/O BED-BLA Other Interfaces
201415_1-9A | Greenfield | Market Efficiency | Dominion Virginia Power/Transource | 269 | Peco/Dominion/AEP | 230 | Market Efficiency/ Reactive | N/A | Tap the Conemaugh - Hunterstown 500 kV line with a new station named "Rice" and construct a new 230 kV double circuit line between Rice and Ringgold stations. Tap the Peach Bottom - Three Mile Island 500 kV line with a new station named "Furnace Run" and construct a new 230 kV double circuit line between Furnace Run and Conastone stations. Add three 86.4 MVAR cap banks to Jackson's Ferry and Broadford 138 kV stations. Add one 175 MVAR cap bank to Lexington and Dooms 230 kV stations. Add two 175 MVAR cap banks to Ashburn and Brambleton 230 kV stations. Rebuild the Conastone - Northwest 230 kV double circuit corridor. | AP SOUTH L/O BED-BLA Other Interfaces Brunner Island to Yorkana 230 kV Taneytown to Carroll 138 kV Safe Harbor to Graceton 230 kV Conastone to Northwest 230 kV
201415_1-10A | Upgrade | Market Efficiency | ComEd | 0.7 | ComEd | 138 | Market Efficiency | N/A | Replace relays at Mazon substation | Oglesby to Mazon 138 kV
201415_1-10B | Upgrade | Market Efficiency | ComEd | 0.1 | ComEd | 138 | Market Efficiency | N/A | Replace L7815 B phase line trap at Wayne substation | Wayne to South Elgin 138 kV
201415_1-10C | Greenfield | Market Efficiency | ComEd | 37.8 | ComEd | 345 | Market Efficiency | N/A | The solution consists of the installation of a new ~14.5 mile 345 kV single circuit overhead transmission line from ComEd’s existing Loretto 345kV substation to ComEd’s existing Katydid 345kV substation. Additionally, 345 kV L0303 from ComEd’s Powerton to Goodings Grove 345 kV substations would be brought into and split at Katydid. | Lorreto to Wilton CTR 345 kV
201415_1-10D | Upgrade | Market Efficiency | ComEd | 11.5 | ComEd | 345 | Market Efficiency | N/A | Mitigate sag limitations on Loretto-Wilton Center Line, and replace station conductor at Wilton Center. | Lorreto to Wilton CTR 345 kV
201415_1-10E | Upgrade | Market Efficiency | ComEd | 17.4 | ComEd | 345 | Market Efficiency | N/A | Mitigate sag limitations on Loretto-Wilton Center Line and replace station conductor and circuit breakers at Wilton Center. | Lorreto to Wilton CTR 345 kV
201415_1-10F | Upgrade | Market Efficiency | ComEd | 14 | ComEd | 345 | Market Efficiency | N/A | Loretto to Wilton Center Sag Mitigation and Station Conductor Replacement; Pontiac Midpoint to Dresden Station Conductor Replacement | Lorreto to Wilton CTR 345 kV
201415_1-10G | Upgrade | Market Efficiency | ComEd | 19.9 | ComEd | 345 | Market Efficiency | N/A | Loretto to Wilton Center Sag Mitigation, Station Conductor Replacement, Circuit breaker replacements at Wilton Center and Replace station conductor at Pontiac Midpoint and Dresden | Lorreto to Wilton CTR 345 kV
201415_1-10H | Upgrade | Market Efficiency | ComEd | 25.9 | ComEd | 345 | Market Efficiency | N/A | Loretto to Wilton Center Sag Mitigation, Station Conductor Replacement at Wilton Center, Circuit breaker replacements at Wilton Center and Pontiac Midpoint, and Replace station conductor at Pontiac Midpoint and Dresden. | Lorreto to Wilton CTR 345 kV
201415_1-10I | Upgrade | Market Efficiency | ComEd | 2 | ComEd | 345 | Market Efficiency | N/A | Reconductor Cordova to Nelson 345kV line and replace station conductor. NOTE: This project (s0704) is scheduled to complete on March 13, 2015 | Cordova to Nelson 345 kV
201415_1-10J | Upgrade | Market Efficiency | ComEd | 24.6 | ComEd | 345 | Market Efficiency | N/A | Replace station equipment at three stations and upgrade conductor rating of three lines by re-conductoring and mitigating sag limitations. NOTE: Component 1 of this project (s0704) is scheduled to complete on March 13, 2015 | Cordova to Nelson 345 kV
201415_1-10K | Upgrade | Market Efficiency | ComEd | 15.5 | ComEd | 345 | Market Efficiency | N/A | Replace station equipment at three stations and reconductor Cordova to Nelson 345kV line. NOTE: Component 1 of this project (s0704) is scheduled to complete on March 13, 2015 | Cordova to Nelson 345 kV
201415_1-11A | Greenfield | Reliability | PECO | 32.5 | AE/PSEG | 230 | 15 Year Thermal Single; 15 Year Thermal Tower | 15Y-S10; 15Y-T2, 15Y-T3 | Build new 230 kV transmission line connecting Penrose substation and Eagle Point substation
201415_1-11B | Greenfield | Reliability | PECO | 44.5 | AE/PSEG | 230 | 15 Year Thermal Single; 15 Year Thermal Tower | 15Y-S10; 15Y-T2, 15Y-T3 | Build new 230 kV transmission line connecting Penrose substation and Thorofare substation
201415_1-11C | Greenfield | Reliability | PECO | 81 | AE/PSEG | 230 | 15 Year Thermal Single; 15 Year Thermal Tower | 15Y-S10; 15Y-T2, 15Y-T3 | Build new 230 kV transmission line connecting Waneeta substation and Eagle Point substation
201415_1-11D | Greenfield | Reliability | PECO | 43.5 | AE/PSEG | 230 | 15 Year Thermal Single; 15 Year Thermal Tower | 15Y-S10; 15Y-T2, 15Y-T3 | Build new 230 kV transmission line connecting Eddystone substation and Mickleton substation
201415_1-11E | Upgrade | Market Efficiency | PECO | 1.8 | PECO | 500 | Market Efficiency | N/A | Increase ratings of 5012 Peach Bottom-Conastone 500 kV line to 2490 MVA normal / 2815 MVA emergency | Peach Bottom to Conastone 500 kV
201415_1-11F | Upgrade | Market Efficiency | PECO | 8.7 | PECO | 500 | Market Efficiency | N/A | Increase ratings of 5012 Peach Bottom-Conastone 500 kV line to 2826 MVA normal / 3525 MVA emergency | Peach Bottom to Conastone 500 kV
201415_1-11G | Upgrade | Market Efficiency | PECO | 0.2 | PECO | 230 | Market Efficiency | N/A | Increase ratings of Peach Bottom 500-230 kV transformer to 1245 MVA normal / 1387 MVA emergency | Peach Bottom 500 kV
201415_1-11H | Upgrade | Market Efficiency | PECO | 9.7 | PECO | 230 | Market Efficiency | N/A | Increase ratings of Peach Bottom 500-230 kV transformer to 1479 MVA normal / 1839 MVA emergency | Peach Bottom 500 kV
201415_1-11I | Upgrade | Market Efficiency | PECO | 21.1 | PECO | 230 | Market Efficiency | N/A | Install a 2nd 500-230 kV transformer at Peach Bottom substation | Peach Bottom 500 kV
201415_1-12A | Upgrade | Market Efficiency | Duquesne Light | 11.184 | DUQ | 138 | Market Efficiency | N/A | Reconductor approximately 7 miles of the Woodville-Peters (Z-117) 138kV circuit, reconfigure the West Mifflin-USS Clairton (Z-15) 138kV circuit to establish the Dravosburg-USS Clairton (Z-14) 138kV circuit and the West Mifflin-Wilson (Z-15) 138kV circuit | Dravosburg to West Mifflin 138 kV Woodville to 15USAP 138 kV
201415_1-13A | Upgrade | Reliability | PHI | 21.6 | DPL | 230 | 15 Year Thermal Single | 15Y-S1 | Rebuild Milford - Cool Sping 230 kV ckt 1 to 2000A capability summer emergency
201415_1-13B | Upgrade | Reliability | PHI | 24.8 | DPL | 230 | 15 Year Thermal Single | 15Y-S12 | Rebuild Red Lion - Cedar Creek 230 kv Ckt 1 to 2000A capability summer emergency
201415_1-13C | Upgrade | Reliability | PHI | 37.49 | AE | 230 | 15 Year Thermal Tower | 15Y-T2 | Rebuild Mickelton - Monroe 230 ckt 1 to 2000A capability summer emergency
201415_1-13D | Upgrade | Reliability | PHI | 4.18 | AE | 230 | 15 Year Thermal Tower | 15Y-T3 | Rebuild Mickelton - Monroe 230 ckt 2 to 2000A capability summer emergency
201415_1-13E | Upgrade | Market Efficiency | PHI | 2.4 | DPL | 69 | Market Efficiency | N/A | Rebuild Worcester - Ocean Pine 60 kV ckt 1 to 1400A capability summer emergency | Worcester to Ocean Pines (I) 69 kV
201415_1-14A | Greenfield | Market Efficiency | DATC | 47.14 | PECO/Meted/APS | 500 | Market Efficiency/ Reactive | N/A | A hybrid series capacitor and thryistor controlled series capacitor near the midpoint of Conemaugh to Hunterstown 500 kV line in southern Pennsylvania. Add a phase angle regulator on the Messick to Morgan 138 kV line and close the circuit in Maryland. | AP SOUTH L/O BED-BLA
201415_1-14B | Greenfield | Market Efficiency | DATC | 21.11 | Meted | 115 | Market Efficiency | N/A | The project cuts into the Germantown - Straban 115 kV line near Germantown. It loops 11 miles of double circuit 115 kV from the cut-in section to Fairview substation and back, tying in to the 115 kV line up to Straban (using the existing circuit). | Taneytown to Carroll 138 kV
201415_1-14C | Greenfield | Market Efficiency | DATC | 11.35 | DEOK | 138 | Market Efficiency | N/A | Build a new 345 kV substation in Northern Kentucky to tie together the Miami Fort – Tanners Creek 345 kV line and the Miami Fort – Terminal 345 kV line | Miami Fort to Willey 138 kV
201415_1-15A | Greenfield | Market Efficiency | GridAmerica | 125 | PSEG | 230 | Market Efficiency/ RPM | N/A | The Project consists of a new approximately six-mile underground 230 kV 5000 kcmil transmission line between the West Orange 230 kV Substation in West Orange Township, New Jersey to the Cook Road 230 kV Substation in Nutley Township, New Jersey. The underground 230 kV line will be connected to the Cook Road 230 kV bus “C” which is electrically connected to the Athenia 230 kV Substation and the Kings Land 230 kV Substation | Roseland-Cedar Grove-Clifton 230 kV corridor
201415_1-16A | Greenfield | Market Efficiency | Nipsco | 240 | AEP/CE/NIPS | 345 | Market Efficiency | N/A | Wilton Center to Reynolds Single Circuit 345 kV and a 765/345 kV Xfmr at Gwynneville by Splitting Greentown to Jeffereson 765 kV line at Gwynneville to form a new 765 kV Substation with 765/345 kV Xfmr | None Specified
201415_1-16B | Greenfield | Market Efficiency | Nipsco | 290 | AEP/CE/NIPS | 345 | Market Efficiency | N/A | Double Circuit 345 kV line section from Pontiac to Reynolds (~100 miles) | Lorreto to Wilton CTR 345 kV
201415_1-16C | Upgrade | Market Efficiency | Nipsco | 81.164 | AEP/CE/NIPS | 345 | Market Efficiency | N/A | Burnham-Munster 345 kV (Munster Ring Bus), Burnham-Sheffield 345kV (ComEd CT’s), Dumont-Stilllwell 345kV (AEP Resag and AEP/NIPS wavetraps and drops), Michigan City-LaPorte 138 kV (Operating Temp, CT's, 500 MCM CU and Conductor Drop), Rebuild Michigan City – Trail Creek 138 kV (Remove Terminal Limits: Copper, MC&TC CT's), Rebuild Trail Creek – New Carlisle 138 kV (Remove Terminal Limits: TC CT's), Rebuild Maple-New Carlisle 138 kV (Remove Terminal Limits: Copper and Maple CT's) | None Specified
201415_1-17A | Greenfield | Market Efficiency | Nextera | 16.5 | Dominion | 230 | Market Efficiency/ Reactive | N/A | Build new Cochran Mill 230 kV switchyard with 600 MVAR Capacitors, and a new 230 kV line from Cochran Mill - Pleasant View 230 kV | AP SOUTH L/O BED-BLA
201415_1-17B | Greenfield | Market Efficiency | Nextera | 41 | Dominion | 230 | Market Efficiency/ Reactive | N/A | Build new Cochran Mill 230 kV switchyard with 300MVAR SVC, 300 MVAR Capacitors, and a new 230 kV line from Cochran Mill - Pleasant View 230 kV | AP SOUTH L/O BED-BLA
201415_1-17C | Greenfield | Market Efficiency | Nextera | 15.7 | Dominion | 230 | Market Efficiency/ Reactive | N/A | Build new Cochran Mill 230 kV switchyard with 400 MVAR Capacitors, and a new 230 kV line from Cochran Mill - Pleasant View 230 kV | AP SOUTH L/O BED-BLA
201415_1-17D | Greenfield | Market Efficiency | Nextera | 36.4 | Dominion | 230 | Market Efficiency/ Reactive | N/A | Build new Cochran Mill 230 kV switchyard with 200MVAR SVC, 200 MVAR Capacitors, and a new 230 kV line from Cochran Mill - Pleasant View 230 kV | AP SOUTH L/O BED-BLA
201415_1-17E | Greenfield | Market Efficiency | Nextera | 297 | PECO | 500 | Market Efficiency/ Reactive | N/A | Build new Hunterstown - Brighton 500 kV line, Build new Conastone - Peach Bottom 500 kV line | AP SOUTH L/O BED-BLA Brunner Island to Yorkana 230 kV Taneytown to Carroll 138 kV Safe Harbor to Graceton 230 kV
201415_1-17F | Greenfield | Market Efficiency | Nextera | 76.2 | PECO | 500 | Market Efficiency/ Reactive | N/A | Build new Conastone - Peach Bottom 500 kV line | AP SOUTH L/O BED-BLA Brunner Island to Yorkana 230 kV Safe Harbor to Graceton 230 kV
201415_1-17G | Greenfield | Market Efficiency | Nextera | 86.3 | PECO | 500 | Market Efficiency/ Reactive | N/A | Build new Atom 500 kV substation, Build new Conastone - Peach Bottom 500 kV line, Loop Yorkana - Peach Bottom 500 kV line into Atom | AP SOUTH L/O BED-BLA Brunner Island to Yorkana 230 kV Safe Harbor to Graceton 230 kV
201415_1-18A | Upgrade | Reliability | FirstEnergy | 6.2 | JCPL/PSEG | 230 | 15 Year Thermal Tower | 15Y-T5 | Reconductor Raritan River - Kilmer 230 kV line and upgrade terminal equipment
201415_1-18B | Upgrade | Reliability | FirstEnergy | 9.8 | JCPL | 230 | 15 Year Thermal Tower | 15Y-T6 | Reconductor Williams - Freneau 230 kV line and upgrade terminal equipment
201415_1-18C | Upgrade | Reliability | FirstEnergy | 5.3 | JCPL | 230 | 15 Year Thermal Tower | 15Y-T7 | Reconductor Parlin - Williams 230 kV line and upgrade terminal equipment
201415_1-18D | Upgrade | Reliability | FirstEnergy | 3.6 | JCPL | 230 | 15 Year Thermal Tower | 15Y-T8 | Reconductor Red Oak - Raritan River 230 kV line and upgrade terminal equipment
201415_1-18E | Greenfield | Market Efficiency | FirstEnergy | 66 | Dominion/APS | 500 | Market Efficiency/ Reactive | N/A | Install series capacitors on the Doubs-Mt. Storm 500 kV line | AP SOUTH L/O BED-BLA
201415_1-18F | Upgrade | Market Efficiency | FirstEnergy | 68 | Penelec | 500 | Market Efficiency/ Reactive | N/A | Complete the existing Jacks Mountain baseline RTEP project (b0284.1, b0284.3, b0285.1, and b0285.2), Install 500 kV Series Capacitors at Jacks Mountain. | AP SOUTH L/O BED-BLA Other Interfaces Taneytown to Carroll 138 kV Pruntytown to 8MTSTORM 500 kV
201415_1-18G | Upgrade | Market Efficiency | FirstEnergy | 5.2 | APS/Meted | 138 | Market Efficiency | N/A | Upgrade terminal equipment on the Lincoln - Carroll 115/138kV path. | Taneytown to Carroll 138 kV
201415_1-18H | Upgrade | Market Efficiency | FirstEnergy | 58 | APS/Meted | 138 | Market Efficiency | N/A | Rebuild and Reconductor the Lincoln - Carroll 115/138kV path. Line will be constructed for future 230kV operation. | Taneytown to Carroll 138 kV
201415_1-18I | Upgrade | Market Efficiency | FirstEnergy | 0.6 |  | 138 | Market Efficiency | N/A | Upgrade 138 kV substation equipment at Butler, Shanor Manor, and Krendale substations. New rating of the line will be 353 MVA summer normal and 422 MVA summer emergency | Krendale to Shanor Manor 138 kV
201415_1-18J | Upgrade | Market Efficiency | FirstEnergy | 22.4 | ATSI | 345 | Market Efficiency/ Reactive | N/A | b2557 At Avon substation, replace the existing 345/138kV 448MVA #92 transformer with a 560MVA unit., b2559 Reconductor the Black River-Lorain 138kV line and upgrade Black River and Lorain substation terminal end equipment, b2560 Construct second 138kV line between West Fremont and Hayes substation on open tower position of the West Fremont - Groton - Hayes 138kV line (RTEP Upgrade b1959) (once the Baseline RTEP projects are completed. No additional Upgrades are required.) | CLEVELAND INTERFACE
201415_1-18K | Upgrade | Market Efficiency | FirstEnergy | 9.6 | ATSI | 138 | Market Efficiency | N/A | b2559 Reconductor the Black River-Lorain 138kV line and upgrade Black River and Lorain substation terminal end equipment. (once the Baseline RTEP projects are completed. No additional Upgrades are required.) | 02BLKRVR to Lorain 138 kV
201415_1-18L | No Upgrade Required | Market Efficiency | FirstEnergy | N/A | ATSI | 138 | Market Efficiency | N/A | No upgrade required. The rating utilized in the model was incorrect. (once the Baseline RTEP projects are completed. No additional Upgrades are required.) | Crestwood to Astor 138 kV
201415_1-19A | Greenfield | Market Efficiency | Northeast Transmission Development | 18.6 | DEOK | 345 | Market Efficiency | N/A | Build 345 kV Switching Station (Garrison Creek) Interconnecting Miami Fort-Tanners Creek 345 kV Line and Miami Fort-Terminal 345 kV Line. | Miami Fort to Willey 138 kV Miami Fort to 08HEBTAP 138 kV
201415_1-19B | Greenfield | Market Efficiency | Northeast Transmission Development | 38.9 | Meted/Penelec | 138 | Market Efficiency/ Reactive | N/A | Approximately 6-mile 138 kV Line from Grand Point to a new 500/138 kV substation on the Conemaugh-Hunterstown 500 kV Line ("Green Ridge") | AP SOUTH L/O BED-BLA BED-BLA L/O MTS-DOU Taneytown to Carroll 138 kV Conastone to Northwest 230 kV Peach Bottom 500 kV
201415_1-19C | Greenfield | Market Efficiency | Northeast Transmission Development | 41.9 | Meted/Penelec | 138 | Market Efficiency/ Reactive | N/A | Approximately 6-mile 138 kV Line from Grand Point to a new 500/138 kV substation on the Conemaugh-Hunterstown 500 kV Line ("Green Ridge") with a series reactor at Green Ridge. | AP SOUTH L/O BED-BLA BED-BLA L/O MTS-DOU Taneytown to Carroll 138 kV Conastone to Northwest 230 kV Peach Bottom 500 kV Jacksons Ferry to Cloverdale 765 KV 765 kV
201415_1-19D | Greenfield | Market Efficiency | Northeast Transmission Development | 104.5 | Meted/Penelec | 230 | Market Efficiency/ Reactive | N/A | Approximately 26-mile 230 kV Line from Ringgold to a new 500/230 kV substation on the Conemaugh-Hunterstown 500 kV Line ("Green Ridge"). | AP SOUTH L/O BED-BLA BED-BLA L/O MTS-DOU 50045005 L/O RCKSPG-KEENY Taneytown to Carroll 138 kV Conastone to Northwest 230 kV Peach Bottom 500 kV Jacksons Ferry to Cloverdale 765 KV 765 kV
201415_1-19E | Greenfield | Market Efficiency | Northeast Transmission Development | 53.7 | Dominion | 500 | Market Efficiency/ Reactive | N/A | Build 750 MVAR Static VAR Compensation (Harpers Run) Interconnected to Morrisville 500 kV Substation. | AP SOUTH L/O BED-BLA BED-BLA L/O MTS-DOU Conastone to Northwest 230 kV
201415_1-19F | Greenfield | Market Efficiency | Northeast Transmission Development | 432.5 | APS/Dominion | 500 | Market Efficiency/ Reactive | N/A | Approximately 99-mile 500 kV Line from Harrison to Bath County. | AP SOUTH L/O BED-BLA BED-BLA L/O MTS-DOU 50045005 L/O RCKSPG-KEENY Taneytown to Carroll 138 kV Conastone to Northwest 230 kV Peach Bottom 500 kV Jacksons Ferry to Cloverdale 765 KV 765 kV
201415_1-19G | Greenfield | Market Efficiency | Northeast Transmission Development | 48.6 | Pepco/BGE | 230 | Market Efficiency/ Reactive | N/A | Build 500/230 kV Substation (Keysers Run) Interconnecting Conastone-Brighton 500 kV Line to Northwest 230 kV Substation. | AP SOUTH L/O BED-BLA BED-BLA L/O MTS-DOU 50045005 L/O RCKSPG-KEENY Safe Harbor to Graceton 230 kV Conastone to Northwest 230 kV Peach Bottom 500 kV
201415_1-19H | Greenfield | Market Efficiency | Northeast Transmission Development | 42.9 | Comed | 345 | Market Efficiency | N/A | Approximately 22-mile 345 kV Line from Pontiac Midpoint to Katydid Road. | Lorreto to Wilton CTR 345 kV
201415_1-19I | Greenfield | Market Efficiency | Northeast Transmission Development | 9.2 | APS/DUQ | 138 | Market Efficiency | N/A | Build 138 kV Switching Station (Renton) Interconnecting Plum-Cheswick 138 kV Line and Springdale-Huntingdon 138 kV Line. | Dravosburg to West Mifflin 138 kV Woodville to 15USAP 138 kV Krendale to Shanor Manor 138 kV
201415_1-20A | Greenfield | Market Efficiency | ITC | 187.5 | APS/Dominion | 500 | Market Efficiency/ Reactive | N/A | New 58-mile 500 kV line from the existing Black Oak substation to existing Front Royal substation. | AP SOUTH L/O BED-BLA BED-BLA L/O MTS-DOU Fieldale to Thornton 138 kV Brunner Island to Yorkana 230 kV Lorreto to Wilton CTR 345 kV Safe Harbor to Graceton 230 kV
201415_1-20B | Greenfield | Market Efficiency | ITC | 64.3 | APS/DUQ | 138 | Market Efficiency | N/A | Construct approximately 29 miles of new 138kV single-circuit overhead line from the existing Karns City substation in Pennsylvania to the existing McDowell substation in Pennsylvania. | Dravosburg to West Mifflin 138 kV Woodville to 15USAP 138 kV
201415_1-20C | Greenfield | Market Efficiency | ITC | 25 | AEP/DEOK | 138 | Market Efficiency | N/A | Build approximately 11 miles of new 138kV single-circuit overhead line from a new substation near the existing Drewersburg substation in Indiana (AEP) to the existing Willey substation in Ohio (DEO&K). | Miami Fort to Willey 138 kV
201415_1-20D | Greenfield | Market Efficiency | ITC | 16.9 | DEOK | 345 | Market Efficiency | N/A | Construct the new 345kV/138kV “Hamilton” substation near the existing Willey substation (Duke) in Hamilton County, Ohio. Cut the adjacent Woodsdale – Miami Fort 345kV line (Duke) into the new Hamilton substation. Connect the new Hamilton substation 138kV bus to the existing Willey 138kV switchyard. | Miami Fort to Willey 138 kV
201415_1-20E | Greenfield | Market Efficiency | ITC | 19 | AEP | 138 | Market Efficiency | N/A | Construct approximately 5 miles of new 138kV single-circuit overhead line from the proposed Diamond Ave. substation in Virginia (ITC) to the existing Blaine substation in Virginia (AEP). | Fieldale to Thornton 138 kV
201415_1-20F | Greenfield | Market Efficiency | ITC | 102.7 | PSEG | 138 | Market Efficiency/ RPM | N/A | Construct approximately 6 miles of underground transmission line from the existing West Orange substation in New Jersey to the existing Cook Road substation in New Jersey. | Roseland-Cedar Grove-Clifton 230 kV corridor
201415_1-20G | Greenfield | Market Efficiency | ITC | 156 | APS/Dominion | 500 | Market Efficiency/ Reactive | N/A | Construct approximately 50 miles of new 500kV single-circuit overhead line from the existing Black Oak substation (First Energy) to the existing Meadow Brook substation (First Energy). | AP SOUTH L/O BED‐BLA AEP‐DOM L/O BED‐BLA BED‐BLA L/O MTS‐DOU Fieldale to Thornton 138 kV Conastone to Northwest 230 kV Pleasant View to Ashburn 230 kV
201415_1-20H | Greenfield | Market Efficiency | ITC | 14.4 | APS/DUQ | 138 | Market Efficiency | N/A | Construct approximately 3.6 miles of new 138kV single-circuit overhead line from the existing Enlow substation in Pennsylvania (First Energy) to the existing Findlay substation in Pennsylvania (DQE). | Dravosburg to West Mifflin 138 kV Woodville to 15USAP 138 kV Taneytown to Carroll 138 kV
201415_1-20I | Greenfield | Market Efficiency | ITC | 70.8 | APS/Dominion | 138 | Market Efficiency | N/A | Construct approximately 26.5 miles of new 138kV single-circuit overhead line from the existing Germantown substation to the existing Ringgold substation. | Taneytown to Carroll 138 kV Brunner Island to Yorkana 230 kV Safe Harbor to Graceton 230 kV
201415_1-20J | Greenfield | Market Efficiency | ITC | 190.2 | APS/Dominion | 500 | Market Efficiency/ Reactive | N/A | New 58-mile 500 kV line from the existing Black Oak substation to existing Front Royal substation. Add Dooms Cap. | AP SOUTH L/O BED‐BLA AEP‐DOM L/O BED‐BLA BED‐BLA L/O MTS‐DOU Fieldale to Thornton 138 kV Conastone to Northwest 230 kV Pleasant View to Ashburn 230 kV
201415_1-20K | Greenfield | Market Efficiency | ITC | 158.7 | APS/Dominion | 500 | Market Efficiency/ Reactive | N/A | Construct approximately 50 miles of new 500kV single-circuit overhead line from the existing Black Oak substation (First Energy) to the existing Meadow Brook substation (First Energy). Add Dooms Cap | AP SOUTH L/O BED‐BLA AEP‐DOM L/O BED‐BLA BED‐BLA L/O MTS‐DOU Fieldale to Thornton 138 kV Miami Fort to Willey 138 kV Brunner Island to Yorkana 230 kV
201415_1-20L | Greenfield | Market Efficiency | ITC | 202.5 | APS/Dominion | 500 | Market Efficiency/ Reactive | N/A | New 58-mile 500 kV line from the existing Black Oak substation to existing Front Royal substation. Add New Station | AP SOUTH L/O BED‐BLA AEP‐DOM L/O BED‐BLA BED‐BLA L/O MTS‐DOU Fieldale to Thornton 138 kV Conastone to Northwest 230 kV Pleasant View to Ashburn 230 kV
201415_1-20M | Greenfield | Market Efficiency | ITC | 205.2 | APS/Dominion | 500 | Market Efficiency/ Reactive | N/A | New 58-mile 500 kV line from the existing Black Oak substation to existing Front Royal substation. Install a new 240 MVAR capacitor bank at Dooms 500kV Substation. Add Dooms Cap and New Station | AP SOUTH L/O BED‐BLA AEP‐DOM L/O BED‐BLA BED‐BLA L/O MTS‐DOU Fieldale to Thornton 138 kV Conastone to Northwest 230 kV Pleasant View to Ashburn 230 kV
201415_1-20N | Greenfield | Market Efficiency | ITC | 171 | APS/Dominion | 500 | Market Efficiency/ Reactive | N/A | Construct approximately 50 miles of new 500kV single-circuit overhead line from the existing Black Oak substation (First Energy) to the existing Meadow Brook substation (First Energy). Add New Station | AP SOUTH L/O BED‐BLA AEP‐DOM L/O BED‐BLA BED‐BLA L/O MTS‐DOU Fieldale to Thornton 138 kV Miami Fort to Willey 138 kV Brunner Island to Yorkana 230 kV
201415_1-20O | Greenfield | Market Efficiency | ITC | 173.7 | APS/Dominion | 500 | Market Efficiency/ Reactive | N/A | Construct approximately 50 miles of new 500kV single-circuit overhead line from the existing Black Oak substation (First Energy) to the existing Meadow Brook substation (First Energy).Add Dooms Cap and New Station. | AP SOUTH L/O BED‐BLA AEP‐DOM L/O BED‐BLA BED‐BLA L/O MTS‐DOU Fieldale to Thornton 138 kV Miami Fort to Willey 138 kV Brunner Island to Yorkana 230 kV
201415_1-21A | Greenfield | Reliability | PSEG | 100.7 | AE/PSEG | 230 | 15 Year Thermal Single; 15 Year Thermal Tower | 15Y-S11; 15Y-T2, 15Y-T3 | Build new 230-kV U/G circuit from new station at Eagle Point to Penrose
201415_1-21B | Greenfield | Reliability | PSEG | 75 | PSEG | 230 | 15 Year Thermal Single | 15Y-S10; 15Y-T2, 15Y-T3 | Build new 230-kV U/G circuit from Gloucester to Cuthbert
201415_1-21C | Greenfield | Market Efficiency | PSEG | 47.8 | ATSI | 138 | Market Efficiency | N/A | Build new 138kV line from Miami Fort to Willey | Miami Fort to Willey 138 kV
201415_1-21D | Greenfield | Reliability | PSEG | 63 | DPL | 230 | 15 Year Thermal Single | 15Y-S1 | Build a new 230 kV line from Milford to Cool Springs
201415_1-21E | Greenfield | Reliability | PSEG | 22.9 | DPL | 230 | 15 Year Thermal Single | 15Y-S12 | Loop the 230kV between Red lion and Cartanza in and out of Cedar Creek and reconductor the existing and looped 230kV lines between Cedar Creek and Red Lion
201415_1-21F | Greenfield | Reliability | PSEG | 73.8 | DPL | 230 | 15 Year Thermal Single | 15Y-S12 | Build a new 230 kV line from RL to Cedar CK
201415_1-21G | Upgrade | Market Efficiency | PSEG | 2.8 | PSEG | 230 | Market Efficiency/ RPM | N/A | Reconfigure Clifton Source | Roseland-Cedar Grove-Clifton 230 kV corridor
201415_1-22A | Greenfield | Market Efficiency | Ameren | 46.56 | APS/AEP/DOM | 500 | Market Efficiency/ Reactive | N/A | Construct a +400MVAR/-250 MVAR Static VAR Compensator (SVC) adjacent to the 500 kV Dooms Substation located in the Dominion Virginia Power service territory. The SVC will be connected at Dooms Substation utilizing an existing 500 kV breaker position. This proposal has Dominion building the 500' 500 kV line from the SVC to Dooms. | AP SOUTH L/O BED-BLA AEP-DOM L/O BED-BLA
201415_1-22B | Greenfield | Market Efficiency | Ameren | 46.56 | APS/AEP/DOM | 500 | Market Efficiency/ Reactive | N/A | Construct a +400MVAR/-250 MVAR Static VAR Compensator (SVC) adjacent to the 500 kV Dooms Substation located in the Dominion Virginia Power service territory. The SVC will be connected at Dooms Substation utilizing an existing 500 kV breaker position. This proposal has Ameren building the 500' 500 kV line from the SVC to Dooms. | AP SOUTH L/O BED-BLA AEP-DOM L/O BED-BLA
201415_1-22C | Greenfield | Market Efficiency | Ameren | 107.2 | APS/Meted | 230 | Market Efficiency | N/A | Construct approximately 25 miles of new 230 kV line between Hunterstown and Carroll substations. Upgrade 12 miles of 230 kV line between Carroll and Mt. Airy substations. Upgrade 18 miles of 230 kV line between Jackson and Three Mile Island substations. | Taneytown to Carroll 138 kV
201415_1-22D | Greenfield | Market Efficiency | Ameren | 91.26 | DEOK | 345 | Market Efficiency | N/A | Construct a new 345 kV substation adjacent to the existing Willey 138 kV substation. Loop the Miami Fort – Woodsdale and Miami Fort West Milton 345 kV lines into the new substation. Also install a 345/138 kV transformer. Expand existing Willey 138 kV substation to include a loop in of the Morgan Fairfield 138 kV line and a new Willey 345/138 kV transformer connection. Upgrade existing double circuit line from Willey to Fairfield. Build a new 345 kV switching station (West Buffington) about 7 miles west of the existing Buffington substation. Loop in the existing Clifty Creek – Buffington 345 kV line. Build a new 345 kV line from East Bend to the new West Buffington switching station, approximately 12 miles. Upgrade existing circuit from West Buffington to Buffington. | Miami Fort to Willey 138 kV
201415_1-22E | Greenfield | Market Efficiency | Ameren | 56.04 | DEOK | 345 | Market Efficiency | N/A | Build a new 345 kV switching station (West Buffington) about 7 miles west of the existing Buffington substation. Loop in the existing Clifty Creek – Buffington 345 kV line. Build a new 345 kV line from East Bend to the new West Buffington switching station, approximately 12 miles. Upgrade existing circuit from West Buffington to Buffington | Miami Fort to Willey 138 kV
201415_1-22F | Greenfield | Market Efficiency | Ameren | 91.26 | DEOK | 345 | Market Efficiency | N/A | Expand existing Willey 138 kV substation to include a loop in of the Morgan Fairfield 138 kV line and a new Willey 345 kV substation. Create a 5 position 345 kV ring bus which would consist of a 345/138 kV transformer, a loop in of the Miami Fort – Woodsdale 345 kV line, and a loop in of the Miami Fort – West Milton 345 kV line. Upgrade existing double circuit line from Willey to Fairfield. Build a new 345 kV switching station (West Buffington) about 7 miles west of the existing Buffington substation. Loop in the existing Clifty Creek – Buffington 345 kV line. Build a new 345 kV line from East Bend to the new West Buffington switching station, approximately 12 miles. Upgrade existing circuit from West Buffington to Buffington. | Miami Fort to Willey 138 kV