## Process Overview
REGISTRATION PROCESS OVERVIEW
Note: Process is as presented at the May 8, 2023 DISRS and filed at FERC on September 1, 2023.
| 1 |  | 3
|  | 2 |  | 4
5
Location for the Component DER created and submitted by DERA
PJM approves / denies Registration
PJM and EDC notified
Data complete & no reliability review needed (fast track)
EDC Reliability Review
45 Days
15 Days
PJM and EDC verify certain data
PJM
EDC
DERA
Key:
EDC performs any necessary reliability studies for DER Aggregation Resources’ market participation; provides recommendation to PJM
DERA creates Registration with approved Component DER(s)
15 Days
EDC provides transmission node
EDC recommends & PJM finalizes approval/rejection of Location
Location Review
PJM applies pnode to Registration
EDC 60-day Review Period
PJM and EDC notified

## Location
LOCATION - REQUIRED INFORMATION
**DRAFT FOR DISCUSSION AT DISRS ONLY**
New field not currently in DR Hub
Note: A DER Aggregator wil be required to create a "Location" for each Component DER (i.e., premise) in order to participate in PJM's markets. The following fields represent the information that will be required (where applicable) to create a Location.
Field | Description | Notes
Identifying Information
Name | Identifies the end-use customer
Location ID |  | Auto-assigned
EDC Account Number | Unique EDC identifier for the electric service.
Address | The physical address of the end-use customer
City
State
Zip Code
CSP/DERA | Name of the DER Aggregator
EDC | EDC of the end-use customer
Zone | Transmission zone of the end-use customer.
Business Segment | - Primary: Hospitals, Industrial/Manufacturing, Multiple Dwelling Unit, Office Building, Residential, Retail Service, Correctional Facilities or Schools. - Secondary: Agriculture, Forestry and Fishing, Mining, Transportation, Communications, Electric, Gas and Sanitary Services or Services.
Component DER Type | DR, Distributed Generation, DR with Distributed Injections, Retail BTMG with only the distribution injection participating in the wholesale market, EE
Electrical Location | PSS/E Bus ID | EDC Assigns
Meter Equipment
Meter Type | EDC, CSP/DERA
Meter Equipment | Name of metering equipment (if Aggregator meter) | Not required if EDC meter
Interval | Minute, Hourly, Telemetry, Other | Not required if EDC meter
Installation Date |  | Not required if EDC meter
Installation QA Plan |  | Not required if EDC meter
I certify the meter has been installed according to this QA Plan |  | Not required if EDC meter
Capability Summary
Max Load Reduction Capability (kW) | Max load reduction amount, populated based on the entries in the Load Reduction Method section
Max Injections (kW) | Max injection amount based on interconnection process, populated based on entry in the Battery section
Max Market Eligibility (kW) | Maximum amount that will be offered into the market
Demand Response Attributes
-- Registration Input
Peak Load Contribution (kW) | Used to determine the load management capacity nomination for DR-related DER | Obtained from the EDC
Winter Peak Load (kW) | Used to determine the load management CP capacity nomination | Calculated value based on meter data
Capacity Loss Factor | EDC capacity loss factor to convert retail power to transmission-level power.
Energy Loss Factor | EDC energy loss factor to convert retail power to transmission-level power.
Max Load (kW) | The Aggregator's best estimate of the maximum load at the site over the last 12 months.
Max Load Reduction Capability (kW) | Max load reduction amount, populated based on the entries in the Load Reduction Method section
-- Load Reduction Method
Manufacturing (kW) | The load reduction capability (kW) for each applicable load reduction method represents a reasonable estimate of the location’s expected hourly energy load reduction.
Lighting (kW)
HVAC (kW)
Water Heaters (kW)
Refrigeration (kW)
Plug Load (kW)
Generator (kW) | kW used to meet load
Battery (kW) | kW used to meet load
Generator Attributes
Generator Name | The Aggregator's name for the generator
Generator Type | Internal Combustion Engine, Combustion Turbines, Steam Engines and Cogeneration units, Solar, Wind
Fuel Type | Coal, Diesel, Natural Gas, Oil, Gasoline, Kerosene, Propane, Wood, Landfill Gases and Waste products, Sun, Wind
Generator Vintage | The year the generator was manufactured
Retrofit Year | If the generator was retrofitted for pollution control equipment, indicate the year of the retrofit or a reasonable estimate of the year if the specific year is not available.
Interconnection Agreement ID | Reference to approved EDC interconnection
Interconnection Agreement Type | ISA, WMPA, NEM, PURPA QF, None
Nameplate (kW) | kW rated capacity for the generator
Injection Rights (kW) | Max injection amount based on interconnection process,
Max Output (kW) | kW output that the generator will use for load reduction and injection during system emergency or during extremely high price periods (can be different from capacity commitment)
Non-retail BTMG | Is the generator used to serve multiple retail electricity customers with use of a distribution system? This would typically be located in a municipal electric system or electric cooperative.
Backup Generator Only | Is the generator used exclusively to maintain electricity during an unexpected or unplanned disconnection from the grid?
Permit Status | The current status of environmental permits for the generator (Available, In Progress, Not Applicable)
Permit Type | Indicates whether On-Site Generators can run during emergency or non-emergency conditions (Emergency Only, Non-Emergency)
Battery Attributes
Max Output (kW) | kW output that the battery will use for load reduction and injection
Battery Capacity (kW 1C) | Maximum kW discharge capability in one hour
Battery Vintage | The year the battery was manufactured
Type | The installation set-up: Electric Vehicle, PV system, Stand alone
Chemistry | Lithium-Ion, Lithium-Air, Lithium-Metal, Lithium-Sulfur, Lead Acid, Zinc-Ion, Sodium-Ion, Sodium-Metal Halide, Magnesium-Ion, Magnesium-Lithium Hybrid, ZincManganese Oxide, Vanadium-Redox Flow, Zinc-Polyiodide Flow and, Organic Aqueous Flow
RERRA
RERRA Name
RERRA ID
State
Evidence | Small EDC reference to RERRA that allows participation.