## Sheet1
Hourly Calculations from Energy Market and Congestion Loss Charge Detail Report Definition using Generation hourly MWh and hourly RT PJM Energy Price ($/MWh)
| Bal Energy Withdrawal Deviation MWh = RT Energy Withdrawal MWh - DA Energy Withdrawal MWh | [6 empty] | (1205.31) = (1205.30) – (1200.30)
| Bal Energy Withdrawal Charge = Bal Energy Withdrawal Deviation MWh * (RT PJM Energy Price) | [6 empty] | (1205.32) = (1205.31) * (3000.02)
| Bal Energy Injection Deviation MWh = RT Energy Injection MWh - DA Energy Injection MWh | [6 empty] | (1205.34) = (1205.33) – (1200.32)
| Bal Energy Injection Credit = Bal Energy Injection Deviation MWh * (RT PJM Energy Price) | [6 empty] | (1205.35) = (1205.34) * (3000.02)
| Bal Spot Market Energy Charge = Bal Energy Withdrawal Charge - Bal Energy Injection Credit | [6 empty] | (1205.01) = (1205.32) – (1205.35)
Example using calculations with Generation hourly MWh and hourly RT PJM Energy Price ($/MWh)
Supporting Calculations | Hour Ending | DA PJM Energy Price | RT PJM Energy Price (3000.02) | RT Energy Withdrawal MWh (1205.30) | DA Energy Withdrawal MWh (1200.30) | Bal Energy Withdrawal MWh (1205.31) = (1205.30) – (1200.30) | Bal Energy Withdrawal Charge (1205.32) = (1205.31) * ((3000.02) | RT Energy Injection MWh (1205.33) | DA Energy Injection MWh (1200.32) | Bal Energy Injection Deviation MWh (1205.34) = (1205.33) – (1200.32) | Bal Energy Injection Credit (1205.35) = (1205.34) * (3000.02) | Bal Spot Market Energy Charge (1205.01) = (1205.32) – (1205.35)
| 11:00 | 30.62 | 35.9183 | 6.75 | 7 | -0.25 | -8.9796 | 143.6733 | 122.48 | 21.1933 | 761.2292 | -770.2088
| 12:00 | 35.9 | 28.5617 | 6.75 | 7 | -0.25 | -7.1404 | 114.2467 | 143.6 | -29.3533 | -838.3801 | 831.2397
| 13:00 | 38.32 | 43.0892 | 6.75 | 7 | -0.25 | -10.7723 | 172.3567 | 153.28 | 19.0767 | 821.9977 | -832.77
| 14:00 | 42.3 | 35.0567 | 6.75 | 7 | -0.25 | -8.7642 | 140.2267 | 169.2 | -28.9733 | -1015.7085 | 1006.9443
| 15:00 | 47.69 | 41.4617 | 6.75 | 7 | -0.25 | -10.3654 | 165.8467 | 190.76 | -24.9133 | -1032.9483 | 1022.5829
| 16:00 | 50.95 | 57.8533 | 6.75 | 7 | -0.25 | -14.4633 | 231.4133 | 203.8 | 27.6133 | 1597.5234 | -1611.9867
Proposed 5-minute Settlement Calculations from Energy Market and Congestion Loss Charge Detail Report Definition using 5-minute MW and 5-minute RT Prices ($/MW)
| Bal Energy Withdrawal Deviation MWh = RT Energy Withdrawal MWh - (DA Energy Withdrawal MWh) | [6 empty] | (1205.31) = (1205.30) – ((1200.30))
| Bal Energy Withdrawal Charge = Bal Energy Withdrawal Deviation MWh * (RT PJM Energy Price $/MWh)/12 | [6 empty] | (1205.32) = (1205.31) * (3000.02)/12
| Bal Energy Injection Deviation MWh = RT Energy Injection MWh - (DA Energy Injection MWh) | [6 empty] | (1205.34) = (1205.33) – ((1200.32))
| Bal Energy Injection Credit = Bal Energy Injection Deviation MWh * (RT PJM Energy Price $/MWh)/12 | [6 empty] | (1205.35) = (1205.34) * (3000.02)/12
| Bal Spot Market Energy Charge = Bal Energy Withdrawal Charge - Bal Energy Injection Credit | [6 empty] | (1205.01) = (1205.32) – (1205.35)
Example with proposed calculations using Generation 5-minute MW and 5-minute RT Prices ($/MWi)
| Interval | DA PJM Energy Price | RT PJM Energy Price (3000.02) | RT Energy Withdrawal MWh (1205.30) | DA Energy Withdrawal MWh (1200.30)/12 | Bal Energy Withdrawal MWh (1205.31) = (1205.30) – (1200.30) | Bal Energy Withdrawal Charge (1205.32) = (1205.31) * (3000.02)/12 | RT Energy Injection MWh (1205.33) | DA Energy Injection MWh (1200.32) | Bal Energy Injection Deviation MWh (1205.34) = (1205.33) – (1200.32) | Bal Energy Injection Credit (1205.35) = (1205.34) * (3000.02)/12 | Bal Spot Market Energy Charge (1205.01) = (1205.32) – (1205.35)
| EPT Interval Ending | DA PJM Energy Price ($/MWh) | RT PJM Energy Price ($/MWh) | RT Energy Withdrawal MWh (1205.30) | DA Energy Withdrawal MWh (1200.30) | Bal Energy Withdrawal Deviation MWh | Bal Energy Withdrawal Charge ($) | RT Energy Injection MWh (1205.33) | DA Energy Injection MWh (1200.32) | Bal Energy Injection Deviation MWh (1205.34) | Bal Energy Injection Credit ($) | Bal Spot Market Energy Charge ($)
| 10:05 | 30.62 | 49.82 | 6.75 | 7 | -0.25 | -1.0379 | 199.28 | 122.48 | 76.8 | 318.848 | -319.8859
| 10:10 | 30.62 | 49.82 | 6.75 | 7 | -0.25 | -1.0379 | 199.28 | 122.48 | 76.8 | 318.848 | -319.8859
| 10:15 | 30.62 | 29.46 | 6.75 | 7 | -0.25 | -0.61375 | 117.84 | 122.48 | -4.64 | -11.3912 | 10.7775
| 10:20 | 30.62 | 29.46 | 6.75 | 7 | -0.25 | -0.61375 | 117.84 | 122.48 | -4.64 | -11.3912 | 10.7775
| 10:25 | 30.62 | 29.46 | 6.75 | 7 | -0.25 | -0.61375 | 117.84 | 122.48 | -4.64 | -11.3912 | 10.7775
| 10:30 | 30.62 | 26.83 | 6.75 | 7 | -0.25 | -0.55896 | 107.32 | 122.48 | -15.16 | -33.8952 | 33.3363
| 10:35 | 30.62 | 26.95 | 6.75 | 7 | -0.25 | -0.56146 | 107.8 | 122.48 | -14.68 | -32.9688 | 32.4074
| 10:40 | 30.62 | 26.95 | 6.75 | 7 | -0.25 | -0.56146 | 107.8 | 122.48 | -14.68 | -32.9688 | 32.4074
| 10:45 | 30.62 | 31.69 | 6.75 | 7 | -0.25 | -0.66021 | 126.76 | 122.48 | 4.28 | 11.3028 | -11.963
| 10:50 | 30.62 | 33.81 | 6.75 | 7 | -0.25 | -0.70438 | 135.24 | 122.48 | 12.76 | 35.9513 | -36.6557
| 10:55 | 30.62 | 35.78 | 6.75 | 7 | -0.25 | -0.74542 | 143.12 | 122.48 | 20.64 | 61.5416 | -62.287
| 11:00 | 30.62 | 60.99 | 6.75 | 7 | -0.25 | -1.2706 | 243.96 | 122.48 | 121.48 | 617.4221 | -618.6927
| Hour Total | 30.62 | 35.9183 | 6.75 | 7 | -0.25 | -8.9796 | 143.6733 | 122.48 | 21.1933 | 1229.9073 | -1238.8868
| 11:05 | 35.9 | 29.39 | 6.75 | 7 | -0.25 | -0.61229 | 117.56 | 143.6 | -26.04 | -63.7763 | 63.164
| 11:10 | 35.9 | 29.39 | 6.75 | 7 | -0.25 | -0.61229 | 117.56 | 143.6 | -26.04 | -63.7763 | 63.164
| 11:15 | 35.9 | 24.28 | 6.75 | 7 | -0.25 | -0.50583 | 97.12 | 143.6 | -46.48 | -94.0445 | 93.5387
| 11:20 | 35.9 | 24.28 | 6.75 | 7 | -0.25 | -0.50583 | 97.12 | 143.6 | -46.48 | -94.0445 | 93.5387
| 11:25 | 35.9 | 34.66 | 6.75 | 7 | -0.25 | -0.72208 | 138.64 | 143.6 | -4.96 | -14.3261 | 13.6041
| 11:30 | 35.9 | 31.58 | 6.75 | 7 | -0.25 | -0.65792 | 126.32 | 143.6 | -17.28 | -45.4752 | 44.8173
| 11:35 | 35.9 | 28.91 | 6.75 | 7 | -0.25 | -0.60229 | 115.64 | 143.6 | -27.96 | -67.3603 | 66.758
| 11:40 | 35.9 | 28.94 | 6.75 | 7 | -0.25 | -0.60292 | 115.76 | 143.6 | -27.84 | -67.1408 | 66.5379
| 11:45 | 35.9 | 29.31 | 6.75 | 7 | -0.25 | -0.61062 | 117.24 | 143.6 | -26.36 | -64.3843 | 63.7737
| 11:50 | 35.9 | 27.9 | 6.75 | 7 | -0.25 | -0.58125 | 111.6 | 143.6 | -32 | -74.4 | 73.8187
| 11:55 | 35.9 | 27.05 | 6.75 | 7 | -0.25 | -0.56354 | 108.2 | 143.6 | -35.4 | -79.7975 | 79.234
| 12:00 | 35.9 | 27.05 | 6.75 | 7 | -0.25 | -0.56354 | 108.2 | 143.6 | -35.4 | -79.7975 | 79.234
| Hour Total | 35.9 | 28.5617 | 6.75 | 7 | -0.25 | -7.1404 | 114.2467 | 143.6 | -29.3533 | -808.3234 | 801.183
| 12:05 | 38.32 | 26.67 | 6.75 | 7 | -0.25 | -0.55563 | 106.68 | 153.28 | -46.6 | -103.5685 | 103.0129
| 12:10 | 38.32 | 26.45 | 6.75 | 7 | -0.25 | -0.55104 | 105.8 | 153.28 | -47.48 | -104.6538 | 104.1028
| 12:15 | 38.32 | 30.3 | 6.75 | 7 | -0.25 | -0.63125 | 121.2 | 153.28 | -32.08 | -81.002 | 80.3708
| 12:20 | 38.32 | 26.62 | 6.75 | 7 | -0.25 | -0.55458 | 106.48 | 153.28 | -46.8 | -103.818 | 103.2634
| 12:25 | 38.32 | 29.99 | 6.75 | 7 | -0.25 | -0.62479 | 119.96 | 153.28 | -33.32 | -83.2722 | 82.6474
| 12:30 | 38.32 | 27.33 | 6.75 | 7 | -0.25 | -0.56937 | 109.32 | 153.28 | -43.96 | -100.1189 | 99.5495
| 12:35 | 38.32 | 33.16 | 6.75 | 7 | -0.25 | -0.69083 | 132.64 | 153.28 | -20.64 | -57.0352 | 56.3444
| 12:40 | 38.32 | 36.7 | 6.75 | 7 | -0.25 | -0.76458 | 146.8 | 153.28 | -6.48 | -19.818 | 19.0534
| 12:45 | 38.32 | 35.32 | 6.75 | 7 | -0.25 | -0.73583 | 141.28 | 153.28 | -12 | -35.32 | 34.5842
| 12:50 | 38.32 | 86.28 | 6.75 | 7 | -0.25 | -1.7975 | 345.12 | 153.28 | 191.84 | 1379.3296 | -1381.1271
| 12:55 | 38.32 | 106.11 | 6.75 | 7 | -0.25 | -2.2106 | 400 | 153.28 | 246.72 | 2181.6216 | -2183.8322
| 13:00 | 38.32 | 52.14 | 6.75 | 7 | -0.25 | -1.0862 | 208.56 | 153.28 | 55.28 | 240.1916 | -241.2779
| Hour Total | 38.32 | 43.0892 | 6.75 | 7 | -0.25 | -10.7723 | 170.32 | 153.28 | 17.04 | 3112.5361 | -3123.3084
| 13:05 | 42.3 | 29.72 | 6.75 | 7 | -0.25 | -0.61917 | 118.88 | 169.2 | -50.32 | -124.6259 | 124.0067
| 13:10 | 42.3 | 26.44 | 6.75 | 7 | -0.25 | -0.55083 | 105.76 | 169.2 | -63.44 | -139.7795 | 139.2286
| 13:15 | 42.3 | 29.27 | 6.75 | 7 | -0.25 | -0.60979 | 117.08 | 169.2 | -52.12 | -127.1294 | 126.5196
| 13:20 | 42.3 | 28.37 | 6.75 | 7 | -0.25 | -0.59104 | 113.48 | 169.2 | -55.72 | -131.7314 | 131.1403
| 13:25 | 42.3 | 27.8 | 6.75 | 7 | -0.25 | -0.57917 | 111.2 | 169.2 | -58 | -134.3667 | 133.7875
| 13:30 | 42.3 | 29.1 | 6.75 | 7 | -0.25 | -0.60625 | 116.4 | 169.2 | -52.8 | -128.04 | 127.4337
| 13:35 | 42.3 | 31.05 | 6.75 | 7 | -0.25 | -0.64687 | 124.2 | 169.2 | -45 | -116.4375 | 115.7906
| 13:40 | 42.3 | 35.53 | 6.75 | 7 | -0.25 | -0.74021 | 142.12 | 169.2 | -27.08 | -80.1794 | 79.4392
| 13:45 | 42.3 | 41.5 | 6.75 | 7 | -0.25 | -0.86458 | 166 | 169.2 | -3.2 | -11.0667 | 10.2021
| 13:50 | 42.3 | 48.41 | 6.75 | 7 | -0.25 | -1.0085 | 193.64 | 169.2 | 24.44 | 98.595 | -99.6036
| 13:55 | 42.3 | 48.41 | 6.75 | 7 | -0.25 | -1.0085 | 193.64 | 169.2 | 24.44 | 98.595 | -99.6036
| 14:00 | 42.3 | 45.08 | 6.75 | 7 | -0.25 | -0.93917 | 180.32 | 169.2 | 11.12 | 41.7741 | -42.7133
| Hour Total | 42.3 | 35.0567 | 6.75 | 7 | -0.25 | -8.7642 | 140.2267 | 169.2 | -28.9733 | -754.3921 | 745.6279
| 14:05 | 47.69 | 33.18 | 6.75 | 7 | -0.25 | -0.69125 | 132.72 | 190.76 | -58.04 | -160.4806 | 159.7893
| 14:10 | 47.69 | 40 | 6.75 | 7 | -0.25 | -0.83333 | 160 | 190.76 | -30.76 | -102.5333 | 101.7
| 14:15 | 47.69 | 57.57 | 6.75 | 7 | -0.25 | -1.1994 | 230.28 | 190.76 | 39.52 | 189.5972 | -190.7966
| 14:20 | 47.69 | 46.1 | 6.75 | 7 | -0.25 | -0.96042 | 184.4 | 190.76 | -6.36 | -24.433 | 23.4726
| 14:25 | 47.69 | 42.46 | 6.75 | 7 | -0.25 | -0.88458 | 169.84 | 190.76 | -20.92 | -74.0219 | 73.1373
| 14:30 | 47.69 | 36.05 | 6.75 | 7 | -0.25 | -0.75104 | 144.2 | 190.76 | -46.56 | -139.874 | 139.123
| 14:35 | 47.69 | 35.4 | 6.75 | 7 | -0.25 | -0.7375 | 141.6 | 190.76 | -49.16 | -145.022 | 144.2845
| 14:40 | 47.69 | 30.22 | 6.75 | 7 | -0.25 | -0.62958 | 120.88 | 190.76 | -69.88 | -175.9811 | 175.3516
| 14:45 | 47.69 | 33.89 | 6.75 | 7 | -0.25 | -0.70604 | 135.56 | 190.76 | -55.2 | -155.894 | 155.188
| 14:50 | 47.69 | 33.89 | 6.75 | 7 | -0.25 | -0.70604 | 135.56 | 190.76 | -55.2 | -155.894 | 155.188
| 14:55 | 47.69 | 48.18 | 6.75 | 7 | -0.25 | -1.0037 | 192.72 | 190.76 | 1.96 | 7.8694 | -8.8732
| 15:00 | 47.69 | 60.6 | 6.75 | 7 | -0.25 | -1.2625 | 242.4 | 190.76 | 51.64 | 260.782 | -262.0445
| Hour Total | 47.69 | 41.4617 | 6.75 | 7 | -0.25 | -10.3654 | 165.8467 | 190.76 | -24.9133 | -675.8854 | 665.52
| 15:05 | 50.95 | 63.64 | 6.75 | 7 | -0.25 | -1.3258 | 254.56 | 203.8 | 50.76 | 269.1972 | -270.523
| 15:10 | 50.95 | 63.64 | 6.75 | 7 | -0.25 | -1.3258 | 254.56 | 203.8 | 50.76 | 269.1972 | -270.523
| 15:15 | 50.95 | 63.64 | 6.75 | 7 | -0.25 | -1.3258 | 254.56 | 203.8 | 50.76 | 269.1972 | -270.523
| 15:20 | 50.95 | 35 | 6.75 | 7 | -0.25 | -0.72917 | 140 | 203.8 | -63.8 | -186.0833 | 185.3542
| 15:25 | 50.95 | 37.41 | 6.75 | 7 | -0.25 | -0.77937 | 149.64 | 203.8 | -54.16 | -168.8438 | 168.0644
| 15:30 | 50.95 | 55.56 | 6.75 | 7 | -0.25 | -1.1575 | 222.24 | 203.8 | 18.44 | 85.3772 | -86.5347
| 15:35 | 50.95 | 55.56 | 6.75 | 7 | -0.25 | -1.1575 | 222.24 | 203.8 | 18.44 | 85.3772 | -86.5347
| 15:40 | 50.95 | 46.93 | 6.75 | 7 | -0.25 | -0.97771 | 187.72 | 203.8 | -16.08 | -62.8862 | 61.9085
| 15:45 | 50.95 | 77.28 | 6.75 | 7 | -0.25 | -1.61 | 309.12 | 203.8 | 105.32 | 678.2608 | -679.8708
| 15:50 | 50.95 | 77.28 | 6.75 | 7 | -0.25 | -1.61 | 309.12 | 203.8 | 105.32 | 678.2608 | -679.8708
| 15:55 | 50.95 | 59.15 | 6.75 | 7 | -0.25 | -1.2323 | 236.6 | 203.8 | 32.8 | 161.6767 | -162.909
| 16:00 | 50.95 | 59.15 | 6.75 | 7 | -0.25 | -1.2323 | 236.6 | 203.8 | 32.8 | 161.6767 | -162.909
| Hour Total | 50.95 | 57.8533 | 6.75 | 7 | -0.25 | -14.4633 | 231.4133 | 203.8 | 27.6133 | 2240.4076 | -2254.8709
|  | Example using calculations with Generation hourly MWh and hourly RT PJM Energy Price ($/MWh) | Example with proposed calculations using Generation 5-minute MW and 5-minute RT Prices ($/MWi)
| Hour Ending | Bal Spot Market Energy Charge | Bal Spot Market Energy Charge | Delta
| 11:00 | -770.2088 | -1238.8868 | 468.6781
| 12:00 | 831.2397 | 801.183 | 30.0567
| 13:00 | -832.77 | -3123.3084 | 2290.5385
| 14:00 | 1006.9443 | 745.6279 | 261.3164
| 15:00 | 1022.5829 | 665.52 | 357.0629
| 16:00 | -1611.9867 | -2254.8709 | 642.8842
| Total | -354.1985 | -4404.7353 | 4050.5368

## example cost curve
| $ | MW
| 25 | 0
1 | 25 | 100
2 | 50 | 200
3 | 75 | 300
4 | 100 | 400