## Setup
Enter Stakeholder Committee Name in cell A2:
Energy Price Formation Senior Task Force
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Transmission Constraint Penalty Factor

## 1. Interest Identification
Energy Price Formation Senior Task Force
Transmission Constraint Penalty Factor
Interest Identification
Instructions: List interests of all parties on this page.
1 | Send meaningful and actionable market signals that reflect actual system conditions
2 | Continue to provide market transparency to adjustments of default transmission constraint penalty factors (TCPF)
3 | Prices should accurately reflect local transmission congestion
4 | Ensure that reasonable control actions are utilized prior to violating a transmission constraint
5 | Do not jeopardize reliability when controlling constraints
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20

## 2. Options Matrix- Design Comp.
Energy Price Formation Senior Task Force
Transmission Constraint Penalty Factor
OPTIONS MATRIX
Solution Options2
# | Design Components1 | Priority | Status Quo | A | B | C | D | E
* | Implementation
1 | General conditions Transmission Constraint Penalty Factor (TCPF) can be modified |  | (1) ensure the market clearing solution is feasible, (2) reflect changes to the operating practices which are mutually agreed upon with the neighboring RTO for managing such constraints for market-to-market coordinated constraints, or (3) reflect persistent system operational or reliability needs and the cost of the resources available to effectively relieve congestion on the constraint.
2 | Market where Transmission Constraint Penalty Factor can be modified |  | Day-ahead or Real-time
3 | Conditions where TCPF can be raised |  | Sufficient congestion relief on the constraint cannot be provided by available resources at a cost below the default Transmission Constraint Penalty Factor
4 | Conditions where TCPF can be lowered |  | Sufficient congestion relief on the constraint can be provided by available resources at a cost below the default Transmission Constraint Penalty Factor in order to prevent a high cost resource that cannot provide material congestion relief on the constraint from inappropriately setting price for the constraint | Status Quo + when congestion relief on the constraint can be provided by available resources at a cost below the default TCPF but resources are not available for congestion relief between the marginal value of the appreciable resource and the default Transmission Constraint Penalty Factor if one or more of the following conditions apply i. The congestion results from a Transmission outage needed to accommodate a RTEP or network Transmission upgrade designed to improve system reliability or Market efficiency ii. The congestion is the result of a radial load pocket iii. Unexpected changes in availability of effective resources
5 | Special cases where TCPF can be modified |  | Until such time the rebuild of the Lanexa-Dunnsville-Northern Neck line in the Dominion Transmission Zone is complete (as confirmed with the Transmission Owner and subsequently reported on the transmission facilities outage list posted on the Office of the Interconnection’s website), the Office of the Interconnection shall set the transmission line limit in its Security Constrained Economic Dispatch program at a level that ensures the offers of the resources being used to control the constraint are reflected in the Congestion Price in lieu of applying a Transmission Constraint Penalty Factor when there are insufficient available resources to relieve a transmission constraint on the remaining transmission facilities serving the Northern Neck peninsula caused by the Lanexa-Dunnsville-Northern Neck line outage. | Remove special case treatment |  |  |  |  | Low
6 | [8 empty] | Low - Medium
7 | [8 empty] | Low - High
8 | [8 empty] | Medium
9 | [8 empty] | Medium - High
10 | [8 empty] | High
11
12
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attibute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Design Component Details
Energy Price Formation Senior Task Force
Transmission Constraint Penalty Factor
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component | Detailed Description
1 | <enter detailed description of this component>
2 | <enter detailed description of this component>
3 | <enter detailed description of this component>
4 | <enter detailed description of this component>
5 | <enter detailed description of this component>

## 2b. Option Details
Energy Price Formation Senior Task Force
Transmission Constraint Penalty Factor
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 3. Package Matrix
Energy Price Formation Senior Task Force
Transmission Constraint Penalty Factor
PACKAGE/ PROPOSAL MATRIX
Packages
# | Design Components | Priority | Status Quo | A | B | C | D | E
1
2
3
4
5
6
7
8
9 | [8 empty] | Low
10 | [8 empty] | Low - Medium
Low - High
Medium
Instructions: | [8 empty] | Medium - High
1. Copy over design component, priority, and status quo columns from options matrix | [8 empty] | High
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## 3a. Package Details
Energy Price Formation Senior Task Force
Transmission Constraint Penalty Factor
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
Energy Price Formation Senior Task Force
Transmission Constraint Penalty Factor
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description

## Revision History
Energy Price Formation Senior Task Force
Transmission Constraint Penalty Factor
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1
2
3