## Sheet1
Wind Reactive Power Tariff Projects in PJM
Wind Plant | Docket No. | Filing Date | Location | Capacity (MW) | PF | COD | Interconnect Voltage (kV) | WTG Capital Cost (a) | WTG Cost Allocated to Gen/Exc (b) | Gen/Exc Cost (a)*(b)=(c) | AEE Capital Cost (d) | AEE Allocated to support of Gen/Exc (e) | AEE Capital Cost Supporting Gen/Exc (d)*(e)=(f) | Gen/Exc & AEE supporting Gen/Exc (c)+(f) | Reactive Power Allocation Factor | Gen/Exc & AEE Allocated to Reactive Power Prod | Static Reactive Component Costs | GSU Cost (g) | GSU Cost Allocated to Reactive Power Prod | Balance of Plant Cost | BOP Allocator | BOP Cost Allocated to Reactive Power Prod | Total Prod Plant Investment Allocated to Reactive Power Prod | Fixed Charge Rate | Annual Fixed Capability Component
Settlers Trail | ER18-642 | 2018-01-12 | Illinois | 150.4 | 0.9 | 2011-10-01 | 138 | 217375827 | 7.85% | 17055382 | 18717830 | 91% | 16998268 | 34053651 | 19% | 7163230 | 0 | 2430948 | 461880 | 236746701 | 0.33% | 787057 | 8412167 | 12.25% | 1030432.11
Radford's Run | ER18-1215 | 2018-03-29 | Illinois | 305.8 | 0.94 | 2017-12-01 | 345 | 365120006 | 12% | 43814400.667 | 26192676 | 81% | 21184646 | 64999046 | 11.48% | 7461478 | 2875058 | 6824896 | 783455 | 423387250 | 0.16% | 692262 | 9267233 | 12.1% | 1121089.08
Pioneer Trail | ER18-1473 | 2018-04-30 | Illinois | 150 | 0.9 | 2012-01-01 | 138 | 200484011 | 7.37% | 14778976 | 13255188 | 94% | 12398745 | 27177721 | 19% | 5635068 | 0 | 2194213 | 416901 | 225783536 | 0.47% | 1050854 | 7102823 | 11.64% | 826926.09
Hilltopper | ER19-878 | 2019-01-29 | Illinois | 185 | 0.9 | 2018-12-01 | 345 | 239711219 | 14.37% | 34457623 | 31485245 | 95% | 29806299 | 64263922 | 19% | 12210145 | 1166740 | 3892000 | 739480 | 313451830 | 0.09% | 272788 | 14389153 | 10.82% | 1557078.06
Wildcat I | ER19-1077 | 2019-02-19 | Indiana | 200 | 0.9 | 2012-12-01 | 138 | 331805842 | 4.72% | 15661236 | 24881856 | 93% | 23099642 | 38760877 | 19% | 7364567 | 841369 | 2738987 | 520408 | 393934804 | 0.49% | 1930281 | 9815255 | 9.99% | 980740.39
New Creek Wind | ER19-2745 | 2019-09-04 | West Virginia | 102.5 | 0.95 | 2016-12-01 | 500 | 146836576 | 14.1% | 20703957 | 18210397 | 75% | 13593324 | 34297281 | 9.75% | 3343985 | 0 | 2195517 | 214063 | 148975429 | 0.58% | 857517 | 4415565 | 12.64% | 558176.11
Lexington Chenoa | ER20-2148 | 2020-06-24 | Illinois | 205.2 | 0.9 | 2019-12-01 | 345 | 246194557 | 6.4% | 15756452 | 14622038 | 86% | 12608789 | 28365240 | 19% | 5389396 | 789822 | 2377576 | 451739 | 272039197 | 0.31% | 854888 | 6696023 | 12.44% | 833084.64
Paulding IV | ER20-2503 | 2020-07-23 | Ohio | 126 | 0.903 | 2020-01-01 | 138 | 144102675 | 6.5% | 9337853 | 15865391 | 83.3% | 13212073 | 22549926 | 18.5% | 4162514 | 1095903 | 2064097 | 381014 | 162644758 | 0.38% | 610374 | 6249804 | 11.07% | 691974.71
Lone Tree | ER20-2593 | 2020-09-23 | Illinois | 88.68 | 0.87 | 2020-11-01 | 138 | 94234111 | 13% | 12250435 | 13852181 | 78.8% | 10912474 | 23162908 | 24.3% | 5511747 | 0 | 1596081 | 303255 | 101445340 | 0.51% | 516277 | 6331279 | 12.69% | 803489.87
|  |  |  | 1513.58 | 0.907 | [6 empty] | 0.86344 |  |  |  |  | 447210.719
Wind Plant | WTG Capital Cost per MW | AEE Supporting Gen/Exc Cost per MW | GSU Cost per MW | Balance of Plant Cost per MW
Settlers Trail | 1445317.9987 | 113020.3989 | 16163.2181 | 1574113.7035
Radford's Run | 1193983.015 | 69276.1478 | 22318.1687 | 1384523.3813
Pioneer Trail | 1336560.0733 | 82658.3 | 14628.0867 | 1505223.5733
Hilltopper | 1295736.3189 | 161115.1297 | 21037.8378 | 1694334.2162
Wildcat I | 1659029.21 | 115498.21 | 13694.935 | 1969674.02
New Creek Wind | 1432551.961 | 132617.7951 | 21419.678 | 1453418.8195
Lexington Chenoa | 1199778.5429 | 61446.3402 | 11586.6277 | 1325727.0809
Paulding IV | 1143672.0238 | 104857.7222 | 16381.7222 | 1290831.4127
Lone Tree | 1062630.9314 | 123054.5106 | 17998.207 | 1143948.3536
Average | 1307695.5639 | 107060.5061 | 17247.609 | 1482421.6179