## Summary
Commonwealth Edison requested PJM conduct four scenarios, 4 and 6 hour duration programs under two different THI triggers. Each scenario is conducted with a flat 130 MW of peak shaving.
Scenario 1a
THI Trigger: 80
4 Hours: 15-18
Scenario 1b
THI Trigger: 80
6 Hours: 14-19
Scenario 2a
THI Trigger: 81.5
4 Hours: 15-18
Scenario 2b
THI Trigger: 81.5
6 Hours: 14-19

## Results
BRA Planning Parameters for 2021 DY
| Base | Scenario 1a |  | Scenario 1b |  | Scenario 2a |  | Scenario 2b
Coincident Peak | 21458 | 21344 | -114 | 21343 | -115 | 21344 | -114 | 21343 | -115
CETO* | -640 | -660 | -20 | -680 | -40 | -650 | -10 | -660 | -20
Reliability Requirement | 26112 | 26005 | -107 | 25985 | -127 | 26015 | -97 | 26005 | -107
*The Base case assumes all available load management according to Table B-7 of the 2018 PJM Load Forecast Report (1300 MW CP DR + 80 MW Summer Period DR). Scenario cases include only CP DR, but does include the peak shaving impact on the load forecast.