## Sheet1
LMP Bus Model Update - December 07, 2022
Buses Added
Pnode ID | Tx Zone | Substation | Voltage | Equipment
2156113690 | AECO | FAATC | 69 KV | LOAD1
2156113783 | AECO | FAATC | 69 KV | LOAD2
2156113634 | AEP | 21JOHNST | 69 KV | LOADA
2156113760 | AEP | 21JSTJNC | 69 KV | LOADA
2156113681 | AEP | 21NWHTH | 69 KV | LOADA
2156113598 | AEP | 21SHAWN | 69 KV | LOADA
2156113660 | AEP | 21WILBRG | 69 KV | LOADA
2156113767 | AEP | ACADEMIA | 138 KV | MOBILE
2156113614 | AEP | AMERIPLX | 138 KV | T1
2156113608 | AEP | ARBORSTR | 69 KV | T1
2156113757 | AEP | BALLOU | 69 KV | CITYDANV
2156113706 | AEP | BIGSANDY | 138 KV | MOBAP104
2156113748 | AEP | BIGSANDY | 138 KV | MOBILE
2156113569 | AEP | BIGSANDY | 138 KV | SKIDKP02
2156113791 | AEP | BIGSANDY | 138 KV | T101LD
2156113685 | AEP | BIGSANDY | 138 KV | T102LD
2156113703 | AEP | COLFAXIN | 69 KV | MOBILE
2156113577 | AEP | COLFAXIN | 69 KV | T1
2156113781 | AEP | COOK | 34 KV | AUX
2156113735 | AEP | CORNERST | 69 KV | T1
2156113606 | AEP | CORNERST | 69 KV | T2
2156113754 | AEP | CPORTSMO | 69 KV | T1
2156113630 | AEP | DELANO | 34.5 KV | SALTCTSP
2156113670 | AEP | DIVELBIS | 69 KV | FREDERIC
2156113555 | AEP | DIVELBIS | 69 KV | MTVERNO
2156113607 | AEP | EDENSRID | 138 KV | T2
2156113732 | AEP | HEMLOCK | 69 KV | BRYSON
2156113717 | AEP | HYATTCS | 138 KV | T8
2156113574 | AEP | IRNTRNGL | 138 KV | LOUDON
2156113676 | AEP | JEANETTE | 69 KV | FOSTORIA
2156113632 | AEP | LUMBERJK | 69 KV | T1
2156113771 | AEP | LYDICK | 69 KV | T2
2156113593 | AEP | MILLSTRE | 69 KV | T1
2156113737 | AEP | MUESSEL | 69 KV | T1
2156113654 | AEP | MUESSEL | 69 KV | T2
2156113709 | AEP | NENDFOST | 69 KV | BENDIX
2156113597 | AEP | NENDFOST | 69 KV | T1
2156113721 | AEP | NENDFOST | 69 KV | T2
2156113701 | AEP | NLIBERSW | 69 KV | JELLOWAY
2156113718 | AEP | NPORTSMO | 69 KV | OERTELS
2156113679 | AEP | PALMYRSW | 69 KV | PALMYRA
2156113594 | AEP | PINHOOKS | 69 KV | STMARYSC
2156113769 | AEP | POTH | 138 KV | T1
2156113777 | AEP | POTH | 138 KV | T2
2156113559 | AEP | ROSEMOUN | 69 KV | T1
2156113668 | AEP | ROSEMOUN | 69 KV | T2
2156113643 | AEP | RUHLMAN | 69 KV | T1
2156113790 | AEP | RVCAPITA | 138 KV | T1
2156113716 | AEP | SILOAM | 69 KV | T1
2156113713 | AEP | SNOWBERR | 69 KV | HARBISON
2156113585 | AEP | SOUSHORE | 69 KV | T1
2156113549 | AEP | STOUTSW | 69 KV | DOV_CHEM
2156113744 | AEP | SUGARHIL | 69 KV | FRIENDSH
2156113692 | AEP | SUGARHIL | 69 KV | T1
2156113683 | AEP | TULIPRD | 69 KV | T1
2156113678 | AEP | WEFOSTOR | 69 KV | T1
2156113736 | AEP | WEFOSTOR | 69 KV | T2
2156113566 | AEP | WILLISTO | 69 KV | T1
2156113616 | AEP | WSIDE | 34 KV | LASALLE
2156113741 | APS | MCCONNEL | 34.5 KV | COMMUNSP
2156113711 | APS | MECHATWN | 34.5 KV | BLAKESP
2156113761 | ATSI | E_FAYET | 34.5 KV | ARCHESP
2156113649 | COMED | 942 NELS | 18 KV | GT3CT_1
2156113657 | COMED | 942 NELS | 18 KV | GT4CT_1
2156113653 | COMED | 942 NELS | 18 KV | SS3
2156113759 | COMED | E552 | 138 KV | TR76
2156113658 | COMED | E552 | 138 KV | TR77
2156113747 | COMED | E552 | 138 KV | TR78
2156113677 | DOM | BERKLEY | 115 KV | TX1
2156113762 | DOM | BRADDOCK | 230 KV | SR_1
2156113774 | DOM | GLOBLPLZ | 36 KV | TX1LOAD
2156113694 | DOM | GLOBLPLZ | 36 KV | TX4LOAD
2156113627 | DOM | JEFFRSON | 230 KV | SR_1
2156113705 | DOM | LACROSSE | 36 KV | LOAD3
2156113548 | DOM | LINCOLNP | 34 KV | TX1_LOAD
2156113707 | DOM | LINCOLNP | 34 KV | TX2_LOAD
2156113639 | DOM | LINCOLNP | 34 KV | TX3_LOAD
2156113766 | DOM | LINCOLNP | 34 KV | TX4_LOAD
2156113680 | DOM | MERCK5 | 13 KV | TX1LD
2156113575 | DOM | MERCK5 | 13 KV | TX2LD
2156113613 | DOM | MOONCRNR | 34.5 KV | BOOKERSP
2156113722 | DOM | RACEFIEL | 230 KV | LOAD1
2156113637 | DOM | RACEFIEL | 230 KV | LOAD2
2156113715 | DOM | SHAWBORO | 230 KV | SR-1
2156113708 | DOM | VALLEY4 | 230 KV | SR_1
2156113753 | DPL | LANKREA | 69 KV | BENNET
2156113644 | METED | AMDEASTN | 115 KV | CUSTLD
2156113551 | METED | KLECKNER | 230 KV | T3LD
2156113758 | METED | PHGLATFE | 13.8 KV | UNIT2
2156113581 | PEPCO | HARVARD | 230 KV | T1_LOAD
2156113618 | PEPCO | HARVARD | 230 KV | T2_LOAD
2156113651 | PEPCO | HARVARD | 230 KV | T3_LOAD
2156113601 | PEPCO | HARVARD | 230 KV | T4_LOAD
2156113749 | PEPCO | MTVERPEP | 230 KV | T1_LOAD
2156113746 | PEPCO | MTVERPEP | 230 KV | T2_LOAD
2156113684 | PEPCO | MTVERPEP | 230 KV | T3_LOAD
2156113591 | PEPCO | MTVERPEP | 230 KV | T4_LOAD
2156113752 | PPL | BENVENUE | 69 KV | BENV1_LD
2156113592 | PPL | BENVENUE | 69 KV | BENV2_LD
2156113669 | PPL | BENVENUE | 69 KV | NEBL_LD
2156113664 | PPL | GREENPAR | 69 KV | GRPA_LD
2156113631 | PPL | LACKAWAN | 69 KV | ECAR1_LD
2156113727 | PPL | LACKAWAN | 69 KV | ECAR2_LD
2156113695 | PPL | LACKAWAN | 69 KV | GFLD_LD
2156113647 | PPL | LACKAWAN | 69 KV | POCO_LD
2156113743 | PPL | LACKAWAN | 69 KV | VARD_LD
2156113570 | PPL | SHERMAND | 69 KV | SDLE_LD
2156113720 | PPL | SHERMAND | 69 KV | SSHE_LD
2156113672 | PSEG | 14STREET | 69 KV | 69-1LD
2156113579 | PSEG | 14STREET | 69 KV | 69-2LD
2156113578 | PSEG | 14STREET | 69 KV | 69-3LD
2156113633 | PSEG | 14STREET | 69 KV | T1LD
2156113738 | PSEG | 14STREET | 69 KV | T2LD
2156113686 | PSEG | DUMONTPS | 69 KV | T3
Buses Deleted
Pnode ID | Tx Zone | Substation | Voltage | Equipment
65732117 | AECO | LEWIS | 69 KV | FAA
1268559190 | AECO | LEWIS | 69 KV | FAATC2
32416353 | AEP | 21EAST | 69 KV | A
2156111873 | AEP | 21TREATY | 69 KV | NWHTH
2156111761 | AEP | 21WWVSTA | 69 KV | JOHNST
2156111854 | AEP | 21WWVSTA | 69 KV | JSTJNC
32410629 | AEP | BENTONVI | 69 KV | T2
1356152890 | AEP | BUCKLEYR | 69 KV | TR1
32411001 | AEP | CPORTSMO | 138 KV | T2
2041956629 | AEP | DANVILLE | 12 KV | T2
1218905214 | AEP | MILLBROO | 69 KV | CORNESTN
1218905212 | AEP | MILLBROO | 69 KV | RUHLMAN
32411977 | AEP | MILLBROO | 69 KV | SILOAM
32412159 | AEP | NPORTSMO | 138 KV | T1
2156110457 | AEP | OLIVE | 69 KV | HARBISON
32412269 | AEP | PISO | 138 KV | T1
1107282341 | AEP | RICHMOPK | 69 KV | LOAD
2156112369 | AEP | SBENDAEP | 69 KV | COLFAX
2156112418 | AEP | SBENDAEP | 69 KV | PINHOOK
1439645639 | AEP | VASSELL | 138 KV | T1
1268562802 | AEP | VASSELL | 34.5 KV | SSLOAD
1356153528 | AEP | WBELLVIL | 69 KV | WBELVIL
1218905832 | AEP | WEFOSTOR | 69 KV | ARBOR
32413097 | AEP | WSIDE | 138 KV | T4
32406851 | COMED | 114 NORT | 138 KV | TR75 12
32406853 | COMED | 114 NORT | 138 KV | TR75-212
48934179 | COMED | 122 BELV | 34.5 KV | BOONEWF
2156112982 | COMED | 942 NELS | 13.8 KV | GT3CT
2156112745 | COMED | 942 NELS | 13.8 KV | GT4CT
2156112837 | COMED | 942 NELS | 13.8 KV | SS3
2156110604 | JCPL | FRANKLIN | 34.5 KV | ROYRD2BS
2155501849 | METED | MOUN ME | 115 KV | MOB10LD
2156110133 | METED | MOUN ME | 115 KV | MOB9LD
74008705 | PEPCO | NORBECK | 69 KV | OAKSLF
Changed From: |  |  |  |  | Changed To:
Pnode ID | Tx Zone | Substation | Voltage | Equipment | Pnode ID | Tx Zone | Substation | Voltage | Equipment
135388703 | AEP | BORDENML | 34.5 KV | T2 | 2156113719 | AEP | BORDENML | 34.5 KV | T1
135388705 | AEP | CUMBLAEP | 34.5 KV | T2 | 2156113563 | AEP | CUMBLAEP | 34.5 KV | T4
32408875 | COMED | Z715 | 138 KV | TR2 12 | 2156113611 | COMED | Z715 | 138 KV | TR72_12
32408877 | COMED | Z715 | 138 KV | TR3 12 | 2156113671 | COMED | Z715 | 138 KV | TR73_12
49877 | DPL | CHESTERT | 69 KV | 2245LD | 2156113648 | DPL | CHESTERT | 69 KV | T1_LOAD
49370 | JCPL | ATLANTIC | 34 KV | BANK1 | 2156113572 | JCPL | ATLANTIC | 34 KV | BANK5
49114 | PPL | LACKAWAN | 69 KV | BUS_1 | 2156113636 | PPL | LACKAWAN | 69 KV | SCRA1_LD
49115 | PPL | LACKAWAN | 69 KV | BUS_3 | 2156113731 | PPL | LACKAWAN | 69 KV | SCRA2_LD
Aggregates Added
Pnode ID | Name
Aggregates Deleted
Pnode ID | Name