## Sheet1
LMP Bus Model Update - March 15, 2023
Buses Added
Pnode ID | Tx Zone | Substation | Voltage | Equipment
2156113878 | AECO | PECKBAY | 138 KV | OCW01
2156114007 | AEP | ALLENAEP | 46 KV | T2
2156113946 | AEP | BOLT | 138 KV | T2
2156113935 | AEP | BRIE | 138 KV | T1A
2156113964 | AEP | BRIE | 138 KV | T1B
2156113933 | AEP | BRIE | 138 KV | T1C
2156113867 | AEP | BRIE | 138 KV | T1D
2156113960 | AEP | CONESVIL | 138 KV | SLATE1
2156113914 | AEP | CONESVIL | 138 KV | SLATE2
2156113958 | AEP | HOCKMAN | 138 KV | TR1
2156114002 | AEP | KENNA | 138 KV | T1
2156113926 | AEP | KILEVILL | 138 KV | SHIRE3
2156113940 | AEP | KILEVILL | 138 KV | SHIRE4
2156113993 | AEP | NFINDLCR | 138 KV | NFINDLY1
2156113992 | AEP | SISSON | 138 KV | MOBILE
2156113903 | AEP | TRAPHILL | 138 KV | T1
2156113981 | AEP | TYGART | 69 KV | T1
1067159163 | APS | SHERWOD | 138 KV | LOAD1
2156113893 | APS | WJEFERSN | 230 KV | TR1
2156113948 | ATSI | IACNA | 69 KV | T3
2156113890 | COMED | 182_MINO | 138 KV | TR76_34
2156113899 | DAY | ATLNTA | 69 KV | BUCKEYSP
2156113997 | DAY | ATLNTA | 69 KV | PICKAWSP
2156113908 | DEOK | 08RCHWOD | 69 KV | LD44
2156113887 | DEOK | 08SMRSD1 | 69 KV | LD_1
2156113872 | DEOK | WILLEY | 138 KV | BK2
2156113913 | DOM | DAWKINSB | 230 KV | LD1
2156113928 | DOM | DAWKINSB | 230 KV | LD2
2156113920 | DOM | DTC | 34 KV | TX1_LOAD
2156113909 | DOM | DTC | 34 KV | TX2_LOAD
2156113956 | DOM | DTC | 34 KV | TX3_LOAD
2156113869 | DOM | DTC | 34 KV | TX4_LOAD
2156114012 | DOM | DTC | 34 KV | TX5_LOAD
2156114025 | DOM | ENON4 | 230 KV | TXMOB
2156113980 | DOM | MERCURY | 22 KV | TX2_LOAD
2156113974 | DOM | OPAL | 36 KV | TX1_LOAD
2156113929 | DOM | OPAL | 36 KV | TX2_LOAD
2156113998 | DOM | PLEASNTV | 35 KV | TX5_LOAD
2156113966 | DOM | POWHATAN | 35 KV | QUILLWSP
2156114031 | DOM | SINAI | 13 KV | TX2_LOAD
2156114008 | DOM | SMITHFLD | 35 KV | SOLIDASP
2156113897 | DOM | WINTERPK | 35 KV | WINTERSP
2156113982 | EKPC | LOGAN_EK | 69 KV | LD2
2156114016 | METED | MAXATAWN | 69 KV | MAXATALD
2156114020 | PENELEC | TITUSVIL | 115 KV | TITUSVSP
2156113895 | PEPCO | WATERFRO | 230 KV | T3
2156113970 | PEPCO | WATERFRO | 230 KV | T4
2156113919 | PEPCO | WATERFRO | 230 KV | T6
2156113889 | PPL | HARTLAND | 69 KV | HART1_LD
2156113901 | PPL | ST_JOHNS | 69 KV | SAJO1_LD
2156113918 | PPL | ST_JOHNS | 69 KV | SAJO2_LD
2156113988 | PPL | STEELCTY | 13 KV | AUXLOAD1
2156113959 | PPL | STEELCTY | 13 KV | AUXLOAD5
2156113950 | PPL | STEELCTY | 18 KV | AUXLOAD8
2156113943 | PPL | VALMONT | 69 KV | VALM2_LD
2156113971 | PSEG | HACKENSA | 69 KV | MOBILE
2156113969 | PSEG | HACKENSA | 69 KV | T1LD
2156114010 | PSEG | HACKENSA | 69 KV | T2LD
2156113906 | PSEG | HACKENSA | 69 KV | T3LD
2156113876 | PSEG | MTROSEPS | 69 KV | M10
2156113905 | PSEG | NPARKST | 69 KV | T1LD
2156113902 | PSEG | NPARKST | 69 KV | T2LD
2156113900 | PSEG | NPARKST | 69 KV | T3LD
2156113894 | PSEG | ORANGEHT | 69 KV | T1LD
2156114011 | PSEG | ORANGEHT | 69 KV | T2LD
2156114014 | PSEG | ORANGEHT | 69 KV | T3LD
2156113945 | PSEG | ORANGEHT | 69 KV | T4LD
2156114019 | PSEG | SANDHILL | 69 KV | M10
Buses Deleted
Pnode ID | Tx Zone | Substation | Voltage | Equipment
1248980389 | AECO | CARNEYPT | 69 KV | T1 LOAD
50854 | AECO | ENGLAND | 18 KV | UNIT02
50855 | AECO | ENGLAND | 20 KV | UNIT03
659775 | AECO | ENGLAND | 23 KV | DIESEL
61482221 | AECO | PENNSGRO | 69 KV | T1 LD
2156111331 | AECO | PVILLE | 69 KV | PLEASANT
32410665 | AEP | BIM | 138 KV | T1
32418571 | AEP | BSPEAKER | 138 KV | 1
32418573 | AEP | BSPEAKER | 138 KV | 2
32418575 | AEP | BSPEAKER | 138 KV | 3
32418577 | AEP | BSPEAKER | 138 KV | 4
32418579 | AEP | BSPEAKER | 138 KV | 5
32418581 | AEP | BSPEAKER | 138 KV | 6
1183222554 | AEP | COLUMBIA | 34.5 KV | LOAD_X2
38367953 | AEP | CONESVIL | 26 KV | CV4
1067169268 | AEP | CONESVIL | 26 KV | CV4_A
1067169267 | AEP | CONESVIL | 26 KV | CV4_C
1067169266 | AEP | CONESVIL | 26 KV | CV4_D
1067160676 | AEP | CONESVIL | 26 KV | LOAD
32418583 | AEP | CONSTELL | 138 KV | 1
32418585 | AEP | CONSTELL | 138 KV | 2
32418587 | AEP | CONSTELL | 138 KV | 3
32418589 | AEP | CONSTELL | 138 KV | 4
32418591 | AEP | CONSTELL | 138 KV | 5
32411601 | AEP | HUFFCREE | 138 KV | T1
48934185 | AEP | INDUSTRY | 138 KV | G1
40243813 | AEP | KAMMER2 | 15.5 KV | KM1
32418435 | AEP | KANAWHAR | 18 KV | KR1
32418437 | AEP | KANAWHAR | 18 KV | KR2
2156113466 | AEP | PAYNE | 69 KV | PT1
40243835 | AEP | PICWAY | 14.4 KV | PC5
1388602794 | AEP | STRAWTON | 138 KV | T1
2156112525 | AEP | STRAWTON | 34.5 KV | SSLOAD
83734401 | APS | EAGLEHEA | 230 KV | REICHSLF
93354045 | ATSI | AVONLAK2 | 14 KV | UN7
119117497 | ATSI | SAMMISFE | 19 KV | LD10
119117499 | ATSI | SAMMISFE | 19 KV | LD20
98370511 | ATSI | SAMMISFE | 19 KV | SL10
98370513 | ATSI | SAMMISFE | 19 KV | SL20
50666 | BGE | GOULDST | 13 KV | GEN 03
50667 | BGE | NOTCHCLI | 13 KV | CT 1
50668 | BGE | NOTCHCLI | 13 KV | CT 2
50669 | BGE | NOTCHCLI | 13 KV | CT 3
50670 | BGE | NOTCHCLI | 13 KV | CT 4
50671 | BGE | NOTCHCLI | 13 KV | CT 5
50672 | BGE | NOTCHCLI | 13 KV | CT 6
50673 | BGE | NOTCHCLI | 13 KV | CT 7
50674 | BGE | NOTCHCLI | 13 KV | CT 8
50687 | BGE | RIVERSID | 13 KV | CT 8
1067169011 | COMED | 107 DIXO | 138 KV | DIXONLEE
32417727 | COMED | 944 SE C | 13.5 KV | SE-5
32417729 | COMED | 944 SE C | 13.5 KV | SE-6
32417731 | COMED | 944 SE C | 13.5 KV | SE-7
32417733 | COMED | 944 SE C | 13.5 KV | SE-8
32408713 | COMED | J310 | 138 KV | TR5 00
32408719 | COMED | J310 | 138 KV | TR8 00
74008739 | DAY | BLUEJACK | 69 KV | DTEBELLF
38367955 | DAY | KILLEN | 23.4 KV | G2
1067169514 | DAY | KILLEN | 23.4 KV | GT1
1067169516 | DAY | KILLEN | 23.4 KV | GT1_C
1067169513 | DAY | KILLEN | 23.4 KV | KI2
1067169515 | DAY | KILLEN | 23.4 KV | KI2_C
1067162144 | DAY | KILLEN | 23.4 KV | SS1LOAD
1067162145 | DAY | KILLEN | 23.4 KV | SS2LOAD
1084384196 | DAY | KILLEN | 345 KV | BK-A
1318135704 | DAY | NORMAN | 138 KV | BK2
38367957 | DAY | STUART2 | 22.8 KV | ST1
1067169546 | DAY | STUART2 | 22.8 KV | ST1_A
1067169542 | DAY | STUART2 | 22.8 KV | ST1_C
1067169538 | DAY | STUART2 | 22.8 KV | ST1_D
1067162209 | DAY | STUART2 | 22.8 KV | ST1SSLD
38367959 | DAY | STUART2 | 22.8 KV | ST2
1067169547 | DAY | STUART2 | 22.8 KV | ST2_A
1067169543 | DAY | STUART2 | 22.8 KV | ST2_C
1067169539 | DAY | STUART2 | 22.8 KV | ST2_D
1067162210 | DAY | STUART2 | 22.8 KV | ST2SSLD
38367961 | DAY | STUART2 | 22.8 KV | ST3
1067169548 | DAY | STUART2 | 22.8 KV | ST3_A
1067169544 | DAY | STUART2 | 22.8 KV | ST3_C
1067169540 | DAY | STUART2 | 22.8 KV | ST3_D
1067162211 | DAY | STUART2 | 22.8 KV | ST3SSLD
38367963 | DAY | STUART2 | 22.8 KV | ST4
1067169549 | DAY | STUART2 | 22.8 KV | ST4_A
1067169545 | DAY | STUART2 | 22.8 KV | ST4_C
1067169541 | DAY | STUART2 | 22.8 KV | ST4_D
1067162212 | DAY | STUART2 | 22.8 KV | ST4SSLD
1123172077 | DAY | STUART2 | 4 KV | AUX
1123180221 | DAY | STUART2 | 4 KV | DIES_A
1123180222 | DAY | STUART2 | 4 KV | DIES_C
1123180223 | DAY | STUART2 | 4 KV | DIES_D
1123180220 | DAY | STUART2 | 4 KV | DIESEL
119117781 | DEOK | BECKJORD | 22 KV | AUX5
34886953 | DEOK | BECKJORD | 22 KV | UN5
2156112245 | DEOK | HALFACRE | 138 KV | MOBLOAD
76427805 | DOM | BELLMEAD | 13.8 KV | GT1
76427807 | DOM | BELLMEAD | 13.8 KV | GT2
76427809 | DOM | BELLMEAD | 13.8 KV | ST
34887759 | DOM | BELLMEAD | 230 KV | NUG
34887973 | DOM | BREMO4 | 13 KV | G3
34887975 | DOM | BREMO4 | 17 KV | G4
34886679 | DOM | BREMO4 | 2 KV | SS3
34886681 | DOM | BREMO4 | 4 KV | RSS4
34886683 | DOM | BREMO4 | 4 KV | SS4
34887785 | DOM | COGENTRX | 230 KV | NUG
76427827 | DOM | EDGECOMB | 13.8 KV | G1
76427829 | DOM | EDGECOMB | 13.8 KV | G2
71856777 | DOM | EDGECOMB | 13.8 KV | NUG
71856763 | DOM | HURT | 13.8 KV | G12
71856765 | DOM | HURT | 13.8 KV | G22
71856773 | DOM | SPRUANCE | 13.8 KV | NUG2
50914 | DPL | INDIANRI | 20 KV | UNIT03
2156113420 | DPL | ZOAR | 69 KV | FAIRMT
119118203 | JCPL | FRANKLIN | 34.5 KV | SUSSEXLF
49368 | JCPL | WWHARTON | 230 KV | BK 2
1268571493 | METED | CATTRACT | 14 KV | NUG GE1
1268571492 | METED | CATTRACT | 14 KV | NUG GE2
50748 | METED | PORTLAND | 13 KV | UNIT 1
50752 | METED | PORTLAND | 15 KV | UNIT 2
50533 | PECO | FALLS | 4 KV | PENSBRY1
50534 | PECO | FALLS | 4 KV | PENSBRY2
50538 | PECO | FARHILLS | 13 KV | A GEN
50539 | PECO | FARHILLS | 13 KV | B GEN
2156109433 | PENELEC | CARL PN | 23 KV | CARLISSP
49593 | PENELEC | LEWISTOW | 46 KV | NO2 TX
2156113444 | PENELEC | TYRONEN | 115 KV | MOB_LD
50820 | PEPCO | DICKERSO | 13 KV | STADG1
50821 | PEPCO | DICKERSO | 13 KV | STADG2
50822 | PEPCO | DICKERSO | 13 KV | STADG3
2156108935 | PPL | BLYTHEBU | 69 KV | BLYTLOAD
49095 | PPL | FRACKVIL | 69 KV | BUS_1
49096 | PPL | FRACKVIL | 69 KV | BUS_2
49097 | PPL | FRACKVIL | 69 KV | BUS_3
50602 | PPL | FRACKVIL | 69 KV | WHFNUG
71856665 | PSEG | BAYONNE | 13 KV | COGEN1
71856667 | PSEG | BAYONNE | 13 KV | COGEN2
71856669 | PSEG | BAYONNE | 13 KV | COGEN3
71856671 | PSEG | BAYONNE | 13 KV | COGEN4
2156111318 | PSEG | BUSTLETO | 13 KV | BCLF
Changed From: |  |  |  |  | Changed To:
Pnode ID | Tx Zone | Substation | Voltage | Equipment | Pnode ID | Tx Zone | Substation | Voltage | Equipment
2156110160 | AEP | HAGAR | 69 KV | LOAD | 2156113916 | AEP | HAGAR | 69 KV | T1
32411495 | AEP | HARTFCTY | 69 KV | LOAD | 2156113949 | AEP | HARTFCTY | 69 KV | T2
5021756 | APS | WARRIORN | 13 KV | GEN1 | 2156114024 | APS | WARRIORN | 18 KV | GEN1
5021578 | APS | WARRIORN | 138 KV | SS LOAD | 2156114028 | APS | WARRIORN | 138 KV | AUX_LOAD
78711693 | BGE | WESTMINT | 115 KV | COL PIPE | 2156113875 | BGE | COL_PIPE | 115 KV | COL_PIPE
123901165 | DEOK | 08SMRSD1 | 33 KV | LD1 | 2156113923 | DEOK | 08SMRSD1 | 33 KV | LD_2
50872 | DPL | BAYVIEW | 4 KV | G1 | 2156114027 | DPL | CHERITON | 4 KV | G1
50873 | DPL | BAYVIEW | 4 KV | G2 | 2156113972 | DPL | CHERITON | 4 KV | G2
50874 | DPL | BAYVIEW | 4 KV | G3 | 2156113883 | DPL | CHERITON | 4 KV | G3
50875 | DPL | BAYVIEW | 4 KV | G4 | 2156114004 | DPL | CHERITON | 4 KV | G4
50876 | DPL | BAYVIEW | 4 KV | G5 | 2156113892 | DPL | CHERITON | 4 KV | G5
50877 | DPL | BAYVIEW | 4 KV | G6 | 2156113925 | DPL | CHERITON | 4 KV | G6
2156112931 | DPL | CHERITON | 69 KV | T1 | 2156113991 | DPL | CHERITON | 25 KV | T1_LOAD
2156112671 | DPL | CHERITON | 69 KV | T2 | 2156113937 | DPL | CHERITON | 25 KV | T2_LOAD
2156110531 | EKPC | SHELBYCO | 69 KV | BUDD | 2156113911 | EKPC | BUDD | 69 KV | LD1
2156110530 | EKPC | SHELBYCO | 69 KV | LOGAN | 2156114013 | EKPC | LOGAN_EK | 69 KV | LD1
49369 | JCPL | WWHARTON | 230 KV | BK 1 | 2156113927 | JCPL | WWHARTON | 34 KV | LD1_2
2156108937 | PPL | BLYTHEBU | 69 KV | WRTP1LD | 2156113965 | PPL | BLYTHEBU | 69 KV | BLYT1_LD
2156108936 | PPL | BLYTHEBU | 69 KV | WRTP2LD | 2156114017 | PPL | BLYTHEBU | 69 KV | BLYT2_LD
2156110431 | PPL | HARWOOD | 69 KV | BLYT_LD1 | 2156113907 | PPL | FABRIKAL | 69 KV | FABR_LD
2156110430 | PPL | HARWOOD | 69 KV | BLYT_LD2 | 2156113874 | PPL | HARTLAND | 69 KV | HART2_LD
2156111796 | PPL | WILKBARR | 69 KV | WRIG_LD1 | 2156113930 | PPL | WRIGHT_T | 69 KV | WRTP1_LD
2156111787 | PPL | WILKBARR | 69 KV | WRIG_LD2 | 2156113884 | PPL | WRIGHT_T | 69 KV | WRTP2_LD
1165466816 | PSEG | CAMDEN | 230 KV | 220-1LD | 2156113870 | PSEG | CAMDEN | 26 KV | 220-1LD
1165466814 | PSEG | CAMDEN | 230 KV | 220-2LD | 2156113989 | PSEG | CAMDEN | 26 KV | 220-2LD
1165466815 | PSEG | CAMDEN | 230 KV | 220-3LD | 2156113977 | PSEG | CAMDEN | 26 KV | 220-3LD
1388612844 | PSEG | CAMDEN | 230 KV | CAMDENSP | 2156113871 | PSEG | CAMDEN | 26 KV | CAMDENSP
1388612846 | PSEG | CAMDEN | 230 KV | PENNSAUK | 2156113880 | PSEG | CAMDEN | 26 KV | PENNSAUK
2156109428 | PSEG | CAMDEN | 230 KV | RIVERRSP | 2156113868 | PSEG | CAMDEN | 26 KV | RIVERRSP
2156109169 | PSEG | CAMDEN | 230 KV | TAYLA1SP | 2156114018 | PSEG | CAMDEN | 26 KV | TAYLA1SP
Aggregates Added
Pnode ID | Name
Aggregates Deleted
Pnode ID | Name
51207 | CATTRACT
32661113 | ST CLAIR
113740 | BAYONNE
32661111 | SCHUYLKILL HAVEN
4665063 | BAYONNE TECH