## Key System Upgrades 2022_2023
System Upgrades With Potential Impact to Congestion June 2022 Through May 2023
Description | Transmission Owner | Projected In-Service Date
Reconductor the Maddox Creek - East Lima 345 kV circuit with 2-954 ACSS Cardinal conductor | AEP | 11/18/2021
Six wire the Kyger Creek to Sporn 345 kV circuits #1 and #2 and convert them to one circuit and replace structures outside of the Kyger Creek station to complete the six-wire scope. | AEP | 11/19/2021
Replace four Yukon 500/138 kV transformers with three transformers with higher rating and reconfigure 500 kV bus | APS | 2021-12-23
Reconductor Northwest – Northwest #2 115kV 110574 substation tie circuit with 2167 ACSR to achieve ratings of 400/462 MVA SN/SE | BGE | 12/31/2021
Install one new 345 kV breaker and relocate the Homer City-Mainesburg 345 kV line terminal and Homer City 345/230 kV North transformer terminal | PENELEC | 12/31/2021
Reconductor the entire Dequine - Eugene 345 kV circuit #1 | AEP | 4/1/2022
Replace terminal equipment on the French's Mill-Junction JST1 138 kV line. | APS | 4/1/2022
Reconductor approximately 0.57mi of 115 kV Line #1021 from Harmony Village to Greys Point with 768 ACSS to achieve a summer emergency rating of 237 MVA. The current conductor is 477 ACSR. | DOM | 2022-05-31
Reconductor approximately 0.97mi of 115 kV Line #65 from Rappahannock to White Stone with 768 ACSS to achieve a summer emergency rating of 237 MVA. The current conductor is 477 ACSR. | DOM | 2022-05-31
Construct a new 138 kV line from West Milton to Eldean | Dayton | 6/1/2022
Rebuild the Hunterstown - Lincoln 115 kV line (No.962) (~2.6 mi.). Upgrade limiting terminal equipment at Hunterstown and Lincoln. | ME | 6/1/2022
Build a new 230/69 kV substation by tapping the Montour - Susquehanna 230 kV double circuits and Berwick - Hunlock & Berwick - Colombia 69 kV circuits | PPL | 6/30/2022
Re-conductor the entire 230 kV Line No.274 (Pleasant View – Ashburn – Beaumeade) using a higher capacity conductor with an approximate rating of 1572 MVA. | DOM | 2022-07-01
Rebuild New Liberty – Findlay 34 kV Line Str’s 1 – 37 (1.5 miles), utilizing 795 26/7 ACSR conductor | AEP | 2022-07-21
Rebuild New Liberty – North Baltimore 34 kV Line Str’s 1-11 (0.5 miles), utilizing 795 26/7 ACSR conductor | AEP | 2022-07-21
Install 1.7 miles of 795 ASCR 138kV conductor along the other side of Dragoon Tap 138 kV line, which is currently double circuit tower with one position open. Additionally, install a 2nd 138/34.5 kV transformer at Dragoon, install a high side circuit switcher on the current transformer at Dragoon Station, and install 2-138 kV line breakers on the Dragoon-Jackson 138 kV and Dragoon-Twin Branch 138 kV lines. | AEP | 2022-08-31
Updated scope: Reconductor 0.3 miles of Tiltonsville-Windsor 138 kV into Tiltonsville station with 795 ACSS; string the vacant side of the 3.8 mile middle section using 556 ACSR and operate in a six wire configuration; rebuild the 0.9 mile section crossing from Ohio into the Windsor station in West Virginia, using 795 ACSS. | AEP | 2022-09-19
Reconductor the Shanor Manor - Butler 138 kV line with an upgraded circuit breaker at Butler | APS | 2022-10-31
Replace the Oceanview 230/34.5 kV transformer #1 | JCPL | 2022-11-10
Perform a Sag Study of the Saltville - Tazewell 138 kV line to increase the thermal rating of the line | AEP | 2022-11-15
Lakeview-Greenfield 138 kV Reconductor and Substation Upgrades | ATSI | 2022-11-15
Reconductor the Yukon – Smithton – Shepler Hill Jct 138 kV Line. Upgrade terminal equipment at Yukon and replace line relaying at Mitchell and Charleroi | APS | 2022-12-30
Rebuild Michigan City-Trail Creek - Bosserman 138 kV (10.7 mi) | NIPSCO | 2022-12-30
Rerate the 23076 Steel-Milford 230 kV line | DPL | 2022-12-31
Roseland-Branchburg 230kV corridor rebuild (Readington - Branchburg) | PSEG | 2023-01-15
Branchburg-Pleasant Valley 230kV corridor rebuild (the PSEG portion of Rocktown - Buckingham) | PSEG | 2023-01-15
Highlighted upgrades will be modeled as in-service in annual ARR allocation and annual FTR auction
Note: See the Project Status & Cost Allocation page in the Planning section of the PJM web site for a complete list of all planned upgrades including up-to-date projections of in-service dates