## Base and FSA 2025&2028
2020/2021 Market Efficiency Model - Congestion Results* (updated 4/29/2021) (This is NOT the list of Eligible Congestion Drivers)** |  |  | Base Case ($Million) |  | Base Case (Hours Binding) |  | FSA Sensitivity ($Million) |  | FSA Sensitivity (Hours Binding)
Constraint | FROM AREA | TO AREA | 2025 Input Assumptions with 2025 Topology | 2028 Input Assumptions with 2025 Topology | 2025 Input Assumptions with 2025 Topology | 2028 Input Assumptions with 2025 Topology | 2025 Input Assumptions with 2025 Topology | 2028 Input Assumptions with 2025 Topology | 2025 Input Assumptions with 2025 Topology | 2028 Input Assumptions with 2025 Topology | Type | Comments
B:23547901JUNCTN 23546701FRNCHM 1 FLO AP-P1-2-PE-500-001 | APS | APS | 15.2389 | 15.7152 | 342 | 317 | 29.7451 | 34.7305 | 645 | 682
B:3147496CHARLVL 3147726PROFFIT 1 FLO DVP_P1-2: LN 553 | DOM | DOM | 7.3397 | 10.2521 | 164 | 169 | 3.6294 | 5.5535 | 84 | 108
B:213906PLYMTG 1 214035WHITPAN1 1 FLO PECO_P1-2_220-61/* $ MONTCO $ PECO_P1-2_220-61 $ | PECO | PECO | 4.0331 | 2.7635 | 78 | 89 | 1.4446 | 1.7219 | 74 | 115
I:BC_PEP FLO BASE CASE | 0 | 0 | 3.9371 | 1.5679 | 68 | 46 | 13.4478 | 6.2725 | 266 | 176 |  | Interface
B:130836N.WAV115 20067626E.SAYRE 1 FLO PN-P1-2-PN-230-101T | NYZC | PENELEC | 2.5449 | 3.2882 | 2147 | 2041 | 4.9842 | 4.3221 | 4061 | 3896 |  | NY Tie line may be open in Operations to mitigate congestion
B:24262005DANVL2 24263105EDAN 1 1 FLO BASE CASE | AEP | AEP | 1.9333 | 1.7915 | 84 | 93 | 1.3606 | 2.2603 | 87 | 133
B:24302605KAMMER13 24606705NATRIUM34 1 FLO BASE CASE | AEP | AEP | 1.4009 | 5.042 | 46 | 130 | 0.22973 | 1.5016 | 17 | 60 |  | Congestion decreases significantly (less than $1 million FSA Sensitivity)
I:50045005 FLO VINCO-RICE | 0 | 0 | 1.3574 | 2.4029 | 71 | 68 | 0.11636 | 0.73377 | 8 | 14 |  | Interface
B:271680HAUMESSER; B272756W DEKALB ;3T1 FLO COMED_P1-2_345-L15502_B-R | COMED | COMED | 1.3024 | 1.4091 | 83 | 74 | 0.89855 | 0.97895 | 61 | 54
B:200023WESC 211321WESC 3 FLO PL:20:P12:000092 | PLGRP | PLGRP | 1.0228 | 1.8042 | 56 | 70 | 1.693 | 3.8235 | 102 | 173
B:207930BUSH 20624228KITATINY 1 FLO ME-P1-2-ME-230-212T | PLGRP | JCPL | 0.91479 | 1.3803 | 71 | 84 | 0.076731 | 0.029685 | 1 | 4
B:3147476BREMO 3147443BREMO 1 FLO DVP_P1-2: LN 2193 | DOM | DOM | 0.55308 | 0.23915 | 66 | 59 | 93.8472 | 108.4805 | 1550 | 1516
B:24800906CLIFTY 3242274CARROLLTON 1 FLO EXT_249532 08TRIMBL 345 324105 7GHENT 345 1 | OVEC | LKE | 0.53343 | 0.27651 | 18 | 6 | 0.19119 | 0.17266 | 9 | 6
B:271322DEVON ;9B272384ROSE HILL;BT1 FLO COMED_P2-1_088-L8810___ | COMED | COMED | 0.42807 | 0.3472 | 3020 | 2891 | 0.40588 | 0.33952 | 3963 | 3905
B:3145543BTLEBRO 3042233ROCKYMT115T1 FLO DVP_P1-2: LN 2058_SRT-A | DOM | CPLE | 0.32502 | 0.32413 | 25 | 20 | 10.6518 | 11.2563 | 1210 | 1193
B:23515201BUTLER 23524601SHANOR 1 FLO AP-P1-2-WP-500-302T | APS | APS | 0.3223 | 0.061463 | 11 | 6 | 0 | 0.0016875 | 0 | 2
B:271323DEVON ;3R272385ROSE HILL;RT1 FLO COMED_P2-1_088-L11416__ | COMED | COMED | 0.28422 | 0.21908 | 2495 | 2244 | 0.26323 | 0.20393 | 2998 | 2862
B:200008HOSE 200007ELROY 1 FLO E:501 ALBURTIS 500-BRANCHBG 500 (PLGRP-PSEG) [1] | PLGRP | PECO | 0.28319 | 0 | 4 | 0 | 0 | 0 | 0 | 0
B:26461219MON12 26470719BNSTNS 1 FLO EXT_P12:345:ITCT:LN:MON12:WAYNE:1 | DECO | DECO | 0.26893 | 0.20453 | 14 | 12 | 3.2043 | 5.6643 | 285 | 370 | M2M
B:316218AC1-221 TAP 3040706PERSON230 T1 FLO DVP_P1-2: LN 570 | DOM | CPLE | 0.25187 | 0.1855 | 24 | 19 | 8.0596 | 5.7077 | 475 | 374
B:24883107HUBBL8 24969108BATESV 1 FLO AEP_P1-2_#144_1696 | HE | DUK-IN | 0.19246 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | M2M
B:272269POWERTON ; 272607TOULON ; R1 FLO Fargo-Sandburg 345 kV | COMED | COMED | 0.1806 | 0.082646 | 15 | 7 | 0.22537 | 0.093428 | 18 | 7 | M2M
B:271543GARDEN PL; 272512ESS H71 ;BT1 FLO COMED_P1-2_345-L0405___-R | COMED | COMED | 0.17911 | 1.3869 | 7 | 29 | 0.25969 | 1.8571 | 12 | 33
B:3146674ALTVSTA 24274105OTTER 1 FLO BASE CASE | DOM | AEP | 0.16631 | 0.087709 | 9 | 4 | 3.0822 | 3.2236 | 254 | 241
I:BLABED FLO VINCO-RICE | 0 | 0 | 0.16066 | 0.28754 | 2 | 5 | 0 | 0.15435 | 0 | 4 |  | Interface
B:24323305TANNER 24956708M.FORT 1 FLO DEOK_P1_TERMINAL-EAST BEND 4516 | AEP | DEOK | 0.14283 | 0 | 6 | 0 | 0 | 0 | 0 | 0
B:631141ROCK CK3 270864QUAD 1 3-11 1 FLO COMED_P1-2_345-L0401___-R | ALTW | COMED | 0.1424 | 0.40687 | 8 | 17 | 0.32771 | 0.77528 | 18 | 30 | M2M
I:EAST FLO BASE CASE | 0 | 0 | 0.14013 | 0.083876 | 7 | 4 | 0 | 0 | 0 | 0 |  | Interface
B:271428ESS H452 ;RT272730WATERMAN ;3B1 FLO BASE CASE | COMED | COMED | 0.13528 | 0.12769 | 13 | 10 | 0.12052 | 0.098061 | 12 | 8
B:24951008GIBSON 24953108FRNCSC 1 FLO EXT_P12:345:SIGE:GIBSON-BROWN:GIBSON:AB_BROWN_34 | DUK-IN | DUK-IN | 0.11398 | 0.012767 | 4 | 1 | 0.069439 | 0.0066095 | 2 | 1 | M2M
B:271321DEVON ;6R272129NORTHWEST; R1 FLO COMED_P2-1_088-L8803___ | COMED | COMED | 0.10427 | 0.097276 | 493 | 603 | 0.10363 | 0.10147 | 565 | 654
B:270728E FRANKFO; B274750CRETE EC ;BP1 FLO AEP_P1-2_#695_1681 | COMED | COMED | 0.10345 | 0.017581 | 13 | 5 | 0.092321 | 0.011425 | 8 | 1
B:3149258PL VIEW 3140726PL VIEW 1 FLO DVP_P1-2: LN 558 | DOM | DOM | 0.091727 | 0.32901 | 29 | 37 | 0.29371 | 0.7614 | 45 | 61
B:271247CROSBY ; R271327DIVERSEY ; R1 FLO COMED_P1-2_138-L14818_R-C | COMED | COMED | 0.081966 | 0.06926 | 3099 | 2995 | 0.08207 | 0.07677 | 3850 | 3838
B:24326205COLLEGE C 25000108COLINV 1 FLO AEP_P1-2_#144_1696 | AEP | DEOK | 0.079823 | 0 | 3 | 0 | 0 | 0 | 0 | 0
B:3149258PL VIEW 3140726PL VIEW 1 FLO AP-P1-2-PE-500-406T | DOM | DOM | 0.079423 | 0 | 4 | 0 | 0.32591 | 0.055883 | 9 | 5
B:272092NATOMA ; B272184OAK PARK ; B1 FLO BASE CASE | COMED | COMED | 0.07617 | 0.060911 | 2631 | 2460 | 0.072991 | 0.059192 | 3394 | 3223
B:24190102LALLENDORF26461219MON12 1 FLO ATSI-P1-2-TE-345-605T | FE-ATSI | DECO | 0.07002 | 0.023615 | 26 | 10 | 0.0051804 | 0.012166 | 5 | 5 | M2M
B:24962108KOK HP 24963808TIPTN 1 FLO EXT_P12:345:DEI:CAYUGA-NUCOR 34501 | DUK-IN | DUK-IN | 0.068473 | 0.02263 | 12 | 2 | 0.058891 | 0 | 4 | 0 | M2M
B:220941H.RDGE16 220983SANDY14T 1 FLO PEPCO_P1_PP28 | BGE | BGE | 0.064039 | 0.027546 | 12 | 10 | 0.10745 | 0.069651 | 21 | 37
B:24697105THELM2 3423432THELMA 1 FLO AEP_P1-2_#5996_26117 | AEP | EKPC | 0.061911 | 0.095175 | 2 | 3 | 0 | 0 | 0 | 0
B:208393FARO FF 208395FARO FF 1 FLO BASE CASE | PLGRP | PLGRP | 0.053604 | 0 | 4 | 0 | 0.12229 | 0.03698 | 4 | 3
B:271218CLYBOURN ; B271326DIVERSEY ; B1 FLO BASE CASE | COMED | COMED | 0.04879 | 0.04328 | 1758 | 1832 | 0.050846 | 0.049411 | 2390 | 2550
B:23513901AL&D6T 23520401KITTAN 1 FLO AP-P1-2-WP-345-311T | APS | APS | 0.037909 | 0.0014894 | 6 | 1 | 0.45871 | 0.12519 | 109 | 36
B:224059NEW HARRISON224079BETH T7 1 FLO PEPCO_P1_PP21 | PEPCO | PEPCO | 0.030272 | 0.031269 | 239 | 260 | 0.015759 | 0.020011 | 191 | 227
B:271579GRENSHAW ; R272727WASHINGTO; R1 FLO BASE CASE | COMED | COMED | 0.029058 | 0.027246 | 3577 | 3526 | 0.031591 | 0.036651 | 4946 | 4828
B:3146976SEDGE HILL 316218AC1-221 TAP 1 FLO DVP_P1-2: LN 570 | DOM | DOM | 0.028648 | 0.079829 | 8 | 6 | 1.8036 | 0.96044 | 189 | 123
B:20469327BOONETOWN 20451227S.RDG 1 FLO PL:04:P13:101211 | METED | METED | 0.028393 | 0.099893 | 3 | 6 | 0 | 0 | 0 | 0
B:224014BUZZ 138 224092SW 138 2 FLO PEPCO_P1_PP78 | PEPCO | PEPCO | 0.027772 | 0.028944 | 590 | 635 | 0.071488 | 0.073813 | 1448 | 1376
B:223998PALM093 224008ALA 089 1 FLO PEPCO_P1_PP68 | PEPCO | PEPCO | 0.027124 | 0.030226 | 213 | 157 | 0.018844 | 0.029505 | 171 | 149
B:271490FRANKL PK; B271492FRANKL PK;5S1 FLO BASE CASE | COMED | COMED | 0.023486 | 0.019521 | 1924 | 1739 | 0.023483 | 0.019961 | 2593 | 2454
B:24748905BOSSERMAN 25515317MICH_CITY 1 FLO AEP_P1-2_#7265_21601 | AEP | NIPS | 0.02183 | 0.18847 | 2 | 11 | 0.013893 | 0.8092 | 6 | 35 | M2M
B:271241CRESCENT ; R3489354CORBIN 1 FLO EXT_348921 4PRINCETN TP 138 348923 4EKEWANEE N 1 | COMED | AMIL | 0.019975 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | M2M
B:272726WASHINGTO; B272506STATELINE;2S1 FLO COMED_P2-1_170-L0708___ | COMED | COMED | 0.019923 | 0.017051 | 2479 | 2293 | 0.019606 | 0.017519 | 2431 | 2224
B:20067626E.SAYRE 130836N.WAV115 1 FLO PL_P1-2_000193_SRT-A | PENELEC | NYZC | 0.018767 | 0.01723 | 55 | 26 | 0.47767 | 0.37216 | 230 | 186
B:216914WORANGE 217766ORNGHGHTS2301 FLO BASE CASE | PSEG | PSEG | 0.016789 | 0.028986 | 377 | 424 | 0.010207 | 0.015679 | 163 | 184
B:207955DAUP TR2 208005JUNI BU2 1 FLO ME-P1-2-ME-500-001 | PLGRP | PLGRP | 0.01656 | 0 | 1 | 0 | 0.006942 | 0 | 1 | 0
B:272352RIDGELAND; B272354RIDGELAND;BS1 FLO BASE CASE | COMED | COMED | 0.014165 | 0.015601 | 927 | 908 | 0.015374 | 0.017797 | 1278 | 1337
B:271406ELMHURST ;3I271490FRANKL PK; B1 FLO TR81_ELMHU_R-C | COMED | COMED | 0.013618 | 0.022279 | 404 | 422 | 0.013511 | 0.025913 | 468 | 478
B:271230CRAWFORD ; G271236CRAWFORD ;GS1 FLO BASE CASE | COMED | COMED | 0.012496 | 0.010203 | 1716 | 1631 | 0.011433 | 0.01102 | 1702 | 1719
B:272191OHIO ; Y272763WEST LOOP; Y1 FLO BASE CASE | COMED | COMED | 0.012409 | 0.0084498 | 312 | 243 | 0.013521 | 0.0084258 | 487 | 418
B:23520501KRENDL 23524601SHANOR 1 FLO AP-P1-2-WP-500-302T | APS | APS | 0.011478 | 0 | 10 | 0 | 0 | 0.0098563 | 0 | 4
B:271656HIGGINS ; B272092NATOMA ; B1 FLO BASE CASE | COMED | COMED | 0.010661 | 0.0070335 | 345 | 285 | 0.0094538 | 0.0086727 | 388 | 333
B:25511317STILLWELL 25518017STILLWELL 1 FLO AEP_P1-2_#701 | NIPS | NIPS | 0.0093703 | 0.0066611 | 6 | 3 | 0.0014328 | 0 | 1 | 0 | M2M
B:271491FRANKL PK; R271493FRANKL PK;0S1 FLO BASE CASE | COMED | COMED | 0.0092146 | 0.0099369 | 711 | 758 | 0.010758 | 0.01312 | 1018 | 1094
B:224014BUZZ 138 224012BUZZ 026 1 FLO PEPCO_P1_PP73 | PEPCO | PEPCO | 0.009173 | 0.0092065 | 585 | 511 | 0.25812 | 0.28855 | 1840 | 1857
B:271246CROSBY ; B272370ROCKWELL ; B1 FLO BASE CASE | COMED | COMED | 0.0085463 | 0.0068885 | 1019 | 972 | 0.0083827 | 0.0072914 | 1130 | 1048
B:271231CRAWFORD ; Y271237CRAWFORD ;YS1 FLO BASE CASE | COMED | COMED | 0.00786 | 0.0063973 | 848 | 818 | 0.0071786 | 0.0083402 | 813 | 859
B:224086O ST 138 224088O ST T6 1 FLO BASE CASE | PEPCO | PEPCO | 0.007181 | 0.0072967 | 843 | 877 | 0.029724 | 0.026279 | 3028 | 2957
B:271578GRENSHAW ; B272586TAYLOR ; B1 FLO BASE CASE | COMED | COMED | 0.0071603 | 0.0091959 | 711 | 747 | 0.011216 | 0.023929 | 1913 | 2015
B:271634HARBOR ; B271632HARBOR ;8S1 FLO BASE CASE | COMED | COMED | 0.0063054 | 0.0051968 | 870 | 731 | 0.0067158 | 0.0064719 | 1037 | 949
B:217101STANTER_3 217170MCCARTER 1 FLO PS_P1-2_A-2306 | PSEG | PSEG | 0.0054702 | 0.0073811 | 601 | 657 | 0.01235 | 0.01591 | 1218 | 1139
B:216915CDRGV 217808CDRGV_Y 1 FLO BASE CASE | PSEG | PSEG | 0.0054654 | 0.0042845 | 80 | 109 | 0.0076944 | 0.0077567 | 284 | 354
B:271247CROSBY ; R272763WEST LOOP; Y1 FLO BASE CASE | COMED | COMED | 0.0054528 | 0.0051629 | 490 | 462 | 0.0056226 | 0.0066959 | 592 | 599
B:213819N PHILA8 213783MASTER 1 FLO PECO_P1-2_220-18/* $ MONTCO $ PECO_P1-2_220-18 $ | PECO | PECO | 0.0048946 | 0.08386 | 3 | 4 | 0.017522 | 0.045281 | 19 | 11
B:23731001DANSMTN 23550401RIDGLY 1 FLO BASE CASE | APS | APS | 0.0047643 | 0.032111 | 1 | 6 | 0.053053 | 0.078026 | 10 | 14
B:270729E FRANKFO; R270767GOODINGS ;1R1 FLO BASE CASE | COMED | COMED | 0.0045996 | 0.030159 | 4 | 8 | 0.0072712 | 0.061177 | 2 | 13
B:23550401RIDGLY 23548401MESSCK 1 FLO AP-P1-2-PE-500-001 | APS | APS | 0.003752 | 0.014174 | 2 | 3 | 0 | 0.0076083 | 0 | 1
B:223991TALBT082 223994BURCH230 1 FLO PEPCO_P1_CHALK-KEYS_SRT-A | PEPCO | PEPCO | 0.0033269 | 0 | 6 | 0 | 0.029917 | 0.01282 | 78 | 46
B:208396FARO 208395FARO FF 1 FLO PL_P21_000390 | PLGRP | PLGRP | 0.003139 | 0 | 1 | 0 | 0.029495 | 0.030732 | 5 | 5
B:24334905NEW CARLI225515217MAPLE 1 FLO AEP_P1-2_#701 | AEP | NIPS | 0.0021257 | 0 | 1 | 0 | 0.094824 | 0.00084819 | 4 | 3 | M2M
B:220960BRANDN.S 220955W.CHAPEL 42 FLO BG_P1_2343 | BGE | BGE | 0.0016458 | 0.021672 | 3 | 2 | 0.093315 | 0.28906 | 12 | 35
B:231205DARLEY 231211NAAMANS 1 FLO DPL_P1_3_EDGE MR AT20 | DPL | DPL | 0.001443 | 0.032133 | 1 | 1 | 0.00055818 | 0.0082015 | 1 | 1
B:23515201BUTLER 23519701KARNSC 1 FLO ATSI-P1-2-CEI-345-700T | APS | APS | 0.00066479 | 0.0083677 | 7 | 15 | 0.0045382 | 0.0084005 | 1 | 7
B:20052226SHADE GP 20052026ROXBURY 1 FLO TS_P1-3_#T1_RICE 500_230 | PENELEC | PENELEC | 0.0004 | 0 | 1 | 0 | 0 | 0.0097558 | 0 | 3
B:20453827STRABAN 20454427LINCOLN 1 FLO AP-P1-2-PE-230-020T | METED | METED | 0.00039009 | 0 | 1 | 0 | 0.010045 | 0 | 1 | 0
B:23513901AL&D6T 23520401KITTAN 1 FLO ATSI-P1-2-CEI-345-700T | APS | APS | 5.718e-05 | 0.00049965 | 2 | 1 | 0.13749 | 0.14306 | 111 | 125
N:DLRJCL FLO JUN-TMI FLO ME-P1-2-ME-500-001 | 0 | 0 | 8.44e-06 | 6.66e-06 | 209 | 217 | 2.68e-06 | 2.11e-06 | 161 | 187
N:DLRHS2L FLO SUS-HAR1 FLO PL:40:P12:000182 | 0 | 0 | 1.26e-06 | 1.56e-06 | 176 | 199 | -1.8e-07 | -8e-08 | 47 | 81
I:AEP-DOM FLO BASE CASE | 0 | 0 | 0 | 0.035539 | 0 | 2 | 0 | 0.004179 | 0 | 1 |  | Interface
I:WEST FLO BASE CASE | 0 | 0 | 0 | 0.10293 | 0 | 4 | 0 | 0.019957 | 0 | 2 |  | Interface
B:24262005DANVL2 24263105EDAN 1 1 FLO AEP_P1-2_#7422_16 | AEP | AEP | 0 | 0 | 0 | 0 | 0.17504 | 0.50029 | 15 | 14
B:24263105EDAN 1 24262005DANVL2 1 FLO AEP_P2-1_242520 05J.FERR 500 242514 05J.FERR 765 | AEP | AEP | 0 | 0 | 0 | 0 | 1.9973 | 0.8519 | 72 | 38
B:24302605KAMMER13 24606705NATRIUM34 1 FLO AEP_P1-2_#5152_716 | AEP | AEP | 0 | 0 | 0 | 0 | 0 | 0.13266 | 0 | 3
B:24771205SULLIVAN 3468097CASEY 1 FLO AEP_P1-2_#363_1682 | AEP | AMIL | 0 | 0 | 0 | 0 | 0.21155 | 0.041492 | 16 | 6 | M2M
B:23524001COLMBGPN 23520201KISKIV 1 FLO AP-P1-2-WP-138-087 | APS | APS | 0 | 0 | 0 | 0 | 0.011924 | 0.019491 | 14 | 14
B:23548301MDWBRK 23551301STRASB 1 FLO DVP_P1-2: LN 550 | APS | APS | 0 | 0.087907 | 0 | 4 | 0 | 0 | 0 | 0
B:23549401OLDFRM 23548801MONOCY 1 FLO ME-P1-2-ME-500-004 | APS | APS | 0 | 0 | 0 | 0 | 0 | 0.0061253 | 0 | 1
B:237056AA2-161 TAP 23527701YUKON 1 FLO BASE CASE | APS | APS | 0 | 0 | 0 | 0 | 4.6137 | 5.8799 | 3042 | 3227
B:208069PPL-BGE TIE 220964GRACETON 1 FLO PL:05:P12:000260a | PLGRP | BGE | 0 | 0 | 0 | 0 | 0.030619 | 0 | 4 | 0
B:270695CHERRY VA; R275167CHERRY VA;3M1 FLO COMED_P1-3_TR81_CHERR_R-R | COMED | COMED | 0 | 0 | 0 | 0 | 0.22384 | 0.2313 | 19 | 10
B:271435ESS H447 ; R272363ESS H440 ; R1 FLO COMED_P2-1_186-L16914__ | COMED | COMED | 0 | 0.015085 | 0 | 1 | 0 | 0 | 0 | 0
B:3145746EVERETS 3044516GREENVILE T1 FLO EXT_WILSON230TT-WILSON115TT-230-115-#1-&BUS_SRT- | DOM | CPLE | 0 | 0.0077961 | 0 | 1 | 9.0967 | 14.0729 | 345 | 406
B:26461219MON12 26469219WAYNE 1 FLO EXT_P12:345:ITCT:LN:MON12:BNSTNS:1 | DECO | DECO | 0 | 0.016879 | 0 | 3 | 0.18051 | 0.50546 | 18 | 28 | M2M
B:3138543CONSLDL 3145543BTLEBRO 1 FLO DVP_P1-2: LN 2056 | DOM | DOM | 0 | 0 | 0 | 0 | 0.2277 | 0.24195 | 229 | 201
B:3141346CRANES 3141426STAFORD 1 FLO DVP_P1-2: LN 568 | DOM | DOM | 0 | 0 | 0 | 0 | 7.3967 | 6.831 | 228 | 202
B:3142826CARSON 3142856CHAPARRAL T1 FLO DVP_P1-2: LN 563 | DOM | DOM | 0 | 0 | 0 | 0 | 0.3773 | 0.46847 | 25 | 18
B:3145623CLUBHSE 3145636CLUBHSE 1 FLO DVP_P1-2: LN 2201 | DOM | DOM | 0 | 0 | 0 | 0 | 0.18054 | 0.31162 | 21 | 26
B:3146233WITAKRS 3138543CONSLDL 1 FLO DVP_P1-2: LN 2056 | DOM | DOM | 0 | 0 | 0 | 0 | 0.21896 | 0.24953 | 194 | 198
B:3147496CHARLVL 3147726PROFFIT 1 FLO DVP_P1-2: LN 534 | DOM | DOM | 0 | 0.079939 | 0 | 2 | 0 | 0.057042 | 0 | 3
B:3149038CHCKAHM 3149088ELMONT 1 FLO DVP_P1-2: LN 563 | DOM | DOM | 0 | 0 | 0 | 0 | 0 | 0.011622 | 0 | 2
B:3149148MDLTHAN 3149188NO ANNA 1 FLO DVP_P1-2: LN 574 | DOM | DOM | 0 | 0 | 0 | 0 | 0.81397 | 0.34806 | 20 | 14
B:223937DICK 230 3142906EDFERRY 1 FLO PEPCO_P1_5070 | PEPCO | DOM | 0 | 0 | 0 | 0 | 1.0059 | 0.41335 | 41 | 21
B:232116VIENN138 232117VIENNA 8 1 FLO DPL_P1_2_CKT 23034 | DPL | DPL | 0 | 0.20253 | 0 | 2 | 0 | 0.2216 | 0 | 2
B:24970408CHRYS2 24979608MAPLE 1 FLO KOKOMO-NEW LONDON | DUK-IN | DUK-IN | 0 | 0.014087 | 0 | 1 | 0 | 0.023935 | 0 | 3 | M2M
B:24697105THELM2 3423432THELMA 1 FLO AEP_P1-2_#707_8315 | AEP | EKPC | 0 | 0.1135 | 0 | 2 | 0 | 0 | 0 | 0
B:3425894GODDARD 3415362GODDARD 1 FLO EKPC_P2-1_4CRANSTON 138.00 TO 4GODDARD 138.00 | EKPC | EKPC | 0 | 0 | 0 | 0 | 0 | 0.054268 | 0 | 2
B:3244252BARDT IND T3414072E BARDSTOWN1 FLO EKPC_P1-2_BULL-SUMSH161 | LKE | EKPC | 0 | 0 | 0 | 0 | 0.088579 | 0 | 1 | 0
B:23905202PV Q4 23876302GR Q-4 1 FLO ATSI-P1-2-SYS-345-701 | FE-ATSI | FE-ATSI | 0 | 0.0084759 | 0 | 1 | 0 | 0 | 0 | 0
B:24800906CLIFTY 3242274CARROLLTON 1 FLO BASE CASE | OVEC | LKE | 0 | 0 | 0 | 0 | 0.2132 | 0 | 5 | 0
B:24321905DUMONT 25511317STILLWELL 1 FLO AEP_P1-2_#695_1681 | AEP | NIPS | 0 | 0.014764 | 0 | 3 | 0 | 0 | 0 | 0 | M2M
B:25512417CHICAGO_AV25516917PRAXAIR-3 1 FLO AEP_P1-2_#695_1681 | NIPS | NIPS | 0 | 0.0055148 | 0 | 7 | 0 | 0.0057211 | 0 | 4 | M2M
B:20067526E.TWANDA 20092426CANYON 1 FLO AP-P1-2-WP-230-324T_FSA_A | PENELEC | PENELEC | 0 | 0 | 0 | 0 | 0.15983 | 0.12039 | 96 | 88
B:20067526E.TWANDA 20092426CANYON 1 FLO PL:03:P12:001029 | PENELEC | PENELEC | 0 | 0 | 0 | 0 | 0.0052872 | 0 | 2 | 0
B:20067526E.TWANDA 20094026SCOTCHHLLW1 FLO AP-P1-2-WP-230-324T_FSA_A | PENELEC | PENELEC | 0 | 0 | 0 | 0 | 4.9149 | 5.3594 | 2865 | 2834
B:20094026SCOTCHHLLW20393426AA1-144POI1 FLO AP-P1-2-WP-230-324T_FSA_A | PENELEC | PENELEC | 0 | 0 | 0 | 0 | 0.90315 | 0.92463 | 696 | 680
B:200009JUNI 208005JUNI BU2 2 FLO PL:10:P13:100595 | PLGRP | PLGRP | 0 | 0.02909 | 0 | 1 | 0 | 0.0050251 | 0 | 1
B:207965ELDR TR2 207975FRAC TR3 1 FLO PL:08:P12:000218 | PLGRP | PLGRP | 0 | 0.098786 | 0 | 5 | 0 | 0.18349 | 0 | 8
B:208109SUNB 207964ELDR TR1 1 FLO PL:08:P12:000218 | PLGRP | PLGRP | 0 | 0.018429 | 0 | 2 | 0 | 0.050529 | 0 | 3
B:218311SEWAREN 218353MINUEST_R 1 FLO BASE CASE | PSEG | PSEG | 0 | 0 | 0 | 0 | 0.15314 | 0.16399 | 76 | 80
B:219100NEWFRDM 219704HILLTOP_3 1 FLO JC-P1-2-JCC-500-003 | PSEG | PSEG | 0 | 0 | 0 | 0 | 0 | 0.44708 | 0 | 7
B:232013SILVER RUN 232012HOPE CREEK 1 FLO PJM500_PS_P1-2_5015 | PSEG | PSEG | 0 | 0 | 0 | 0 | 1.076 | 1.2518 | 53 | 48
B:207977HARW 208113SUSQ 2 FLO PL:40:P12:000182*** | PLGRP | PLGRP | 2.2264 | 2.648 | 176 | 199 | 0.47691 | 0.74024 | 47 | 81
B:207950CUMB TR2 208004JUNI BU1 1 FLO ME-P1-2-ME-500-001*** | PLGRP | PLGRP | 9.3048 | 10.1027 | 209 | 217 | 6.5967 | 9.0962 | 160 | 187
*Note: Included PJM internal and prospective M2M constraints >= $10,000 in either 2025 or 2028 with or without FSA units. This list DOES NOT represent the list of congestion drivers for the 2020/21 Long-Term Window.
** The list of eligible congestion drivers is posted separately before the window start. (For description of eligible congestion drivers see Manual 14F, 8.2.1.1 Eligible Congestion Drivers)
***DLR impact on Susq- Harw 230 kV line and Juni-Cumb 230 kV line has been modeled using PROMOD nomograms. The remaining congestion on the flowgate was calculated as nomogram shadow price x flows on the corresponding flowgate.

## Base Cumulative All Years
2020/2021 Market Efficiency Model - Congestion Results* (updated 4/29/2021) (This is NOT the list of Eligible Congestion Drivers)
Constraint | From Area | To Area | Cumulative Congestion Cost 2021, 2025, 2028, 2031 ($Million) | Average Congestion Cost 2021, 2025, 2028, 2031 ($Million) | Cumulative # of Binding Hours 2021, 2025, 2028, 2031 | Average # of Binding Hours 2021, 2025, 2028, 2031
B:23547901JUNCTN 23546701FRNCHM 1 FLO AP-P1-2-PE-500-001 | APS | APS | 53.6681 | 13.417 | 1105 | 276.25
B:3147496CHARLVL 3147726PROFFIT 1 FLO DVP_P1-2: LN 553 | DOM | DOM | 35.0202 | 8.7551 | 602 | 150.5
B:130836N.WAV115 20067626E.SAYRE 1 FLO PN-P1-2-PN-230-101T | NYZC | PENELEC | 23.5123 | 5.8781 | 11729 | 2932.25
B:213906PLYMTG 1 214035WHITPAN1 1 FLO PECO_P1-2_220-61/* $ MONTCO $ PECO_P1-2_220-61 $ | PECO | PECO | 21.8028 | 5.4507 | 468 | 117
I:BC_PEP FLO BASE CASE | 0 | 0 | 17.4283 | 4.3571 | 349 | 87.25
B:24302605KAMMER13 24606705NATRIUM34 1 FLO BASE CASE | AEP | AEP | 16.324 | 4.081 | 405 | 101.25
B:24262005DANVL2 24263105EDAN 1 1 FLO BASE CASE | AEP | AEP | 7.1808 | 1.7952 | 402 | 100.5
B:207930BUSH 20624228KITATINY 1 FLO ME-P1-2-ME-230-212T | PLGRP | JCPL | 6.7638 | 1.691 | 397 | 99.25
I:50045005 FLO VINCO-RICE | 0 | 0 | 5.5671 | 1.3918 | 201 | 50.25
B:200023WESC 211321WESC 3 FLO PL:20:P12:000092 | PLGRP | PLGRP | 5.5647 | 1.3912 | 194 | 48.5
B:271680HAUMESSER; B272756W DEKALB ;3T1 FLO COMED_P1-2_345-L15502_B-R | COMED | COMED | 4.4976 | 1.1244 | 263 | 65.75
B:271543GARDEN PL; 272512ESS H71 ;BT1 FLO COMED_P1-2_345-L0405___-R | COMED | COMED | 3.3987 | 0.84968 | 86 | 21.5
B:3147476BREMO 3147443BREMO 1 FLO DVP_P1-2: LN 2193 | DOM | DOM | 3.1171 | 0.77927 | 261 | 65.25
B:23515201BUTLER 23524601SHANOR 1 FLO AP-P1-2-WP-500-302T | APS | APS | 2.6798 | 0.66995 | 123 | 30.75
B:3149258PL VIEW 3140726PL VIEW 1 FLO DVP_P1-2: LN 558 | DOM | DOM | 1.9239 | 0.48096 | 204 | 51
B:271322DEVON ;9B272384ROSE HILL;BT1 FLO COMED_P2-1_088-L8810___ | COMED | COMED | 1.6497 | 0.41242 | 12961 | 3240.25
B:3145543BTLEBRO 3042233ROCKYMT115T1 FLO DVP_P1-2: LN 2058_SRT-A | DOM | CPLE | 1.4117 | 0.35291 | 106 | 26.5
B:26461219MON12 26470719BNSTNS 1 FLO EXT_P12:345:ITCT:LN:MON12:WAYNE:1 | DECO | DECO | 1.2817 | 0.32043 | 111 | 27.75
B:316218AC1-221 TAP 3040706PERSON230 T1 FLO DVP_P1-2: LN 570 | DOM | CPLE | 1.2089 | 0.30223 | 83 | 20.75
B:631141ROCK CK3 270864QUAD 1 3-11 1 FLO COMED_P1-2_345-L0401___-R | ALTW | COMED | 1.1874 | 0.29684 | 63 | 15.75
I:EAST FLO BASE CASE | 0 | 0 | 1.1007 | 0.27516 | 27 | 6.75
B:271323DEVON ;3R272385ROSE HILL;RT1 FLO COMED_P2-1_088-L11416__ | COMED | COMED | 1.081 | 0.27026 | 10177 | 2544.25
B:213489CHICHST1 213588EDDYSTN4 1 FLO PECO_P1-2_220-25_SRT-A | PECO | PECO | 0.93305 | 0.23326 | 4 | 1
B:24800906CLIFTY 3242274CARROLLTON 1 FLO EXT_249532 08TRIMBL 345 324105 7GHENT 345 1 | OVEC | LKE | 0.80995 | 0.20249 | 24 | 6
B:272269POWERTON ; 272607TOULON ; R1 FLO Fargo-Sandburg 345 kV | COMED | COMED | 0.8084 | 0.2021 | 63 | 15.75
B:24697105THELM2 3423432THELMA 1 FLO AEP_P1-2_#5996_26117 | AEP | EKPC | 0.70789 | 0.17697 | 22 | 5.5
B:23550601RINGLD 23549401OLDFRM 1 FLO AP-P1-2-PE-230-001 | APS | APS | 0.49352 | 0.12338 | 48 | 12
I:BLABED FLO VINCO-RICE | 0 | 0 | 0.4706 | 0.11765 | 8 | 2
B:3146674ALTVSTA 24274105OTTER 1 FLO BASE CASE | DOM | AEP | 0.44522 | 0.11131 | 23 | 5.75
B:23520501KRENDL 23524601SHANOR 1 FLO AP-P1-2-WP-500-302T | APS | APS | 0.4364 | 0.1091 | 21 | 5.25
B:271321DEVON ;6R272129NORTHWEST; R1 FLO COMED_P2-1_088-L8803___ | COMED | COMED | 0.41567 | 0.10392 | 2134 | 533.5
B:24951008GIBSON 24953108FRNCSC 1 FLO EXT_P12:345:SIGE:GIBSON-BROWN:GIBSON:AB_BROWN_34 | DUK-IN | DUK-IN | 0.39734 | 0.099334 | 14 | 3.5
B:271428ESS H452 ;RT272730WATERMAN ;3B1 FLO BASE CASE | COMED | COMED | 0.38252 | 0.095631 | 33 | 8.25
B:271247CROSBY ; R271327DIVERSEY ; R1 FLO COMED_P1-2_138-L14818_R-C | COMED | COMED | 0.35647 | 0.089116 | 12852 | 3213
B:23548301MDWBRK 23551301STRASB 1 FLO DVP_P1-2: LN 550 | APS | APS | 0.34207 | 0.085518 | 25 | 6.25
B:20469327BOONETOWN 20451227S.RDG 1 FLO PL:04:P13:101211 | METED | METED | 0.32408 | 0.08102 | 49 | 12.25
B:24748905BOSSERMAN 25515317MICH_CITY 1 FLO AEP_P1-2_#7265_21601 | AEP | NIPS | 0.31041 | 0.077602 | 28 | 7
B:24970408CHRYS2 24979608MAPLE 1 FLO KOKOMO-NEW LONDON | DUK-IN | DUK-IN | 0.30528 | 0.076321 | 11 | 2.75
B:272092NATOMA ; B272184OAK PARK ; B1 FLO BASE CASE | COMED | COMED | 0.29157 | 0.072891 | 10621 | 2655.25
B:3146976SEDGE HILL 316218AC1-221 TAP 1 FLO DVP_P1-2: LN 570 | DOM | DOM | 0.28359 | 0.070899 | 22 | 5.5
B:200008HOSE 200007ELROY 1 FLO E:501 ALBURTIS 500-BRANCHBG 500 (PLGRP-PSEG) [1] | PLGRP | PECO | 0.28319 | 0.070798 | 4 | 1
B:24323305TANNER 24956708M.FORT 1 FLO DEOK_P1_TERMINAL-EAST BEND 4516 | AEP | DEOK | 0.26556 | 0.066391 | 21 | 5.25
B:271218CLYBOURN ; B271326DIVERSEY ; B1 FLO BASE CASE | COMED | COMED | 0.22469 | 0.056173 | 7797 | 1949.25
B:213819N PHILA8 213783MASTER 1 FLO PECO_P1-2_220-18/* $ MONTCO $ PECO_P1-2_220-18 $ | PECO | PECO | 0.2191 | 0.054774 | 19 | 4.75
B:232116VIENN138 232117VIENNA 8 1 FLO DPL_P1_2_CKT 23034 | DPL | DPL | 0.20253 | 0.050632 | 2 | 0.5
B:3147496CHARLVL 3147726PROFFIT 1 FLO DVP_P1-2: LN 534 | DOM | DOM | 0.20161 | 0.050402 | 3 | 0.75
B:270728E FRANKFO; B274750CRETE EC ;BP1 FLO AEP_P1-2_#695_1681 | COMED | COMED | 0.19548 | 0.048869 | 25 | 6.25
B:24883107HUBBL8 24969108BATESV 1 FLO AEP_P1-2_#144_1696 | HE | DUK-IN | 0.19246 | 0.048115 | 4 | 1
I:WEST FLO BASE CASE | 0 | 0 | 0.18308 | 0.045769 | 7 | 1.75
B:208393FARO FF 208395FARO FF 1 FLO BASE CASE | PLGRP | PLGRP | 0.16138 | 0.040346 | 12 | 3
B:3244252BARDT IND T3414072E BARDSTOWN1 FLO EKPC_P1-2_BULL-SUMSH161 | LKE | EKPC | 0.15693 | 0.039233 | 1 | 0.25
B:20453827STRABAN 20454427LINCOLN 1 FLO AP-P1-2-PE-230-020T | METED | METED | 0.15224 | 0.03806 | 22 | 5.5
B:20052226SHADE GP 20052026ROXBURY 1 FLO ME-P1-2-ME-500-007 | PENELEC | PENELEC | 0.13615 | 0.034039 | 20 | 5
B:24190102LALLENDORF26461219MON12 1 FLO ATSI-P1-2-TE-345-605T | FE-ATSI | DECO | 0.13353 | 0.033382 | 45 | 11.25
B:224014BUZZ 138 224092SW 138 2 FLO PEPCO_P1_PP78 | PEPCO | PEPCO | 0.13276 | 0.03319 | 4075 | 1018.75
B:224059NEW HARRISON224079BETH T7 1 FLO PEPCO_P1_PP21 | PEPCO | PEPCO | 0.1265 | 0.031626 | 1135 | 283.75
B:231205DARLEY 231211NAAMANS 1 FLO DPL_P1_3_EDGE MR AT20 | DPL | DPL | 0.12607 | 0.031516 | 19 | 4.75
B:23549401OLDFRM 23548801MONOCY 1 FLO ME-P1-2-ME-500-004 | APS | APS | 0.12545 | 0.031361 | 8 | 2
B:271579GRENSHAW ; R272727WASHINGTO; R1 FLO BASE CASE | COMED | COMED | 0.11936 | 0.02984 | 15555 | 3888.75
B:24731905WOLFCK 24353305LAYMAN 1 FLO FE-P1-3-MP-765-501T | AEP | AEP | 0.11897 | 0.029744 | 6 | 1.5
B:270073FUR RUN_230 270072FUR RUN_500 1 FLO PECO_P1-2_5012/* $ CHESCO $ 5012 $ L | AEP | AEP | 0.11654 | 0.029136 | 13 | 3.25
B:24697105THELM2 3423432THELMA 1 FLO AEP_P1-2_#707_8315 | AEP | EKPC | 0.1135 | 0.028375 | 2 | 0.5
B:24962108KOK HP 24963808TIPTN 1 FLO EXT_P12:345:DEI:CAYUGA-NUCOR 34501 | DUK-IN | DUK-IN | 0.11108 | 0.027769 | 16 | 4
B:20067626E.SAYRE 130836N.WAV115 1 FLO PL_P1-2_000193_SRT-A | PENELEC | NYZC | 0.1093 | 0.027326 | 197 | 49.25
B:271406ELMHURST ;3I271490FRANKL PK; B1 FLO TR81_ELMHU_R-C | COMED | COMED | 0.10641 | 0.026604 | 1722 | 430.5
B:23549401OLDFRM 23548801MONOCY 1 FLO AP-P1-2-PE-230-001 | APS | APS | 0.10331 | 0.025828 | 9 | 2.25
B:208396FARO 208395FARO FF 1 FLO PL_P21_000390 | PLGRP | PLGRP | 0.10304 | 0.02576 | 11 | 2.75
B:207965ELDR TR2 207975FRAC TR3 1 FLO PL:08:P12:000218 | PLGRP | PLGRP | 0.098786 | 0.024697 | 5 | 1.25
B:220941H.RDGE16 220983SANDY14T 1 FLO PEPCO_P1_PP28 | BGE | BGE | 0.09874 | 0.024685 | 30 | 7.5
B:216914WORANGE 217766ORNGHGHTS2301 FLO BASE CASE | PSEG | PSEG | 0.095357 | 0.023839 | 1772 | 443
B:271490FRANKL PK; B271492FRANKL PK;5S1 FLO BASE CASE | COMED | COMED | 0.092536 | 0.023134 | 8120 | 2030
B:26461219MON12 26469219WAYNE 1 FLO EXT_P12:345:ITCT:LN:MON12:BNSTNS:1 | DECO | DECO | 0.089672 | 0.022418 | 15 | 3.75
B:223998PALM093 224008ALA 089 1 FLO PEPCO_P1_PP68 | PEPCO | PEPCO | 0.089054 | 0.022264 | 658 | 164.5
B:272352RIDGELAND; B272354RIDGELAND;BS1 FLO BASE CASE | COMED | COMED | 0.082438 | 0.020609 | 3839 | 959.75
B:24326205COLLEGE C 25000108COLINV 1 FLO AEP_P1-2_#144_1696 | AEP | DEOK | 0.079823 | 0.019956 | 3 | 0.75
B:3149258PL VIEW 3140726PL VIEW 1 FLO AP-P1-2-PE-500-406T | DOM | DOM | 0.079423 | 0.019856 | 4 | 1
I:AEP-DOM FLO BASE CASE | 0 | 0 | 0.07781 | 0.019452 | 3 | 0.75
B:272726WASHINGTO; B272506STATELINE;2S1 FLO COMED_P2-1_170-L0708___ | COMED | COMED | 0.076958 | 0.01924 | 9160 | 2290
B:3141346CRANES 3141426STAFORD 1 FLO DVP_P1-2: LN 568 | DOM | DOM | 0.076957 | 0.019239 | 3 | 0.75
B:23513901AL&D6T 23520401KITTAN 1 FLO AP-P1-2-WP-345-311T | APS | APS | 0.071491 | 0.017873 | 14 | 3.5
B:20052226SHADE GP 20052026ROXBURY 1 FLO TS_P1-3_#T1_RICE 500_230 | PENELEC | PENELEC | 0.067243 | 0.016811 | 16 | 4
B:25511317STILLWELL 25518017STILLWELL 1 FLO AEP_P1-2_#701 | NIPS | NIPS | 0.065041 | 0.01626 | 24 | 6
B:270695CHERRY VA; R275167CHERRY VA;3M1 FLO COMED_P1-3_TR81_CHERR_R-R | COMED | COMED | 0.061818 | 0.015455 | 5 | 1.25
B:207955DAUP TR2 208005JUNI BU2 1 FLO ME-P1-2-ME-500-001 | PLGRP | PLGRP | 0.060776 | 0.015194 | 3 | 0.75
B:20052226SHADE GP 20052026ROXBURY 1 FLO AP-P1-2-PE-230-020T | PENELEC | PENELEC | 0.057961 | 0.01449 | 10 | 2.5
B:24263105EDAN 1 24262005DANVL2 1 FLO AEP_P2-1_242520 05J.FERR 500 242514 05J.FERR 765 | AEP | AEP | 0.053323 | 0.013331 | 3 | 0.75
B:271491FRANKL PK; R271493FRANKL PK;0S1 FLO BASE CASE | COMED | COMED | 0.050987 | 0.012747 | 3226 | 806.5
B:217101STANTER_3 217170MCCARTER 1 FLO PS_P1-2_A-2306 | PSEG | PSEG | 0.050173 | 0.012543 | 4330 | 1082.5
B:272191OHIO ; Y272763WEST LOOP; Y1 FLO BASE CASE | COMED | COMED | 0.05017 | 0.012543 | 1388 | 347
B:271230CRAWFORD ; G271236CRAWFORD ;GS1 FLO BASE CASE | COMED | COMED | 0.049471 | 0.012368 | 6746 | 1686.5
B:224014BUZZ 138 224012BUZZ 026 1 FLO PEPCO_P1_PP73 | PEPCO | PEPCO | 0.047948 | 0.011987 | 2187 | 546.75
B:270729E FRANKFO; R270767GOODINGS ;1R1 FLO BASE CASE | COMED | COMED | 0.047616 | 0.011904 | 23 | 5.75
B:23550401RIDGLY 23548401MESSCK 1 FLO AP-P1-2-PE-500-001 | APS | APS | 0.04689 | 0.011722 | 7 | 1.75
B:271656HIGGINS ; B272092NATOMA ; B1 FLO BASE CASE | COMED | COMED | 0.044633 | 0.011158 | 1326 | 331.5
B:23731001DANSMTN 23550401RIDGLY 1 FLO BASE CASE | APS | APS | 0.04341 | 0.010852 | 8 | 2
B:200009JUNI 208005JUNI BU2 2 FLO PL:10:P13:100595 | PLGRP | PLGRP | 0.04273 | 0.010682 | 2 | 0.5
I:AP SOUTH FLO BASE CASE | 0 | 0 | 0.040776 | 0.010194 | 1 | 0.25
B:271435ESS H447 ; R272363ESS H440 ; R1 FLO COMED_P2-1_186-L16914__ | COMED | COMED | 0.040315 | 0.010079 | 3 | 0.75
B:23905202PV Q4 23876302GR Q-4 1 FLO ATSI-P1-2-SYS-345-701 | FE-ATSI | FE-ATSI | 0.039415 | 0.0098539 | 4 | 1
B:271578GRENSHAW ; B272586TAYLOR ; B1 FLO BASE CASE | COMED | COMED | 0.039101 | 0.0097751 | 4176 | 1044
B:24952908WHITST 24951608NUCOR 1 FLO AEP_P1-2_#363_1682 | DUK-IN | DUK-IN | 0.038204 | 0.009551 | 3 | 0.75
B:223938DICKH230 223937DICK 230 2 FLO PEPCO_P1_PP1 | PEPCO | PEPCO | 0.035287 | 0.0088217 | 11 | 2.75
B:271246CROSBY ; B272370ROCKWELL ; B1 FLO BASE CASE | COMED | COMED | 0.033354 | 0.0083385 | 4031 | 1007.75
B:224086O ST 138 224088O ST T6 1 FLO BASE CASE | PEPCO | PEPCO | 0.032272 | 0.008068 | 5219 | 1304.75
B:271231CRAWFORD ; Y271237CRAWFORD ;YS1 FLO BASE CASE | COMED | COMED | 0.030869 | 0.0077172 | 3286 | 821.5
B:271247CROSBY ; R272763WEST LOOP; Y1 FLO BASE CASE | COMED | COMED | 0.028458 | 0.0071144 | 2075 | 518.75
B:271634HARBOR ; B271632HARBOR ;8S1 FLO BASE CASE | COMED | COMED | 0.02578 | 0.0064449 | 3368 | 842
B:220960BRANDN.S 220955W.CHAPEL 42 FLO BG_P1_2343 | BGE | BGE | 0.024233 | 0.0060584 | 6 | 1.5
B:216915CDRGV 217808CDRGV_Y 1 FLO BASE CASE | PSEG | PSEG | 0.022798 | 0.0056996 | 416 | 104
B:271241CRESCENT ; R3489354CORBIN 1 FLO EXT_348921 4PRINCETN TP 138 348923 4EKEWANEE N 1 | COMED | AMIL | 0.019975 | 0.0049937 | 2 | 0.5
B:208109SUNB 207964ELDR TR1 1 FLO PL:08:P12:000218 | PLGRP | PLGRP | 0.018429 | 0.0046073 | 2 | 0.5
B:24334905NEW CARLI225515217MAPLE 1 FLO AEP_P1-2_#701 | AEP | NIPS | 0.018027 | 0.0045066 | 2 | 0.5
B:271578GRENSHAW ; B272650UNIVERSIT; B1 FLO COMED_P1-2_345-L17705_B-S | COMED | COMED | 0.015849 | 0.0039622 | 624 | 156
B:272190OHIO ; G272762WEST LOOP; G1 FLO BASE CASE | COMED | COMED | 0.015734 | 0.0039336 | 541 | 135.25
B:24321905DUMONT 25511317STILLWELL 1 FLO AEP_P1-2_#695_1681 | AEP | NIPS | 0.014764 | 0.003691 | 3 | 0.75
B:3145746EVERETS 3044516GREENVILE T1 FLO EXT_WILSON230TT-WILSON115TT-230-115-#1-&BUS_SRT- | DOM | CPLE | 0.011213 | 0.0028031 | 2 | 0.5
B:217079ESSEX 217913KEARNY_L 1 FLO PS_P1-2_R-2296 | PSEG | PSEG | 0.010369 | 0.0025922 | 236 | 59
B:23515201BUTLER 23519701KARNSC 1 FLO ATSI-P1-2-CEI-345-700T | APS | APS | 0.0093037 | 0.0023259 | 25 | 6.25
B:20469327BOONETOWN 20451227S.RDG 1 FLO BASE CASE | METED | METED | 0.0092984 | 0.0023246 | 2 | 0.5
B:270694CHERRY VA; B270883SILVER LK; R1 FLO COMED_P1-2_345-L0626__B-R | COMED | COMED | 0.0091451 | 0.0022863 | 1 | 0.25
B:270703CRAWFORD ; R270923WEST LOOP; R1 FLO COMED_P1-2_345-L1310__B-C | COMED | COMED | 0.0078488 | 0.0019622 | 246 | 61.5
B:23515201BUTLER 23515301CABOT E FLO AP-P1-3-WP-138-051 | APS | APS | 0.0077894 | 0.0019474 | 1 | 0.25
B:272092NATOMA ; B272132NORTHWEST;2I1 FLO BASE CASE | COMED | COMED | 0.0077721 | 0.001943 | 741 | 185.25
B:271247CROSBY ; R272371ROCKWELL ; R1 FLO BASE CASE | COMED | COMED | 0.0075182 | 0.0018796 | 806 | 201.5
B:272135NORTHWEST;8S272129NORTHWEST; R1 FLO BASE CASE | COMED | COMED | 0.0073354 | 0.0018338 | 365 | 91.25
B:271315DES PL198;1I272113NORRIDGE ; R1 FLO BASE CASE | COMED | COMED | 0.0070592 | 0.0017648 | 718 | 179.5
B:208069PPL-BGE TIE 220964GRACETON 1 FLO PECO_P1-2_5012/* $ CHESCO $ 5012 $ L | PLGRP | BGE | 0.0069889 | 0.0017472 | 2 | 0.5
B:272502STATELINE; B25517217ROXANA 1 FLO EXT_P12:345:NIPS:34520:17SHEFFIELD:17GARY_AVE:1 | COMED | NIPS | 0.0069059 | 0.0017265 | 16 | 4
B:272507STATELINE;5S272727WASHINGTO; R1 FLO COMED_P1-2_138-L13803_R-C | COMED | COMED | 0.0067657 | 0.0016914 | 461 | 115.25
B:272504STATELINE;3B272506STATELINE;2S1 FLO COMED_P1-2_138-L0708__B-C | COMED | COMED | 0.00587 | 0.0014675 | 691 | 172.75
B:223991TALBT082 223994BURCH230 1 FLO PEPCO_P1_CHALK-KEYS_SRT-A | PEPCO | PEPCO | 0.0057012 | 0.0014253 | 11 | 2.75
B:218307ALDENE_2 218430STANTER_1 1 FLO PS_P1-2_A-2306 | PSEG | PSEG | 0.0056064 | 0.0014016 | 241 | 60.25
B:25512417CHICAGO_AV25516917PRAXAIR-3 1 FLO AEP_P1-2_#695_1681 | NIPS | NIPS | 0.0055148 | 0.0013787 | 7 | 1.75
B:271320DES PL 46;7I271656HIGGINS ; B1 FLO BASE CASE | COMED | COMED | 0.0049716 | 0.0012429 | 519 | 129.75
B:271652HEGEWISCH; B271654HEGEWISCH;BT1 FLO COMED_P1-2_345-L17705_B-S | COMED | COMED | 0.004886 | 0.0012215 | 75 | 18.75
B:270898TAYLOR ; B270922WEST LOOP; B1 FLO COMED_P1-2_345-L1309__R-C | COMED | COMED | 0.0033235 | 0.00083088 | 30 | 7.5
B:208069PPL-BGE TIE 220964GRACETON 1 FLO PL:05:P12:000260a | PLGRP | BGE | 0.0030332 | 0.0007583 | 2 | 0.5
B:20067426TOWANDA 20067726NO MESHO 1 FLO PN-P1-2-PN-230-013A | PENELEC | PENELEC | 0.0019221 | 0.00048051 | 4 | 1
B:23550601RINGLD 23549401OLDFRM 1 FLO ME-P1-2-ME-500-004 | APS | APS | 0.0016542 | 0.00041355 | 1 | 0.25
B:24262005DANVL2 24263105EDAN 1 1 FLO AEP_P1-2_#7422_16 | AEP | AEP | 0.001617 | 0.00040424 | 1 | 0.25
B:20052226SHADE GP 20052026ROXBURY 1 FLO PN-P1-2-PN-500-007 | PENELEC | PENELEC | 0.0015363 | 0.00038408 | 1 | 0.25
B:270735ELMHURST ; R275185ELMHURST ;1M1 FLO COMED_P1-3_TR84_ELMHU_R-C | COMED | COMED | 0.0012987 | 0.00032467 | 8 | 2
B:272650UNIVERSIT; B272726WASHINGTO; B1 FLO BASE CASE | COMED | COMED | 0.0009505 | 0.00023762 | 3625 | 906.25
B:23513901AL&D6T 23520401KITTAN 1 FLO ATSI-P1-2-CEI-345-700T | APS | APS | 0.00055683 | 0.00013921 | 3 | 0.75
B:272504STATELINE;3B272506STATELINE;2S1 FLO COMED_P1-2_138-L17008_B-C | COMED | COMED | 0.00045739 | 0.00011435 | 47 | 11.75
B: 9876898768_STAR 271230CRAWFORD ; G1 FLO COMED_P1-2_138-L5107__B-C | COMED | COMED | 0.00040351 | 0.00010088 | 110 | 27.5
B:270702CRAWFORD ; B 9876898768_STAR 1 FLO BASE CASE | COMED | COMED | 0.00019602 | 4.9005e-05 | 6 | 1.5
B:271989MCCOOK ; R272353RIDGELAND; R1 FLO COMED_P1-3_TR83_CRAWF_Y-C | COMED | COMED | 0.00011171 | 2.7928e-05 | 41 | 10.25
B:272504STATELINE;3B272506STATELINE;2S1 FLO BASE CASE | COMED | COMED | 2.848e-05 | 7.12e-06 | 101 | 25.25
B:272726WASHINGTO; B272506STATELINE;2S1 FLO COMED_P1-2_138-L17008_B-C | COMED | COMED | 2.208e-05 | 5.52e-06 | 4 | 1
B:272504STATELINE;3B272506STATELINE;2S1 FLO COMED_P2-1_170-L0708___ | COMED | COMED | 2.129e-05 | 5.3225e-06 | 6 | 1.5
N:DLRJCL FLO JUN-TMI FLO ME-P1-2-ME-500-001* | 0 | 0 | 1.868e-05 | 4.67e-06 | 802 | 200.5
B:216915CDRGV 217808CDRGV_Y 1 FLO PJM500_PS_P1-2_5018 | PSEG | PSEG | 1.15e-05 | 2.875e-06 | 1 | 0.25
N:DLRHS2L FLO SUS-HAR1 FLO PL:40:P12:000182* | 0 | 0 | 7.58e-06 | 1.895e-06 | 950 | 237.5
B:270702CRAWFORD ; B 9876898768_STAR 1 FLO COMED_P1-2_138-L5107__B-C | COMED | COMED | 6.07e-06 | 1.5175e-06 | 2 | 0.5
B:274780RIVER EC ;BU270952ESS Z725 ;BT1 FLO COMED_P2-1_007-L0703___ | COMED | COMED | 2.39e-06 | 5.975e-07 | 1 | 0.25
B:217913KEARNY_L 217061KEARNY 1 FLO PS_P1-2_R-2296_SRT-A | PSEG | PSEG | 1.8e-06 | 4.5e-07 | 1 | 0.25
B:207977HARW 208113SUSQ 2 FLO PL:40:P12:000182** | PLGRP | PLGRP | 14.8172 | 3.7043 | 950 | 237.5
B:207950CUMB TR2 208004JUNI BU1 1 FLO ME-P1-2-ME-500-001** | PLGRP | PLGRP | 39.2949 | 9.8237 | 802 | 200.5
*DLR impact on Susq- Harw 230 kV, Juni-Cumb 230 kV line has been modeled using PROMOD nomograms. Nomogram congestion is not indicative
**DLR impact on Susq- Harw 230 kV line and Juni-Cumb 230 kV line has been modeled using PROMOD nomograms. The remaining congestion on the flowgate was calculated as nomogram shadow price x flows on the corresponding flowgate.